# RFP#YESP2022-03 Infrastructure Equipment E-rate
FCC Form 470 220015578
Q&As

- Can YES Prep provide floor plans with cable locations?

  - We will not be providing floor plans at this time. Refer to the RFP for quantities of cable runs.

- If multiple buildings can YES Prep provide counts per building?

  - Yes, please see below for the estimated breakdown per site. This is estimated only, other schools may be included as well.

    - East End Elementary – 110 cable runs

    - Northline Secondary – 60 cable runs

    - Airline Elementary – 60 cable runs

- Can YES Prep confirm the ceiling type per building where the cables will be installed?

  - There is a combination of drop ceiling and exposed ceiling.

- Is there any coring that needs to be done for cable pathways?

  - No, the general contractor for construction provides.

- Is the installation to be done during summer break or during regular school time after hours?

  - Work will be performed during regular hours. These are new construction sites.

- Is conduit required cable pathway anywhere?

  - Limited areas may require conduit.

- Is a lift needed anywhere for cable installation?

  - Yes, vendor may provide a lift where needed.

- Does installation of the switches include patching the copper and fiber ports? If so, who is providing the port mapping?

  - Yes, installation does include patching the copper and fiber ports. Vendor will need to provide the port mapping.

  - Installation does not include configuration of the equipment.