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425 N. Washington Avenue
Scranton, PA 18503

Workplace Safety Committee Meeting 
Minutes
06/20/2019

A regular meeting of the Scranton School District Workplace Safety Committee was held on June 20, 2019, at the Administration Building in the 3rd floor Board Room.

Chairperson: Bert Gentilezza called to order 9:20 am
Secretary: Heather Moran
Attendance/Sign In

Present: Robert Gentilezza, Lois Hubshman, Jay Robinson, John Donelan, Paula Giordano, John Sinclair, Luann Henehan, Joanie Burnes, Melinda Conforti (via go to meeting) Sharon Volpe (via go to meeting), Heather Moran, Brandon Budd, Joe Hanni (via go to meeting) Michelle Wiedow (via go to meeting) Chris Lazor (via go to meeting) Mike Montoro (via go to meeting)

Visitors:
Joe Slack

· Welcome 
· Building Inspections
· Administration Building – COMPLETE
· Adams – INCOMPLETE
· Armstrong – COMPLETE
· Bancroft – COMPLETE
· Kennedy – INCOMPLETE
· Morris – COMPLETE
· Plaza – COMPLETE
· Prescott –  INCOMPLETE
· Sumner – COMPLETE
· Tripp – COMPLETE
· Whittier/Whittier Annex – COMPLETE
· Willard – COMPLETE
· Northeast Intermediate – COMPLETE
· South Intermediate – INCOMPLETE
· West Intermediate – COMPLETE
· SHS – INCOMPLETE
· WSHS – COMPLETE
· Electric City Academy – INCOMPLETE
· South Intermediate
· Front steps are unusable. Kids are being forced to use side entrance forcing students into the road
· Cafeteria floor – tiles are cracked
· Windows – bumpers need to be lowered/replaced. Windows are being opened all the way. A child could fall from open window.
· Intercom system – 3rd floor/throughout building. Cannot hear announcements/unclear
· WSHS
· PA system – not working in halls, and some classrooms. Were unable to hear lockdown drill. 
· Camera’s outdated in auditorium, gym, front & back stairwells
· Front & back doors; not latching; one barred

· SHS
· Audio card
· Caged area on 3rd floor; maybe board or block off; students climbing wall to smoke
· Cafeteria door  does  not lock; cannot latch due to fire code; Mesko to fix
· Sprinkler system rotted
· Williard
· Cafeteria ceiling; repair plaster
· Plaza 
· Build lock on 2nd door to avoid entering building and going to classes
· Front steps need to be replaced
· Missing curb from road above is causing rooms to get water damage; City must be called
· Northeast
· Sidewalk needs to be blacktopped
· Gibson St. door; pull hard enough it will open


Next Meeting:
July 25th 10:30 am administration building / webinar (information to be sent closer to meeting date)
August 15th  10:30 am administration building / webinar (information to be sent closer to meeting date)


Adjournment:
There being no further business, motion to adjourn @ 10:50 AM  (John, Joanie)
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