Note: It is recommended that bleachers/grandstands be inspected by a licensed professional every few years. Some district insurance policies may require professional inspections annually.

School _________________________________________________________

Bleacher Location ________________________________________________

Year Installed ___________________________________________________

From 1/1/2010 on, must comply with IBC and Chapters 1-4 of ICC 300. Consult district architect.

Prior to 1/1/2010, must comply with Chapter 5 of ICC 300. Consult district architect.

Bleacher Type:     Fixed      Moveable

Condition:  = OK or list missing/deteriorated/damaged parts:

Compliance with Manufacturer’s Instructions__________________________

End Rails ______________________________________________________

Front Rails _____________________________________________________

Back Rails _____________________________________________________

Aisle Rails _____________________________________________________

Support Frames/Welded Connections ________________________________

Row Locks _____________________________________________________

Intermediate Footboard Supports ____________________________________

Cross Braces ____________________________________________________

Motors and Controls ______________________________________________

Riser Beams ____________________________________________________

Cantilever Arms _________________________________________________

Footboards _____________________________________________________

Seats __________________________________________________________

Aisle Steps _____________________________________________________

Bolts/Nuts _____________________________________________________

Rollers Function as Designed_______________________________________

Accessibility Compliance _________________________________________

If more than 30” above floor/ground, the opening between seatboard and

footboard must be such that a 4” sphere cannot pass through. _____________

Plan for repair: __________________________________________________

_______________________________________________________________

_______________________________________________________________

Other remarks: __________________________________________________

_______________________________________________________________

Inspected by __________________________________ Date ______________