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Note: It is recommended that bleachers/grandstands be inspected by a licensed professional every few years. Some district insurance policies may require professional inspections annually.

School _________________________________________________________
Bleacher Location ________________________________________________
Year Installed ___________________________________________________
From 1/1/2010 on, must comply with IBC and Chapters 1-4 of ICC 300. Consult district architect.
Prior to 1/1/2010, must comply with Chapter 5 of ICC 300. Consult district architect.
Bleacher Type:     Fixed      Moveable 

Condition:  = OK or list missing/deteriorated/damaged parts:

Compliance with Manufacturer’s Instructions__________________________
End Rails ______________________________________________________
Front Rails _____________________________________________________
Back Rails _____________________________________________________
Aisle Rails _____________________________________________________
Support Frames/Welded Connections ________________________________
Row Locks _____________________________________________________
Intermediate Footboard Supports ____________________________________
Cross Braces ____________________________________________________
Motors and Controls ______________________________________________
Riser Beams ____________________________________________________
Cantilever Arms _________________________________________________
Footboards _____________________________________________________
Seats __________________________________________________________
Aisle Steps _____________________________________________________
Bolts/Nuts _____________________________________________________
Rollers Function as Designed_______________________________________
Accessibility Compliance _________________________________________
If more than 30” above floor/ground, the opening between seatboard and 
footboard must be such that a 4” sphere cannot pass through. _____________  

Plan for repair: __________________________________________________
_______________________________________________________________
_______________________________________________________________
Other remarks: __________________________________________________
_______________________________________________________________

Inspected by __________________________________ Date ______________
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Christopher B. Dvorak
Regional Superintendent
cdvorak@roe35.org

Ryan F. Myers
Asst. Regional Supt.
rmyers@roe35.org

o

P: 815.434.0780
F:815.434.2453

19 W. Madison St., Suite 102
Ottawa, IL 61350

roe35.org
youtube.com/c/ROE35Presents




