Lakeside Junior High School
Zellars


OPERATION OF YOUR THERMOSTAT

The box, referred to as an I-stat (Intelligent-stat), will operate just like a thermostat.  There are a few functions that you should be made aware of to ensure that your comfort is maintained.
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The Display that is located on the face of the I-stat corresponds to the light at the bottom.  The display will default to ROOM TEMP (room temperature) if left alone for 10 seconds.  By using the arrow keys ((  () you may select the setpoint temperature (SET TEMP), (FAN SPEED) is not used in this application, view the room temperature (ROOM TEMP), or view the outside air temperature (OUTSIDE).   To change the setpoint use the arrow keys to move the light at the bottom to the SET TEMP position.  The display will show the current setpoint.  The + and – keys may be used to change the temperature setpoint as desired.  If you desire the room to be cooler, simply move the set point down using the + and - keys.  If you desire the room to be warmer move the setpoint up.

The heating and air conditioning is also going to be enabled and disabled based on a schedule.  The heating and air conditioning will be enabled Monday-Friday; and will be disabled on Saturday and Sunday (offices and non-classrooms may vary).  The top button (labeled FUNCTION) serves as an override button.  If the room is occupied before the enable time or after the disable time and the occupant desires heating or air conditioning, the button can be pushed.  An LED next to the function button is illuminated when the unit is in a scheduled period, and will also illuminate to let the occupant know that the override has been initiated.  Pushing the button once will enable the heating and air conditioning for two hours, which is simply referred to as the override time.  Make note that pushing the button again before the override time has expired will cause the heating and air conditioning to turn off.  If heating and air conditioning is needed for longer than two hours, the override button may be pushed again once the override time has expired.
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