Avella Area School District

Safety Committee Meeting Minutes

Thursday, October 11, 2018 8:00 a.m.

I.    Call to Order

The meeting was called to order by Ms. Shola at 8:14 a.m.

II.   Roll Call

Cyril Walther			  Brian Smitsky			JT Mylan

Officer Watts	Laura Shola

Sheryl Wright-Brown		  Zack Zebrasky

III.  Introduction of Visitors

IV.  Review and Approval of Minutes

A motion was made to approve the safety committee meeting minutes from September 13, 2018 by Mr. Smitsky and was seconded by Mr. Mylan.

V.   Unfinished Business

The status of the Raptor System was discussed.  At the last meeting, an issue with the system was brought up with the system not printing all photos on labels.  It was determined that the issue was just an intermittent issue on Raptor’s end and not recurring.

The status of the front entrance mats for the Jr./Sr. high school was discussed.  Mr. Smitsky received the color samples but is waiting on prices from the vendor so the mats have not been ordered yet.

VI.   Review of Accidents

VII.  Review of Facilities Inspections

In the elementary center, the nurse’s office door threshold is sticking up from the floor and needs secured to the floor.

A few items were noted in the Jr./Sr. high school.  The door handles on the west end stairwell, upstairs and downstairs, aren’t opening properly.  The upstairs girls’ restroom stall doors have loose metal trim.  The custodial closet door on the second floor will not close all the way due to the humidity making the door swell.  Mr. Smitsky will place a dehumidifier in the closet.

VIII. New Business

The committee discussed the humidity levels in the buildings after the mold remediation was finished.  Mr. Smitsky purchased 19 dehumidifiers to be used throughout the buildings, and will purchase 10 more.  They are helping to keep the humidity levels down.

Officer Watts requested to purchase “no weapons allowed” signs to place at the building entrances, and at each staircase leading to the football field.  He will find the proper signs and order them.

A safety concern is the security of the Jr./Sr. high school gym, with intruders entering through the doors leading outside.  Mr. Smitsky will look into installing door alarms on those doors.

IX.    Adjournment

The meeting was adjourned at 8:54 a.m.