# Health and Safety Minutes

Wednesday February 1, 2023

Albertville Primary	Big Woods

Meagan Phillips – Music	Corey Hanson – Physical Education

Community Education Center	District Office

Lisa Becker – Kids Play Coordinator 	Jason Bichler – B&G

Josh Reyo – District Maintenance

Jeff Blake – District Grounds

Glen Ritter – Food Service

St. Michael Elementary	Health

Brian Bebeau - Custodial	Andrea Mischke – District Nurse

High School	Fieldstone Elementary

Joe Peatrowsky – HS CHO	None

Middle School East	Middle School West

Gerald Bade - Custodial	Rick Auwles – Custodial

Other

Steve Lichtenberg – SFM

Approve December 2022 Meeting Minutes:

Minutes were not reviewed by the committee. December and February minutes will be reviewed at the April meeting.

Review Injury Reports

Since the last safety committee meeting on December 7th, we had six medical losses (3 contusions, 1 puncture, 1 laceration, and 1 strain). Five incident only reports have been submitted (all contusions).

Old Business

None

New Business

- Indoor Air Quality Walkthroughs (1/30 – 2/2)

  - IEA conducts an IAQ assessment of all rooms and offices in the district to measure different IAQ parameters (Temperature, Humidity, CO, CO2) and observe any moisture issues. These measurements and observations help the district identify any ventilation issues and concerns. These are conducted this week (Monday – Thursday). With the very cold temperatures, our results will be based off worst-case scenario.

- Building Ventilation Assessments

  - Occur in the spring when the snow has thawed and it’s safe to work and walk on the roof. Inspect accessible mechanical units and compartments (filters, fan, dampers). This checklist is used to compare with the automated system controls to verify the control system is operating correctly.

- Tier II Reporting

  - This report is submitted to Minnesota Pollution Control Agency (MPCA) and Homeland Security by March 1st. It’s required to report any hazardous chemical stored on-site in excess of 10,000 lbs. Chemicals that are considered extremely hazardous can have lower storage thresholds. The District is only required to report the underground storage tanks at each of the buildings. This was completed in January. A copy was also provided to both Albertville and St. Michael Fire Departments.

- MPCA Hazardous Waste Reporting

  - This is required to be submitted each year to MPCA for Middle School West and High School. This report is required for any business to maintain disposal of hazardous waste. Middle School West is a Very Small Quantity Generator, and the High School is a Minimal Quantity Generator. The report lists waste picked up last year which consisted of paints, aerosol cans, various types of light bulbs, misc. electronics and batteries.

- AP Sign Safety Concern

  - The concern is that changing the sign in the winter can be dangerous with a ladder.  The sign is not covered under H&S funds and Kathy was instructed not to change the sign without someone else to help her or not at all if there is still a safety concern.

- HS Science Formaldehyde Scheduling

  - I don’t think we need to go too far in-depth on history on this agenda item since it’s been discussed multiple times. If Joe is there, I would request that we get a Biology teachers name that we can reach out to for scheduling.

- BW Playground Equipment Addition

  - New equipment at BW will be getting installed this summer, it was purchased through the PTO and vetted through myself and IEA.

- Mock OSHA Inspection Scheduling

  - The inspection will occur Friday 3/10. The areas we will be inspected are the AP, CE, and STME. This is to help us prepare for an actual OSHA inspection. The last OSHA inspection within the District occurred in 2017. The inspector did not issue any citation/violations.

Open Discussion

- Painted curbs are slippery when wet.  Curbs need to be painted for visual awareness – we will look at options if possible when they get repainted this summer.

- Jason Bichler to look into if there’s a stipend for HS science end of year clean-up. I spoke with Finance in regards to this and there is no budget or funds that are allocated for this purpose.

If you have health and safety questions or suggestions – feel free to contact your buildings safety committee representative!

Next Meeting: 4/12/2023

Location: Middle School West Staff Development Room

Time: 3:30 p.m.