## Summary
Energy Efficiency Measure Drop down menu | Description | Demand Savings (kW) | Annual Electric Savings (kWh) | Annual Natural Gas Savings (therms) | Annual Propane Savings (gallons) | Annual Fuel Oil Savings (gallons) | Annual Cost Energy Savings ($) | Measure Cost ($) | Rebates ($) | Other Non-Repayable Funds ($) | Total Leveraged Funding ($) | EEM SIR | EUL | NPV of Savings | Final Cost | SIR | 1 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Example: Lighting- Interior Fixture Retrofit | Replaced T12s with T8s |  | 101029 | 0 |  |  | 14511 | 141604 |  |  |  | 1.69
Lighting- Retrofit Interior Lamps to LED | Replaced T-8's w/ LED | 225 | 493092 | 0 | 0 | 0 | 65544.9047 | 938643.5954 |  |  | 0 | 1.354 | 15 | 1207415.3618 | 891711.4156 | 1.354 | 1 | 93704.2125 | 96889.1949 | 100190.3128 | 103611.9864 | 107158.8082 | 110835.5497 | 114647.1687 | 118598.8164 | 122695.8452 | 126943.8166 | 131348.5097 | 135915.9293 | 140652.3153 | 145564.1517 | 150658.1764 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lighting- Exterior Fixture Retrofit | Replace with LED | 48 | 107547 | 0 | 0 | 0 | 16329 | 174831.6287 |  |  | 0 | 1.6858 | 15 | 279991.9813 | 166090.0473 | 1.6858 | 1 | 21573.9489 | 22332.0078 | 23118.2912 | 23933.8859 | 24779.9218 | 25657.5726 | 26568.0586 | 27512.6476 | 28492.6576 | 29509.458 | 30564.4723 | 31659.1799 | 32795.1185 | 33973.8859 | 35197.1433 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Lighting - Interior Re-lamping | 4 | Energy Efficiency Assumptions |  | Renewable Assumptions |  | Other Generation Assumptions
[11 empty] | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Lighting- Interior Fixture Retrofit | 15 | Maintenance saving | 3% | Added Maintenance Cost | 0.3% | Maintenance saving | NA
[11 empty] | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Lighting- Exterior Fixture Retrofit | 15 | Discount Rate | 5% | Discount Rate | 5% | Discount Rate | 5%
[11 empty] | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Lighting- Controls | 8 | Electricity Escalation | 4% | Electricity Escalation | 4% | Electricity Escalation | 4%
[11 empty] | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Lighting- LED Exit Signs | 16 | Inflation rate | 2% | Inflation rate | 2% | Inflation rate | NA
[11 empty] | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Lighting- Retrofit Incandescent to LED | 15 | Non-Energy Benefit | 5% | Non-Energy Benefit | 5% | Non-Energy Benefit | 5%
[11 empty] | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | HVAC- Packaged/Split Replacement | 15 |  |  | Degradation Factor | 0.7%
[11 empty] | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | HVAC- HVAC and Air Handler Repairs | 5 | Measures | Years | Inverter Replacement, yr | 10
[11 empty] | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | HVAC- New Economizer | 10 | Lighting- Interior Fixture Retrofit | 15 | Inverter Replac. Cost, $/Wac | 0.7
[11 empty] | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | HVAC- Chiller/Boiler Replacement | 20 | Lighting- Exterior Fixture Retrofit | 15
[11 empty] | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | HVAC- Condensing Furnace | 15 | Lighting Controls | 8
[11 empty] | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | HVAC- VAV System | 15 | Lighting - Interior Linear Fluorescent Relamping | 4
[11 empty] | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | HVAC- Seal Ducts | 11 | Lighting- LED Exit Signs | 16
[11 empty] | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | HVAC Controls- Programmable Thermostat | 11 | Lighting- Retrofit Interior Lamps to LED | 15
[11 empty] | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | HVAC Controls- EMS | 15 | Lighting- CFL Lamp Retrofit | 3
[11 empty] | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | HVAC Controls- Chiller Controls Upgrade | 20 | HVAC- Packaged/Split System AC/Heat Pump/VRF | 15
[11 empty] | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | HVAC Controls- Continuous RetroCommissioning | 10 | HVAC- Room/Window AC | 9
[11 empty] | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Building Envolope- Windows/Skylights | 20 | HVAC- Evaporative Cooler | 15
[11 empty] | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Building Envelope- Cool Roofs | 15 | HVAC- HVAC and Air Handler Repairs | 5
[11 empty] | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Building Envelope- Insulation | 20 | HVAC- New Economizer | 10
[11 empty] | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Building Envelope- Shading Devices/Window Film | 10 | HVAC- Chiller/Boiler Replacement | 20
[11 empty] | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Other- Premium Efficiency Motors | 15 | HVAC- Condensing Furnace | 15
[11 empty] | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Other- Variable Frequency Drives | 15 | HVAC- VAV System | 15 |  |  |  |  | PPA Assumptions
[11 empty] | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Other- Domestic Hot Water Heater | 20 | HVAC- Duct Sealing | 11 |  |  |  |  | Discount Rate | 5%
[11 empty] | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Plug Loads- Power Mangement | 4 | HVAC- Cooling Towers | 15 |  |  |  |  | Degradation Factor | 0.7%