| EXTERIOR |  |  |
| --- | --- | --- |
|  | YES/NO | COMMENTS |
| - Is there an adequate amount of traction material, ice melt compound for sidewalks, stairs, entrance, parking lots, etc.? |  |  |
| - Is there an adequate amount of ice melt located at doorways? |  |  |
| - Is back up traction material or ice melt easily accessible by staff? |  |  |
| - Is there adequate snow removal equipment including, but not limited to, shovels, snow blowers and ice chippers? Are they adequately dispersed where needed and readily accessible? |  |  |
| - Who is in charge of tracking the weather impact on school the next day? Parking lot and sidewalk clearing, 2 hour delay, school cancellation? |  |  |
| - Do snow piles obstruct vision for employees and vehicular traffic? |  |  |
| - Is there adequate lighting at doorways, parking lots, around dumpsters, etc. where employees generally walk and work? |  |  |
| - Is there a build-up of icicles falling from the roof, overhangs, rain spouts and other overhead fixtures that may create a hazard for employees and others? |  |  |
| - Are emergency access areas/supplies free of snow/ice accumulation such as fire hydrants, fire lanes and emergency exits? |  |  |
| - Does melting snow and ice run-off lead to a drain? |  |  |
| - Are downspouts discarding melted snow/ice water onto a walkway or sidewalk that can re-freeze? |  |  |
| - Are there areas to address concerning re-freezing of snow and ice? |  |  |
| - Do you notice any area where employees are walking (short cuts) that isn’t considered a normal entrance/exit in or out of the building? |  |  |
| - Are general walking surfaces in good condition before/after winter and free of damaged concrete/black top, trip hazards, pot holes, etc.? |  |  |
| - Are curb and handicap ramps in good condition, free of snow/ice accumulation? |  |  |
| INTERIOR |  |  |
| - Is there adequate, proper ice-melt compound for sidewalks, stairs, entrances, parking lots, etc., located at doorways, along with a back-up supply available? |  |  |
| - Do all interior door entrances have adequate lighting? |  |  |
| - Are there floor matting and floor runners at all entrances? |  |  |
| - Is there a back-up runner/rug should one get too soiled, wet or damaged? |  |  |
| - If there is recessed flooring at entrances, is it in good condition? |  |  |
| - Is there “Wet Floor” signage available should there be an accumulation of melted snow and ice indoors? |  |  |
| EMPLOYEE SAFETY |  |  |
| - Are employees wearing slip-resistant footwear whenever conditions are wet, icy or snowy? Do you recommend employees wear winter shoes to work and change into dry work shoes once inside the building? |  |  |
| - Do you provide employees information or training on safety walking in the winter conditions and slippery surfaces? |  |  |
| - Do you have a system in place where employees can inform management and maintenance of a slippery area that needs attention? |  |  |