BRISTOL WARREN REGIONAL SCHOOL DISTRICT

151 State Street

Bristol, Rhode Island 02809

Public Bid #11-6-25-21

SPRINKLER SYSTEM, FIRE EXTINGUISHERS, FIRE ALARM, KITCHEN HOOD SUPPRESSION SYSTEM, EMERGENCY REPAIR SERVICE CONTRACT:

Separate sealed bids will be received by the Bristol Warren Regional School District (BWRSD) for Fire Suppression System Services on or before 2:00 p.m. on July 8, 2021, at the Oliver Administration Office, 151 State Street, Bristol, Rhode Island. At that time, bids will be opened and read in public. The bid opening will be live streamed via the BWRSD’s YouTube Channel at  https://www.youtube.com/channel/UCMfoo1G_4jBMUOuP2Vlv4xw.

This RFP may be obtained on the BWRSD’s website on the Business & Finance Department’s Bid page located at the following link: https://www.bwrsd.org/Page/2880.

General Bid Schedule

RFP Released									June  25, 2021

Bidder Questions and Clarifications Ends					July 1, 2021 4:00pm

Bids Due Back								July 8, 2021 2:00 pm

Bid Opening									July 8, 2021 2:00 pm

All bids must be submitted on the bid form provided, (3) three copies, and clearly marked:

Sealed Bid

FIRE SUPPRESSION SYSTEMS SERVICE CONTRACT

Bids must be enclosed in an opaque envelope addressed to BWRSD, Oliver Administration Building, Attn: Thomas Wood, Director of Facilities, 151 State Street, Bristol, RI 02809 bearing the name and address of the bidder.

The BWRSD reserves the right to reject any/all bids, waive any informalities in the bids received and to accept and award the bid to the lowest qualified bid deemed most favorable to the interest of the BWRSD.

All questions should be submitted to the Administrative Office by email to thomas.wood@bwrsd.org no later than July 1, 2021 at 4:00 p.m.

STANDARD INSTRUCTIONS TO BIDDERS

BRISTOL WARREN REGIONAL SCHOOL DISTRICT

The following instructions are standards for all proposals submitted:

1.	Receipt and Opening of Proposal

Sealed proposals (bids) will be accepted in the Administrative Office, Attn:  Thomas Wood, Director of Facilities, 151 State Street, Bristol, RI 02809 until the time indicated on the advertisement for Bids, for the commodities, equipment, and/or services designated in the specifications and will then be virtually opened and read.

2.	Form of Bid

Proposal must be submitted on and in accordance with the forms attached hereto, blank places must be filled in as noted, no change shall be made in the phraseology of the proposal or in the item or items mentioned therein, must contain the name and proper address of the bidding firm, and must be signed by a responsible member of the firm with his/her signature and official title. Proposals that are not complete, or contain any omissions, erasures, alterations, additions and/or contain irregularities of any kind, may be rejected.

3.	Submission of Bids

a.	Envelopes containing bids must be sealed and addressed to Bristol Warren Regional School District, Administrative Offices, Attn:  Thomas Wood, Director of Facilities, 151 State Street, Bristol, RI 02809 and must be marked with the name and address of bidder, date  and hour of opening, and name of bid.

b.	The BWRSD will decide when the specified time has arrived to virtually open bids, and no bid received thereafter will be considered.

c.	Any bidder may withdraw his/her bid by written request at any time prior to the advertised time for opening. Telephonic bids, amendments, or withdrawals will not be accepted.

d.	Unless otherwise specified, no bid may be withdrawn for a period of ninety (90) days from the date of bid opening.

e.	Negligence on the part of the bidder in preparing the bid confers no rights for the withdrawal of the bid after it has been opened.

f.	Proposals received prior to the time of opening will be securely kept unopened. No responsibility will attach to an officer or person for the premature opening of a proposal not properly addressed and identified.

4.	Prices

Bidders shall state the proposed price in the manner as designated in the Bid Proposal Form. In the event that there is a discrepancy between the unit prices and the extended totals, the unit prices shall govern. In the event there is a discrepancy between the price written in words and written in figures, the prices written in words shall govern.

5.	Rhode Island Sales Tax

The BWRSD is exempt from the payment of R.I. Sales Tax under the 1956 General Laws of the State of Rhode Island, 44-18-30 (1), as amended.

6.	Federal Excise Taxes

The BWRSD is exempt from the payment of any excise or federal transportation taxes. The price bid must be exclusive of taxes and will be so construed.

7.	Equal Employment Opportunity Policy Statement

For the purposes of this Policy, the term “vendor” shall mean any and all individuals, companies, corporations, and business entities that provide goods or services to the BWRSD pursuant to any and all relevant and appropriate Federal, State, and local purchasing rules, regulations, and procedures.

The BWRSD is committed to the general policy and principle of Equal Employment Opportunity in terms of retaining vendors to provide the District with goods and services necessary for routine and emergency operations.  The BWRSD shall not discriminate against vendors as entities, or individual employees thereof on any legally recognized basis included, but not limited to, race, age, color, religion, gender, gender identification, marital status, national origin, physical or mental disability, Veteran’s status, pregnancy, sexual orientation, genetic conditions, predisposition to certain diseases, or ancestry, except where a bona fide occupational qualification exists.

8.	Schools Right to Reject

The BWRSD reserves the right to reject any and all proposals, to waive any informality in the proposals received and to accept the proposal deemed to be most favorable to the best interests of the BWRSD.

9.	Labor Regulations

a.	The Contract for Work under this proposal will obligate the contractor and subcontractors not to discriminate in employment practices and conform with the Affirmative Action Plan pursuant to Executive Order No. 11246.

b.	Bidders must, if required, submit a compliance report concerning their employment practices and policies in order to maintain their eligibility to receive award of the Contract.

c.	Successful bidders must, if required, submit a list of all subcontractors who will perform Work on the Project, and written signed statements from authorized agents of labor pools with which they will or may deal with for employees on the Work, together with any information to the effect that such labor pools practices or policies are in conformity with Executive Order No. 11246

10.	Payment

Vendor shall submit monthly invoices for payment to the BWRSD. The Invoices shall include: Dates of service, scope of work and hours worked   The District will promptly pay within two weeks of receiving Invoices.  Payments will be made via check.  W-9 required for processing

11.	Termination of Contract

Following implementation, should the Superintendent and/or Chief Financial Officer find that the firm has failed in any material respect to perform its agreed upon obligations under the contract, the contract shall be canceled by the BWRSD as being in the best interest of the BWRSD. In the event of termination of this contract as a result of breach by the contractor, the BWRSD shall not be liable for any fees and may, as its sole option, award a contract for the same services to another qualified firm or call for new proposals. The contractor shall be responsible for consequential damages as a result of its breach, including, but not limited to, extra costs required under the new contract for similar services.

12.	Period of Performance

The period of performance for this contract shall be 36 months.  Starting August 1, 2021.

13.	Indemnification and Insurance

The vendor selected shall indemnify and save the BWRSD harmless from liability in any manner of claims, lawsuits and damages for any type of losses, including the loss of life, due to its work or operations on BWRSD property, in carrying out and completing the full scope of services under this agreement.

The vendor shall meet the insurance and indemnification requirements as prescribed in the Insurance Appendix A Insurance- Exhibit Professional Contracts.

14.	Collusion

Any act or acts of misrepresentation of collusion shall be a basis for disqualification of any proposal or proposals submitted by such persons guilty of said misrepresentation or collusion. In the event that the BWRSD enters into a contract with any proposer who is guilty of misrepresentation or collusion and such conduct is discovered after the execution of said contract, the BWRSD may cancel said contract without incurring liability, penalty, or damages.

SPECIFICATIONS

Bristol Warren Regional School District

SPRINKLER SYSTEM, FIRE EXTINGUISHERS, FIRE ALARM, KITCHEN HOOD SUPPRESSION SYSTEM, EMERGENCY REPAIR SERVICE CONTRACT:

INTENT

The following request is for a three year service contract, from August 1, 2021 through June 30, 2024.

The Bristol Warren Regional School District (henceforth “the District") is seeking bids for required State inspections on Sprinkler System, Fire Alarm Systems, Kitchen Hood Suppression Systems and Emergency Repair Services.

The District encourages all vendors to review site conditions, existing operations, and expects vendors to provide a transition plan to ensure services continue without interruption.

The successful bidder must meet the following objectives:

•  	The following request is for a three year service contract for Inspection and Testing Services for Sprinkler Systems, Fire Extinguishers, Fire Alarms, Kitchen Suppression Systems and Emergency Repairs.

•  	It is highly recommended that all vendors review and assess all fire panel systems throughout the School Department before bidding this contract.  Vendors must have the capability to service all types of fire alarm panel systems.

•  	·         All Contractors bidding this RFP shall be licensed in the state of R.I. for all trades included in this RFP, and will not be allowed to sub-contract any of the services required, unless said successful contractor incurs all cost.

•  	Copies of licenses, insurance must be submitted with bid offer.

•  	Vendor employees must successfully complete Federal and RI State BCI check

•  	Contractor must submit a bid bond and performance bond.

•  	Contractor must conform to RI Prevailing Wage Requirements, set forth in RIDLT Municipal Contract Addendum, Prevailing Wage Requirements (RIGL 3713-1 Et Seq).

•  	Rhode Island Certified Weekly Payroll Form must include copies of the trade-licensed employee assigned to the licenses scope of work.

• Tutorial website: http://www.dlt.ri.gov/pw/pwFormsPubs.htm

•  	Bidders must conform to NFPA 70E compliant, Standard for Electrical Safety in the workplace.

•  	Bidders must conform to OSHA 300 compliant, to include worker comp mod ratio

•  	All service requests, scheduling, communications and invoicing are to be processed through the Director of Facilities office at 401-253-4000 x5151.

•  	Annual inspections to be completed during summer recess in July / August

•  	Quarterly inspections are to be completed and scheduled during school recess breaks.

LOCATIONS

The District has 6 campuses:

- Mt. Hope High School, 199 Chestnut Street, Bristol

- Kickemuit Middle School, 525 Child Street, Warren

- Colt Andrews Elementary School, 570 Hope Street, Bristol

- Guiteras Elementary School, 35 Washington Street, Bristol

- Hugh Cole Elementary School, 50 Asylum Road, Warren

- Rockwell Elementary School, 1225 Hope Street, Bristol

SCOPE OF WORK

A) Contractor will be responsible for:

The contractor shall perform quarterly testing in accordance with R.I. Uniform Fire Code, and NFPA 25 report of inspection, test results, services performed, and recommended improvements shall be completed on a Report Form acceptable to the District’s Director of Facilities. Reports and recommendations by Contractor are intended to assist the District in reducing the possibility of loss to life and property by indicating hazards and lack of protection, which need prompt consideration to prevent such loss to property

The Contractor shall be responsible for inspections and service, be staffed, equipped and organized to furnish emergency maintenance service, at extra charge, i.e. sprinkler pipe burst and sprinkler heads burst due to freezing, and/or vandalism, upon request at any property for which the Contractor is furnishing inspection services under this contract; however; no extra work will be added without prior approval of Supervisor. Invoices shall include all labor and material. Schools are to be invoiced separately

B) Fire Extinguishers and Fire Hoses

The Contractor shall complete an annual inspection of all fire extinguishers for every building; to include testing, tagging, refilling, signage where required, according to the requirements of the Fire Code Laws of the RI State Fire Safety Code, Bristol and Warren Fire Department, the National Board of Fire Underwriters, OSHA, and NFPA requirement 10.

The Contractor shall provide maintenance service throughout the school year on all types of extinguishers: Carbon Dioxide Extinguishers. Dry Chemical Extinguishers. Pressure Water Type Repairs and parts as required, refilling of all types of extinguishers, signage where required, and any extinguishers removed from service must be replaced by an extinguisher having the same classification and rating the same day. All Service work shall be at extra charge, however; no extra work will be added without prior approval of Supervisor. Invoices shall include all labor and material. Schools are to be invoiced separately.

The Contractor shall notify the Director of Facilities the two days before he intends to work in any District building. The Contractor shall submit a worksheet to be signed by a School Department representative. This worksheet must include the type, size, quantity and date of hydrostatic test made on each extinguisher at each location where the vendor deems necessary and a list of recommendations needed for each location.  All “old” extinguishers, or extinguishers needing replacement, must be turned over to the District’s Facilities Department. Inspections shall be performed during the school day and shall result in the minimum amount of interference with school business.  The Contractor shall immediately notify the Director of Facilities, whenever replacement of parts or repair is needed on any system. The District reserves the right to contract with others for any repairs or replacement work required.  All invoices shall include labor and material.

C) Kitchen Inspections/Ansul Systems (KMS, MHHS)

The contractor shall perform Semi Annual Kitchen Inspections of the Ansul Systems.

Provide a report and/or quote to the District’s Facilities Department for any necessary repairs.  All invoices shall include labor and material.

Kitchen Ansul System Inspection Checklist:

1.)       All appliances properly covered w/ correct nozzles

2.)       Duct and plenum covered w/ correct nozzles

3.)       Check positioning of all nozzles

4.)       System installed in accordance w/ Mfg. UL listing

5.)       Hood/duct penetrations sealed w/ weld or UL device

6.)       Check if seals intact, evidence of tampering

7.)       If system has been discharged, report same

8.)       Pressure gauge in proper range (if gauged)

9.)       Check cartridge weight (replace, if needed)

10.)   Hydrostatic maintenance

11.)   Inspect cylinder and mount

12.)   Operate system from terminal link

13.)   Test for proper operation from remote

14.)   Check operation of micro switch

15.)   Check operation of gas valve

16.)   Proper nozzle covers in place/clean nozzles

17.)   Check fuse links and clean

18.)   Replace fusible links (record date)

19.)   Check travel of cable, nuts, and S- hooks

20.)   Piping and conduit securely bracketed

21.)   Proper separation between fryers and flame

22.)   Proper clearance – flame to filters

23.)   Exhaust fan operating properly

24.)   All filters re-installed

25.)   Fuel shut off in ON Position

26.)   Manual and remote set/seals in place

27.)   Slave system operational

28.)   Clean cylinder and mount

29.)   Fan warning sign on hood

30.)   Personnel instructed in manual operation of system

31.)   Proper hand portable extinguishers (K Class & ABC)

32.)   Portable extinguishers properly serviced

33.)   Service and certification tag on system

D) Fire Alarm Inspection and Testing, Testing of All Detectors, and Re-setting of Fire Alarm Panel Boxes

The Contractor shall furnish complete quarterly inspection and testing service of interior fire alarm systems for every building utilized by the District in accordance with the R.I. Uniform Fire Code, and NFPA 72.  Inspection and testing of the fire alarm system in each school building shall be completed every ninety (90) days for a total of four (4) inspections per year.  All invoices shall include labor and material. A list of interior fire alarm devices is supplied in Appendix B.

1.    The successful bidder will be responsible to service all proprietary equipment.  The successful bidder will incur any and all costs of any vendor they may hire to assist in completing their task at no additional charge.

2.    Test the fire alarm master box in cooperation with the Bristol or Warren Fire      	 Department at each inspection.

3.    Schedule inspection of:  fire control panels, manual, conventional stations, monitor modules, heat and smoke detectors, control relay, horn, mini horns, strobe, booster power supply, conventional heat detector, remote drill switch, door closures, conventional control panel.

4.	Provide inspection, of all types of batteries.

5.	The re-setting of all fire alarm panels, when panels are reading trouble,     	                		beeping, and/or both.

6.	Cleaning of all types of detectors annually.

7.	 No truck and fuel charges will be included in this contract

8.	The District will disconnect/reconnect the fire alarm panel when requested.

The Contract shall include the following:

1.	 Note Escutcheon plates that are missing throughout the building.

2.	 Perform full flow capacity test on fire pumps as required.

3.	Test OS&Y tamper switch on existing OS&Y control valve, also to include OS&Y control valve when needed, and install wiring to be supervised by the fire alarm control panel.

4.	Note required amount of spare sprinkler heads, cabinets, and wrenches where needed according to fire code

5.	Check sprinkler systems and maintain proper air pressure for dry systems, and note any faulty electrical components.

6. 	Note all types of valve covers needed for all equipment.

Emergency Repairs that are not Inclusive of the Contract i.e.:

1.  	Any fire panel boxes and/or equipment needed for new installation

2.  	Pipes and/or sprinkler heads bursting from vandalism or freeze up.

3.  	Any repairs needed due to vandalism

4.  	Labor and material should be reflected in the cost of any and all emergency work performed.

The District values a safe and secure working environment

- The contractor should wear a company logo shirt and/or uniform. (no tank tops or undershirts).

- The contractor is responsible for the protection of all students, visitors, and district personnel from hazards and/or injuries due to their operations on the work site.

- The contractor shall not block exits, hallways, corridors, driveways, delivery areas, nor impede Ingress or egress.

- The contractor shall not impede a normal day to day function of the facility, its occupants or school programs.

- Non Emergency Service Calls shall be responded to within a forty eight (48) hours time period. All Emergency Calls shall be responded to within two (2) hours time period.

The District shall hold the Contractor liable for any damages caused by his employees to any equipment, apparatus, or installed property in the buildings.  The Contractor shall procure, at his expense, all necessary insurance, licenses and permits and shall conform to all laws and regulations.

All bidders will be investigated as to organization, ability to perform and experience.  In order to more easily evaluate the capabilities of the bidder in respect to the above, bidders must furnish the following information in this bid:

1.                  How long in this type of business? _______________________________

2.                  Name similar contracts you have been and are presently engaged in.

QUESTIONS:

Questions about this RFP may be directed by email to Thomas Wood at thomas.wood@bwrsd.org no later than July 1, 2021, at 4:00 pm. All information given by the District except by written addenda shall be informal and shall not be binding upon the District nor shall it furnish a basis for legal action by any Proposer or prospective Proposer against the District.

RFP CALENDAR:

- June 25, 2021: The District advertises and distributes the Request for Proposal to all interested firms.

2.   July 8, 2021: Proposals due by 2:00 pm.  Proposals must be signed by an authorized member of the consulting firm, and the name, address, and telephone number of a representative qualified to answer questions during the review process, must be included.

Three (3) copies of the proposal must be submitted to:

HAND DELIVERY or U.S. POSTAL SERVICE

Thomas Wood

Director of Facilities

Bristol Warren Regional School District

151 State Street

Bristol, RI  02809

Proposals or amendments to proposals received later than the time and date specified will not

be considered. No proposal may be withdrawn within 90 days after the submission due date.

3.	The District reserves the right to reject any and all proposals, to waive any and all informalities, defects or immaterial irregularities, and to request further clarification.

4.	It is anticipated that the award of the contract will be made as soon as possible.  Work shall be scheduled to commence on August 1, 2021.

BID FORM

SPRINKLER SYSTEM, FIRE EXTINGUISHERS, FIRE ALARM, KITCHEN HOOD SUPPRESSION SYSTEM, EMERGENCY REPAIR SERVICE CONTRACT:

The undersigned, having familiarized themselves with all local conditions affecting the

cost of work, and having examined the site and all applicable Bidding Documents herein,

and herein referenced, including, but not limited to, all addenda issued thereto, hereby

propose to furnish all labor, material, equipment, applicable taxes and services required

for proper completion of each of the following categories of this project for the sum of:

Please complete the information below as concisely as possible.

If you wish to provide additional information, please attach and reference location of additional information.

| General Information |  |
| --- | --- |
| Legal Name |  |
| Street Address |  |
| City / State / Zip |  |
| Telephone |  |
| E-Mail Address |  |
| Primary Contact Name Contact Information |  |
| Confirm, by your signature, that your organization agrees to abide by the Submission Requirements. | ______________________________________________ Signature Title |

FEE INFORMATION

Contractor/Vendor: ______________________________________________________

- Provide a Time and Material rate schedule for all service work provided outside the contract during year 1.

Itemized pricing Year 1:

Mt. Hope High School			$  ____________

Kickemuit Middle School		$  ____________

Colt Andrews School			$  ____________

Guiteras School			$  ____________

Hugh Cole School			$ ____________

Rockwell School 			$  ____________

Total year 1 charge			____________________

Contractor/Vendor: ______________________________________________________

- Provide a Time and Material rate schedule for all service work provided outside the contract during year 2.

Itemized pricing Year 2:

Mt. Hope High School			$  ____________

Kickemuit Middle School		$  ____________

Colt Andrews School			$  ____________

Guiteras School			$  ____________

Hugh Cole School			$ ____________

Rockwell School 			$  ____________

Total year 2 charge			____________________

Contractor/Vendor: ______________________________________________________

- Provide a Time and Material rate schedule for all service work provided outside the contract during year 3.

Itemized pricing Year 3:

Mt. Hope High School			$  ____________

Kickemuit Middle School		$  ____________

Colt Andrews School			$  ____________

Guiteras School			$  ____________

Hugh Cole School			$ ____________

Rockwell School 			$  ____________

Total year 3 charge			____________________

If awarded the contract, the undersigned agrees to commence starting August 1,2021. And after issuance of a Purchase Order form, which shall be considered the Notice to Proceed,

Bidder takes no exception to terms, conditions, specifications and/or any other

requirements herein unless expressly noted, and in writing to the Owner prior to the Bid

In submitting this bid, it is understood that the Owner reserves the right to reject any or all bids. It is further agreed that this bid is binding for a period of Ninety (90) days from the opening thereof.

Appendix A

INSURANCE EXHIBIT- PROFESSIONAL CONTRACTS

The professional individual or firm shall procure and maintain for the duration of the contract insurance against claims for injuries to persons or damage for property which may arise from or in connection with the performance of the contractor's work by the individual firm, his agents, representatives, employees or subcontractors. The cost of such insurance shall be included in the contractor's bid.

For the purpose of this clause: the term "professional individual or firm" and "contractor" shall also include their respective agents, representatives, employees or subcontractors; the term "Bristol Warren Regional School District" or "District" shall include their respective officers, employees, volunteers, boards, and commissions.

Additional forms of insurance may be necessary based upon the specific work performed by the contractor. When additional forms of insurance are required, the minimum amount of such coverages and the terms thereof shall be determined by the District and Superintendent and/or Chief Financial Officer and shall be stated, as well as a description of the types of additional coverage required, in an addendum to this exhibit.

Minimum Insurance Coverage Required

- Broad form comprehensive general liability, occurrence form.

- Workers' Compensation: limits as required by the State of Rhode Island.

- Employer's liability, occurrence form.

Minimum Limits of Insurance

- Comprehensive general liability: $1,000,000 combined single limits per occurrence for bodily injury, personal injury, property damage, and products/completed operations.

- Workers' Compensation: limits as required by the State of Rhode Island.

- Employer's liability: limits of $1,000,000 per occurrence.

Deductibles and Self-Insured Retention

Any deductibles or self-insured retentions must be declared to and approved by the District. At the option of the District, either the insurer shall reduce or eliminate such deductibles or self-insured retentions as respects the District, or the contractor shall procure a bond guaranteeing payment of losses and related investigations, claims administration and defense expenses.

Notice of Cancellation or Non-Renewal

Each insurance policy required by this exhibit shall be endorsed to state that coverage shall not be suspended, voided, canceled, or reduced in coverage or in limits except after thirty {30) days' prior written notice by certified mail, has been given to the District.

Other Insurance Provisions

The policies are to contain, or be endorsed to contain, the following provisions:

1. Comprehensive General Liability Coverage:

a. The District and their respective officers, agents, officials, employee volunteers,

Boards and commissions are to be covered as insured as respects : liability arising out of activities performed by or on behalf of the contractor ; products and completed operations of the contractor; premises owned, leased or used by the contractor . The coverage shall contain to no special limitations on the scope of protection afforded to the District.

b. The contractor's insurance coverage shall be the primary insurance with respect to the District. Any insurance or self-insurance maintained by the District shall be in excess of the contractor’s insurance and shall not contribute with it.

c. Any failure to comply with reporting provisions of the policies shall not affect coverage provided to the District.

d. Coverage shall state that the contractor insurance shall apply separately to each Insured against whom claim is made or suit is brought, except with respect to the limits of the insurer’s liability.

2. The insurer shall agree to waive all rights of subrogation against the District for losses arising from the work performed by the contractor for the District.

Acceptability of Insurers

1. Insurance is to be placed with insurers with a Best rating of no less than A: VII.

2. Insurance companies must either be licensed to do business in the State of Rhode Island, or otherwise deemed acceptable by the District, Superintendent and/or the Chief Financial Officer.

Verification of Coverage

The contractor shall furnish the District with certificates of insurance affecting coverage required by this clause. The certificates and endorsements for each insurance policy are to be signed by a person authorized by that insurer to bind coverage on its behalf. The certificates and endorsements are to be received and approved by the District before work commences. Renewal of expiring certificates shall be filed thirty (30) days prior to expiration. The District reserves the right to require complete, certified copies of all required policies, at any time.

Appendix B

List of Points per building

Guiteras     Honeywell Firelite                                                     	Rockwell   FCI 72

(61) Horn or horn/strobes                                                       	(63) Horn or horn/strobes

(10) Pull Stations                                                                         	(16) Pull Stations

(11) Valves                                                                                     	(8) Valves

(88) Smoke Detectors                                                                 	(18) Smoke Detectors

(1) Fire Pump								(8) Fire Extinguishers

(9) Fire Extinguishers

Colt    FCI 72                                                                                    	Andrews   FCI 72

(43) Horn or horn/strobes                                                             	(53) Horn or horn/strobes

(21) Pull Stations                                                                              	(15) Pull Stations

(9) Valves                                                                                        	(8) Valves

(48) Smoke Detectors                                                                 	(48) Smoke Detectors

(10) Heat Detectors                                                                          	(10) Heat Detectors

(9) Fire Extinguishers						(6) Fire Extinguishers

Hugh Cole

(60) Horn or horn/strobes

(20) Pull Stations

(4) Valves

(10) Smoke Detectors

(9) Fire Extinguishers

Mt. Hope High School                                                                	Kickemuit Middle School

(60) Horn or horn/strobes                                                             	(63) Horn or horn/strobes

(24) Pull Stations                                                                              	(16) Pull Stations

(13) Valves                                                                                     	(4) Valves

(20) Smoke Detectors                                                                      	(18) Smoke Detectors

(10) Heat Detectors                                                                          	(81) Heat Detectors

(1) Fire Pump								(10) Fire Extinguishers

(16) Fire Extinguishers