Date:		____________

Building:	____________

Inspectors:	____________

____________

Safely Inspection Checklist

Entrances:

Yes	No	NA	Is the lighting adequate with no glare or shadows?

Yes	No	NA	Are tripping hazards eliminated (threshold plates in good repair, absence of cords and clutter, etc)

Yes	No	NA	Are all walking surfaces level and any differences adequately marked?

Yes	No	NA	Does the door close properly without help?

Yes	No	NA	Do emergency exits open outward?

Comments for this section - ______________________________________________________________

Stairs:	NA	State reason_________________________________________________________

Yes	No	NA	Is the lighting adequate with no glare or shadows?

Yes	No	NA	Are treads safe and made of nonskid material?

Yes	No	NA	Are handrails provided on both sides and are they safe?

Yes	No	NA	Are landings free of storage materials, equipment, etc?

Comments for this section - ______________________________________________________________

Hallways:

Yes	No	NA	Is housekeeping proper and safe – floor dressing properly applied, adequate sweeping and pick-up procedures, non-slip wax, etc?

Yes	No	NA	Is the lighting adequate with no glare or shadows?

Yes	No	NA	Are ramps provided with nonskid surface and in safe condition?

Yes	No	NA	Are all elevation differences between floors clearly defined and properly lighted?

Yes	No	NA	Are all walking surfaces level and any differences adequately marked?

Yes	No	NA	Are water fountains properly adjusted and leak free?

Yes	No	NA	Are emergency exit diagrams posted by the fire exits?

Yes	No	NA	Are fire extinguishers and AED units regularly serviced and maintained according to specifications?

Comments for this section - ______________________________________________________________

Classrooms:	NA	State reason___________________________________________________

Yes	No	NA	Is safety glass provided in all doors?

Yes	No	NA	Is housekeeping adequate?

Yes	No	NA	Are classrooms free of all cleaning supplies and other chemicals?

Yes	No	NA	Are desks, chairs, file cabinets, etc. kept in a safe condition and positioned so that drawers do not open into hallways or walkways?

Yes	No	NA	Are the desk and file drawers kept closed?

Yes	No	NA	Are the lowest cabinet drawers reserved for the heaviest materials so that the cabinet is not disproportionately top heavy?

Yes	No	NA	Is only one file cabinet drawer open at a time?

Yes	No	NA	Are the tops of bookcases and filing cabinets free of heavy items (not being used for storage)?

Yes	No	NA	Is there adequate aisle space provided such that a quick exit of students is possible?

Yes	No	NA	Are the floors free of holes, splinters, protruding nails, slipperiness, loose boards?

Yes	No	NA	Are venetian blinds in safe condition?

Yes	No	NA	Are there appropriate use of outlets with no overloading, nothing covering them?

Yes	No	NA	Are surge protectors and power strips being used appropriately (no extension cords placed across aisles)?

Yes	No	NA	Are extension cords of the heavy-duty type, 3-pronged and no more than 10’ long?

Yes	No	NA	Are AV carts and book trucks properly balanced and not overloaded?

Yes	No	NA	Are AV carts and book trucks being pushed not pulled?

Yes	No	NA	Is AV equipment grounded and plugged into appropriate outlets?

Yes	No	NA	Are TV monitors strapped onto appropriately-sized AV carts?

Yes	No	NA	Are walkways and steps leading to portable classrooms in good condition?

Yes	No	NA	Do windows open easily?

Yes	No	NA	Are stepping stools or ladders being used appropriately?

Yes	No	NA	Is the room free from plug-ins (fans, heaters, coffee pots, air fresheners, etc.)?

Comments for this section - ______________________________________________________________

Library:	NA	State reason_________________________________________________________

Yes	No	NA	Is housekeeping adequate?

Yes	No	NA	Are traffic patterns clearly indicated and pathways between bookcases, tables, and chairs adequate and clear at all times?

Yes	No	NA	Is carpeting secure and have possible tripping areas been attended to?

Yes	No	NA	Have non-carpeted areas been treated with non-skid wax?

Yes	No	NA	Are all walking surfaces level and any differences adequately marked?

Yes	No	NA	Are fire extinguishers of an approved type prominently located and marked?

Yes	No	NA	Is staff trained in proper use of fire extinguishers?

Yes	No	NA	Are fire extinguishers regularly serviced and maintained according to specifications?

Yes	No	NA	Are emergency exits and evacuation routes clearly marked and unobstructed?

Yes	No	NA	Are there emergency exit diagrams posted by the fire exits?

Yes	No	NA	Are storage areas orderly and free of combustible (waste) materials?

Yes	No	NA	Is the room arranged to maintain maximum service from installed facilities?

Yes	No	NA	Are there appropriate use of outlets with no overloading, nothing covering them?

Yes	No	NA	Are surge protectors and power strips being used appropriately (no extension cords placed across aisles)?

Yes	No	NA	Are extension cords of the heavy-duty type, 3-pronged and no more than 10’ long?

Yes	No	NA	Are AV carts and book trucks properly balances and not overloaded?

Yes	No	NA	Are AV carts and book trucks being pushed not pulled?

Yes	No	NA	Are proper tools used for opening cartons and containers?

Yes	No	NA	Are step-stools and ladders appropriate and available for use?

Yes	No	NA	Are desk chairs kept in good condition and replaced as needed?

Yes	No	NA	Is shelving secure from tipping?

Yes	No	NA	Are desks, chairs, file cabinets, etc., kept in a safe condition and positioned so that drawers do not open into hallways or walkways?

Yes	No	NA	Are desk and file drawers kept closed?

Yes	No	NA	Are the lowest cabinet drawers reserved for the heaviest materials so that the cabinet is not disproportionately top heavy?

Yes	No	NA	Is only one file cabinet drawer open at a time?

Yes	No	NA	Are the tops of bookcases and filing cabinets free of heavy items (not being used for storage)?

Yes	No	NA	Are supplies stored in an orderly manner?  Are heavier items stored low and lighter, and less frequently used items at a higher level?

Yes	No	NA	Are correct lifting procedures being practiced?

Yes	No	NA	Is the room free from plug-ins (fans, heaters, coffee pots, air fresheners, etc.)?

Comments for this section - ______________________________________________________________

Office Area:

Yes	No	NA	Is housekeeping properly maintained?

Yes	No	NA	Are venetian blinds in safe condition?

Yes	No	NA	Is office area free of all cleaning supplies and other chemicals?

Yes	No	NA	Are traffic patterns clearly indicated and pathways between bookcases, tables, and chairs adequate and clear at all times?

Yes	No	NA	Is carpeting secure and have possible tripping areas been attended to?

Yes	No	NA	Have non-carpeted areas been treated with non-skid wax?

Yes	No	NA	Are desks, chairs, file cabinets, etc., kept in a safe condition and positioned so that drawers do not open into hallways or walkways?

Yes	No	NA	Are desk and file drawers kept closed?

Yes	No	NA	Are the lowest cabinet drawers reserved for the heaviest materials so that the cabinet is not disproportionately top heavy?

Yes	No	NA	Is only one file cabinet drawer open at a time?

Yes	No	NA	Are the tops of bookcases and filing cabinets free of heavy items (not being used for storage)?

Yes	No	NA	Is shelving secure from tipping?

Yes	No	NA	Are fire extinguishers of an approved type prominently located and marked?

Yes	No	NA	Is staff trained in proper use of fire extinguishers?

Yes	No	NA	Are fire extinguishers regularly serviced and maintained?

Yes	No	NA	Are there appropriate use of outlets with no overloading, nothing covering them?

Yes	No	NA	Are surge protectors and power strips being used appropriately (no extension cords placed across aisles)?

Yes	No	NA	Are extension cords of the heavy-duty type, 3-pronged and no more than 10’ long?

Yes	No	NA	Is the room free from plug-ins (fans, heaters, coffee pots, air fresheners, etc.)?

Comments on this section - ______________________________________________________________

Nurses Office:	NA	State reason___________________________________________________

Yes	No	NA	Is housekeeping properly maintained?

Yes	No	NA	Are venetian blinds in safe condition?

Yes	No	NA	Is office area free of all cleaning supplies and other chemicals?

Yes	No	NA	Are traffic patterns clearly indicated and pathways between bookcases, tables, and chairs adequate and clear at all times?

Yes	No	NA	Is carpeting secure and have possible tripping areas been attended to?

Yes	No	NA	Have non-carpeted areas been treated with non-skid wax?

Yes	No	NA	Are desks, chairs, file cabinets, etc., kept in a safe condition and positioned so that drawers do not open into hallways or walkways?

Yes	No	NA	Are desk and file drawers kept closed?

Yes	No	NA	Are the lowest cabinet drawers reserved for the heaviest materials so that the cabinet is not disproportionately top heavy?

Yes	No	NA	Is only one file cabinet drawer open at a time?

Yes	No	NA	Are the tops of bookcases and filing cabinets free of heavy items (not being used for storage)?

Yes	No	NA	Is shelving secure from tipping?

Yes	No	NA	Are there appropriate use of outlets with no overloading, nothing covering them?

Yes	No	NA	Are surge protectors and power strips being used appropriately (no extension cords placed across aisles)?

Yes	No	NA	Are extension cords of the heavy-duty type, 3-pronged and no more than 10’ long?

Yes	No	NA	Is the room free from plug-ins (fans, heaters, coffee pots, air fresheners, etc.)?

Yes	No	NA	Is the sharps container secured and not overflowing?

Yes	No	NA	Is the refrigerator available for students' medications and snacks only?

Yes	No	NA	Has the nurse offered a blood borne pathogen in-service in the past year?  (Check the sign in sheet.)

Yes	No	NA	Are all of the cabinet drawers shut?

Yes	No	NA	Are all medications labeled?

Yes	No	NA	Is the First Aid box visible and stocked?

Yes	No	NA	Is the treatment counter free of drinks or food?

Comments for this section - ______________________________________________________________

Miscellaneous areas:	NA	State reason_____________________________________________

Yes	No	NA	Are lockers safe and secured to the floor or wall with no sharp projections?

Yes	No	NA	Are stage areas safe (safeties on winches, wire ropes to hold screens, safety chains on lights, screens etc. as needed)?

Yes	No	NA	Are shelves bolted to the wall?

Yes	No	NA	Ladders, Scaffold, and Horses - Are ladders of standard construction in safe condition?  Are they used or mounted properly?

Yes	No	NA	Has the elevator been inspected in the last three months?

Comments for this section - ______________________________________________________________

Physical Education Areas and Playground Equipment:

NA	State reason_________________________________________________________

Yes	No	NA	Are shower controls working safely; i.e., water not too hot?

Yes	No	NA	Are floors in shower area clean and not too slippery?

Yes	No	NA	Is playground equipment structurally sound -  no loose bolts, broken welds?

Yes	No	NA	Are concrete foundations in good condition?

Yes	No	NA	Is dirt or fill from beneath equipment free of hazardous surface erosion?

Yes	No	NA	Is equipment free of any sharp edges or points?

Yes	No	NA	Is the playground and other outdoor areas free of hazardous surface erosion?

Yes	No	NA	Is the playground and other outdoor areas free of unsafe surface protrusions or holes?

Yes	No	NA	Are fields free of broken or exposed sprinkler heads?

Yes	No	NA	Are fields free of unsafe ponding areas where water accumulates?

Yes	No	NA	Is blacktop and grounds free of any debris that creates an unsafe condition?

Yes	No	NA	Is the grass area safe for use by students?

Yes	No	NA	Are the fences safe and not loose or down?

Yes	No	NA	Is fencing free of broken posts, connectors, braces, and post caps that create a hazardous condition?

Yes	No	NA	Are grounds free of animals (pets, vermin, insects, etc.)?

Yes	No	NA	Are the baseball and softball backstops safe?

Yes	No	NA	Are the parallel or uneven bars safe?

Yes	No	NA	Is the horizontal bar safe?

Yes	No	NA	Is the balance beam safe?

Yes	No	NA	Is the overhead ladder safe?

Yes	No	NA	Is all the gymnastic equipment safe and structurally sound - free of loose hardware?

Yes	No	NA	Is equipment attached securely?

Yes	No	NA	Are the guide wires sound and safe?

Yes	No	NA	Are the floor plates secure?

Yes	No	NA	Are the tumbling mats in safe condition?

Yes	No	NA	Are the rings safe?

Yes	No	NA	Are grounds free of broken glass?

Yes	No	NA	In the gym are emergency exits and evacuation routes clearly marked and unobstructed?

Yes	No	NA	Are there emergency exit diagrams posted by the fire exits?

Yes	No	NA	Are the bleachers safe and structurally adequate both indoors and outdoors?

Yes	No	NA	Is the condition of playing fields satisfactory and safe - void of holes, rocks, glass, etc.?

Yes	No	NA	Are folding doors in gym operating safely?

Yes	No	NA	Are the bleacher’s seat boards, footboards, railings and guardrails secured with no loose bolts or cracked welds?

Yes	No	NA	Is the playground properly supervised?

Comments for this section - ______________________________________________________________

Grounds:

Yes	No	NA	Are guard rails situated where needed and in good condition?

Yes	No	NA	Are the sidewalks safe – level, no holes, rocks, free of ice, etc.?

Yes	No	NA	Is roof access restricted?

Yes	No	NA	Is dirt of fill from under dumpster, portables, etc. free from hazardous surface erosion?

Yes	No	NA	Is there adequate lighting in the parking lot, around dumpsters, etc.?

Comments for this section - ______________________________________________________________

Parking lots:

Yes	No	NA	Are parking lots safe and clear of any hazards?

Yes	No	NA	Are traffic controls adequate on school grounds?

Yes	No	NA	Is there proper signage and marked cross walks?

Yes	No	NA	Is the lot in good condition – potholes filled, free from gravel/cinders?

Comments for this section - ______________________________________________________________

General Custodial:

Yes	No	NA	Are equipment and supply storage rooms clean, labeled and locked?

Yes	No	NA	Are supplies stored in an orderly manner?  Are heavier items stored low and lighter, and less frequently used items at a higher level?

Yes	No	NA	Are all chemicals properly stored and labeled?

Yes	No	NA	Are chemicals kept at a sufficient operating level; i.e., not overstocking?

Yes	No	NA	Are MSDS sheets for all chemicals in use on hand?

Yes	No	NA	Are ladders available in each area of the campus?

Yes	No	NA	Are ladders provided where needed in storage areas?

Yes	No	NA	Are ladders used instead of furniture?

Yes	No	NA	Are machines (buffers, vacuum cleaners, etc.) clean and in good working condition?

Yes	No	NA	Is all electrical equipment properly grounded and safe?

Yes	No	NA	Are machines properly locked in storage rooms when not in use?

Yes	No	NA	Is there appropriate use of outlets with no overloading?

Yes	No	NA	Are fire extinguishers of an approved type prominently located and appropriately marked?

Yes	No	NA	Is staff trained in proper use of fire extinguishers?

Yes	No	NA	Are fire extinguishers regularly serviced and maintained according to specifications?

Yes	No	NA	Are wet floors signs available and used?

Yes	No	NA	Are electrical circuit breaker panels properly labeled and locked?

Comments for this section - ______________________________________________________________

Shops:	NA	State reason_________________________________________________________

Yes	No	NA	Are tools safe and properly stored?

Yes	No	NA	Are all machines properly guarded and are guards and machines safe (points of operation, belts, gears, etc., guarded)?

Yes	No	NA	Are self-closing containers (safety cans) available for storage of flammable liquids in use?

Yes	No	NA	Are ladders provided where needed in storage areas?

Yes	No	NA	Are heavy items stored on floor or bottom shelves?

Yes	No	NA	Are shelves adequate and safe for intended load and fastened to walls?

Yes	No	NA	Are hand tools free of mushroom heads or split and loose handles? Are sharp cutting edges protected by adequate guards?

Yes	No	NA	Is personal protective equipment provided and utilized (eye protection, welding hoods, welding apron, gloves, respirators, etc.)?

Yes	No	NA	Is housekeeping adequate; ie., proper storage, clear aisle space, proper furniture and equipment arrangement, etc.?

Yes	No	NA	Are pressurized cylinders secured and capped properly?

Yes	No	NA	Are nonskid floor surfaces provided by or near machines?

Yes	No	NA	Is all electrical equipment properly grounded and safe?

Yes	No	NA	Is there appropriate use of outlets with no overloading?

Yes	No	NA	Are safety devices on car lifts in safe working order?

Yes	No	NA	Are tool rests adjusted to no more than 1/8 inch clearance?

Yes	No	NA	Are switches and other danger areas on machines, etc. color coded?

Yes	No	NA	Is adequate space available for safe operation; i.e., machines and equipment not crowded and arranged properly?

Yes	No	NA	Is all equipment permanently fastened to the floor?

Yes	No	NA	Are welding curtains provided in the welding area?

Yes	No	NA	Is the shop adequately ventilated?

Yes	No	NA	Is proper ventilation provided for toxic vapors; i.e., solder, paint, etc.?

Yes	No	NA	Are personal items of clothing - such as rings, ties, etc. removed before operating equipment?

Yes	No	NA	Are materials properly stacked?  Are tools racked?  Storage bins orderly?

Yes	No	NA	Are fire extinguishers of an approved type prominently located and marked?

Yes	No	NA	Are fire extinguishers charged and stored in proper places?

Yes	No	NA	Is staff trained in proper use of fire extinguishers?

Comments for this section - ______________________________________________________________

Laboratories and Laboratory Storerooms:

NA	State reason_________________________________________________________

Yes	No	NA	Is the amount of glassware and chemicals kept to a minimum in work areas?

Yes	No	NA	Are glassware / glass containers stored on lower shelves?

Yes	No	NA	Is housekeeping satisfactory?

Yes	No	NA	Is all electrical equipment properly grounded?

Yes	No	NA	Is eye protection available and worn when needed?

Yes	No	NA	Are ladders available in storage room if needed?

Yes	No	NA	Are heavy items stored on lower shelves?

Yes	No	NA	Are storeroom doors properly labeled with the required hazardous signage?

Yes	No	NA	Are storerooms locked at all times?

Yes	No	NA	Are chemicals kept at a sufficient operating level; i.e., not overstocking?

Yes	No	NA	Are chemicals clearly labeled?

Yes	No	NA	Are MSDS sheets for all chemicals in use on hand?

Yes	No	NA	Are like materials stored together?

Yes	No	NA	Are large containers of acids stored together on bottom shelves or in an acid storage closet?

Yes	No	NA	Are areas available for working (burning, heating, using hot plate mixing, etc.) other than in the stock rooms? (Stock rooms should be used for storage only)

Yes	No	NA	Are fire extinguishers of an approved type, prominently located and marked?

Yes	No	NA	Are fire extinguishers charged and stored in proper places?

Yes	No	NA	Is staff trained in proper use of fire extinguishers?

Yes	No	NA	Are shelves fastened to the wall?

Yes	No	NA	Is the ventilation adequate for work performed?

Yes	No	NA	Is there appropriate use of outlets with no overloading?

Yes	No	NA	Is AV equipment grounded and plugged into appropriate outlets?

Yes	No	NA	Are TV monitors strapped onto appropriately-sized AV carts?

Comments for this section - ______________________________________________________________

Food Service Department:	NA	State reason_______________________________________

Yes	No	NA	Are all machines properly guarded and are guards and machines safe (points of operation, belts, gears, etc., guarded)?

Yes	No	NA	Is personal protective equipment provided and used (eye protection, gloves, etc.)?

Yes	No	NA	Are the floors clean, not slick or wet?

Yes	No	NA	Are non-slip mats flat and secure?

Yes	No	NA	Has the fire safety system been inspected in the past 6 months?

Yes	No	NA	Is the cutlery properly stored when not in use?

Yes	No	NA	Is there a properly stocked first aid kit and MSDS binder available?

Yes	No	NA	Is housekeeping satisfactory?

Yes	No	NA	Are the loading docks clear of hazards?

Yes	No	NA	Is the loading dock handrail secure?

Yes	No	NA	Is there adequate lighting with no glare or shadows?

Comments for this section - ______________________________________________________________

Cafeteria:	NA	State reason_________________________________________________________

Yes	No	NA	Are floors clean and clear of any tripping, slipping hazards?

Yes	No	NA	Are the tables and chairs free of any rough edges or loose hardware?

Yes	No	NA	Are the tables stored so that they won’t tip over while being stored?

Comments for this section - ______________________________________________________________

Boiler Room:

Yes	No	NA	Is the room free from flammable/combustible liquids?

Yes	No	NA	Is lawn equipment stored in a separate area?

Yes	No	NA	Are all exits clearly marked and unobstructed?

Yes	No	NA	Is housekeeping satisfactory?

Yes	No	NA	Are fire extinguishers of an approved type, prominently located and marked?

Yes	No	NA	Are fire extinguishers charged and stored in proper places?

Yes	No	NA	Is staff trained in proper use of fire extinguishers?

Yes	No	NA	Is the emergency generator tested weekly?

Comments for this section - ______________________________________________________________

Additional Comments: ________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Inspector’s signature:___________________________________		Date:____________________

Inspector’s signature:___________________________________		Date:____________________