January 17, 2024

Request for Proposal: Retrofit School Buses with Air

Project Overview: Emanuel County Schools currently seeking proposals for retrofitting ten school buses with air. The proposal should include but is not limited to providing and installing the units on ten school buses. Installation should  include all components needed, including any wiring and mounting hardware. Specific bus model and VIN information will be provided upon request.

See basic bus information below:

4- 2009 Blue Bird-72 passenger buses

3- 2011 Blue Bird- 72 passenger buses

3- 2012 Thomas- 72 passenger buses

Standard Equipment: The equipment should at least meet the following specifications:

120K BTU system to be installed on the front/rear inwalls.

Skirted condensers

Dual compressors

Minumum of three year warranty

Evaluation: Proposals will be evaluated based on the following:

- HVAC system to be installed

- Eperience and overall knowledge the vendor has with retrofitting buses with air

- The total cost of the project.

- Equipment and service warranty

- The availability of the parts and equipment and timeline of installation

- References

Timeline: The RFQ will be posted for five business days. Installation needs to be completed before July 1, 2024.

Additional Information: This is an ESSER funded project.  If bidders are unsure what this entails please call the project mananger for additional information.