Use this editable response form for C2 bids. Add/remove rows as needed, but keep each bid within the correct category and sub-category. For equivalent products, you may replace the requested product with the product you plan to bid. Please notate where you are not bidding.

Fill out form and include with your bid

*** REQUESTING PROPOSALS FOR MANUFACTURER AND PART NUMBER LISTED. EQUIVALENT OR SUPERIOR***

*Complete this form including all proposed components, itemized costs, E-Rate eligibility, and service/design/installation costs as separate line items. Responses should at a minimum include the required components as requested within the RFP, but should be amended to include any additional/alternate materials/resources/components which the vendor believes is necessary to provide a complete functioning solution. Responses which include additional/alternate components must include an explanation for such changes. **This response form must be provided in digital, Microsoft Word or Excel format. Hard copies will be accepted but NOT IN EXCLUSION OF THE DIGITAL COPY.

| Item Number/Description | Qty | Unit Cost | Extended Cost | E-Rate Eligibility (Y/N) | E-Rate Eligible Amount |
| --- | --- | --- | --- | --- | --- |
| ARLINGTON CAMPUS |  |  |  |  |  |
| Wireless Networking |  |  |  |  |  |
| Meraki CW9164 | 63 |  |  |  |  |
| Meraki CW9166 | 1 |  |  |  |  |
| MR License | 64 |  |  |  |  |
| *Installation |  |  |  |  |  |
| Network Data Cabling |  |  |  |  |  |
| CAT6a Network Data Cabling | 64 |  |  |  |  |
| CAT6 Network Data Cabling | 252 |  |  |  |  |
| CAT6 Smart Board Data Cabling | 54 |  |  |  |  |
| CAT6a Yellow Patch Cables (10ft) | 64 |  |  |  |  |
| CAT6a Yellow Patch Cables (8in) | 64 |  |  |  |  |
| CAT6 Blue Patch Cables (10ft) | 252 |  |  |  |  |
| CAT6 Blue Patch Cables (8in) | 252 |  |  |  |  |
| CAT6 Orange Patch Cables (10ft) | 54 |  |  |  |  |
| CAT6 Orange Patch Cables (8in) | 54 |  |  |  |  |
| Modular Patch Panel 48-Port | 13 |  |  |  |  |
| Modular Patch Panel 24-Port | 1 |  |  |  |  |
| HPE G2 Enterprise Pallet Rack | 2 |  |  |  |  |
| MM Fiber, 12-Strand, OM4 | 1 |  |  |  |  |
| 500i SDX Fiber Shelf | 2 |  |  |  |  |
| OM4 12-Fiber Adapter Panel LC | 2 |  |  |  |  |
| LC to LC OM4 MMF 3m Patch Cable | 12 |  |  |  |  |
| *Engineering/Design |  |  |  |  |  |
| *Installation/Implementation |  |  |  |  |  |
| Uninterruptable Power Supply |  |  |  |  |  |
| APC Smart-UPS Line Interactive, 3kVA Li-Ion Rackmount 2U, 120V, 2X NEMA 5-20R+6x NEMA 5-15R outlets, SmartConnect Port+Network Card, AVR, LCD | 2 |  |  |  |  |
| HPE G2 Metered/Switched Vertical Full-Height PDU | 4 |  |  |  |  |
| GRAND PRAIRIE CAMPUS |  |  |  |  |  |
| Wireless Networking |  |  |  |  |  |
| Meraki CW9164 | 63 |  |  |  |  |
| Meraki CW9166 | 1 |  |  |  |  |
| MR License | 64 |  |  |  |  |
| *Installation |  |  |  |  |  |
| Network Data Cabling |  |  |  |  |  |
| CAT6a Network Data Cabling | 64 |  |  |  |  |
| CAT6 Network Data Cabling | 252 |  |  |  |  |
| CAT6 Smart Board Data Cabling | 54 |  |  |  |  |
| CAT6a Yellow Patch Cables (10ft) | 64 |  |  |  |  |
| CAT6a Yellow Patch Cables (8in) | 64 |  |  |  |  |
| CAT6 Blue Patch Cables (10ft) | 252 |  |  |  |  |
| CAT6 Blue Patch Cables (8in) | 252 |  |  |  |  |
| CAT6 Orange Patch Cables (10ft) | 54 |  |  |  |  |
| CAT6 Orange Patch Cables (8in) | 54 |  |  |  |  |
| Modular Patch Panel 48-Port | 13 |  |  |  |  |
| Modular Patch Panel 24-Port | 1 |  |  |  |  |
| HPE G2 Enterprise Pallet Rack | 2 |  |  |  |  |
| MM Fiber, 12-Strand, OM4 | 1 |  |  |  |  |
| 500i SDX Fiber Shelf | 2 |  |  |  |  |
| OM4 12-Fiber Adapter Panel LC | 2 |  |  |  |  |
| LC to LC OM4 MMF 3m Patch Cable | 12 |  |  |  |  |
| *Engineering/Design |  |  |  |  |  |
| *Installation/Implementation |  |  |  |  |  |
| Uninterruptable Power Supply |  |  |  |  |  |
| APC Smart-UPS Line Interactive, 3kVA Li-Ion Rackmount 2U, 120V, 2X NEMA 5-20R+6x NEMA 5-15R outlets, SmartConnect Port+Network Card, AVR, LCD | 2 |  |  |  |  |
| HPE G2 Metered/Switched Vertical Full-Height PDU | 4 |  |  |  |  |