## Slide 1
BARBARA BUSH MIDDLE SCHOOL
cfbbond.com

## Slide 2
PROMISES MADE
PROMISES KEPT
PROMISES MADE
PROMISES KEPT
Improvements
Fine Arts Classroom and Performance Space Improvements
  Band, Orchestra, Choir, Theater, and Percussion Hall Renovations
Collaboration Rooms
  Practice Rooms in Fine Arts
Exterior Upgrades
  Roof Replacement and Repair
  Parking Lot Restriping
Interior Upgrades
  Makerspace /Engineering Room Renovation
Mechanical, Electrical, and Plumbing Systems Upgrades
  New LED Site Lighting and Controls
  Water Bottle Fillers
Landscape Improvements
  Exterior Concrete Replacement
  Exterior Benches
Kitchen Renovation
  New Kitchen Equipment
New Marquee – Coming Soon
Access Control
  Intercom
  Card Readers
  Security Alarm
Cameras
Bollards
Fire Sprinkler System Upgrades
Secure Climate Controlled Server Space
Cabling
Wireless Upgrades
Phone System Upgrades

## Slide 3
Improvements
PROMISES MADE
PROMISES KEPT
Fine Arts Classroom and Performance Space Improvements
  Band, Orchestra, Choir, Theater, and Percussion Hall Renovations
Collaboration Rooms
  Practice Rooms in Fine Arts
Exterior Upgrades
  Roof Replacement and Repair
  Parking Lot Restriping
Interior Upgrades
  Makerspace /Engineering Room Renovation
Mechanical, Electrical, and Plumbing Systems Upgrades
  New LED Site Lighting and Controls
  Water Bottle Fillers
Landscape Improvements
  Exterior Concrete Replacement
  Exterior Benches
Kitchen Renovation
  New Kitchen Equipment
New Marquee – Coming Soon
New Theater Arts
New Practice/Ensemble Room
Orchestra Hall
Band Hall

## Slide 4
Improvements
PROMISES MADE
PROMISES KEPT
Fine Arts Classroom and Performance Space Improvements
  Band, Orchestra, Choir, Theater, and Percussion Hall Renovations
Collaboration Rooms
  Practice Rooms in Fine Arts
Exterior Upgrades
  Roof Replacement and Repair
  Parking Lot Restriping
Interior Upgrades
  Makerspace /Engineering Room Renovation
Mechanical, Electrical, and Plumbing Systems Upgrades
  New LED Site Lighting and Controls
  Water Bottle Fillers
Landscape Improvements
  Exterior Concrete Replacement
  Exterior Benches
Kitchen Renovation
  New Kitchen Equipment
New Marquee – Coming Soon
New Roofing
Parking Lot Re-striping

## Slide 5
Improvements
PROMISES MADE
PROMISES KEPT
Fine Arts Classroom and Performance Space Improvements
  Band, Orchestra, Choir, Theater, and Percussion Hall Renovations
Collaboration Rooms
  Practice Rooms in Fine Arts
Exterior Upgrades
  Roof Replacement and Repair
  Parking Lot Restriping
Interior Upgrades
  Makerspace /Engineering Room Renovation
Mechanical, Electrical, and Plumbing Systems Upgrades
  New LED Site Lighting and Controls
  Water Bottle Fillers
Landscape Improvements
  Exterior Concrete Replacement
  Exterior Benches
Kitchen Renovation
  New Kitchen Equipment
New Marquee – Coming Soon
Before
After

## Slide 6
Improvements
PROMISES MADE
PROMISES KEPT
Fine Arts Classroom and Performance Space Improvements
  Band, Orchestra, Choir, Theater, and Percussion Hall Renovations
Collaboration Rooms
  Practice Rooms in Fine Arts
Exterior Upgrades
  Roof Replacement and Repair
  Parking Lot Restriping
Interior Upgrades
  Makerspace /Engineering Room Renovation
Mechanical, Electrical, and Plumbing Systems Upgrades
  New LED Site Lighting and Controls
  Water Bottle Fillers
Landscape Improvements
  Exterior Concrete Replacement
  Exterior Benches
Kitchen Renovation
  New Kitchen Equipment
New Marquee – Coming Soon
Site Lighting
Water Bottle Fillers
After - LED Lighting
Before - Lighting

## Slide 7
Improvements
PROMISES MADE
PROMISES KEPT
Fine Arts Classroom and Performance Space Improvements
  Band, Orchestra, Choir, Theater, and Percussion Hall Renovations
Collaboration Rooms
  Practice Rooms in Fine Arts
Exterior Upgrades
  Roof Replacement and Repair
  Parking Lot Restriping
Interior Upgrades
  Makerspace /Engineering Room Renovation
Mechanical, Electrical, and Plumbing Systems Upgrades
  New LED Site Lighting and Controls
  Water Bottle Fillers
Landscape Improvements
  Exterior Concrete Replacement
  Exterior Benches
Kitchen Renovation
  New Kitchen Equipment
New Marquee – Coming Soon
Site Concrete
Site Concrete
Site Concrete
Exterior Benches

## Slide 8
Improvements
PROMISES MADE
PROMISES KEPT
Fine Arts Classroom and Performance Space Improvements
  Band, Orchestra, Choir, Theater, and Percussion Hall Renovations
Collaboration Rooms
  Practice Rooms in Fine Arts
Exterior Upgrades
  Roof Replacement and Repair
  Parking Lot Restriping
Interior Upgrades
  Makerspace /Engineering Room Renovation
Mechanical, Electrical, and Plumbing Systems Upgrades
  New LED Site Lighting and Controls
  Water Bottle Fillers
Landscape Improvements
  Exterior Concrete Replacement
  Exterior Benches
Kitchen Renovation
  New Kitchen Equipment
New Marquee – Coming Soon
New Freezer
New Cooler
New Serving Line
New Serving Line

## Slide 9
Improvements
PROMISES MADE
PROMISES KEPT
Fine Arts Classroom and Performance Space Improvements
  Band, Orchestra, Choir, Theater, and Percussion Hall Renovations
Collaboration Rooms
  Practice Rooms in Fine Arts
Exterior Upgrades
  Roof Replacement and Repair
  Parking Lot Restriping
Interior Upgrades
  Makerspace /Engineering Room Renovation
Mechanical, Electrical, and Plumbing Systems Upgrades
  New LED Site Lighting and Controls
  Water Bottle Fillers
Landscape Improvements
  Exterior Concrete Replacement
  Exterior Benches
Kitchen Renovation
  New Kitchen Equipment
New Marquee

## Slide 10
Access Control
  Intercom
  Card Readers
  Security Alarm
Cameras
Bollards
Fire Sprinkler System Upgrades
Safety and Security
PROMISES MADE
PROMISES KEPT
Fire Alarm Panel
Exterior Camera
Card Reader
Video Intercom
Card Readers
Cameras
Fire Alarm
Bollards/Benches
Intercom
Access Control

## Slide 11
PROMISES MADE
PROMISES KEPT
Secure Climate Controlled Server Space
Cabling
Wireless Upgrades
Phone System Upgrades
Technology
Wireless Upgrades
Cabling
Secure Climate Controlled Server Space
Clocks

## Slide 12
PROMISES MADE
PROMISES KEPT
FCI Update

## Slide 13
Site
FCI Update
 | Building Element |  |  |  |  | Type/Material | Prior Condition | Current | Prior Description | 2022 Reno Comments
 | On-Site Utilities & Drainage |  |  |  |  |  |  |  |  | 
 |  | Site Drainage / Erosion Control |  |  |  |  | Good | Good | Positive slope away from building, no visible signs of erosion or ponding water. | 
 |  | Site Lighting - Parking Lots |  |  |  |  | Good | Good |  | 
 |  | Exterior Concrete Pads & Pavement-Around building, mechanical yards |  |  |  |  | Fair | Fair |  | 
 |  | Fire Hydrants / Utility Vaults / Misc. |  |  |  |  | Fair | Fair |  | 
 |  | Grease Trap |  |  |  |  | Fair | Fair |  | 
 | Site Parking & Drives |  |  |  |  |  |  |  |  | 
 |  | Pavement - Roads / Drives / Parking Areas |  |  |  |  | Good | Good | Clean and clear of cracks, heaving, potholes. Joint Sealer is properly in place. | 
 |  | Fire Lanes |  |  |  |  | Good | Good | Fire lane paint striping in good condition.Clean and clear of cracks, heaving, potholes. Joint Sealer is properly in place. | 
 |  | Striping - Parking lot and fire lane |  |  |  |  | Fair | Good | Minor to moderate signs of age and deterioration but still visible. Handicapped spaces incorrectly marked or striped. | Parking Lots Re-striped
 |  | Curbs |  |  |  |  | Good | Good | Free of cracks, damage and almost new in appearance. | 
 | Site Lighting |  |  |  |  |  |  |  |  | 
 |  | Site Lighting |  |  |  |  | Good | Good | All fixtures are working properly and have no visible damage. Lighting is appropriate for security. | 
 | Site Security |  |  |  |  |  |  |  |  | 
 |  | Security Cameras |  |  |  | Megapixels of Resolution | 12 | 93 |  | Updated camera system
 |  | Chain Link Fencing / Gates |  |  |  |  | Good | Good | No damage to material and poles, gates are working properly. | 
 | Misc. Stuctures |  |  |  |  |  |  |  |  | 
 |  | Site Walls - Retaining / Screen |  |  | Material: | Stone | Good | Good | No signs of damage, settling or rotation. | 
 |  | Dumpster Service Area |  |  |  |  | Fair | Fair | Moderate to Minor signs of damage to dumpster walls, may need a refresh of finish paint if applicable and additional bollards. Gates function as required. | No Scope
 |  | Bollards |  |  | Material: | Concrete | Good | Good | Clearly marked and strongly visible. Almost new in appearance. | 
 |  | Site Signage - Directional / Handicapped |  |  |  |  | Good | Good |  | 
 |  | Misc. Site work / Site Structures |  |  |  |  | Good | Good | Bleachers | 
 | Circulation |  |  |  |  |  |  |  |  | 
 |  | Sidewalks |  |  |  |  | Good | Good | Clean and clear of cracks or heaving. Joint Sealer is properly in place. | 
 |  | Stairs |  |  |  |  | Good | Good | Clean and clear of cracks or heaving. Joint Sealer is properly in place. Rise and Run is compliant. Handrails (if present) are compliant & finish is in good standing. | 
 |  | Ramps |  |  |  |  | Good | Good | Clean and clear of cracks or heaving. Joint Sealer is properly in place. Slope is compliant. Handrails (if present) are compliant & finish is in good condition. | 
 | ADA Compliance / Accessiblity |  |  |  |  |  |  |  |  | 
 |  | Compliant Sidewalks/Curbs |  |  |  |  | Good | Good |  | 
 |  | Compliant Ramps & Handrails |  |  |  |  | Good | Good |  | 
 |  |  |  |  |  | Scored Categories | 21 | 21 |  | 
 |  |  |  |  |  | Good | 16 | 17 |  | 
 |  |  |  |  |  | Fair | 5 | 4 | Previous Aggregate Score: | 92
 |  |  |  |  |  | Poor | 0 | 0 | Reno Aggregate Score: | 94
 |  |  |  |  |  | N/A | 0 | 0 |  | 

## Slide 14
FCI Update
Exterior
 | Building Element |  |  |  |  |  |  |  | Type/Material | Prior Condition | Current | Prior Description | 2022 Reno Comments
 | Building Structure/Foundation |  |  |  |  |  |  |  |  |  |  |  | 
 |  | Foundation | Foundation |  |  |  |  | Type: | Slab on Grade | Good | Good | No signs of cracking or heaving. | 
 |  | Substructure - Slab - on - Grade | Substructure - Slab - on - Grade |  |  |  |  |  |  |  |  |  | 
 |  |  |  | Basement / Below Grade Exterior Walls |  |  |  |  |  | N/A | N/A |  | 
 |  |  |  | Miscellanous |  |  |  |  |  | N/A | N/A |  | 
 |  | Superstructure | Superstructure |  |  |  |  |  |  |  |  |  | 
 |  |  |  | Fireproofing |  |  |  |  |  | N/A | N/A |  | 
 |  |  |  | Pre-Engineered Metal building |  |  |  |  |  | N/A | N/A |  | 
 | Building Exterior Shell |  |  |  |  |  |  |  |  |  |  |  | 
 |  | Roofing |  |  |  |  |  |  | built up roof |  |  |  | 
 |  |  |  | General Roof Condition (Visual Inspection) | General Roof Condition (Visual Inspection) |  |  |  |  | Fair | Good | Roof is nearing the end of it's expected useful life. Some leaks are reported with areas of ponding. Some sealants and flashings are in need of repair or replacement. | Roof replaced. Single Ply Membrane
 |  |  |  | Roof Warranty Status | Roof Warranty Status |  |  |  |  |  |  | N/A | New
 |  |  |  |  |  | Roofing Manufacturer / Warranty Issuer | Roofing Manufacturer / Warranty Issuer |  |  |  |  | UNA-Clad | Duro-Last
 |  |  |  |  |  | Years Remaining in Warranty Period | Years Remaining in Warranty Period |  |  |  |  | N/A | 
 |  |  |  | Skylights | Skylights |  |  |  |  | N/A | N/A |  | 
 |  |  |  | Roof Curbs / Openings / Misc. | Roof Curbs / Openings / Misc. |  |  |  |  | N/A | N/A |  | 
 |  | Exterior Walls |  |  |  |  |  |  |  |  |  |  | 
 |  |  |  | Exterior Wall Material |  |  |  | Material: | Brick | Good | Good | Veneer is free of cracks, signs of settling, rotation or damage. | 
 |  |  |  | Building Caulking/Sealant |  |  |  |  |  | Fair | Fair | May show minor signs of aging, minor fading or stains. | Not in Scope
 |  |  |  | Exterior Painting |  |  |  |  |  | N/A | N/A |  | 
 |  | Windows/Glazed Walls |  |  |  |  |  |  |  |  |  |  | 
 |  |  |  | Windows |  |  |  |  |  |  |  |  | 
 |  |  |  |  |  |  |  | Glazing Type: | Single Pane | Fair | Fair | Addition aluminum double glazed | Not in Scope
 |  |  |  |  |  |  |  | Frame Type: | Painted Hollow Metal |  |  | Paint needed at original HM | Not in Scope
 |  | Exterior Doors Systems |  |  |  |  |  |  |  |  |  |  | 
 |  |  |  | Exterior Doors |  |  |  |  |  |  |  |  | 
 |  |  |  |  |  |  |  | Frame Type: | Hollow Metal | Fair | Fair | Minor scratches or signs of wear, may need a refresh of finish, door hardware is compliant and functioning properly. | Not in Scope
 |  |  |  |  |  |  |  | Panel Type: | Hollow Metal |  |  |  | 
 |  |  |  | Exterior Overhead Doors |  |  |  | Type: | Manual | Fair | Fair | Minor scratches or signs of wear, may need a refresh of finish, door hardware is compliant and functioning properly, motor works as required (if applicable). | Not in Scope
 |  |  |  | Card Access Reader |  |  |  |  |  | Fair | Good |  | Replaced with all new card readers
 |  |  |  | Door Bell |  |  |  |  |  |  |  |  | 
 |  |  |  | Peep Hole |  |  |  |  |  |  |  |  | 
 |  | Canopies |  |  |  |  |  |  |  |  |  |  | 
 |  |  |  | Canopy |  |  |  | Type: | Attached to Building | Good | Good | No visible damage, proper weather coverage, finishes are almost new in appearance. No signs of settling or movement. | 
 |  | Loading Area |  |  |  |  |  |  |  |  |  |  | 
 |  |  |  | Raised Loading Dock |  |  |  |  |  | N/A | N/A |  | 
 |  |  |  | Independent Loading Area |  |  |  |  |  | Good | Good | No visible damage, no signs of settling or movement. | 
 |  | Misc. Exterior |  |  |  |  |  |  |  |  |  |  | 
 |  |  |  | Exterior Soffit - Material |  |  |  | Material: | Plaster | Good | Good | Almost new in appearance, no visible fading or stains. | 
 |  |  |  | Exterior Louvers / Sunscreens |  |  |  |  |  | N/A | N/A |  | 
 |  |  |  |  |  |  |  |  | Scored Categories | 11 | 11 |  | 
 |  |  |  |  |  |  |  |  | Good | 5 | 7 |  | 
 |  |  |  |  |  |  |  |  | Fair | 6 | 4 | Previous Aggregate Score: | 82
 |  |  |  |  |  |  |  |  | Poor | 0 | 0 | Reno Aggregate Score: | 88
 |  |  |  |  |  |  |  |  | N/A | 9 | 9 | *Original score didn't review card readers, previous score added to original score to capture condition | 

## Slide 15
Interior
FCI Update
Building Element |  |  |  |  |  | Type/Material | Prior Condition | Current Condition | Prior Description | 2022 Reno Comments
Interior Finishes |  |  |  |  |  |  |  |  |  | 
 | Interior Ceiling Finishes |  |  |  |  |  |  |  |  | 
 |  | Acoustical Ceilings - 2x2 Tiles |  |  | Scrubbable Finish | Yes | Fair | Good | Minor signs of aging with minimal apparent stains, leaks, sagging or damage. | Replaced in Kitchen Renovation
 |  | Acoustical Ceilings - 2x4 Tiles |  |  | Scrubbable Finish |  | N/A | N/A |  | 
 |  | Plaster Ceilings |  |  |  |  | N/A | N/A |  | 
 |  | Painted Gypsum Ceiling |  |  |  |  | Fair | Fair | Minor signs of aging with minimal apparent stains, leaks, sagging or damage. | 
 |  | Metal Ceilings |  |  |  |  | N/A | N/A |  | 
 |  | Exposed / Painted Ceilings |  |  |  |  | N/A | N/A |  | 
 |  | Soffit / Bulkhead Walls |  |  |  |  | Good | Good | Almost new in appearance, no signs of sagging, damage, leaks, or stains. | 
 |  | Special/Misc. |  |  |  |  | Good | Good | Almost new in appearance, no signs of sagging, damage, leaks, or stains. | 
 | Interior Floor Finishes |  |  |  |  |  |  |  |  | 
 |  | Resilient Flooring - VCT |  |  |  |  | Good | Good | Almost new in appearance, no signs of damage or stains, properly sealed and finished. | 
 |  | Quarry Tile |  |  |  |  | Good | Good | Almost new in appearance, no signs of damage or stains, properly sealed and finished. | 
 |  | Ceramic Tile |  |  |  |  | Good | Good | Almost new in appearance, no signs of damage or stains, properly sealed and finished. | 
 |  | Terrazzo |  |  |  |  | N/A | N/A |  | 
 |  | Poured Resinous Epoxy |  |  |  |  | N/A | N/A |  | 
 |  | Finish Concrete - (sealed) |  |  |  |  | N/A | N/A |  | 
 |  | Carpet (Classrooms, Library, and Administration) |  |  |  |  | Fair | Fair | Minor signs of aging with minimal apparent stains or damage, may need to be resealed. | 
 |  | Carpet (Fine Arts Wing) |  |  |  |  | Fair | Good |  | Replaced as part of renovation
 |  | Natural Stone |  |  |  |  | N/A | N/A |  | 
 |  | Wood |  |  |  |  | Good | Good | Almost new in appearance, no signs of damage or stains, properly sealed and finished. | 
 |  | Special/Misc. |  |  |  |  |  |  |  | 
 | Interior Wall Finishes |  |  |  |  |  |  |  |  | 
 |  | Painted Gypsum Board - Full Height |  |  |  |  | Good | Good | Almost new in appearance, no signs of damage, stains or cracking. | 
 |  | Painted CMU - Full Height |  |  |  |  | Good | Good | Almost new in appearance, no signs of damage, stains or cracking. | 
 |  | Painted Gypsum Board + Tile Wainscot |  |  |  |  | Good | Good | Almost new in appearance, no signs of damage, stains or cracking. | 
 |  | Full Height Tile |  |  |  |  | Good | Good | Almost new in appearance, no signs of damage, stains or cracking. | 
 |  | PLAM |  |  |  |  | N/A | N/A |  | 
 |  | FRP |  |  |  |  | Good | Good | Almost new in appearance, no signs of damage, stains or cracking. | 
 |  | Wood Panels |  |  |  |  | N/A | N/A |  | 
 | Interior Wall Base & Trim |  |  |  |  |  |  |  |  | 
 |  | Rubber Base (Classrooms, Library, Administration) |  |  |  |  | Fair | Fair | Minor signs of aging with minimal damage and properly installed. | 
 |  | Rubber Base (Fine Arts Wing) |  |  |  |  | Fair | Good |  | Replaced in Fine Arts Wing
 |  | Quarry Tile |  |  |  |  | Good | Good | Almost new in appearance, no signs of damage and properly installed. | 
 |  | Ceramic Tile |  |  |  |  | N/A | N/A | 0 | 
 |  | Terrazzo |  |  |  |  | N/A | N/A | 0 | 
 |  | Poured Resinous Epoxy |  |  |  |  | N/A | N/A | 0 | 
 |  | Wood Base |  |  |  |  | N/A | N/A | 0 | 

## Slide 16
Interior
FCI Update
 | Misc. Interior |  |  |  |  |  |  |  |  |  | 
 |  | Interior Door Systems |  |  |  |  |  |  |  |  | 
 |  |  | Frame Type: |  |  |  | Hollow Metal | Fair | Fair | Minor scratches or signs of wear, may need a refresh of finish, door hardware is compliant and functioning properly. | Not in Scope
 |  |  | Panel Type: |  |  |  |  |  |  |  | 
 |  | Interior Overhead Door/Grille |  |  |  | Type: | Manual | Good | Good | No visible damage, proper weatherproofing/threshold installed, door hardware compliant and functioning properly, motor works as required (if applicable). | 
 |  | Specialty Doors |  |  |  | Type: | N/A | N/A | N/A |  | 
 |  | Millwork Cabinets |  |  |  |  |  | Good | Good |  | 
 |  | Corner Guards |  |  |  | Type: | Stainless Steel | Good | Good | Almost new in appearance. | 
 |  | Interior Signage |  |  |  |  |  | Good | Good |  | 
 |  | Digital Clocks |  |  |  |  |  | Fair | Good |  | Upgraded existing clocks to new digital clocks
 |  | Operable Partitions |  |  |  |  |  | N/A | N/A |  | 
 |  | Marker & Tack Boards |  |  |  |  |  | Good | Good | No cracking or warping of the board surface. | Replaced in Areas of Renovation
 |  | Projection Screens |  |  |  |  |  | Good | Good |  | 
 |  | A/V Equipment |  |  |  |  |  | Good | Good |  | Upgraded in Areas of Renovation
 |  | Lockers |  |  |  | Required Number of Lockers: |  | Good | Good |  | 
 |  |  |  |  |  | Provided Number of Lockers: |  |  |  |  | 
 |  | Railings |  |  |  |  |  | Good | Good |  | 
 |  | Elevator Cab Finishes |  |  |  |  |  | Good | Good |  | 
 |  | Wireless Access |  |  |  |  |  | Fair | Good |  | Upgraded as Part of Renovation
 |  | Toilet Partitions |  |  |  | Material Type: | Plastic | Good | Good |  | 
 |  | Toilet Accessories |  |  |  |  |  | Good | Good | Almost new condition, proper installation. | 
 |  | Interior Window Blinds/Shades |  |  |  | Type of Blinds: | Metal | Good | Good | No visible damage, motor properly functions (if applicable). | 
 |  |  |  |  |  | Type of Shades: | N/A |  |  |  | 
 |  |  |  |  |  | Operation: | Manual |  |  |  | 
 | Food Service Area |  |  |  |  |  |  |  |  |  | 
 |  | Equipment Condition |  |  |  |  |  | Good | Good |  | Replaced as Part of Renovation
 |  | Digital Menu Boards |  |  |  |  |  | N/A | N/A |  | 
 |  | Restrooms open to Kitchen? |  |  |  |  |  | No | No |  | 
 |  | Drinking Fountains in Cafeteria? |  |  |  |  |  | No | No |  | 
 | Accessibility |  |  |  |  |  |  |  |  |  | 
 |  | Restrooms |  |  |  |  |  | Good | Good | Compliant | 
 |  | Drinking Fountains |  |  |  |  |  | Good | Good | Compliant | 
 |  | Ramps |  |  |  |  |  | Good | Good | Compliant | 
 |  | Signage |  |  |  |  |  | Good | Good | Compliant | 
 |  | Doors |  |  |  |  |  | Good | Good | Compliant | 
 |  | Millwork |  |  |  |  |  | Fair | Fair | Few compliance items | 
 |  |  |  |  |  |  | Scored Categories | 43 | 43 |  | 
 |  |  |  |  |  |  | Good | 31 | 36 | Previous Aggregate Score: | 88
 |  |  |  |  |  |  | Fair | 10 | 5 | Reno Aggregate Score: | 92
 |  |  |  |  |  |  | Poor | 0 | 0 |  | 
 |  |  |  |  |  |  | N/A | 17 | 17 | * Separated out Finishes to capture what was replaced in renovation. Provided initial scoring for clocks and wireless access as they weren't originally evaluated | 

## Slide 17
FCI Update
MEP
BARBARA BUSH MIDDLE SCHOOL |  | AGE: 19 Years |  | 142,000 sf |  |  |  | 
ITEM | DESCRIPTION | DESCRIPTION |  |  |  |  | Prior Grade | Current
OPERATIONAL, SYSTEMS & CODE DEFICIENCIES | Assessed Scope | Performed Scope |  |  |  |  |  | 
HVAC | Task: Replace 4 ton Carrier split system installed in 2000. | No Scope Performed |  |  |  |  | 98 | 98
EMCS | Task: | No Scope Performed |  |  |  |  |  | 
PLUMBING | Task: Replace poor condition Oasis electric water coolers. Provide new electric water coolers with bottle fillers. | Scope Completed |  |  |  |  | 87 | 95
 | Task: Replace 1997 A.O. Smith electric hot water heater. | No Scope Performed |  |  |  |  |  | 
 | Task: Provide new electric water coolers with bottle fillers. | Scope Completed |  |  |  |  |  | 
ELECTRICAL SYSTEM | Task: |  |  |  |  |  | 95 | 95
INTERIOR LIGHTING | Task: Provide tunable lighting for special education classrooms. | No Scope Performed |  |  |  |  | 90 | 95
 | Task: Replace metal halide fixtures in gym with LED fixtures. | Scope Completed |  |  |  |  |  | 
EXTERIOR LIGHTING | Task: Replace all existing exterior wall packs with LED fixtures. | Scope Completed |  |  |  |  | 85 | 95
 | Task: Renovate all exterior parking lot lighting to LED. | Scope Completed |  |  |  |  |  | 
FIRE ALARM SYSTEMS | Task: Replace the Honeywell fire alarm system was installed in 2006. | Scope Completed |  |  |  |  | 70 | 95
FIRE PROTECTION SYSTEM | Task: | No Scope |  |  |  |  | 90 | 90
OTHER | Task: Provide digital marque. Provide power and connectivity. | Scope to Be Completed 2023 |  |  |  |  | NA | NA
 | Task: Replace cooler/freezer units. | Scope Completed |  |  |  |  |  | 
TOTALS |  |  |  |  |  |  | 91 | 95

## Slide 18
FCI Update
Technology
Bush MS Technology and Security Status |  |  |  | 
System | Possible Score | Corgan Score (2018) | TNCG Score (2022) | Notes
Cabling Infrastructure | 10 | 8 | 9 | Small improvements to renovation areas and all new wireless access point cabling
Local Area Network | 15 | 13 | 13 | No upgrade (that True North is aware of)
Wireless LAN | 15 | 13 | 13 | Wireless could use a refresh in the next few years but in good condition right now. New cabling in place to support refresh.
Unified Comm (Phone) System | 10 | 10 | 10 | Upgraded prior to renovation project
Video Management System | 10 | 7 | 10 | Complete upgrade to Genetec
Public Address | 10 | 7 | 10 | Complete upgrade to Informacast
Premise Access Control (and Intrusion) | 10 | 7 | 10 | Complete upgrade to Genetec
Intercom System | 5 | 3 | 5 | Added new intercom stations with renovation
Special Space AV | 5 | 4 | 4 | District item. AV upgrade as part of technology package
Instruction Space Presentation | 10 | 8 | 9 | New Interactive Displays in renovation areas matching District standard
Total Score | 100 | 80 | 93 | 

## Slide 19
PROMISES MADE
PROMISES KEPT
Barbara Bush MS
Assessment
Site : 92
Exterior: 82
Interior: 88
MEP: 91
Technology: 80
Score: 87
After Bond
Improvements
Site : 94
Exterior: 88
Interior: 92
MEP: 95
Technology: 93
Score: 92
FCI Update