## Core
Grandview School District
Form 470 No 687600001185460
Funding Year 2014
Equipment List - Network Core
Switches | PoE Port Total | PoE Ports In Use
CHS/ADMIN | 408 | 284
CHS_IDF1_4506 | 96 | 69
CHS_IDF2_2960 | 72 | 35
CHS_MDF_4510 | 240 | 180
CORE | 24 | 12
GSD_Core6506 | 0 | 0
HT_MDF_2960S | 24 | 12
GHS | 1152 | 895
GHS_IDF1_4506 | 240 | 191
GHS_IDF2_4510 | 288 | 249
GHS_IDF3_4506 | 144 | 110
GHS_IDF5_4506 | 48 | 27
GHS_IDF6_2960 | 48 | 25
GHS_IDF7_4506 | 192 | 183
HS_MDF400_4507RE | 192 | 110
GMS | 912 | 637
GMS_IDF1_4506 | 192 | 154
GMS_IDF2_4506 | 144 | 118
GMS_IDF3_4506 | 144 | 86
GMS_IDF500A_2960 | 48 | 28
GMS_IDF500B_2960 | 24 | 14
GMS_IDF700_2960 | 24 | 12
GMS_MDF_4506-1 | 192 | 142
GMS_MDF_4506-2 | 144 | 83
HT | 680 | 525
Bus_Gar | 8
HT_IDF1_4506 | 192 | 192
HT_IDF2_2960 | 48 | 29
HT_Lab2_3560-1
HT_Lab2_3560-2
HT_MDF_4506-1 | 192 | 166
HT_MDF_4506-2 | 240 | 138
LC | 24 | 7
LC_ASA_5505
LC_MDF_3560POE-24 | 24 | 7
MCCLURE | 528 | 430
MC_IDF1_4510 | 240 | 192
MC_MDF_4510 | 288 | 238
MC_MDF_Server
SMITH | 528 | 402
AHS_IDF1_4506 | 96 | 46
AHS_IDF2_2960S | 24 | 21
AHS_IDF3_2960S | 24 | 13
AHS_MDF_4506-1 | 192 | 191
AHS_MDF_4506-2 | 192 | 131
Grand Total | 4256 | 3192

## Core (Raw Data)
Location | Switch Name | Model | Slot | Blade Description | Blade Model | Ports | PoE | PoE In Use | Notes
CORE | GSD_Core6506 | WS-C6506-E | 1 | CEF720 8 port 10GE with DFC | WS-X6708-10GE | 0 | 0 | 0
CORE | GSD_Core6506 | WS-C6506-E | 2 | <<<EMPTY>>> | <<<EMPTY>>>
CORE | GSD_Core6506 | WS-C6506-E | 3 | <<<EMPTY>>> | <<<EMPTY>>>
CORE | GSD_Core6506 | WS-C6506-E | 4 | WiSM WLAN Service Module | WS-SVC-WISM-1-K9 | 0 | 0 | 0
CORE | GSD_Core6506 | WS-C6506-E | 5 | Supervisor Engine 720 10GE | VS-S720-10G | 0 | 0 | 0
CORE | GSD_Core6506 | WS-C6506-E | 6 | <<<EMPTY>>> | <<<EMPTY>>>
CORE | GSD_Core6506 | WS-C6506-E | 1 | LOGS IN TO 10.0.0.1
CORE | GSD_Core6506 | WS-C6506-E | 2
CORE | GSD_Core6506 | WS-C6506-E | 3
CORE | GSD_Core6506 | WS-C6506-E | 4
CORE | GSD_Core6506 | WS-C6506-E | 5
CORE | GSD_Core6506 | WS-C6506-E | 6
CORE | HT_MDF_2960S | WS-C2960S-24PD-L | NA | NA | NA | 24 | 24 | 12 | Top of rack switch, HT
HT | HT_MDF_4506-1 | WS-C4506-E | 1 | Sup 6L-E 10GE (X2), 1000BaseX (SFP) | WS-X45-SUP6L-E | 0 | 0 | 0
HT | HT_MDF_4506-1 | WS-C4506-E | 2 | 10GE (X2), 1000BaseX (SFP) | WS-X4606-X2-E | 0 | 0 | 0
HT | HT_MDF_4506-1 | WS-C4506-E | 3 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 46
HT | HT_MDF_4506-1 | WS-C4506-E | 4 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 45
HT | HT_MDF_4506-1 | WS-C4506-E | 5 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 46
HT | HT_MDF_4506-1 | WS-C4506-E | 6 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 29
HT | HT_MDF_4506-2 | WS-C4506-E | 1 | Sup 6L-E 10GE (X2), 1000BaseX (SFP) | WS-X45-SUP6L-E | 0 | 0 | 0
HT | HT_MDF_4506-2 | WS-C4506-E | 2 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 33
HT | HT_MDF_4506-2 | WS-C4506-E | 3 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 3
HT | HT_MDF_4506-2 | WS-C4506-E | 4 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 26
HT | HT_MDF_4506-2 | WS-C4506-E | 5 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 37
HT | HT_MDF_4506-2 | WS-C4506-E | 6 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 39
HT | HT_IDF1_4506 | WS-C4506-E | 1 | Sup 6L-E 10GE (X2), 1000BaseX (SFP) | WS-X45-SUP6L-E | 0 | 0 | 0
HT | HT_IDF1_4506 | WS-C4506-E | 2 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 48
HT | HT_IDF1_4506 | WS-C4506-E | 3 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 48
HT | HT_IDF1_4506 | WS-C4506-E | 4 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 48
HT | HT_IDF1_4506 | WS-C4506-E | 5 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 48
HT | HT_IDF1_4506 | WS-C4506-E | 6 | <<<EMPTY>>> | <<<EMPTY>>> | NA | NA | NA
HT | HT_IDF2_2960 | WS-C2960S-48FPD-L | NA | NA | NA | 48 | 48 | 29
HT | Bus_Gar | WS-C3560-8PC-S | NA | NA | NA | 8 | 8
HT | HT_Lab2_3560-1 | WS-3560-24 |  | OFFLINE
HT | HT_Lab2_3560-2 | WS-3560-24 |  | OFFLINE
GHS | HS_MDF400_4507RE | WS-C4507R-E | 1 | 10GE (X2), 1000BaseX (SFP) | WS-X4606-X2-E | 0 | 0 | 0
GHS | HS_MDF400_4507RE | WS-C4507R-E | 2 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 27
GHS | HS_MDF400_4507RE | WS-C4507R-E | 3 | Sup 6-E 10GE (X2), 1000BaseX (SFP) | WS-X45-SUP6-E | 0 | 0 | 0
GHS | HS_MDF400_4507RE | WS-C4507R-E | 4 | <<<EMPTY>>> | <<<EMPTY>>>
GHS | HS_MDF400_4507RE | WS-C4507R-E | 5 | 10/100/1000BaseT (RJ45) | WS-X4448-GB-RJ45 | 48 | 48 | 34
GHS | HS_MDF400_4507RE | WS-C4507R-E | 6 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 35
GHS | HS_MDF400_4507RE | WS-C4507R-E | 7 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 14
GHS | GHS_IDF1_4506 | WS-C4506-E | 1 | Sup 6L-E 10GE (X2), 1000BaseX (SFP) | WS-X45-SUP6L-E | 0 | 0 | 0
GHS | GHS_IDF1_4506 | WS-C4506-E | 2 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 36
GHS | GHS_IDF1_4506 | WS-C4506-E | 3 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 36
GHS | GHS_IDF1_4506 | WS-C4506-E | 4 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 44
GHS | GHS_IDF1_4506 | WS-C4506-E | 5 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 37
GHS | GHS_IDF1_4506 | WS-C4506-E | 6 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 38
GHS | GHS_IDF2_4510 | WS-C4510R-E | 1 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 48
GHS | GHS_IDF2_4510 | WS-C4510R-E | 2 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 48
GHS | GHS_IDF2_4510 | WS-C4510R-E | 3 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 48
GHS | GHS_IDF2_4510 | WS-C4510R-E | 4 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 44
GHS | GHS_IDF2_4510 | WS-C4510R-E | 5 | Sup 6-E 10GE (X2), 1000BaseX (SFP) | WS-X45-SUP6-E | 0 | 0 | 0
GHS | GHS_IDF2_4510 | WS-C4510R-E | 6 | <<<EMPTY>>> | <<<EMPTY>>> | NA | NA | NA
GHS | GHS_IDF2_4510 | WS-C4510R-E | 7 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 48
GHS | GHS_IDF2_4510 | WS-C4510R-E | 8 | 10/100/1000BaseT (RJ45) | WS-X4448-GB-RJ45 | 48 | 48 | 13
GHS | GHS_IDF2_4510 | WS-C4510R-E | 9 | <<<EMPTY>>> | <<<EMPTY>>> | NA | NA | NA
GHS | GHS_IDF2_4510 | WS-C4510R-E | 10 | <<<EMPTY>>> | <<<EMPTY>>> | NA | NA | NA
GHS | GHS_IDF3_4506 | WS-C4506-E | 1 | Sup 6L-E 10GE (X2), 1000BaseX (SFP) | WS-X45-SUP6L-E | 0 | 0 | 0
GHS | GHS_IDF3_4506 | WS-C4506-E | 2 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 46
GHS | GHS_IDF3_4506 | WS-C4506-E | 3 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 48
GHS | GHS_IDF3_4506 | WS-C4506-E | 4 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 16
GHS | GHS_IDF3_4506 | WS-C4506-E | 5 | <<<EMPTY>>> | <<<EMPTY>>> | NA | NA | NA
GHS | GHS_IDF3_4506 | WS-C4506-E | 6 | <<<EMPTY>>> | <<<EMPTY>>> | NA | NA | NA
GHS | GHS_IDF5_4506 | WS-C4506-E | 1 | Sup 6L-E 10GE (X2), 1000BaseX (SFP) | WS-X45-SUP6L-E | 0 | 0 | 0
GHS | GHS_IDF5_4506 | WS-C4506-E | 2 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 27
GHS | GHS_IDF5_4506 | WS-C4506-E | 3 | <<<EMPTY>>> | <<<EMPTY>>> | NA | NA | NA
GHS | GHS_IDF5_4506 | WS-C4506-E | 4 | <<<EMPTY>>> | <<<EMPTY>>> | NA | NA | NA
GHS | GHS_IDF5_4506 | WS-C4506-E | 5 | <<<EMPTY>>> | <<<EMPTY>>> | NA | NA | NA
GHS | GHS_IDF5_4506 | WS-C4506-E | 6 | <<<EMPTY>>> | <<<EMPTY>>> | NA | NA | NA
GHS | GHS_IDF6_2960 | WS-C2960S-48FPD-L | NA | NA | NA | 48 | 48 | 25
GHS | GHS_IDF7_4506 | WS-C4506-E | 1 | Sup 6L-E 10GE (X2), 1000BaseX (SFP) | WS-X45-SUP6L-E | 0 | 0 | 0
GHS | GHS_IDF7_4506 | WS-C4506-E | 2 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 48
GHS | GHS_IDF7_4506 | WS-C4506-E | 3 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 43
GHS | GHS_IDF7_4506 | WS-C4506-E | 4 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 45
GHS | GHS_IDF7_4506 | WS-C4506-E | 5 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 47
GHS | GHS_IDF7_4506 | WS-C4506-E | 6 | <<<EMPTY>>> | <<<EMPTY>>> | NA | NA | NA
GMS | GMS_MDF_4506-1 | WS-C4506-E | 1 | Sup 6L-E 10GE (X2), 1000BaseX (SFP) | WS-X45-SUP6L-E | 0 | 0 | 0
GMS | GMS_MDF_4506-1 | WS-C4506-E | 2 | 10GE (X2), 1000BaseX (SFP) | WS-X4606-X2-E | 0 | 0 | 0
GMS | GMS_MDF_4506-1 | WS-C4506-E | 3 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 48
GMS | GMS_MDF_4506-1 | WS-C4506-E | 4 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 48
GMS | GMS_MDF_4506-1 | WS-C4506-E | 5 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 34
GMS | GMS_MDF_4506-1 | WS-C4506-E | 6 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 12
GMS | GMS_MDF_4506-2 | WS-C4506-E | 1 | Sup 6L-E 10GE (X2), 1000BaseX (SFP) | WS-X45-SUP6L-E | 0 | 0 | 0
GMS | GMS_MDF_4506-2 | WS-C4506-E | 2 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 41
GMS | GMS_MDF_4506-2 | WS-C4506-E | 3 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 35
GMS | GMS_MDF_4506-2 | WS-C4506-E | 4 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 7
GMS | GMS_MDF_4506-2 | WS-C4506-E | 5 | <<<EMPTY>>> | <<<EMPTY>>> | NA | NA | NA
GMS | GMS_MDF_4506-2 | WS-C4506-E | 6 | <<<EMPTY>>> | <<<EMPTY>>> | NA | NA | NA
GMS | GMS_IDF1_4506 | WS-C4506-E | 1 | Sup 6L-E 10GE (X2), 1000BaseX (SFP) | WS-X45-SUP6L-E | 0 | 0 | 0
GMS | GMS_IDF1_4506 | WS-C4506-E | 2 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 48
GMS | GMS_IDF1_4506 | WS-C4506-E | 3 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 22
GMS | GMS_IDF1_4506 | WS-C4506-E | 4 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 39
GMS | GMS_IDF1_4506 | WS-C4506-E | 5 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 45
GMS | GMS_IDF1_4506 | WS-C4506-E | 6 | <<<EMPTY>>> | <<<EMPTY>>> | NA
GMS | GMS_IDF2_4506 | WS-C4506-E | 1 | Sup 6L-E 10GE (X2), 1000BaseX (SFP) | WS-X45-SUP6L-E | 0 | 0 | 0
GMS | GMS_IDF2_4506 | WS-C4506-E | 2 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E |  | 48 | 48
GMS | GMS_IDF2_4506 | WS-C4506-E | 3 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E |  | 48 | 48
GMS | GMS_IDF2_4506 | WS-C4506-E | 4 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E |  | 48 | 22
GMS | GMS_IDF2_4506 | WS-C4506-E | 5 | <<<EMPTY>>> | <<<EMPTY>>>
GMS | GMS_IDF2_4506 | WS-C4506-E | 6 | <<<EMPTY>>> | <<<EMPTY>>>
GMS | GMS_IDF3_4506 | WS-C4506-E | 1 | Sup 6L-E 10GE (X2), 1000BaseX (SFP) | WS-X45-SUP6L-E | 0 | 0 | 0
GMS | GMS_IDF3_4506 | WS-C4506-E | 2 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 46
GMS | GMS_IDF3_4506 | WS-C4506-E | 3 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 31
GMS | GMS_IDF3_4506 | WS-C4506-E | 4 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 9
GMS | GMS_IDF3_4506 | WS-C4506-E | 5 | <<<EMPTY>>> | <<<EMPTY>>> | NA
GMS | GMS_IDF3_4506 | WS-C4506-E | 6 | <<<EMPTY>>> | <<<EMPTY>>> | NA
GMS | GMS_IDF500A_2960 | WS-C2960S-48LPD-L | NA | NA | NA | 48 | 48 | 28
GMS | GMS_IDF500B_2960 | WS-C2960S-24PD-L | NA | NA | NA | 24 | 24 | 14
GMS | GMS_IDF700_2960 | WS-C2960S-24PD-L | NA | NA | NA | 24 | 24 | 12
CHS/ADMIN | CHS_MDF_4510 | WS-C4510R+E | 1 | 10GE (X2), 1000BaseX (SFP) | WS-X4606-X2-E | 0 | 0 | 0
CHS/ADMIN | CHS_MDF_4510 | WS-C4510R+E | 2 | 10/100/1000BaseT Premium POE E Series | WS-X4748-RJ45V+E | 48 | 48 | 32
CHS/ADMIN | CHS_MDF_4510 | WS-C4510R+E | 3 | 10/100/1000BaseT Premium POE E Series | WS-X4748-RJ45V+E | 48 | 48 | 32
CHS/ADMIN | CHS_MDF_4510 | WS-C4510R+E | 4 | <<<EMPTY>>> | <<<EMPTY>>>
CHS/ADMIN | CHS_MDF_4510 | WS-C4510R+E | 5 | Sup 7-E 10GE (SFP+), 1000BaseX (SFP) | WS-X45-SUP7-E | 0 | 0 | 0
CHS/ADMIN | CHS_MDF_4510 | WS-C4510R+E | 6 | <<<EMPTY>>> | <<<EMPTY>>>
CHS/ADMIN | CHS_MDF_4510 | WS-C4510R+E | 7 | 10/100/1000BaseT Premium POE E Series | WS-X4748-RJ45V+E | 48 | 48 | 29
CHS/ADMIN | CHS_MDF_4510 | WS-C4510R+E | 8 | 10/100/1000BaseT Premium POE E Series | WS-X4748-RJ45V+E | 48 | 48 | 44
CHS/ADMIN | CHS_MDF_4510 | WS-C4510R+E | 9 | 10/100/1000BaseT Premium POE E Series | WS-X4748-RJ45V+E | 48 | 48 | 43
CHS/ADMIN | CHS_MDF_4510 |  | 10 | <<<EMPTY>>> | <<<EMPTY>>>
CHS/ADMIN | CHS_IDF1_4506 | WS-C4506-E | 1 | Sup 6L-E 10GE (X2), 1000BaseX (SFP) | WS-X45-SUP6L-E | 0 | 0 | 0
CHS/ADMIN | CHS_IDF1_4506 | WS-C4506-E | 2 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 43
CHS/ADMIN | CHS_IDF1_4506 | WS-C4506-E | 3 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 26
CHS/ADMIN | CHS_IDF1_4506 | WS-C4506-E | 4 | <<<EMPTY>>> | <<<EMPTY>>>
CHS/ADMIN | CHS_IDF1_4506 | WS-C4506-E | 5 | <<<EMPTY>>> | <<<EMPTY>>>
CHS/ADMIN | CHS_IDF1_4506 | WS-C4506-E | 6 | <<<EMPTY>>> | <<<EMPTY>>>
CHS/ADMIN | CHS_IDF2_2960 | WS-C2960S-48FPD-L | 1 | NA | NA | 48 | 48 | 30
CHS/ADMIN | CHS_IDF2_2960 | WS-C2960S-24 | NA | NA | NA | 24 | 24 | 5 | STACKED
MCCLURE | MC_MDF_4510 | WS-C4510R+E | 1 | 10GE (X2), 1000BaseX (SFP) | WS-X4606-X2-E | 0 | 0 | 0
MCCLURE | MC_MDF_4510 | WS-C4510R+E | 2 | 10/100/1000BaseT Premium POE E Series | WS-X4748-RJ45V+E | 48 | 48 | 45
MCCLURE | MC_MDF_4510 | WS-C4510R+E | 3 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 48
MCCLURE | MC_MDF_4510 | WS-C4510R+E | 4 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 48
MCCLURE | MC_MDF_4510 | WS-C4510R+E | 5 | Sup 7-E 10GE (SFP+), 1000BaseX (SFP) | WS-X45-SUP7-E | 0 | 0 | 0
MCCLURE | MC_MDF_4510 | WS-C4510R+E | 6 | <<<EMPTY>>> | <<<EMPTY>>>
MCCLURE | MC_MDF_4510 | WS-C4510R+E | 7 | 10/100/1000BaseT Premium POE E Series | WS-X4748-RJ45V+E | 48 | 48 | 48
MCCLURE | MC_MDF_4510 | WS-C4510R+E | 8 | <<<EMPTY>>> | <<<EMPTY>>>
MCCLURE | MC_MDF_4510 | WS-C4510R+E | 9 | 10/100/1000BaseT (RJ45) | WS-X4448-GB-RJ45 | 48 | 48 | 27
MCCLURE | MC_MDF_4510 | WS-C4510R+E | 10 | 10/100/1000BaseT (RJ45) | WS-X4448-GB-RJ45 | 48 | 48 | 22
MCCLURE | MC_MDF_Server | WS-C2960S-48FPD-L | 1 | NA | NA | 48
MCCLURE | MC_IDF1_4510 | WS-C4510R+E | 1 | 10/100/1000BaseT Premium POE E Series | WS-X4748-RJ45V+E | 48 | 48 | 45
MCCLURE | MC_IDF1_4510 | WS-C4510R+E | 2 | 10/100/1000BaseT Premium POE E Series | WS-X4748-RJ45V+E | 48 | 48 | 47
MCCLURE | MC_IDF1_4510 | WS-C4510R+E | 3 | 10/100/1000BaseT Premium POE E Series | WS-X4748-RJ45V+E | 48 | 48 | 48
MCCLURE | MC_IDF1_4510 | WS-C4510R+E | 4 | 10/100/1000BaseT Premium POE E Series | WS-X4748-RJ45V+E | 48 | 48 | 39
MCCLURE | MC_IDF1_4510 | WS-C4510R+E | 5 | Sup 7-E 10GE (SFP+), 1000BaseX (SFP) | WS-X45-SUP7-E | 0 | 0 | 0
MCCLURE | MC_IDF1_4510 | WS-C4510R+E | 6 | <<<EMPTY>>> | <<<EMPTY>>>
MCCLURE | MC_IDF1_4510 | WS-C4510R+E | 7 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 13
MCCLURE | MC_IDF1_4510 | WS-C4510R+E | 8 | <<<EMPTY>>> | <<<EMPTY>>>
MCCLURE | MC_IDF1_4510 | WS-C4510R+E | 9 | <<<EMPTY>>> | <<<EMPTY>>>
MCCLURE | MC_IDF1_4510 | WS-C4510R+E | 10 | <<<EMPTY>>> | <<<EMPTY>>>
SMITH | AHS_MDF_4506-1 | WS-C4506-E | 1 | Sup 6L-E 10GE (X2), 1000BaseX (SFP) | WS-X45-SUP6L-E | 0 | 0 | 0
SMITH | AHS_MDF_4506-1 | WS-C4506-E | 2 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 48
SMITH | AHS_MDF_4506-1 | WS-C4506-E | 3 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 47
SMITH | AHS_MDF_4506-1 | WS-C4506-E | 4 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 48
SMITH | AHS_MDF_4506-1 | WS-C4506-E | 5 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 48
SMITH | AHS_MDF_4506-2 | WS-C4506-E | 1 | Sup 6L-E 10GE (X2), 1000BaseX (SFP) | WS-X45-SUP6L-E | 0 | 0 | 0
SMITH | AHS_MDF_4506-2 | WS-C4506-E | 2 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 44
SMITH | AHS_MDF_4506-2 | WS-C4506-E | 3 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 44
SMITH | AHS_MDF_4506-2 | WS-C4506-E | 4 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 14
SMITH | AHS_MDF_4506-2 | WS-C4506-E | 5 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 29
SMITH | AHS_MDF_4506-2 | WS-C4506-E | 6 | <<<EMPTY>>> | <<<EMPTY>>>
SMITH | AHS_IDF1_4506 | WS-C4506-E | 1 | Sup 6L-E 10GE (X2), 1000BaseX (SFP) | WS-X45-SUP6L-E | 0 | 0 | 0
SMITH | AHS_IDF1_4506 | WS-C4506-E | 2 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 11
SMITH | AHS_IDF1_4506 | WS-C4506-E | 3 | 10/100/1000BaseT Premium POE E Series | WS-X4648-RJ45V+E | 48 | 48 | 35
SMITH | AHS_IDF2_2960S | WS-C2960S-24PS-L | NA | NA | NA | 24 | 24 | 21
SMITH | AHS_IDF3_2960S | WS-C2960S-24PD-L | NA | NA | NA | 24 | 24 | 13
LC | LC_ASA_5505
LC | LC_MDF_3560POE-24 | WS-3560-24 | NA | NA | NA | 24 | 24 | 7

## Access Points
Grandview School District
Form 470 No 687600001185460
Funding Year 2014
Equipment List - Access Points
School: | Model: | Purchase Year | Count of Model: | Model:
Harriet Thompson | AIR-CAP3502I | FY6 | School: | AIR-CAP3502I | AIR-LAP1142N | AIR-LAP1231G | Total
Harriet Thompson | AIR-LAP1142N | FY6 | Compass | 1 | 8 |  | 9
Harriet Thompson | AIR-LAP1142N | FY6 | Grandview High | 1 | 18 | 1 | 20
Harriet Thompson | AIR-LAP1142N | FY6 | Grandview Middle | 1 | 25 |  | 26
Harriet Thompson | AIR-LAP1142N | FY6 | Grandview Trans | 1 |  |  | 1
Harriet Thompson | AIR-LAP1142N | FY6 | GrandviewLC | 2 |  |  | 2
Harriet Thompson | AIR-LAP1142N | FY6 | Harriet Thompson | 1 | 20 |  | 21
Harriet Thompson | AIR-LAP1142N | FY6 | McClure |  | 16 |  | 16
Harriet Thompson | AIR-LAP1142N | FY6 | Smith | 1 | 15 |  | 16
Harriet Thompson | AIR-LAP1142N | FY6 | Total | 8 | 102 | 1 | 111
Harriet Thompson | AIR-LAP1142N | FY6
Harriet Thompson | AIR-LAP1142N
Harriet Thompson | AIR-LAP1142N
Harriet Thompson | AIR-LAP1142N
Harriet Thompson | AIR-LAP1142N
Harriet Thompson | AIR-LAP1142N
Harriet Thompson | AIR-LAP1142N
Harriet Thompson | AIR-LAP1142N
Harriet Thompson | AIR-LAP1142N
Harriet Thompson | AIR-LAP1142N | FY6
Harriet Thompson | AIR-LAP1142N | FY6
McClure | AIR-LAP1142N | FY6
McClure | AIR-LAP1142N | FY6
McClure | AIR-LAP1142N | FY6
McClure | AIR-LAP1142N | FY6
McClure | AIR-LAP1142N | FY6
McClure | AIR-LAP1142N | FY6
McClure | AIR-LAP1142N | FY6
McClure | AIR-LAP1142N | FY6
McClure | AIR-LAP1142N | FY6
McClure | AIR-LAP1142N | FY6
McClure | AIR-LAP1142N | FY6
McClure | AIR-LAP1142N | FY6
McClure | AIR-LAP1142N
McClure | AIR-LAP1142N
McClure | AIR-LAP1142N
McClure | AIR-LAP1142N | FY6
Smith | AIR-CAP3502I | FY6
Smith | AIR-LAP1142N | FY6
Smith | AIR-LAP1142N | FY6
Smith | AIR-LAP1142N | FY6
Smith | AIR-LAP1142N | FY6
Smith | AIR-LAP1142N | FY6
Smith | AIR-LAP1142N | FY6
Smith | AIR-LAP1142N | FY6
Smith | AIR-LAP1142N | FY6
Smith | AIR-LAP1142N | FY6
Smith | AIR-LAP1142N | FY6
Smith | AIR-LAP1142N
Smith | AIR-LAP1142N
Smith | AIR-LAP1142N
Smith | AIR-LAP1142N
Smith | AIR-LAP1142N | FY6
Grandview Middle | AIR-CAP3502I | FY6
Grandview Middle | AIR-LAP1142N | FY6
Grandview Middle | AIR-LAP1142N | FY6
Grandview Middle | AIR-LAP1142N | FY6
Grandview Middle | AIR-LAP1142N | FY6
Grandview Middle | AIR-LAP1142N | FY6
Grandview Middle | AIR-LAP1142N | FY6
Grandview Middle | AIR-LAP1142N | FY6
Grandview Middle | AIR-LAP1142N | FY6
Grandview Middle | AIR-LAP1142N | FY6
Grandview Middle | AIR-LAP1142N | FY6
Grandview Middle | AIR-LAP1142N
Grandview Middle | AIR-LAP1142N
Grandview Middle | AIR-LAP1142N
Grandview Middle | AIR-LAP1142N
Grandview Middle | AIR-LAP1142N
Grandview Middle | AIR-LAP1142N
Grandview Middle | AIR-LAP1142N | FY6
Grandview Middle | AIR-LAP1142N | FY6
Grandview Middle | AIR-LAP1142N | FY6
Grandview Middle | AIR-LAP1142N | FY6
Grandview Middle | AIR-LAP1142N | FY6
Grandview Middle | AIR-LAP1142N | FY6
Grandview Middle | AIR-LAP1142N | FY6
Grandview Middle | AIR-LAP1142N | FY6
Grandview Middle | AIR-LAP1142N | FY6
Grandview High | AIR-LAP1142N | FY6
Grandview High | AIR-LAP1142N | FY6
Grandview High | AIR-LAP1142N | FY6
Grandview High | AIR-LAP1142N | FY6
Grandview High | AIR-LAP1142N | FY6
Grandview High | AIR-LAP1142N
Grandview High | AIR-LAP1142N
Grandview High | AIR-LAP1142N
Grandview High | AIR-LAP1142N
Grandview High | AIR-LAP1142N
Grandview High | AIR-LAP1142N | FY6
Grandview High | AIR-LAP1142N | FY6
Grandview High | AIR-LAP1142N | FY6
Grandview High | AIR-LAP1142N | FY6
Grandview High | AIR-LAP1231G | FY6
Grandview High | AIR-CAP3502I
Grandview High | AIR-LAP1142N
Grandview High | AIR-LAP1142N
Grandview High | AIR-LAP1142N
Grandview High | AIR-LAP1142N
Compass | AIR-CAP3502I
Compass | AIR-LAP1142N
Compass | AIR-LAP1142N
Compass | AIR-LAP1142N
Compass | AIR-LAP1142N
Compass | AIR-LAP1142N
Compass | AIR-LAP1142N
Compass | AIR-LAP1142N
Compass | AIR-LAP1142N
Grandview Trans | AIR-CAP3502I
GrandviewLC | AIR-CAP3502I
GrandviewLC | AIR-CAP3502I

## UPS
Grandview School District
Form 470 No 687600001185460
Funding Year 2014
Equipment List - UPS
Location | Closet | Model | Voltage | Notes
HT | MDF | APC 3000XL | 208
HT | IDF | APC 3000XL | 208
SMITH | MDF | APC 3000XL | 208
SMITH | MDF | APC 3000XL | 208
SMITH | IDF1 | APC 3000XL | 208 | DEAD BATTERY
MCLURE | IDF | APC 3000XL | 208
MCLURE | IDF | APC 3000XL | 208
CHS | MDF | APC 3000XL | 208
CHS | MDF | APC 3000XL | NOT TURNED ON
CHS | IDF1 | APC 3000XL | 208
GMS | MDF | APC 3000XL | 208
GMS | MDF | APC 3000XL |  | NO POWER PULLED
GMS | IDF1 | APC 3000XL | 208
GMS | IDF2 | APC 3000XL | 208
GMS | IDF3 | APC 3000XL | 208
GHS | MDF | APC 3000XL | 208
GHS | IDF1 | APC 3000XL | 208
GHS | IDF2 | APC 3000XL | 208
GHS | IDF3 | APC 3000XL | 208 | DEAD BATTERY
GHS | IDF7 | APC 3000XL | 208
SMITH | IDF2-A | APC 750 | 120
LC | MDF | APC SmartUps 1000 | NOT INSTALLED | NOT INSTALLED
CHS | MDF | APC SmartUPS 3000 with Battery Pack | 208
GHS | IDF5 | APC SmartUPS 3000 with Battery Pack | 208
CHS | IDF2 | APC SmartUps 750 | 120
GMS | IDF500A | APC SmartUPS 750 | 120
GMS | IDF700 | APC SmartUPS 750 | 120
GHS | IDF6 | APC SmartUPS 750 | 120
MCLURE | MDF | APC Symmetra LX 8 KVA | 207
HT | MDF | APC Symmetra LX 16 KVA | 230
HT | MDF | Compaq R6000 | 208
SMITH | IDF2-B | NO UPS
GMS | IDF500B | NO UPS