## Orchard Hill ES
Water Testing Results - | ORCHARD HILL ELEMENTARY
Action Level is 15 parts per billion (ppb)
Fixture Location/Description | Fixture ID # | Test Date | Test Result
Room 1 - Classroom Faucet | 20390100-001CF | 2022-05-17 20:09 | 0.936
Room 1 - Drinking Water Fountain | 20390100-002DW | 2022-05-17 20:13 | 1.01
Room 2 - Classroom Faucet | 20390100-003CF | 2022-05-17 20:18 | 0.923
Room 2 - Drinking Water Fountain | 20390100-004DW | 2022-05-17 20:22 | 0.667
Room 3 - Classroom Faucet | 20390100-005CF | 2022-05-17 20:27 | 1.4
Room 3 - Drinking Water Fountain | 20390100-006DW | 2022-05-17 20:32 | 1.15
Room 4 - Classroom Faucet | 20390100-007CF | 2022-05-17 20:36 | 2.59
Room 4 - Drinking Water Fountain | 20390100-008DW | 2022-05-17 20:41 | 2.25
Room 5 - Classroom Faucet | 20390100-009CF | 2022-05-17 20:45 | 2.84
Room 5 - Drinking Water Fountain | 20390100-010DW | 2022-05-17 20:50 | 2.65
Room 6 - Classroom Faucet | 20390100-011CF | 2022-05-17 21:22 | 1.89
Room 6 - Drinking Water Fountain | 20390100-012DW | 2022-05-17 21:27 | 2.13
Room 26 - Classroom Faucet | 20390100-013CF | 2022-05-17 21:31 | 3.95
Room 26 - Drinking Water Fountain | 20390100-014DW | 2022-05-17 | 202
Room 26 - Bathroom Faucet | 20390100-015BF | 2022-05-17 21:36 | 0.524
Room 28 - Classroom Faucet | 20390100-016CF | 2022-05-17 21:40 | 2
Room 28 - Drinking Water Fountain | 20390100-017DW | 2022-05-17 21:45 | 60.1
Room 28 - Bathroom Faucet | 20390100-018BF | 2022-05-17 21:50 | 0.726
Room 30 - Classroom Faucet | 20390100-019CF | 2022-05-17 21:54 | 1.03
Room 30 - Drinking Water Fountain | 20390100-020DW | 2022-05-17 21:59 | 158
Room 30 - Bathroom Faucet | 20390100-021BF | 2022-05-19 11:46 | 0.656
Room 32 - Classroom Faucet | 20390100-022CF | 2022-05-19 11:51 | ND
Room 32 - Drinking Water Fountain | 20390100-023DW | 2022-05-19 11:55 | 64.4
Room 32 - Bathroom Faucet | 20390100-024BF | 2022-05-19 12:00 | 1.07
Room 10 - Classroom Faucet | 20390100-025CF | 2022-05-19 12:05 | 0.855
Room 10 - Drinking Water Fountain | 20390100-026DW | 2022-05-19 12:09 | 1.05
Room 11 - Classroom Faucet | 20390100-027CF | 2022-05-19 12:14 | 1.24
Room 11 - Drinking Water Fountain | 20390100-028DW | 2022-05-19 12:18 | 1.46
Room 9 - Classroom Faucet | 20390100-029CF | 2022-05-19 12:23 | 3.24
Room 9 - Drinking Water Fountain | 20390100-030DW | 2022-05-19 12:28 | 2.58
Art/Workout Room - Classroom Faucet | 20390100-031CF | 2022-05-19 12:50 | 30.5
Art/Workout Room - Drinking Water Fountain | 20390100-032DW | 2022-05-19 12:55 | 1.42
East Boys Restroom - Bathroom Faucet / Left | 20390100-033BF | 2022-05-19 13:00 | 1.67
East Boys Restroom - Bathroom Faucet / Right | 20390100-034BF | 2022-05-19 13:04 | 2.14
East Girls Restroom - Bathroom Faucet / Left | 20390100-035BF | 2022-05-19 13:09 | 3.51
East Girls Restroom - Bathroom Faucet / Right | 20390100-036BF | 2022-05-19 13:13 | 3.11
Room 12 - Classroom Faucet | 20390100-037CF | 2022-05-19 13:18 | 1.26
Room 12 - Drinking Water Fountain | 20390100-038DW | 2022-05-19 13:23 | 0.86
Room 8 - Classroom Faucet | 20390100-039CF | 2022-05-19 13:27 | 2.83
Room 8 - Drinking Water Fountain | 20390100-040DW | 2022-05-19 13:32 | 1.5
Room 7 - Classroom Faucet | 20390100-041CF | 2022-05-19 14:36 | 8.4
Room 7 - Drinking Water Fountain | 20390100-042DW | 2022-05-19 14:41 | 4.07
Story Room - Classroom Faucet | 20390100-043CF | 2022-05-19 14:45 | 1.67
Story Room - Drinking Water Fountain | 20390100-044DW | 2022-05-19 14:50 | 5.1
Room 13 - Classroom Faucet | 20390100-045CF | 2022-05-19 14:54 | 1.44
Room 13 - Drinking Water Fountain | 20390100-046DW | 2022-05-19 14:59 | 2.59
Room 14 - Classroom Faucet | 20390100-047CF | 2022-05-19 15:04 | 1.3
Room 14 - Drinking Water Fountain | 20390100-048DW | 2022-05-19 15:08 | 1.52
Room 15 - Classroom Faucet | 20390100-049CF | 2022-05-19 15:13 | 1.51
Room 15 - Drinking Water Fountain | 20390100-050DW | 2022-05-19 15:17 | 1.64
Room 19 - Classroom Faucet | 20390100-051CF | 2022-05-19 15:45 | 0.577
Room 19 - Drinking Water Fountain | 20390100-052DW | 2022-05-19 15:49 | 5.69
Room 19 - Bathroom Faucet | 20390100-053BF | 2022-05-19 15:54 | 1.79
Room 16 - Classroom Faucet | 20390100-054CF | 2022-05-19 15:58 | 2.46
Room 16 - Drinking Water Fountain | 20390100-055DW | 2022-05-19 16:03 | 1.57
Room 17 - Classroom Faucet | 20390100-056CF | 2022-05-19 16:08 | 3.55
Room 17 - Drinking Water Fountain | 20390100-057DW | 2022-05-19 16:13 | 5.56
Room 18 - Classroom Faucet | 20390100-058CF | 2022-05-19 16:18 | 1.35
Room 18 - Drinking Water Fountain | 20390100-059DW | 2022-05-19 16:23 | 3.18
Media Center - Classroom Faucet | 20390100-060CF | 2022-05-19 16:27 | 2.5
Media Center- Drinking Water Fountain | 20390100-061DW | 2022-05-19 17:18 | 1.71
Room 20 - Classroom Faucet | 20390100-062CF | 2022-05-19 17:22 | 3.9
Room 20 - Drinking Water Fountain | 20390100-063DW | 2022-05-19 17:27 | 1.76
Room 21 - Classroom Faucet | 20390100-064CF | 2022-05-19 17:32 | 0.836
Room 21 - Drinking Water Fountain | 20390100-065DW | 2022-05-19 17:36 | 2.81
West Boys Restroom - Bathroom Faucet / Left | 20390100-066BF | 2022-05-19 17:41 | 3.47
West Boys Restroom - Bathroom Faucet / Right | 20390100-067BF | 2022-05-19 17:45 | 4.38
West Girls Restroom - Bathroom Faucet / Left | 20390100-068BF | 2022-05-19 17:50 | 1.48
West Girls Restroom - Bathroom Faucet / Right | 20390100-069BF | 2022-05-19 17:54 | 4.08
Main Hall - Drinking Water Fountain | 20390100-070DW | 2022-05-19 17:59 | ND
Main Hall - Drinking Water Fountain | 20390100-071DW | 2022-05-19 18:22 | ND
Main Hall - Water Bottle Filler | 20390100-072WB | 2022-05-19 18:27 | ND
Office Nurse - Nurse's Office Sink | 20390100-073NS | 2022-05-19 18:31 | 0.859
Office Break Room - Staff/Office Faucet | 20390100-074SF | 2022-05-19 18:36 | 0.692
Women's Restroom - Bathroom Faucet | 20390100-075BF | 2022-05-19 18:40 | ND
Men's Restroom - Bathroom Faucet | 20390100-076BF | 2022-05-19 18:45 | 1.11
Gym - Drinking Water Fountain / South | 20390100-077DW | 2022-05-19 18:50 | 1.99
Gym - Drinking Water Fountain / North | 20390100-078DW | 2022-05-19 18:54 | 0.956
Gym - Girls Restroom - Bathroom Faucet / Left | 20390100-079BF | 2022-05-19 18:59 | 0.531
Gym - Girls Restroom - Bathroom Faucet / Right | 20390100-080BF | 2022-05-19 19:03 | 1.02
Gym - Boys Restroom - Bathroom Faucet / Left | 20390100-081BF | 2022-05-19 19:49 | 3.55
Gym - Boys Restroom - Bathroom Faucet / Right | 20390100-082BF | 2022-05-19 19:54 | 1.59
Headstart - Bathroom Faucet / Hall S | 20390100-083BF | 2022-05-19 19:59 | 1.2
Headstart - Bathroom Faucet / Hall Middle | 20390100-084BF | 2022-05-19 20:03 | 2.49
Headstart - Bathroom Faucet / Hall N | 20390100-085BF | 2022-05-19 20:08 | 4.08
Headstart - Classroom Faucet / Left | 20390100-086CF | 2022-05-19 20:12 | ND
Headstart - Classroom Faucet / Right | 20390100-087CF | 2022-05-19 20:17 | ND
Headstart - Other / Wash Basin | 20390100-088OT | 2022-05-19 20:22 | ND
Cafeteria - Drinking Water Fountain / Outside | 20390100-089DW | 2022-05-19 20:26 | ND
Cafeteria - Drinking Water Fountain / Left | 20390100-090DW | 2022-05-19 20:31 | ND
Cafeteria - Drinking Water Fountain / Right | 20390100-091DW | 2022-05-19 20:54 | ND
Cafeteria - Water Bottle Filler / Right | 20390100-092WB | 2022-05-19 20:58 | ND
Cafeteria - Bathroom Faucet | 20390100-093BF | 2022-05-19 21:03 | ND
Cafeteria - Kitchen Food Prep / Prep Sink | 20390100-094KF | 2022-05-19 21:08 | ND
Cafeteria - Kitchen Food Prep / Dishwasher | 20390100-095KF | 2022-05-19 21:12 | 0.742
Cafeteria - Kitchen Food Prep / Dishwasher Spray Left | 20390100-96KF | 2022-05-19 21:17 | 1.17
Cafeteria - Kitchen Food Prep / Dishwasher Spray Right | 20390100-97KF | 2022-05-19 21:21 | ND
Cafeteria - Kitchen Food Prep / Groen | 20390100-98KF | 2022-05-19 21:26 | ND
Cafeteria - Kitchen Food Prep / Hand Wash West | 20390100-99KF | 2022-05-19 21:31 | ND
Cafeteria - Kitchen Food Prep / Hand Wash East | 20390100-100KF | 2022-05-19 21:35 | ND
Ext Custodial Closet - Other / Custodial Faucet | 20390100-101OT | 2022-05-17 16:05 | 9.72
Any fixture testing at or above the action level of 15 ppb is immediately removed from service and cannot be returned to service until it has been remediated and passed follow-up testing
RETESTS
Room 26 - Drinking Water Fountain | 20390100-014DW | 2022-06-21 | 0.886
Room 28 - Drinking Water Fountain | 20390100-017DW | 2022-06-21 | 0.396
Room 30 - Drinking Water Fountain | 20390100-020DW | 2022-06-21 | 0.866
Room 32 - Drinking Water Fountain | 20390100-023DW | 2022-06-21 | 0.663
Art/Workout Room - Classroom Faucet | 20390100-031CF | 2022-06-21 | 1.95
ND = Non Detect - Lead level is below the set detection limits |  |  | of 0.515 ppb

## Transition House
Water Testing Results - | TRANSITION HOUSE
Action Level is 15 parts per billion (ppb)
Fixture Location/Description | Fixture ID # | Test Date | Test Result
Kitchen - Kitchen/Food Prep | 20390003-001KF | 2022-05-21 | 0.774
Student Restroom - Bathroom Faucet | 120390003-002BF | 2022-05-21 | 0.521
Staff Restroom - Bathroom Faucet / Left | 120390003-003BF | 2022-05-21 | 2.01
Staff Restroom - Bathroom Faucet / Right | 120390003-004BF | 2022-05-21 | 1.32
Kitchen Fridge - Drinking Water | 120390003-005DW | 2022-05-21 | 0.068
Any fixture testing at or above the action level of 15 ppb is immediately removed from service and cannot be returned to service until it has been remediated and passed follow-up testing
RETESTS
ND = Non Detect - Lead level is below the set detection limits |  |  | of 0.515 ppb

## Talent ES
Water Testing Results - | TALENT ELEMENTARY
Action Level is 15 parts per billion (ppb)
Fixture Location/Description | Fixture ID # | Test Date | Test Result
Girls Primary Restroom - Bathroom Faucet / Left | 20390301-001BF | 2022-05-13 19:53 | ND
Girls Primary Restroom - Bathroom Faucet / Right | 20390301-002BF | 2022-05-13 19:58 | ND
Room 8 - Nurse's Office Sink | 20390301-003NS | 2022-05-13 20:02 | 1.05
Room 8 - Bathroom Faucet | 20390301-004BF | 2022-05-13 20:07 | 1.01
Primary Water Fountain - Drinking Water Fountain | 20390301-005DW | 2022-05-13 20:11 | 2.1
Boys Primary Restroom - Bathroom Faucet / Left | 20390301-006BF | 2022-05-13 20:16 | 0.892
Boys Primary Restroom - Bathroom Faucet / Right | 20390301-007BF | 2022-05-13 20:21 | 1.76
Room 1 - Classroom Faucet | 20390301-008CF | 2022-05-13 20:25 | ND
Room 1- Drinking Water Fountain | 20390301-009DW | 2022-05-13 20:30 | 2.82
Room 2 - Classroom Faucet | 20390301-010CF | 2022-05-13 20:34 | 1.83
Room 2 - Drinking Water Fountain | 20390301-011DW | 2022-05-13 20:57 | 3.78
Room 3 - Classroom Faucet | 20390301-012CF | 2022-05-13 21:02 | 1.04
Room 3- Drinking Water Fountain | 20390301-013DW | 2022-05-13 21:06 | 4.86
Room 4 - Classroom Faucet | 20390301-014CF | 2022-05-13 21:11 | 3.29
Room 4 - Drinking Water Fountain | 20390301-015DW | 2022-05-13 21:16 | 2.85
Room 5 - Classroom Faucet | 20390301-016CF | 2022-05-13 21:20 | 2.06
Room 5- Drinking Water Fountain | 20390301-017DW | 2022-05-13 21:25 | 4.49
Room 6 - Classroom Faucet | 20390301-018CF | 2022-05-13 21:29 | 2.15
Room 6 - Drinking Water Fountain | 20390301-019DW | 2022-05-13 21:34 | 4.08
Room 25 - Classroom Faucet | 20390303-020CF | 2022-05-13 21:39 | 1.24
Room 25 - Drinking Water Fountain | 20390303-021DW | 2022-05-13 22:34 | ND
Room 25 - Bathroom Faucet | 20390303-022BF | 2022-05-13 22:38 | 1.27
Room 26 - Classroom Faucet | 20390303-023CF | 2022-05-13 22:43 | ND
Room 26 - Drinking Water Fountain | 20390303-024DW | 2022-05-13 22:47 | ND
Room 26 - Bathroom Faucet | 20390303-025BF | 2022-05-13 22:52 | 1.65
Room 27 - Classroom Faucet | 20390303-026CF | 2022-05-13 22:56 | 2.26
Room 27 - Drinking Water Fountain | 20390303-027DW | 2022-05-13 23:01 | ND
Room 27 - Bathroom Faucet | 20390303-028BF | 2022-05-13 23:06 | 0.623
Room 28 - Classroom Faucet | 20390303-029CF | 2022-05-13 23:10 | 0.625
Room 28 - Drinking Water Fountain | 20390303-030DW | 2022-05-13 23:15 | 2.31
Room 28 - Bathroom Faucet | 20390303-031BF | 2022-05-13 23:38 | 0.735
Girls Kinder Restroom - Bathroom Faucet / Left | 20390303-032BF | 2022-05-13 23:42 | 0.557
Girls Kinder Restroom - Bathroom Faucet / Right | 20390303-033BF | 2022-05-13 23:47 | ND
Boys Kinder Restroom - Bathroom Faucet / Left | 20390303-034BF | 2022-05-13 23:52 | 0.78
Boys Kinder Restroom - Bathroom Faucet / Right | 20390303-035BF | 2022-05-13 23:56 | ND
Room 15 - Classroom Faucet | 20390303-036CF | 2022-05-14 00:01 | ND
Room 15 - Drinking Water Faucet | 20390303-037DW | 2022-05-14 00:05 | ND
Room 14 - Classroom Faucet | 20390303-038CF | 2022-05-14 00:10 | 0.809
Room 14 - Drinking Water Faucet | 20390303-039DW | 2022-05-14 00:15 | ND
Room 13 - Classroom Faucet | 20390303-040CF | 2022-05-14 00:19 | 1.09
Room 13 - Drinking Water Faucet | 20390303-041DW | 2022-05-14 01:14 | 1.46
Room 12 - Classroom Faucet | 20390303-042CF | 2022-05-14 01:19 | 1.68
Room 12 - Drinking Water Fountain | 20390303-043DW | 2022-05-14 01:23 | 0.775
Breezeway Girls Restroom - Bathroom Faucet | 20390303-044BF | 2022-05-14 01:28 | 1.48
Breezeway - Drinking Water Fountain | 20390303-045DW | 2022-05-14 01:33 | 5.15
Breezeway Boys Restrrom - Bathroom Faucet / Left | 20390303-046BF | 2022-05-14 01:37 | 0.745
Breezeway Boys Restrrom - Bathroom Faucet / Right | 20390303-047BF | 2022-05-14 01:42 | 0.817
Room 11 - Classroom Faucet | 20390303-048CF | 2022-05-14 01:46 | 0.741
Room 11 - Drinking Water Fountain | 20390303-049DW | 2022-05-14 01:51 | 0.693
Room 10 - Classroom Faucet | 20390303-050CF | 2022-05-14 01:56 | 1.37
Room 10 - Drinking Water Fountain | 20390303-051DW | 2022-05-14 02:23 | 1.02
Gym Custodial Office - Other / Mop Sink | 20390302-052OT | 2022-05-14 02:28 | 1.74
Gym - Drinking Water Fountain | 20390302-053DW | 2022-05-14 02:32 | 3.89
Gym - Outside Drinking Water Fountain | 20390302-054DW | 2022-05-14 02:37 | ND
Kitchen - Kitchen Faucet / Spray Sink | 20390302-055KF | 2022-05-14 02:42 | 1.4
Kitchen - Kitchen Faucet / Spray Sink | 20390302-056KF | 2022-05-14 02:46 | 14
Gym/Cafeteria Boys Outside RR - Bathroom Faucet/L | 20390302-057BF | 2022-05-14 02:51 | 6.52
Gym/Cafeteria Boys Outside RR - Bathroom Faucet/R | 20390302-058BF | 2022-05-14 02:55 | 2.41
Gym/Cafeteria Girls Outside RR - Bathroom Faucet/L | 20390302-059BF | 2022-05-14 03:00 | 0.8
Gym/Cafeteria Girls Outside RR - Bathroom Faucet/R | 20390302-060BF | 2022-05-14 03:05 | ND
Gym/Cafeteria - Outside Drinking Water Fountain | 20390302-061DW | 2022-05-14 09:44 | 4.12
Staff Break Room - Kitchen Faucet | 20390300-062KF | 2022-05-14 09:49 | 0.895
Left Staff Workroom Restroom - Bathroom Faucet | 20390300-063BF | 2022-05-14 09:53 | 0.886
Right Staff Workroom Restroom - Bathroom Faucet | 20390300-064BF | 2022-05-14 09:58 | ND
Main Office Health Room - Nurse's Office Sink | 20390300-065NS | 2022-05-14 10:03 | 1.66
Room 16 - Classroom Faucet | 20390300-066CF | 2022-05-14 10:07 | 0.636
Room 16 - Drinking Water Fountain | 20390300-067DW | 2022-05-14 10:12 | 4.37
Room 17 - Classtroom Faucet | 20390300-068CF | 2022-05-14 05:27 | 0.573
Room 17 - Drinking Water Fountain | 20390300-069DW | 2022-05-14 10:16 | 6.68
Room 18 - Classroom Faucet | 20390300-070CF | 2022-05-14 10:21 | 6.47
Room 18 - Drinking Water Fountain | 20390300-071DW | 2022-05-14 10:44 | 23.3
Room 19 - Classroom Faucet | 20390300-072CF | 2022-05-14 10:49 | 1.05
Room 19 - Drinking Water Fountain | 20390300-073DW | 2022-05-14 10:53 | 0.645
Girls Round Building Restroom - Bathroom Faucet / Left | 20390300-074BF | 2022-05-14 10:58 | 1.73
Girls Round Building Restroom - Bathroom Faucet / Right | 20390300-075BF | 2022-05-14 11:02 | 1.53
Boys Round Building Restroom - Bathroom Faucet / Left | 20390300-076BF | 2022-05-14 11:07 | 5.84
Boys Round Building Restroom - Bathroom Faucet / Right | 20390300-077BF | 2022-05-14 11:12 | 3.17
Art Room - Classroom Faucet / Left | 20390300-078CF | 2022-05-14 05:31 | 10.2
Art Room - Classroom Faucet / Right | 20390300-079CF | 2022-05-14 11:16 | 34.8
Room 20 - Classroom Faucet | 20390300-080CF | 2022-05-14 11:21 | 5.34
Room 20 - Drinking Water Fountain | 20390300-081DW | 2022-05-14 04:04 | 9.28
Room 21 - Classroom Faucet | 20390300-082CF | 2022-05-14 05:36 | 2.54
Room 21 - Drinking Water Fountain | 20390300-083DW | 2022-05-14 04:09 | 20.7
Room 22 - Classroom Faucet | 20390300-084CF | 2022-05-14 04:13 | 0.789
Room 22 - Drinking Water Fountain | 20390300-085DW | 2022-05-14 04:18 | 1.02
Room 23 - Classroom Faucet | 20390300-086CF | 2022-05-14 04:23 | 2.04
Room 23 - Drinking Water Fountain | 20390300-087DW | 2022-05-14 04:27 | 0.956
Media Center - Classroom Faucet | 20390300-088CF | 2022-05-14 | 0.74
Any fixture testing at or above the action level of 15 ppb is immediately removed from service and cannot be returned to service until it has been remediated and passed follow-up testing
RETESTS
Room 18 - Drinking Water Fountain | 20390300-071DW | 2022-06-17 | 3.61
Art Room - Classroom Faucet / Right | 20390300-079CF | 2022-06-17 | 1.04
Room 21 - Drinking Water Fountain | 20390300-083DW | 2022-06-17 | 2.26
ND = Non Detect - Lead level is below the set detection limits |  |  | of 0.515 ppb

## Talent MS
Water Testing Results - | TALENT MIDDLE SCHOOL
Action Level is 15 parts per billion (ppb)
Fixture Location/Description | Fixture ID # | Test Date | Test Result
Room 35 - Classroom Faucet | 20390400-001CF | 2022-05-19 22:17 | 1.28
Room 33 - Classroom Faucet | 20390400-002CF | 2022-05-19 22:21 | 0.2
Girls Restroom NE - Bathroom Faucet | 20390400-003BF | 2022-05-19 22:26 | 0.682
Boys Restroom NE - Bathroom Faucet | 20390400-004BF | 2022-05-19 22:30 | 0.261
NE Water Fountain - Drinking Water Fountain | 20390400-005DW | 2022-05-19 22:35 | 1.51
Room 31 - Classroom Faucet | 20390400-006CF | 2022-05-19 22:40 | 0.777
Room 32 - Classroom Faucet | 20390400-007CF | 2022-05-19 22:44 | 2.41
Room 24 - Classroom Faucet | 20390400-008CF | 2022-05-19 22:49 | 0.758
Room 23 - Classroom Faucet | 20390400-009CF | 2022-05-19 22:53 | 0.222
Boys Restroom NW - Bathroom Faucet / Left | 20390400-010BF | 2022-05-19 22:58 | 0.354
Boys Restroom NW - Bathroom Faucet / Middle | 20390400-011BF | 2022-05-19 23:21 | 2.71
Boys Restroom NW - Bathroom Faucet / Right | 20390400-012BF | 2022-05-19 23:26 | 0.537
Staff Restroom NW - Bathroom Faucet | 20390400-013BF | 2022-05-19 23:30 | 1.22
NW - Drinking Water Fountain | 20390400-014DW | 2022-05-19 23:35 | ND
NW - Water Bottle Filler | 20390400-015WB | 2022-05-19 23:39 | ND
NW Staff Room - Bathroom Faucet | 20390400-016BF | 2022-05-19 23:44 | 0.865
Girls Restroom NW - Bathroom Faucet / Left | 20390400-017BF | 2022-05-19 23:49 | 4.46
Girls Restroom NW - Bathroom Faucet / Middle | 20390400-018BF | 2022-05-19 23:53 | 1.5
Girls Restroom NW - Bathroom Faucet / Right | 20390400-019BF | 2022-05-19 23:58 | 0.769
Room 22 - Classroom Faucet | 20390400-020CF | 2022-05-20 00:02 | 0.711
Room 19 - Classroom Faucet | 20390400-021CF | 2022-05-20 00:44 | 0.52
Room 12 - Classroom Faucet | 20390400-022CF | 2022-05-20 00:48 | 1.04
Room 10 - Classroom Faucet | 20390400-023CF | 2022-05-20 00:53 | 0.785
Room 13 - Classroom Faucet | 20390400-024CF | 2022-05-20 00:58 | 1.11
Staff Prep Room Between Rm 14-15 - Kitchen Faucet | 20390400-025KF | 2022-05-20 01:02 | 7.01
Room 17 - Office - Classroom Faucet | 20390400-026CF | 2022-05-20 01:07 | 1.16
Room 17 - Classroom Faucet / North toward Courtyard | 20390400-027CF | 2022-05-20 01:11 | 1.21
Room 17 - Classroom Faucet | 20390400-028CF | 2022-05-20 01:16 | 0.681
Room 17 - Drinking Water Fountain | 20390400-029DW | 2022-05-20 01:21 | 3.48
Main Hall Water Fountain by Rm 15 - Drinking Water Fountain | 20390400-030DW | 2022-05-20 01:25 | 2.85
Media Center - Kitchen Faucet | 20390400-031KF | 2022-05-20 01:48 | 0.392
Girls Restroom - Main Hall - Bathroom Faucet | 20390400-032BF | 2022-05-20 01:53 | 0.51
Girls Restroom - Main Hall - Bathroom Faucet | 20390400-033BF | 2022-05-20 01:57 | 0.843
Boys Restroom - Main Hall - Bathroom Faucet / Left | 20390400-034BF | 2022-05-20 02:02 | 2.08
Boys Restroom - Main Hall - Bathroom Faucet / Right | 20390400-035BF | 2022-05-20 02:07 | 2.26
Room 9 - Classroom Faucet | 20390400-036CF | 2022-05-20 02:11 | 1.73
Room 8 - Classroom Faucet | 20390400-037CF | 2022-05-20 02:16 | ND
Girls Restroom - South Hall - Bathroom Faucet / Left | 20390400-038BF | 2022-05-20 02:20 | 0.926
Girls Restroom - South Hall - Bathroom Faucet / Middle | 20390400-039BF | 2022-05-20 02:25 | 0.716
Girls Restroom - South Hall - Bathroom Faucet / Right | 20390400-040BF | 2022-05-20 02:30 | 0.59
Boys Restroom - South Hall - Bathroom Faucet / Left | 20390400-041BF | 2022-05-20 03:11 | 0.415
Boys Restroom - South Hall - Bathroom Faucet / Middle | 20390400-042BF | 2022-05-20 03:16 | 0.428
Boys Restroom - South Hall - Bathroom Faucet / Right | 20390400-043BF | 2022-05-20 03:20 | 0.24
South Hall Water Fountains - Drinking Water Fountain / Left | 20390400-044DW | 2022-05-20 03:25 | 5.4
South Hall Water Fountains - Drinking Water Fountain / Right | 20390400-045DW | 2022-05-20 03:29 | 1.72
Room 7 - Classroom Faucet | 20390400-046CF | 2022-05-20 03:34 | 0.259
Room 6 - Classroom Faucet | 20390400-047CF | 2022-05-20 03:39 | 1
Room 5 - Classroom Faucet / Left | 20390400-048CF | 2022-05-20 03:43 | 0.409
Room 5 - Classroom Faucet / Middle | 20390400-049CF | 2022-05-20 03:48 | 0.212
Room 5 - Classroom Faucet / Right | 20390400-050CF | 2022-05-20 03:52 | 0.186
Main Office Health Room - Bathroom Faucet | 20390400-051BF | 2022-05-20 04:15 | 0.492
Main Office Staff Restroom - Bathroom Faucet | 20390400-052BF | 2022-05-20 04:20 | 0.256
Main Office Staff Restroom - Bathroom Faucet | 20390400-053BF | 2022-05-20 04:25 | 0.551
Main Office Breakroom - Kitchen Faucet | 20390400-054KF | 2022-05-20 04:29 | 3.7
Water Fountain @ Nurse's Office - Water Bottle Filler | 20390400-055WB | 2022-05-20 04:34 | ND
Nurse's Office - Nurse's Office Sink | 20390400-056NS | 2022-05-20 04:38 | 1.58
Nurse's Office Restroom - Bathroom Faucet | 20390400-057BF | 2022-05-20 04:43 | 2.52
Kitchen - Kitchen Faucet / Spray Sink | 20390400-058KF | 2022-05-20 04:48 | 0.913
Kitchen - Kitchen Faucet / Left | 20390400-059KF | 2022-05-20 04:52 | 0.455
Kitchen - Kitchen Faucet / Right | 20390400-060KF | 2022-05-20 04:57 | 0.678
Kitchen - Kitchen Faucet / Eyewash | 20390400-061KF | 2022-05-20 05:38 | 2.56
Kitchen - Bathroom Faucet | 20390400-062BF | 2022-05-20 05:43 | 0.253
Kitche Prep Room - Kitchen Faucet | 20390400-063KF | 2022-05-20 05:47 | 2.18
Cafeteria - Drinking Water Fountain | 20390400-064DW | 2022-05-20 05:52 | 4.91
Small Gym - Drinking Water Fountain | 20390400-065DW | 2022-05-20 05:57 | 2.58
Girls Lockeroom - Bathroom Faucet / Left | 20390400-066BF | 2022-05-20 06:01 | 1.07
Girls Lockeroom - Bathroom Faucet / Middle | 20390400-067BF | 2022-05-20 06:06 | 0.422
Girls Lockeroom - Bathroom Faucet / Right | 20390400-068BF | 2022-05-20 06:10 | 0.602
Girls Lockeroom - Drinking Water Fountain | 20390400-069DW | 2022-05-20 06:15 | 8.69
Boys Lockeroom - Bathroom Faucet / Left | 20390400-070BF | 2022-05-20 06:20 | 0.35
Boys Lockeroom - Bathroom Faucet / Middle | 20390400-071BF | 2022-05-20 12:08 | 0.884
Boys Lockeroom - Bathroom Faucet / Right | 20390400-072DW | 2022-05-20 12:13 | 24.1
Gym Commons - Drinking Water Fountain | 20390400-073DW | 2022-05-20 12:17 | 0.285
Outside Storage Closet - Drinking Water Fountain | 20390400-074DW | 2022-05-20 12:22 | 3.74
Outside Storage Closet - Outside Spigot | 20390400-075OS | 2022-05-20 12:26 | 2.98
Concession - Kitchen Faucet | 20390400-076KF | 2022-05-20 12:31 | 17.1
Gym Commons Custodial Closet - Ice Machine | 20390400-077IM | 2022-05-20 12:36 | 5.88
Boys Restroom Gym Commons - Bathroom Faucet / Left | 20390400-078BF | 2022-05-20 12:40 | 1.12
Boys Restroom Gym Commons - Bathroom Faucet / Right | 20390400-079BF | 2022-05-20 12:45 | 6.32
Gym Commons - Drinking Water Fountain / Left | 20390400-080DW | 2022-05-20 12:49 | 4.93
Gym Commons - Drinking Water Fountain / Right | 20390400-081DW | 2022-05-20 13:49 | 1.85
Room 3 - Classroom Faucet | 20390400-082CF | 2022-05-23 19:15 | 487
Room 4 - Classroom Faucet | 20390400-083CF | 2022-05-20 13:54 | 2.56
Girls Commons Restroom - Bathroom Faucet / Left | 20390400-084BF | 2022-05-20 13:58 | 0.364
Girls Commons Restroom - Bathroom Faucet / Middle | 20390400-085BF | 2022-05-20 14:03 | 0.354
Girls Commons Restroom - Bathroom Faucet / Right | 20390400-086BF | 2022-05-20 14:07 | 0.589
Any fixture testing at or above the action level of 15 ppb is immediately removed from service and cannot be returned to service until it has been remediated and passed follow-up testing
RETESTS
Boys Lockeroom - Bathroom Faucet / Right | 20390400-072DW | 2022-06-17 | 6.16
Concession - Kitchen Faucet | 20390400-076KF | 2022-06-17 | 0.585
Room 3 - Classroom Faucet | 20390400-082CF | 2022-06-17 | 3.11
ND = Non Detect - Lead level is below the set detection limits |  |  | of 0.515 ppb

## Phoenix HS
Water Testing Results - | PHOENIX HIGH SCHOOL
Action Level is 15 parts per billion (ppb)
Fixture Location/Description | Fixture ID # | Test Date | Test Result
D126 - Ice Machine | 20390500-001IM | 2022-05-24 21:22 | ND
D126 - Nurse's Station Sink | 20390500-002NS | 2022-05-24 21:26 | 0.58
D126 - Bathroom Faucet | 20390500-003BF | 2022-05-24 21:31 | 0.631
D124 - Bathroom Faucet | 20390500-004BF | 2022-05-24 21:36 | ND
D123 - Bathroom Faucet | 20390500-005BF | 2022-05-24 21:40 | 0.712
D120 - Kitchen Faucet | 20390500-006KF | 2022-05-24 21:45 | ND
Drinking Water Fountain by B1 | 20390500-007DW | 2022-05-24 21:49 | ND
Water Bottle Filler by B1 | 20390500-008WB | 2022-05-24 21:54 | ND
Drinking Water Fountain | 20390500-009DW | 2022-05-24 21:58 | ND
D135 - Bathroom Faucet - Left | 20390500-010BF | 2022-05-24 22:03 | ND
D135 - Bathroom Faucet - Middle | 20390500-011BF | 2022-05-24 22:26 | 0.56
D135 - Bathroom Faucet - Right | 20390500-012BF | 2022-05-24 22:30 | ND
D136 - Bathroom Faucet - Left | 20390500-013BF | 2022-05-24 22:35 | 0.63
D136 - Bathroom Faucet - Middle | 20390500-014BF | 2022-05-24 22:40 | 0.578
D136 - Bathroom Faucet - Right | 20390500-015BF | 2022-05-24 22:44 | ND
D137 - Bathroom Faucet | 20390500-016BF | 2022-05-24 22:49 | ND
B110 - Classroom Faucet | 20390500-017CF | 2022-05-24 22:53 | 0.677
B105 - Classroom Faucet | 20390500-018CF | 2022-05-24 22:58 | 1.11
C103 - Classroom Faucet | 20390500-019CF | 2022-05-24 23:02 | 1.61
C105 - Classroom Faucet | 20390500-020CF | 2022-05-24 23:07 | 0.56
C106 - Classroom Faucet | 20390500-021BF | 2022-05-25 00:02 | ND
C107 - Classroom Faucet | 20390500-022CF | 2022-05-25 00:07 | 0.548
C108 - Kitchen Faucet | 20390500-023KF | 2022-05-25 00:11 | ND
C108 - Classroom Faucet | 20390500-024CF | 2022-05-25 00:16 | 0.723
C112 - Classroom Faucet | 20390500-025CF | 2022-05-25 00:20 | ND
C113 - Bathroom Faucet | 20390500-026BF | 2022-05-25 00:25 | ND
C114 - Kitchen Faucet | 20390500-027KF | 2022-05-25 00:30 | ND
A1 Hall - Drinking Water Fountain | 20390500-028DW | 2022-05-25 00:34 | ND
A1 Hall - Water Bottle Filler | 20390500-029WB | 2022-05-25 00:39 | ND
A1 Hall - Drinking Water Fountain | 20390500-030DW | 2022-05-25 00:43 | ND
C117 - Bathroom Faucet | 20390500-031BF | 2022-05-25 01:06 | 0.996
C120 - Bathroom Faucet | 20390500-032BF | 2022-05-25 01:11 | 1.11
C119 - Bathroom Faucet / Left | 20390500-033BF | 2022-05-25 01:15 | 1.09
C119 - Bathroom Faucet / Middle | 20390500-034BF | 2022-05-25 01:20 | 0.826
C119 - Bathroom Faucet / Right | 20390500-035BF | 2022-05-25 01:25 | ND
C118 - Bathroom Faucet / Left | 20390500-036BF | 2022-05-25 01:29 | 0.816
C118 - Bathroom Faucet / Middle | 20390500-037BF | 2022-05-25 01:34 | 0.767
C118 - Bathroom Faucet / Right | 20390500-038BF | 2022-05-25 01:38 | 1.85
A111 - Classroom Faucet / Wash Basin | 20390500-039CF | 2022-05-25 01:43 | 0.599
A110 - Classroom Faucet | 20390500-040CF | 2022-05-25 01:48 | 0.613
A109 - Classroom Faucet | 20390500-041CF | 2022-05-25 02:38 | 0.594
A103 Culinary - Kitchen Faucet - North / Left | 20390500-042KF | 2022-05-25 02:43 | 0.714
A103 Culinary - Kitchen Faucet - North / Middle | 20390500-043KF | 2022-05-25 02:47 | 0.694
A103 Culinary - Kitchen Faucet - North / Right | 20390500-044KF | 2022-05-25 02:52 | 0.672
A103 Culinary - Kitchen Faucet - South / Left | 20390500-045KF | 2022-05-25 02:56 | 0.641
A103 Culinary - Kitchen Faucet - South / Right | 20390500-046KF | 2022-05-25 03:01 | ND
A103 Culinary - Kitchen Faucet - West / Left | 20390500-047KF | 2022-05-25 03:06 | 0.686
A103 Culinary - Kitchen Faucet - West / Right | 20390500-048KF | 2022-05-25 03:10 | 0.757
A103 - Ice Machine | 20390500-049IM | 2022-05-25 03:15 | ND
A108 - Classroom Faucet / Left | 20390500-050CF | 2022-05-25 03:19 | 0.539
A108 - Classroom Faucet / Middle | 20390500-051CF | 2022-05-25 03:42 | 0.84
A108 - Classroom Faucet / Right | 20390500-052CF | 2022-05-25 03:47 | 0.654
A107 - Classroom Faucet / Left | 20390500-053CF | 2022-05-25 03:51 | 0.668
A107 - Classroom Faucet / Middle | 20390500-054CF | 2022-05-25 03:56 | 0.661
A107 - Classroom Faucet / Right | 20390500-055CF | 2022-05-25 04:01 | 0.846
A2 Hall - Drinking Water Fountain | 20390500-056DW | 2022-05-25 04:05 | ND
A2 Hall - Water Bottle Filler | 20390500-057WB | 2022-05-25 04:10 | ND
A2 Hall - Drinking Water Fountain | 20390500-058DW | 2022-05-25 04:14 | ND
C210 - Bathroom Faucet | 20390500-059BF | 2022-05-25 04:19 | 0.596
C209 - Bathroom Faucet / Left | 20390500-060BF | 2022-05-25 04:23 | 1.14
C209 - Bathroom Faucet / Middle | 20390500-061BF | 2022-05-25 05:14 | 1.05
C209 - Bathroom Faucet / Right | 20390500-062BF | 2022-05-25 05:18 | 0.845
C208 - Bathroom Faucet / Left | 20390500-063BF | 2022-05-25 05:23 | 0.884
C208 - Bathroom Faucet / Middle | 20390500-064BF | 2022-05-25 05:28 | 0.986
C208 - Bathroom Faucet / Right | 20390500-065BF | 2022-05-25 05:32 | 1.28
C205 - Classroom Faucet | 20390500-066CF | 2022-05-25 05:37 | 0.526
C202 - Classroom Faucet | 20390500-067CF | 2022-05-25 05:41 | 0.687
C211 - Classroom Faucet | 20390500-068CF | 2022-05-25 05:46 | ND
B206 - Classroom Faucet | 20390500-069CF | 2022-05-25 05:51 | 3.12
B2 - Drinking Water Fountain | 20390500-070DW | 2022-05-25 05:55 | ND
B2 - Water Bottle Filler | 20390500-071WB | 2022-05-25 06:18 | ND
B2 - Drinking Water Fountain | 20390500-072DW | 2022-05-25 06:23 | ND
D219 - Bathroom Faucet | 20390500-073BF | 2022-05-25 06:27 | ND
D218 - Bathroom Faucet / Left | 20390500-074BF | 2022-05-25 06:32 | 0.768
D218 - Bathroom Faucet / Middle | 20390500-075BF | 2022-05-25 06:36 | 1.02
D218 - Bathroom Faucet / Right | 20390500-076BF | 2022-05-25 06:41 | ND
D217 - Bathroom Faucet / Left | 20390500-077BF | 2022-05-25 06:46 | 0.596
D217 - Bathroom Faucet / Middle | 20390500-078BF | 2022-05-25 06:50 | 0.681
D217 - Bathroom Faucet / Right | 20390500-079BF | 2022-05-25 06:55 | 1.22
D201 - Classroom Faucet / Left | 20390500-080CF | 2022-05-25 06:59 | 0.969
D201 - Classroom Faucet / Right | 20390500-081CF | 2022-05-25 07:50 | 1.15
D202 - Classroom Faucet | 20390500-082CF | 2022-05-25 07:54 | 3.11
Kitchen - Kitchen Faucet / CCW from Commons / WS1 | 20390500-083KF | 2022-05-25 07:59 | 3.63
Kitchen - Kitchen Faucet / CCW from Commons / WS2 | 20390500-084KF | 2022-05-25 08:04 | 2.29
Kitchen - Kitchen Faucet / CCW from Commons / WS3 | 20390500-085KF | 2022-05-25 08:08 | 1.18
Kitchen - Kitchen Faucet / CCW from Commons / WS4 | 20390500-086KF | 2022-05-25 08:13 | 2.2
Kitchen - Kitchen Faucet / CCW from Commons / WS5 | 20390500-087KF | 2022-05-25 08:17 | 1.7
Kitchen - Kitchen Faucet / CCW from Commons / WS6 | 20390500-088KF | 2022-05-25 08:22 | 1.38
Kitchen - Kitchen Faucet / CCW from Commons / WS7 | 20390500-089KF | 2022-05-25 08:26 | ND
Kitchen - Kitchen Faucet / CCW from Commons / WS8 | 20390500-090KF | 2022-05-25 08:31 | 0.538
Kitchen - Kitchen Faucet / CCW from Commons / WS9 | 20390500-091KF | 2022-05-25 08:59 | ND
Kitchen - Kitchen Faucet / CCW from Commons / WS10 | 20390500-092KF | 2022-05-25 09:03 | 1.05
Kitchen - Kitchen Faucet / CCW from Commons / WS11 | 20390500-093KF | 2022-05-25 09:08 | ND
Kitchen - Kitchen Faucet / CCW from Commons / WS12 | 20390500-094KF | 2022-05-25 09:12 | 1.62
Kitchen - Kitchen Faucet / CCW from Commons / WS13 | 20390500-095KF | 2022-05-25 09:17 | 2.61
Kitchen - Kitchen Faucet / CCW from Commons / WS14 | 20390500-096KF | 2022-05-25 09:22 | 1.15
Kitchen - Bathroom Faucet | 20390500-097BF | 2022-05-25 09:26 | 0.759
Kitchen - Ice Machine | 20390500-098IM | 2022-05-16 | 3.59
F132 - Kitchen Faucet | 20390500-099KF | 2022-05-25 09:31 | 7.49
F132 - Kitchen Faucet | 20390500-100KF | 2022-05-25 09:35 | 1.76
WR100 - Drinking Water Fountain | 20390500-101DW | 2022-05-25 23:57 | ND
WR100 - Water Bottle Filler | 20390500-102WB | 2022-05-26 00:01 | ND
WR100 - Drinking Water Fountain | 20390500-103DW | 2022-05-26 00:06 | ND
F156 - Bathroom Faucet / Left | 20390500-104BF | 2022-05-26 00:10 | 1.44
F156 - Bathroom Faucet / Middle | 20390500-105BF | 2022-05-26 00:15 | 3.08
F156 - Bathroom Faucet / Right | 20390500-106BF | 2022-05-26 00:19 | 1.22
F155 - Bathroom Faucet / Left | 20390500-107BF | 2022-05-26 00:24 | 1.93
F155 - Bathroom Faucet / Middle | 20390500-108BF | 2022-05-26 00:29 | 2.78
F155 - Bathroom Faucet / Right | 20390500-109BF | 2022-05-26 00:33 | 2.9
Drinking Water Fountain by F154 | 20390500-110WB | 2022-05-26 00:38 | 2.74
S506 - Girls Locker Room - Bathroom Faucet | 20390500-111BF | 2022-05-26 01:01 | 11.6
448 - Coach's Office - Bathroom Faucet | 20390500-112BF | 2022-05-26 01:05 | 18.4
S506 - Drinking Water Fountain | 20390500-113DW | 2022-05-26 01:10 | 118
446 - Old Training Room - Ice Machine | 20390500-114IM | 2022-05-17 | ND
S506 - - Drinking Water Fountain | 20390500-115DW | 2022-05-26 01:14 | 26.4
447 - Coach's Office - Bathroom Faucet | 20390500-116BF | 2022-05-26 01:19 | 8.08
S506 - Boys Locker Room - Bathroom Faucet | 20390500-117BF | 2022-05-26 01:24 | 3.08
F109 - Bathroom Faucet / Left | 20390500-118BF | 2022-05-26 01:28 | ND
F109 - Bathroom Faucet / Right | 20390500-119BF | 2022-05-26 01:33 | 0.895
F108 - Bathroom Faucet / Left | 20390500-120BF | 2022-05-26 01:37 | 0.85
F108 - Bathroom Faucet / Right | 20390500-121BF | 2022-05-26 02:42 | 1.34
Drinking Water Fountain by F108/F109 | 20390500-122DW | 2022-05-26 02:46 | ND
Water Bottle Filler by F108/F109 | 20390500-123WB | 2022-05-26 02:51 | ND
Drinking Water Fountain | 20390500-124DW | 2022-05-26 02:56 | ND
F149 - Bathroom Faucet | 20390500-125BF | 2022-05-26 03:00 | 0.528
F150 - Classroom Faucet | 20390500-126CF | 2022-05-26 03:05 | 5.14
F151 - Classroom Faucet | 20390500-127CF | 2022-05-26 03:09 | 0.953
F135 - Bathroom Faucet / Left to Right / 1 of 5 | 20390500-128BF | 2022-05-26 03:14 | 0.81
F135 - Bathroom Faucet / 2 of 5 | 20390500-129BF | 2022-05-26 03:19 | 1.16
F135 - Bathroom Faucet / 3 of 5 | 20390500-130BF | 2022-05-26 03:23 | 0.775
F135 - Bathroom Faucet / 4 of 5 | 20390500-131BF | 2022-06-02 16:24 | 0.581
F135 - Bathroom Faucet / 5 of 5 | 20390500-132BF | 2022-06-02 16:31 | 0.535
F127 - Bathroom Faucet / Left to Right / 1 of 5 | 20390500-133BF | 2022-06-02 16:36 | 0.537
F127 - Bathroom Faucet / 2 of 5 | 20390500-134BF | 2022-06-02 16:40 | 0.771
F127 - Bathroom Faucet / 3 of 5 | 20390500-135BF | 2022-06-02 16:45 | 0.903
F127 - Bathroom Faucet / 4 of 5 | 20390500-136BF | 2022-06-02 16:49 | 1.16
F127 - Bathroom Faucet / 5 of 5 | 20390500-137BF | 2022-06-02 16:54 | 0.713
Concession Stand - Kitchen Faucet | 20390505-138KF | 2022-06-02 16:59 | 3.33
Concession Stand - Drinking Water Fountain | 20390505-139DW | 2022-06-02 17:03 | 13
Girls Restroom - Bathroom Faucet / Left | 20390505-140BF | 2022-06-02 17:08 | 3.29
Girls Restroom - Bathroom Faucet / Right | 20390505-141BF | 2022-06-02 17:49 | 2.9
Boys Restroom - Bathroom Faucet / Left | 20390505-142BF | 2022-06-02 17:54 | 4.64
Boys Restroom - Bathroom Faucet / Right | 20390505-143BF | 2022-05-16 | 3.64
S508B - Bathroom Faucet | 20390505-144BF | 2022-06-02 17:58 | 6.62
S508A - Bathroom Fauct | 20390505-145BF | 2022-06-02 18:03 | 5.25
Weight Room - Drinking Water Fountain / Left | 20390503-146DW | 2022-06-02 18:07 | ND
Weight Room - Drinking Water Fountain / Middle | 20390503-147DW | 2022-06-02 18:12 | ND
Weight Room - Drinking Water Fountain / Right | 20390503-148DW | 2022-06-02 18:17 | ND
Weight Room - Bathroom Faucet | 20390503-149BF | 2022-06-02 18:21 | 1.29
Before Rm F149 - Drinking Water Fountain | 20390503-150DW | 2022-06-07 | ND
A103 - Culinary - Classroom Faucet | 20390503-151CF | 2022-06-07 | ND
A106 - Kitchen Faucet | 20390503-152KF | 2022-06-07 | ND
Any fixture testing at or above the action level of 15 ppb is immediately removed from service and cannot be returned to service until it has been remediated and passed follow-up testing
RETESTS
448 - Coach's Office - Bathroom Faucet | 20390500-112BF | 2022-06-14 | 0.677
S506 - Drinking Water Fountain | 20390500-113DW | 2022-06-14 | 2.7
S506 - - Drinking Water Fountain | 20390500-115DW | 2022-06-14 | 1.72
ND = Non Detect - Lead level is below the set detection limits |  |  | of 0.515 ppb

## Phoenix ES
Water Testing Results - | PHOENIX ELEMENTARY
Action Level is 15 parts per billion (ppb)
Fixture Location/Description | Fixture ID # | Test Date | Test Result
Room 27 - Classroom Faucet | 20390203-001CF | 2022-05-17 00:26 | 0.88
Room 27 - Drinking Water Fountain | 20390203-002DW | 2022-05-17 00:31 | ND
Room 26 - Classroom Faucet | 20390203-003CF | 2022-05-17 00:35 | 1.09
Room 26 - Drinking Water Fountain | 20390203-004DW | 2022-05-17 00:40 | ND
Room 28 - Classroom Faucet | 20390204-005CF | 2022-05-17 00:44 | 0.729
Room 28 - Drinking Water Fountain | 20390204-006DW | 2022-05-17 00:49 | 0.569
Room 29 - Classroom Faucet | 20390204-007CF | 2022-05-17 00:53 | 7.46
Room 29 - Drinking Water Fountain | 20390204-008DW | 2022-05-17 00:58 | 0.64
Primary Boys Restroom - Bathroom Faucet / Left | 20390201-009BF | 2022-05-17 01:03 | 1.04
Primary Boys Restroom - Bathroom Faucet / Right | 20390201-010BF | 2022-05-17 01:07 | 1.86
Primary Outside - Drinking Water Fountain | 20390201-011DW | 2022-06-22 | 0.628
Primary Girls Restroom - Bathroom Faucet / Left | 20390201-012BF | 2022-05-17 01:35 | 1.24
Primary Girls Restroom - Bathroom Faucet / Right | 20390201-013BF | 2022-05-17 01:39 | 2.18
Room 11 - Classroom Faucet | 20390201-014CF | 2022-05-17 01:44 | 0.549
Room 11 - Drinking Water Faucet | 20390201-015DW | 2022-05-17 01:49 | ND
Room 7 - Classroom Faucet | 20390201-016CF | 2022-05-17 01:53 | 1.76
Room 7 - Drinking Water Faucet | 20390201-017DW | 2022-05-17 01:58 | ND
Room 7 - Bathroom Faucet | 20390201-018BF | 2022-05-17 02:02 | 0.525
Room 10 - Classroom Faucet | 20390201-019CF | 2022-05-17 02:07 | ND
Room 10 - Drinking Water Fountain | 20390201-020DW | 2022-05-17 02:12 | 0.537
Room 6 - Classroom Faucet | 20390201-021CF | 2022-05-17 03:02 | 1.12
Room 6 - Drinking Water Fountain | 20390201-022DW | 2022-05-17 03:07 | 1.77
Room 6 - Bathroom Faucet | 20390201-023BF | 2022-05-17 03:11 | 0.667
Room 9 - Classroom Faucet | 20390201-024CF | 2022-05-17 03:16 | 2.05
Room 9 - Drinking Water Fountain | 20390201-025DW | 2022-05-17 03:21 | 3.36
Room 5 - Classroom Faucet | 20390201-026CF | 2022-05-17 03:25 | 1.52
Room 5 - Drinking Water Fountain | 20390201-027DW | 2022-06-22 | ND
Room 5 - Bathroom Faucet | 20390201-028BF | 2022-05-17 03:34 | 1.64
Room 8 - Classroom Faucet | 20390201-029CF | 2022-05-17 03:39 | 0.708
Room 8 - Drinking Water Fountain | 20390201-030DW | 2022-05-17 03:44 | 4.4
Room 4 - Classroom Faucet | 20390201-031CF | 2022-05-17 04:11 | 1.03
Room 4 - Drinking Water Fountain | 20390201-032DW | 2022-05-17 04:16 | 1.51
Room 4 - Bathroom Faucet | 20390201-033BF | 2022-05-17 04:20 | 0.796
Room 3 - Bathroom Faucet | 20390201-034BF | 2022-05-17 04:25 | ND
Primary Drinking Water Fountain | 20390201-035DW | 2022-05-17 04:29 | ND
Primary Staff Restroom - Bathroom Faucet | 20390201-036BF | 2022-05-17 04:34 | 0.737
Primary Kitchen - Kitchen Faucet | 20390201-037KF | 2022-05-17 04:39 | 1.24
Primary Outside - Drinking Water Fountain | 20390201-038DW | 2022-05-17 04:43 | 16
Room 12 - Classroom Faucet | 20390201-039CF | 2022-05-17 04:48 | 7.32
Room 12 - Drinking Water Fountain | 20390201-040DW | 2022-06-22 | 0.612
Room 13 - Classroom Faucet | 20390201-041CF | 2022-05-17 05:43 | 2.67
Room 13 - Drinking Water Fountain | 20390201-042DW | 2022-06-22 | 0.926
Room 14 - Classroom Faucet | 20390201-043CF | 2022-05-17 05:52 | 6.56
Room 14 - Drinking Water Fountain | 20390201-044DW | 2022-06-22 | 7.89
Room 15 - Classroom Faucet | 20390201-045CF | 2022-05-17 06:01 | 7.15
Room 15 - Drinking Water Fountain | 20390201-046DW | 2022-06-22 | 2.74
Playground Girls Restroom - Bathroom Faucet / Left | 20390201-047BF | 2022-05-17 06:11 | ND
Playground Girls Restroom - Bathroom Faucet / Right | 20390201-048BF | 2022-05-17 06:15 | ND
Playground Boys Restroom - Bathroom Faucet / Left | 20390201-049BF | 2022-05-17 06:20 | ND
Playground Boys Restroom - Bathroom Faucet / Right | 20390201-050BF | 2022-05-17 06:24 | 0.791
Round Bldg Staff Breakroom - Kitchen Faucet | 20390200-051KF | 2022-05-17 06:52 | 0.84
Left Staff Restroom - Bathroom Faucet | 20390200-052BF | 2022-05-17 06:56 | ND
Right Staff Restroom - Bathroom Faucet | 20390200-053BF | 2022-05-17 07:01 | ND
Main Office Health Room - Nurse's Office Sink | 20390200-054NS | 2022-05-17 07:06 | 2.88
Breakroom - Drinking Water Fountain | 20390200-055DW | 2022-05-17 07:10 | ND
Breakroom - Water Bottle Filler | 20390200-056WB | 2022-05-17 07:15 | ND
Room 23 - Classroom Faucet | 20390200-057CF | 2022-05-17 07:19 | 1.12
Room 23 - Drinking Water Fountain | 20390200-058DW | 2022-05-17 07:24 | 5.67
Room 22 - Classroom Faucet | 20390200-059CF | 2022-05-17 07:29 | 4.56
Room 22 - Drinking Water Fountain | 20390200-060DW | 2022-05-17 07:33 | 7.11
Room 21 - Classroom Faucet | 20390200-061CF | 2022-05-17 08:19 | ND
Room 21 - Drinking Water Fountain | 20390200-062DW | 2022-05-17 08:24 | ND
Room 20 - Classroom Faucet | 20390200-063CF | 2022-05-17 08:28 | ND
Room 20 - Drinking Water Fountain | 20390200-064DW | 2022-05-17 08:33 | 3.24
Round Bldg Girls Restroom - Bathroom Faucet / Left | 20390200-065BF | 2022-05-17 08:38 | 0.582
Round Bldg Girls Restroom - Bathroom Faucet / Right | 20390200-066BF | 2022-05-17 08:42 | 0.584
Round Bldg Boys Restroom - Bathroom Faucet / Left | 20390200-067BF | 2022-05-17 08:47 | 0.53
Round Bldg Boys Restroom - Bathroom Faucet / Right | 20390200-068BF | 2022-05-17 08:51 | 1.11
Art Room - Classroom Faucet | 20390200-069CF | 2022-05-17 08:56 | 5.79
Art Room - Classroom Faucet | 20390200-070CF | 2022-05-17 09:01 | 1.46
Room 19 - Classroom Faucet | 20390200-071CF | 2022-05-14 | 7.01
Room 19 - Drinking Water Fountain | 20390200-072DW | 2022-05-17 09:28 | 14.5
Room 18 - Classroom Faucet | 20390200-073CF | 2022-05-17 09:33 | ND
Room 18 - Drinking Water Fountain | 20390200-074DW | 2022-05-17 09:37 | 0.735
Room 17 - Classroom Faucet | 20390200-075CF | 2022-05-17 09:42 | 1.76
Room 17 - Drinking Water Fountain | 20390200-076DW | 2022-05-17 09:47 | 5.65
Room 16 - Classroom Fountain | 20390200-077CF | 2022-05-17 09:51 | 2.26
Room 16 - Drinking Water Fountain | 20390200-078DW | 2022-05-17 09:56 | 1.4
Media Center - Classroom Faucet | 20390200-079CF | 2022-05-17 10:00 | 2.19
Gym/Cafeteria - Drinking Water Fountain | 20390202-080DW | 2022-05-17 10:05 | ND
Gym/Cafeteria - Water Bottle Filler | 20390202-081WB | 2022-05-17 10:51 | ND
Kitchen - Kitchen Faucet | 20390202-082KF | 2022-05-17 10:56 | ND
Kitchen - Kitchen Faucet / Spray Sink | 20390202-083KF | 2022-05-17 11:00 | 4.67
Gym Boys Restroom - Bathroom Faucet / Left | 20390202-084BF | 2022-05-17 11:05 | ND
Gym Boys Restroom - Bathroom Faucet / Middle | 20390202-085BF | 2022-05-17 11:09 | 0.792
Gym Boys Restroom - Bathroom Faucet / Right | 20390202-086BF | 2022-05-17 11:14 | ND
Gym Girls Restroom - Bathroom Faucet / Left | 20390202-087BF | 2022-05-17 11:19 | 0.666
Gym Girls Restroom - Bathroom Faucet / Middle | 20390202-088BF | 2022-05-17 11:23 | 0.519
Gym Girls Restroom - Bathroom Faucet / Right | 20390202-089BF | 2022-05-17 11:28 | 0.699
Gym - Drinking Water Fountain | 20390202-090DW | 2022-05-17 11:32 | 0.706
La Clinica Nurse Station 1 - Nurse's Office Sink | 20390202-091NS | 2022-05-17 | 1.54
La Clinica Nurse Station 2 - Nurse's Office Sink | 20390202-092NS | 2022-05-17 11:56 | 7.82
La Clinica Restroom - Bathroom Faucet | 20390202-093BF | 2022-05-17 11:19 | ND
Café. Outside Boys Restroom - Bathroom Faucet / L | 20390202-094BF | 2022-05-17 11:23 | 0.845
Café. Outside Boys Restroom - Bathroom Faucet / R | 20390202-095BF | 2022-05-17 11:28 | 1.19
Café. Outside Girls Restroom - Bathroom Faucet / L | 20390202-096BF | 2022-05-17 11:32 | 10.9
Café. Outside Girls Restroom - Bathroom Faucet / R | 20390202-097BF | 2022-05-17 | ND
Cafeteria Outside - Drinking Water Fountain | 20390202-098DW | 2022-05-17 11:56 | 3
Gym Outside - Drinking Water Fountain | 20390202-099DW | 2022-05-24 | 44.3
Modular #2 - Drinking Water Fountain | 20390204-100DW | 2022-05-17 | 4.51
Any fixture testing at or above the action level of 15 ppb is immediately removed from service and cannot be returned to service until it has been remediated and passed follow-up testing
RETESTS
Primary Outside - Drinking Water Fountain | 20390201-038DW | 2022-06-17 | ND
Gym Outside - Drinking Water Fountain | 20390202-099DW | 2022-06-17 | ND
ND = Non Detect - Lead level is below the set detection limits |  |  | of 0.515 ppb

## District Office
Water Testing Results - | DISTRICT OFFICE
Action Level is 15 parts per billion (ppb)
Fixture Location/Description | Fixture ID # | Test Date | Test Result
Kitchen - Kitchen Faucet | 20390000-001KF | 2022-05-21 | 0.933
Kitchen Fridge - Drinking Water | 20390000-002DW | 2022-05-21 | ND
Restroom - Bathroom Faucet / Left | 20390000-003BF | 2022-05-21 | 1.32
Restroom - Bathroom Faucet / Right | 20390000-004BF | 2022-05-21 | 0.978
Any fixture testing at or above the action level of 15 ppb is immediately removed from service and cannot be returned to service until it has been remediated and passed follow-up testing
RETESTS
ND = Non Detect - Lead level is below the set detection limits |  |  | of 0.515 ppb

## Maintenance
Water Testing Results - | MAINTENANCE FACILITY
Action Level is 15 parts per billion (ppb)
Fixture Location/Description | Fixture ID # | Test Date | Test Result
Office Restroom - Bathroom Faucet | 20390502-001BF22 | 2022-06-07 | 1.04
Office Kitchen - Kitchen Faucet | 20390502-002KF22 | 2022-06-07 | ND
Warehouse Restroom - Bathroom Faucet | 20390502-003BF22 | 2022-06-07 | 1.35
Warehouse - Other / Wash Basin | 20390502-004OT22 | 2022-06-07 | 0.536
Warehouse - Drinking Water Fountain | 20390502-005DW22 | 2022-06-07 | 0.624
Any fixture testing at or above the action level of 15 ppb is immediately removed from service and cannot be returned to service until it has been remediated and passed follow-up testing
RETESTS
ND = Non Detect - Lead level is below the set detection limits |  |  | of 0.515 ppb

## Outdoor Discovery
Water Testing Results - | OUTDOOR DISCOVERY PROGRAM
Action Level is 15 parts per billion (ppb)
Fixture Location/Description | Fixture ID # | Test Date | Test Result
Girls - Restroom - Bathroom Faucet | 20390304-001BF | 2022-05-21 | 0.634
Boys Restroom - Bathroom Faucet | 20390304-002BF | 2022-05-21 | 0.893
Classroom - Classroom Faucet | 20390304-003CF | 2022-05-21 | 2.51
Drinking Water Fountain | 20390304-004DW | 2022-05-21 | 2.07
Any fixture testing at or above the action level of 15 ppb is immediately removed from service and cannot be returned to service until it has been remediated and passed follow-up testing
RETESTS
ND = Non Detect - Lead level is below the set detection limits |  |  | of 0.515 ppb

## Colver RRs
Water Testing Results - | COLVER
Action Level is 15 parts per billion (ppb)
Fixture Location/Description | Fixture ID # | Test Date | Test Result
Women's Restroom - Bathroom Faucet / Left | 20390002-001BF | 2022-05-21 04:00 | 0.683
Women's Restroom - Bathroom Faucet / Right | 20390002-002BF | 2022-05-21 04:05 | 0.905
Outside Fountains - Drinking Water Fountains / Left | 20390002-003DW | 2022-05-21 04:32 | ND
Outside Fountains - Drinking Water Fountains / Right | 20390002-004DW | 2022-05-21 04:37 | ND
Outside Spigot - Outside Spigot | 20390002-005OS | 2022-05-21 04:42 | ND
Men's Restroom - Bathroom Faucet / Left | 20390002-006BF | 2022-05-21 04:46 | ND
Men's Restroom - Bathroom Faucet / Right | 20390002-007BF | 2022-05-21 04:51 | ND
Any fixture testing at or above the action level of 15 ppb is immediately removed from service and cannot be returned to service until it has been remediated and passed follow-up testing
RETESTS
ND = Non Detect - Lead level is below the set detection limits |  |  | of 0.515 ppb

## Bus Barn
Water Testing Results - | BUS BARN
Action Level is 15 parts per billion (ppb)
Fixture Location/Description | Fixture ID # | Test Date | Test Result
Restroom on Left - Bathroom Faucet | 20390001-001BF | 2022-05-11 | ND
Restroom on Right - Bathroom Faucet | 20390001-002BF | 2022-05-11 | ND
Any fixture testing at or above the action level of 15 ppb is immediately removed from service and cannot be returned to service until it has been remediated and passed follow-up testing
RETESTS
ND = Non Detect - Lead level is below the set detection limits |  |  | of 0.515 ppb