## Lead Test Results
Water Testing Results - | Post High
Action Level is 15 parts per billion (ppb)
Fixture Location/Description | Fixture ID # | Test Date | Test Result
Restroom Sink Faucet | 21900700-001BF | 2023-04-05 | ND
Kitchen Sink Faucet | 21900700-002KF | 2023-04-05 | ND
Refrigerator Water Outlet | 21900700-003KF | 2023-04-05 | ND
Any fixture testing at or above the action level of 15 ppb is immediately removed from service and cannot be returned to service until it has been remediated and passed follow-up testing
RETESTS
ND = Non Detect - Lead level is below the set detection limits |  |  | of 1 ppb