## Lead Test Results
Water Testing Results - | Lyle Elementary
Action Level is 15 parts per billion (ppb)
Fixture Location/Description | Fixture ID # | Test Date | Test Result
Kitchen Sink Faucet (new 2018) | 21900200-001KF | 2023-04-27 | 1.85
Kitchen Sink Faucet (new 2018) | 21900200-002KF | 2023-04-27 | ND
Kitchen Sink Faucet (new 2018) | 21900200-003KF | 2023-04-27 | ND
Kitchen Sink Faucet (new 2018) | 21900200-004KF | 2023-04-27 | 5.33
Rm. 10 Sink Faucet | 21900200-005CF | 2023-04-28 | 11.8
Rm. 11 Sink Faucet | 21900200-006CF | 2023-04-28 | 9.44
Boy's Restroom Sink Faucet | 21900200-007BF | 2023-04-27 | ND
Boy's Restroom Sink Faucet | 21900200-008BF | 2023-04-27 | ND
Boy's Restroom Sink Faucet | 21900200-009BF | 2023-04-27 | ND
Girls Restroom Sink Faucet | 21900200-010BF | 2023-04-27 | ND
Girls Restroom Sink Faucet | 21900200-011BF | 2023-04-27 | ND
Girls Restroom Sink Faucet | 21900200-012BF | 2023-04-27 | ND
Hallway Drinking Fountain #1 (Chilled) | 21900200-013WC | 2023-04-27 | ND
Rm. 12 Sink Faucet | 21900200-014CF | 2023-04-28 | 2.54
Rm. 12 Drinking Fountain | 21900200-015DW | 2023-04-28 | 2.33
Rm. 13 Sink Faucet | 21900200-016CF | 2023-04-28 | 3.55
Rm. 13 Restroom Sink Faucet | 21900200-017BF | 2023-04-28 | 1.19
Rm. 14 Sink Faucet | 21900200-018CF | 2023-04-28 | 5.29
Rm. 15 Sink Faucet | 21900200-019CF | 2023-04-28 | 9.65
Rm. 15 Drinking Fountain | 21900200-020DW | 2023-04-28 | 7.24
Rm. 16 Sink Faucet | 21900200-021CF | 2023-04-28 | 1.97
Rm. 16 Drinking Fountain | 21900200-022DW | 2023-04-28 | 6.67
Rm. 17 Sink Faucet | 21900200-023CF | 2023-04-28 | 8.47
Rm. 17 Drinking Fountain | 21900200-024DW | 2023-04-28 | 7.41
Rm. 18 Sink Faucet | 21900200-025CF | 2023-04-28 | 8.45
Rm. 18 Drinking Fountain | 21900200-026DW | 2023-04-28 | 5.35
Hallway Drinking Fountain #2 | 21900200-027DW | Non op 4/27/23
Hallway Sink Faucet #1 | 21900200-028CF | 2023-04-28 | 11.7
Princpal's Restroom Sink Faucet | 21900200-029BF | 2023-04-27 | 2.76
Media Center Sink Faucet | 21900200-030CF | 2023-04-27 | ND
Rm. 1 Sink Faucet | 21900200-031CF | 2023-04-28 | 18
Hallway Drinking Fountain #3 (chilled) | 21900200-032DW | 2023-04-27 | ND
Hallway Water Bottle Refill #1 (chilled) | 21900200-033WC | 2023-04-27 | ND
Hallway Drinking Fountain #4 (chilled) | 21900200-034DW | 2023-04-27 | ND
Boy's Restroom Sink Faucet | 21900200-035BF | 2023-04-27 | 1.28
Boy's Restroom Sink Faucet | 21900200-036BF | 2023-04-27 | 1.34
Boy's Restroom Sink Faucet | 21900200-037BF | 2023-04-27 | 16.2
Girls Restroom Sink Faucet | 21900200-038BF | 2023-04-27 | 4.48
Girls Restroom Sink Faucet | 21900200-039BF | 2023-04-27 | ND
Girls Restroom Sink Faucet | 21900200-040BF | 2023-04-27 | 1.53
Rm. 2 Sink Faucet | 21900200-041CF | 2023-04-28 | 10.5
Rm. 2 Drinking Fountain | 21900200-042DW | Non op 4/28/23
Women's Restroom Sink Faucet | 21900200-043BF | 2023-04-27 | 5.61
Mechanical Room Sink Faucet | 21900200-044SF | 2023-04-27 | 17.4
Hallway Drinking Fountain #5 (chilled) | 21900200-045DW | 2023-05-01 | ND
Hallway Drinking Fountain #6 (chilled) | 21900200-046DW | 2023-05-01 | ND
Hallway Water Bottle Refill #2 (chilled) | 21900200-047WB | 2023-05-01 | ND
Men's Restroom Sink Faucet | 21900200-048BF | 2023-05-01 | 7.14
Rm. 3 Sink Faucet | 21900200-049CF | 2023-04-28 | 6.29
Hallway Drinking Fountain #7 (chilled) | 21900200-050DW | 2023-05-01 | ND
Hallway Drinking Fountain #8 (chilled) | 21900200-051DW | 2023-05-01 | ND
Hallway Water Bottle Refill #3 (chilled) | 21900200-052WB | 2023-05-01 | ND
Rm. 4 Sink Faucet | 21900200-053CF | 2023-04-28 | 9.6
Rm. 5 Sink Faucet | 21900200-054CF | 2023-04-28 | 5.88
Rm. 5 Drinking Fountain | 21900200-055DW | 2023-04-28 | 7.23
Boy's Restroom Sink Faucet | 21900200-056BF | 2023-05-01 | ND
Boy's Restroom Sink Faucet | 21900200-057BF | 2023-05-01 | ND
Boy's Restroom Sink Faucet | 21900200-058BF | 2023-05-01 | ND
Girls Restroom Sink Faucet | 21900200-059BF | 2023-05-01 | ND
Girls Restroom Sink Faucet | 21900200-060BF | 2023-05-01 | ND
Girls Restroom Sink Faucet | 21900200-061BF | 2023-05-01 | ND
Rm. 6 Sink Faucet | 21900200-062CF | 2023-05-01 | ND
Rm. 6 Drinking Fountain | 21900200-063DW | Non op 5/1/23
Rm. 8 Sink Faucet | 21900200-064CF | 2023-05-01 | ND
Rm. 8 Drinking Fountain | 21900200-065DW | Non op 5/1/23
Rm. 7 Sink Faucet | 21900200-066CF | 2023-05-01 | ND
Rm. 7 Drinking Fountain | 21900200-067DW | Non op 5/1/23
Rm. 9 Sink Faucet | 21900200-068CF | 2023-05-01 | ND
Rm. 9 Drinking Fountain | 21900200-069DW | Non op 5/1/23
East Modular Sink Faucet | 21900200-070CF | 2023-05-01 | 10
Exterior Drinking Fountain (Playground) | 21900200-071DW | Removed 2018
Rm. 3 Sink Faucet | 21900200-072CF | 2023-05-01 | 6.78
Rm. 4 Sink Faucet | 21900200-073CF | 2023-05-01 | 16.4
Rm. 5 Sink Faucet | 21900200-074CF | 2023-05-01 | 6.16
Kitchen Sink Faucet (new 2018) | 21900200-075CF | 2023-04-27 | ND
Kitchen Restroom Faucet (new 2018) | 21900200-076BF | 2023-04-27 | ND
MPR Girls Restroom | 21900200-077BF | 2023-04-27 | ND
MPR Girls Restroom | 21900200-078BF | 2023-04-27 | ND
MPR Unisex Restroom | 21900200-079BF | 2023-04-27 | ND
MPR Boys Restroom | 21900200-080BF | 2023-04-27 | ND
MPR Boys Restroom | 21900200-081BF | 2023-04-27 | ND
MPR Sink Faucet | 21900200-082CF | 2023-04-27 | ND
Staff lounge sink | 21900200-083CF | 2023-04-27 | 5.3
Staff lounge Hot Tap | 21900200-084CF | 2023-04-27 | ND
Any fixture testing at or above the action level of 15 ppb is immediately removed from service and cannot be returned to service until it has been remediated and passed follow-up testing
RETESTS
Rm. 1 Sink Faucet | 21900200-031CF | 2023-11-09 | 5.45
Boy's Restroom Sink Faucet | 21900200-037BFB | 2023-06-15 | 2.5
Women's Restroom Sink Faucet | 21900200-044BFB | 2023-06-15 | 5.77
Rm. 4 Sink Faucet | 21900200-073BFB | 2023-06-15 | 5.4
ND = Non Detect - Lead level is below the set detection limits |  |  | of 1 ppb