## Lead Test Results
Water Testing Results - | Morrison Alternative School
Action Level is 15 parts per billion (ppb)
Fixture Location/Description | Fixture ID # | Test Date | Test Result
Hallway Drinking Fountain #1 (chilled) | 21900600-001DW | 2023-04-10 | ND
Hallway Drinking Fountain #2 (chilled) | 21900600-002DW | 2023-04-10 | ND
Water Bottle Refill (chilled) | 21900600-003WB | 2023-04-10 | ND
Rm. 1 Sink Faucet | 21900600-004CF | Fixture N/A | -
Rm. 1 Drinking Fountain | 21900600-005DW | Fixture N/A | -
Rm. 2 Sink Faucet | 21900600-006CF | 2023-04-10 | ND
Walker Rm. Sink Faucet | 21900600-007CF | 2023-04-10 | 3.77
Walker Rm. Restroom Sink Faucet | 21900600-008BF | 2023-04-10 | ND
Rm. 3 Sink Faucet | 21900600-009CF | 2023-04-10 | 3.25
Rm. 3 Drink Fountain | 21900600-010DW | Fixture N/A | -
Hallway Drink Fountain #3 (chilled) | 21900600-011DW | 2023-04-10 | ND
Hallway Drink Fountain #4 (chilled) | 21900600-012DW | 2023-04-10 | 12
Water Bottle Refill (chilled) | 21900600-013WB | 2023-04-10 | ND
Rm. 4 Sink Faucet | 21900600-014CF | 2023-04-10 | 9.88
Rm. 4 Drink Fountain | 21900600-015DW | 2023-04-10 | 2.17
Rm. 5 Sink Faucet | 21900600-016CF | 2023-04-10 | ND
Rm. 5 Drink Fountain | 21900600-017DW | 2023-04-10 | 6.22
Rm. 6 Sink Faucet | 21900600-018CF | 2023-04-10 | ND
Rm. 6 Drink Fountain | 21900600-019DW | 2023-04-10 | 2.82
Rm. 7 Sink Faucet | 21900600-020CF | 2023-04-10 | 4.81
Girl's Restroom Sink Faucet | 21900600-021BF | 2023-04-10 | 5.54
Girl's Restroom Sink Faucet | 21900600-022BF | 2023-04-10 | 5.33
Custodial Closet Sink Faucet | 21900600-023SF | 2023-04-10 | 10.22
Boy's Restroom Sink Faucet | 21900600-024BF | 2023-04-10 | 5.51
Boy's Restroom Sink Faucet | 21900600-025BF | 2023-04-10 | 9.4
Boy's Restroom Sink Faucet | 21900600-026BF | 2023-04-10 | 1.43
Rm. 1 Sink Faucet | 21900600-027CF | Previous Retest | N/A
| 21900600-028DW | Previous Retest | N/A
Any fixture testing at or above the action level of 15 ppb is immediately removed from service and cannot be returned to service until it has been remediated and passed follow-up testing
RETESTS
ND = Non Detect - Lead level is below the set detection limits |  |  | of 1 ppb