## Lead Test Results
Water Testing Results - | Whitworth
Action Level is 15 parts per billion (ppb)
Fixture Location/Description | Fixture ID # | Test Date | Test Result
Kitchen Sink Faucet Hand Wash Station | 21900300-001KF | 2023-05-03 | ND
Kitchen Sink Faucet left of dishwasher | 21900300-002KF | 2023-05-03 | ND
Kitchen Sink Faucet west wall left | 21900300-003KF | 2023-05-03 | ND
Kitchen Sink Faucet west wall right | 21900300-004BF | 2023-05-03 | ND
Kitchen Staff Restroom Sink Faucet | 21900300-005BF | 2023-05-03 | ND
Office Sink Faucet | 21900300-006SF | 2023-05-03 | ND
Staff Restroom Sink Faucet by west exit | 21900300-007BF | 2023-05-03 | ND
Hallway Drink Fountain #1 | 21900300-008DW | Removed 2017
Staff Restroom Sink Faucet at corner of hall | 21900300-009SF | 2023-05-04 | ND
Lounge Sink Faucet | 21900300-010SF | 2023-05-04 | ND
Main hall Girl's Restroom Sink Faucet Left | 21900300-011BF | 2023-05-04 | ND
Main hall Girl's Restroom Sink Faucet left middle | 21900300-012BF | 2023-05-04 | 2.48
Main hall Girl's Restroom Sink Faucet right middle | 21900300-013BF | 2023-05-04 | ND
Main hall Girl's Restroom Sink Faucet right | 21900300-014BF | 2023-05-04 | ND
Custodial Sink Faucet in laundry room | 21900300-015SF | 2023-05-04 | ND
Main hall Boy's Restroom Sink Faucet left | 21900300-016BF | 2023-05-04 | ND
Main hall Boy's Restroom Sink Faucet middle | 21900300-017BF | 2023-05-04 | ND
Boy's Restroom Sink Faucet right middle | 21900300-018BF | 2023-05-04 | ND
Boy's Restroom Sink Faucet right | 21900300-019BF | 2023-05-04 | 2.18
Stage Men's Restroom Sink Faucet | 21900300-020BF | Removed 2017
Stage Women's Restroom Sink Faucet | 21900300-021BF | Removed 2017
Rm. 1 Sink Faucet | 21900300-022CF | 2023-05-05 | ND
Rm. 1 Drink Fountain | 21900300-023DW | Removed 2017
Rm. 2 Sink Faucet | 21900300-024CF | 2023-05-05 | 20.6
Rm. 2 Drink Fountain | 21900300-025DW | Non Op
Rm. 3 Sink Faucet | 21900300-026CF | 2023-05-05 | 6.5
Rm. 3 Drink Fountain | 21900300-027DW | 2023-05-05 | 9.2
Rm. 4 Sink Faucet | 21900300-028CF | 2023-05-05 | 3.05
Rm. 4 Drink Fountain | 21900300-029DW | 2023-05-05 | 3.38
Rm. 5 Sink Faucet | 21900300-030CF | 2023-05-05 | ND
Rm. 5 Drink Fountain | 21900300-031DW | 2023-05-05 | ND
Rm. 6 Sink Faucet | 21900300-032CF | 2023-05-05 | 7.85
Rm.6 Drink Fountain | 21900300-033DW | 2023-05-05 | 1.48
Rm. 7 Sink Faucet | 21900300-034CF | 2023-05-05 | 2.21
Rm. 7 Drink Fountain | 21900300-035DW | 2023-05-05 | ND
Rm. 8 Sink Faucet | 21900300-036CF | 2023-05-05 | 13
Rm. 8 Drink Fountain | 21900300-037DW | Removed 2017
Hallway Drink Fountain #2 | 21900300-038DW | 2023-05-04 | ND
Gym Storage Rm. Sink Faucet | 21900300-039CF | 2023-05-04 | ND
Gym hall Girl's Restroom Sink Faucet left | 21900300-040BF | 2023-05-04 | ND
Gym hall Girl's Restroom Sink Faucet middle | 21900300-041BF | 2023-05-04 | ND
Gym hall Girl's Restroom Sink Faucet right | 21900300-042BF | 2023-05-04 | ND
Hallway Drink Fountian #3 | 21900300-043DW | Removed 2017
Gym hall Boy's Restroom Sink Faucet left | 21900300-044BF | 2023-05-04 | ND
Gym hall Boy's Restroom Sink Faucet middle | 21900300-045BF | 2023-05-04 | ND
Gym hall Boy's Restroom Sink Faucet right | 21900300-046BF | 2023-05-04 | ND
Rm. 14 Sink Faucet | 21900300-047CF | 2023-05-05 | ND
Rm. 13 Sink Faucet | 21900300-048CF | 2023-05-05 | ND
Rm. 13 Drink Fountian | 21900300-049DW | NonOp
Hallway Drink Fountain #4 | 21900300-050BF | Removed 2017
Rm. 12 Sink Faucet | 21900300-051CF | 2023-05-05 | ND
Rm. 20 Sink Faucet | 21900300-052CF | 2023-05-05 | ND
Rm. 20 Drink Fountain | 21900300-053DW | 2023-05-05 | ND
Rm. 11 Sink Faucet | 21900300-054CF | 2023-05-05 | ND
Rm. 11 Drink Fountain | 21900300-055DW | 2023-05-05 | 1.46
Rm. 19 Sink Faucet | 21900300-056CF | 2023-05-05 | ND
Computer Lab Sink Faucet | 21900300-057CF | 2023-05-04 | 1.03
Library Sink Faucet | 21900300-058CF | 2023-05-04 | ND
Rm. 18 Sink Faucet | 21900300-059CF | 2023-05-05 | ND
Rm. 18 Drink Fountian | 21900300-060DW | 2023-05-05 | ND
Rm. 17 Sink Faucet | 21900300-061CF | 2023-05-05 | ND
Rm. 17 Drink Fountain | 21900300-062DW | NonOp
Rm. 16 Sink Faucet | 21900300-063CF | 2023-05-05 | ND
Rm. 15 Sink Faucet | 21900300-064CF | 2023-05-05 | ND
Rm. 9 Drink Fountain | 21900300-065CF | 2023-05-05 | 6.64
Stage Women's Restroom Sink Faucet | 21900300-066BF | Removed 2017
Gym Storage Rm. Sink Faucet | 21900300-067CF | Removed 2017
Computer Lab Sink Faucet | 21900300-068CF | Removed 2017
Kitchen Sink Faucet (New 2018) | 21900300-069KF | 2023-05-03 | ND
Hallway Drink Fountian #1 | 21900300-070DW | 2023-05-03 | ND
Hallway Drink Fountian #1 w/ bottle fill | 21900300-071DW | 2023-05-03 | ND
Water Bottle Refill #1 | 21900300-072WB | 2023-05-03 | ND
Unisex Restroom across from MPR | 21900300-073BF | 2023-05-04 | ND
Custodial Mop Sink Faucet | 21900300-074SF | 2023-05-04 | ND
Custodial Sink Faucet | 21900300-075SF | 2023-05-04 | ND
Unisex Restroom | 21900300-076BF | 2023-05-04 | ND
Gym Hallway Drink Fountian | 21900300-077DW | NonOp
Gym Hallway Drink Fountian w/ bottle fill | 21900300-078DW | NonOp
Gym Water Bottle Refill | 21900300-079WB | NonOp
Hallway Drink Fountian #4 | 21900300-080DW | 2023-05-04 | ND
Hallway Drink Fountian with bottle fill #4 | 21900300-081DW | 2023-05-04 | ND
Water Bottle Refill #4 | 21900300-082WB | 2023-05-04 | ND
Hallway Drinking Fountain #3 | 21900300-083DW | 2023-05-04 | ND
Hallway Drinking Fountain w/bottle fill #3 | 21900300-084DW | 2023-05-04 | ND
Water bottle Refill #3 | 21900300-085WB | 2023-05-04 | ND
Rm.9 sink faucet | 21900300-086CF | 2023-05-05 | 11.2
MPR Sink Faucet | 21900300-087CF | 2023-05-05 | ND
Any fixture testing at or above the action level of 15 ppb is immediately removed from service and cannot be returned to service until it has been remediated and passed follow-up testing
RETESTS
Room 2 Sink Faucet | 21900300-024CFB | 2023-06-15 | ND
ND = Non Detect - Lead level is below the set detection limits |  |  | of 1 ppb