## Lead Test Results
Water Testing Results - | District Office
Action Level is 15 parts per billion (ppb)
Fixture Location/Description | Fixture ID # | Test Date | Test Result
Rm. 170 Sink Faucet | 21900000-001CF | 2023-04-10 | 2.14
Staff Lounge Sink Faucet | 21900000-002SF | 2023-04-10 | 6.23
Staff Lounge Ice Maker | 21900000-003IM | 2023-04-10 | ND
Men's Restroom Sink Faucet Left | 21900000-004BF | 2023-04-10 | ND
Men's Restroom Sink Faucet Center | 21900000-005BF | 2023-04-10 | ND
Men's Restroom Sink Faucet Right | 21900000-006BF | 2023-04-10 | 49.8
Custodian's Office Sink Faucet | 21900000-007BF | 2023-04-10 | 10.2
Custodian's Office Mop Sink | 21900000-008BF | 2023-04-10 | ND
Women's Restroom Sink Faucet Left | 21900000-009BF | 2023-04-10 | ND
Women's Restroom Sink Faucet Right | 21900000-010BF | 2023-04-10 | 2.11
Hallway Drink Fountain #1 | 21900000-011DW | 2023-04-10 | 4.03
Rm 170 Sink Faucet | 21900000-012CF | Previous Retest
Any fixture testing at or above the action level of 15 ppb is immediately removed from service and cannot be returned to service until it has been remediated and passed follow-up testing
RETESTS
Men's Restroom Sink Faucet | 21900000-006BF | 2023-05-02 | 14.3
ND = Non Detect - Lead level is below the set detection limits |  |  | of 1 ppb