## Lead Test Results
Water Testing Results - | Snapdragons
Action Level is 15 parts per billion (ppb)
Fixture Location/Description | Fixture ID # | Test Date | Test Result
Kitchen Sink | 21900503-001KF | 2024-08-22 | ND
West Restroom Sink | 21900503-002BF | 2024-08-22 | ND
Drinking Fountain Hall | 21900503-003DW | 2024-08-22 | ND
Toddler Rest Room Sink | 21900503-004BF | 2024-08-22 | ND
Toddler Sink North | 21900503-005KF | 2024-08-22 | ND
Toddler Sink Northwest | 21900503-006KF | 2024-08-22 | ND
Toddler Sink Northeast | 21900503-007KF | 2024-08-22 | ND
Infant Sink North | 21900503-008KF | 2024-08-22 | ND
Infant Sink South | 21900503-009KF | 2024-08-22 | ND
Infant Rest Room Sink | 21900503-010BF | 2024-08-22 | ND
Laundry Room Utility Sink | 21900503-011OT | 2024-08-22 | N/A
Any fixture testing at or above the action level of 15 ppb is immediately removed from service and cannot be returned to service until it has been remediated and passed follow-up testing
RETESTS
ND = Non Detect - Lead level is below the set detection limits |  |  | of 1 ppb