## Summary
RADON TESTING
Radon testing is not currently required, however legislation requires districts to test all schools by 2021. In 2016, North Clackamas Schools started testing all of our buildings for radon using EPA protocols.
Radon is a naturally occurring radioactive gas that can cause lung cancer. You can’t see or smell radon. Testing is the only way to know your level of exposure. For more information on Radon, visit the US EPA site:
https://www.epa.gov/radon.
Below is a summary of the test results for each building. You may view detailed results by clicking on the links or tabs below for a specifc building. Questions may be directed via email to the District's Risk Manager, David Kruse at:
krused@nclack.k12.or.us
Testing
School | Sample Date | Test Results Received by District | Number of Samples Tested | Number of Samples between 4.0 - 8.0 | Number of Samples >8.0
Adrienne C. Nelson HS | 2023-01-20 | 2023-03-17 | 115 | 0 | 0
Agricultural Land Lab | 2016-11-04 | 2016-11-07 | 4 | 0 | 0
Alder Creek MS | 2023-01-13 | 2023-03-17 | 35 | 0 | 0
Ardenwald Elementary | 2016-10-31 | 2016-11-07 | 27 | 0 | 0
Bilquist Elementary | 2016-10-31 | 2016-11-07 | 46 | 19* | 2*
Cannady Elementary | 2023-01-20 | 2023-03-17 | 20 | 0 | 0
Clackamas HS | 2023-01-20 | 2023-03-17 | 24 | 0 | 0
Clackamas Middle College | 2016-10-19 | 2016-11-07 | 1 | 0 | 0
Clackamas Web Academy | N/A | N/A | - | - | -
Happy Valley Elementary | 2016-11-18 | 2016-11-23 | 37 | 0 | 0
Happy Valley MS | 2023-01-26 | 2023-03-17 | 54 | 0 | 0
Linwood/Sojourner Elementary | 2016-11-04 | 2016-11-07 | 52 | 0 | 0
Milwaukie Elem/El Puente | 2023-01-27 | 2023-03-17 | 40 | 8 | 0
Milwaukie HS | 2023-01-27 | 2023-03-17 | 30 | 0 | 0
Mt. Scott Elementary | 2023-01-26 | 2023-03-17 | 34 | 0 | 0
New Urban HS | 2023-02-02 | 2023-03-17 | 19 | 0 | 0
Oak Grove Elementary | 2023-02-09 | 2023-03-17 | 57 | 0 | 0
Oregon Trail Elementary | 2017-01-23 | 2017-06-09 | 42 | 0 | 0
Rex Putnam HS | 2023-02-02 | 2023-03-17 | 23 | 0 | 0
Riverside Elementary | 2023-02-09 | 2023-03-17 | 21 | 0 | 1
Rock Creek MS | 2023-01-26 | 2023-03-17 | 17 | 0 | 0
Rowe MS | 2023-03-09 | 2023-03-17 | 84 | 2 | 1
Sabin-Schellenberg North | 2023-01-13 | 2023-03-17 | 54 | 1 | 0
Sabin-Schellenberg South | 2023-01-12 | 2023-03-17 | 46 | 0 | 0
Scouters Mountain Elem. | 2017-01-23 | 2017-06-09 | 30 | 0 | 0
Seth Lewelling Elementary | 2023-01-27 | 2023-03-17 | 53 | 5 | 0
Spring Mountain Elementary | 2016-11-14 | 2017-06-08 | 36 | 0 | 0
Sunnyside Elementary | 2023-01-26 | 2023-03-17 | 57 | 0 | 0
Verne Duncan Elementary | 2017-01-23 | 2017-06-09 | 30 | 0 | 0
View Acres Elementary | 2023-02-17 | 2023-03-17 | 4 | 0 | 0
Whitcomb Elementary | 2023-02-10 | 2023-03-17 | 57 | 0 | 0
District Units
Administration | 2016-11-04 | 2016-11-07 | 24 | 0 | 0
Campbell Campus | 2016-11-04 | 2016-11-07 | 33 | 1 | 0
Facilities | 2016-11-04 | 2016-11-07 | 23 | 0 | 0
Technology | 2016-11-04 | 2016-11-07 | 13 | 0 | 0
Transportation - ACMS | 2019-01-11 | 2019-01-23 | 2 | 0 | 0
Transportation - 102nd Rd. | 2023-02-10 | 2023-03-17 | 18 | 0 | 0
Warehouse | 2016-11-04 | 2016-11-07 | 4 | 0 | 0
Wichita Community Ctr. | 2016-11-04 | 2016-11-07 | 16 | 0 | 0
Notes:
Samples were taken and tested by independent environmental company and laboratory.
*The independent lab recommended Bilquist be retested. As a result of their questioning the test results, the district discovered the tests may not have been conducted in compliance with EPA protocols resulting in inaccurate results. Corrective actions have been taken and retesting completed to assure compliance with EPA's guidelines.

## Adrienne C. Nelson HS
Adrienne C. Nelson
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Room | Sample Date End | Test Results (pCi/L)
Main Office - A10 | 2017-01-26 | <0.3
Attendance A11 | 2017-01-26 | <0.3
Health Room - A12 | 2017-01-26 | <0.3
A20 | 2017-01-26 | <0.3
A21 | 2017-01-26 | <0.3
Principal - A22 | 2017-01-26 | <0.3
Conference - A23 | 2017-01-26 | <0.3
A24 | 2017-01-26 | <0.3
Staff Lounge - A25 | 2017-01-26 | <0.3
Work Room - A26 | 2017-01-26 | <0.3
Hawk Ctr - A102 | 2017-01-26 | <0.3
Bookkeeper - A104 |  | Missing | Retesting in October 2023
Counseling - A106 | 2023-01-20 | 0.3
Counseling - A107 | 2023-01-20 | 0.3
Counseling - A108 | 2023-01-20
Counseling - A112 | 2023-01-20 | 1.1
Counseling - A113 | 2023-01-20 | 0.3
Counseling - A114 | 2023-01-20 | 0.6
Commons A117 | 2023-01-20 | 0.3
Counseling - A118 | 2023-01-20 | 0.3
Counseling - A119 | 2023-01-20 | 0.3
Counseling - A120 | 2023-01-20 | 0.3
Counseling - A121 | 2023-01-20 | 0.3
Counseling - A122 | 2023-01-20 | 0.3
Counseling Conf. - A123 | 2023-01-20 | 0.3
Stu Suprt A101 | 2023-01-20 | 0.3
Stu Suprt A124 | 2023-01-20 | 0.3
Stu Suprt A125 | 2023-01-20 | 0.3
Stu Suprt A126 | 2023-01-20 | 0.3
Stu Suprt A127 | 2023-01-20 | 0.3
Stu Suprt A128 | 2023-01-20 | 0.3
Snack Shack - A130 | 2023-01-20 | 0.3
B101 | 2023-01-20 | 0.3
B102 | 2023-01-20 | 0.3
B103 | 2023-01-20 | 0.3
B104 | 2023-01-20 | 0.3
B105 | 2023-01-20 | 0.3
B106 | 2023-01-20 | 0.3
B107 | 2023-01-20 | 0.3
B108 | 2023-01-20 | 0.3
B109 | 2023-01-20 | 0.3
Teachers Planning - B121 | 2023-01-20 | 0.3
B141 | 2023-01-20 | 1.9
B142 | 2023-01-20 | 0.7
B143 | 2023-01-20 | 0.3
B144 | 2023-01-20 | 0.8
Flex Space B154 | 2023-01-20 | 0.3
C101 | 2017-01-26 | <0.3
C102 | 2017-01-26 | <0.3
C103 | 2017-01-26 | <0.3
C104 | 2017-01-26 | <0.3
C105 | 2017-01-26 | <0.3
C106 | 2017-01-26 | <0.3
C107 | 2017-01-26 | <0.3
C108 | 2017-01-26 | <0.3
C109 | 2017-01-26 | <0.3
C121 | 2017-01-26 | <0.3
C122 | 2017-01-26 | <0.3
D101 | 2017-01-26 | <0.3
D102 | 2017-01-26 | <0.3
D103 | 2017-01-26 | <0.3
E101 | 2023-01-20 | 0.3
Health Center - E102 | 2023-01-20 | 0.3
Health Center - E108 | 2023-01-20 | 0.3
Health Center - E110 | 2023-01-20 | 0.3
Health Center - E111 | 2023-01-20 | 0.3
Health Center Conf. - E114 | 2023-01-20 | 0.3
Health Center - E115 | 2023-01-20 | 0.3
Health Center - E116 | 2023-01-20 | 0.3
Health Center - E117 | 2023-01-20 | 0.3
E103 | 2023-01-20 | 0.3
Kitchen F101 |  | Missing | Retesting in October 2023
Kitchen Office F106 |  | Missing | Retesting in October 2023
Box Office - F125 | 2023-01-20 | 0.3
Black Box - F136 | 2023-01-20 | 0.3
Scene Shop - F137 | 2023-01-20 | 0.5
Auditorium - F143 (1) North East | 2023-01-20 | 0.3
Auditorium - F143 (2) East | 2023-01-20 | 0.3
Auditorium - F143 (3) South East | 2023-01-20 | 0.3
Auditorium - F143 (4) South West | 2023-01-20 | 0.3
Auditorium - F143 (5) West | 2023-01-20 | 0.3
Auditorium - F143 (6) North West | 2023-01-20 | 0.3
Auditorium - F143 (7) North | 2023-01-20 | 0.5
Office - F163 | 2023-01-20 | 0.4
Music Library - F164 | 2023-01-20 | 0.3
Practice 1 - F165 | 2023-01-20 | 0.7
Practice 2 - F166 | 2023-01-20 | 0.7
Practice 3 - F171 | 2023-01-20 | 0.9
Practice 4 - F173 | 2023-01-20 | 0.7
Practice 5 - F174 | 2023-01-20 | 0.6
Office - F175 | 2023-01-20 | 0.7
Music Library - F176 | 2023-01-20 | 0.3
Office - F177 | 2023-01-20 | 0.7
Band - F179 | 2023-01-20 | 0.3
Office - F185 | 2023-01-20 | 0.6
Costume - F186 | 2023-01-20 | 0.3
Make-Up - F188A-B | 2023-01-20 | 0.3
Aux Gym - G101 (1) South West | 2023-01-20 | 0.6
Aux Gym - G101 (2) North West | 2023-01-20 | 0.3
Athletic Office - G112 | 2023-01-20 | 0.3
Office - G112A | 2023-01-20 | 0.3
Concessions - G113 | 2023-01-20 | 0.3
Main Gym - G123 (1) South West | 2023-01-20 | 0.5
Main Gym - G123 (2) North West | 2023-01-20 | 0.3
Tickets - G124 | 2023-01-20 | 0.3
Office - G125 | 2023-01-20 | 0.3
Training Suite - G126 | 2023-01-20 | 0.3
Office - G126B | 2023-01-20 | 0.3
Weight Room - G131 | 2023-01-20 | 0.5
Wrestling - G132 | 2023-01-20 | 0.8
Team Room - G143 | 2023-01-20 | 0.3
Team Room - G146 | 2023-01-20 | 0.3
Team Room - G147 | 2023-01-20 | 0.3
PE Office - G149 | 2023-01-20 | 0.3
Team Room - G163 |  | Missing | Retesting in October 2023
Team Room - G166 | 2023-01-20 | 0.3
Team Room - G167 | 2023-01-20 | 0.3
Coach Office - G169 | 2023-01-20 | 0.3

## Agricultural Land Lab
Agricultural Land Lab
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Room | Sample Date End | Test Results (pCi/L)
House | 2016-09-30 | <0.3
Locker Room | 2016-09-30 | <0.3
Room 1 | 2016-09-30 | <0.3
Room 2 | 2016-09-30 | <0.3

## Alder Creek MS
Alder Creek MS
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Room | Sample Date End | Test Results (pCi/L)
A1 | 2016-10-21 | 0.9
A2 | 2016-10-21 | 0.5
A3 | 2016-10-21 | <0.3
A4 | 2016-10-21 | 1.1
A5 | 2016-10-21 | <0.3
A6 | 2016-10-21 | 2.1
Auditorium | 2016-10-21 | 0.8
Auditorium Stage | 2016-10-21 | 0.9
B1 | 2016-10-21 | 1.1
B2 | 2016-10-21 | 1.9
B3 | 2016-10-21 | 1.2
B4 | 2016-10-21 | <0.3
B5 | 2016-10-21 | 1.1
B6 | 2016-10-21 | 0.7
B7 | 2016-10-21 | <0.3
Boy's PE North | 2016-10-21 | 0.5
Boy's PE South | 2016-10-21 | 0.5
C1 | 2016-10-21 | 0.8
C2 | 2016-10-21 | 0.5
C3 | 2016-10-21 | 2.1
C4 | 2016-10-21 | 2.5
C5 | 2016-10-21 | 1.6
C6 | 2016-10-21 | 0.9
C7 | 2016-10-21 | <0.3
C8 | 2016-10-21 | 0.6
C9 Office | 2016-10-21 | <0.3
Cafeteria East | 2016-10-21 | <0.3
Cafeteria West | 2016-10-21 | <0.3
Custodian Office | 2016-10-21 | 0.7
D1 | 2016-10-21 | 1.2
D2 | 2016-10-21 | 1.2
D3 | 2016-10-21 | 1.3
D4 | 2016-10-21 | 2.3
D5 | 2016-10-21 | 1.4
D6 | 2016-10-21 | 0.6
D7 | 2016-10-21 | <0.3
D8 | 2016-10-21 | 0.6
SLCB - E1 | 2023-01-13 | 0.6
Break Rm - E101 | 2023-01-13 | 0.6
Break Rm - E102 | 2023-01-13 | 0.3
Leadership - E2 | 2023-01-13 | 0.3
Tech - E3 | 2023-01-13 | 0.3
E4 | 2023-01-13 | 0.3
E5 | 2023-01-13 | 0.3
Art - E6 | 2023-01-13 | 0.3
E7 | 2023-01-13 | 0.3
E8 | 2016-10-21 | 0.8
FACS - E10 | 2023-01-13 | 0.3
Band - E11 | 2023-01-13 | 0.3
Band Office - E117 | 2023-01-13 | 0.3
Choir - E12 | 2023-01-13 | 0.6
Choir Office - E120 | 2023-01-13 | 0.7
Fitness - E13 | 2023-01-13 | 0.6
Stu Mgmt. - F1 | 2023-01-13 | 0.3
Conf. - F101 | 2023-01-13 | 0.3
Office - F102 | 2023-01-13 | 0.3
Break Rm - F103 | 2023-01-13 | 0.3
Office - F104 | 2023-01-13 | 0.3
Office - F105 | 2023-01-13 | 0.3
Stu WorkRm - F106 | 2023-01-13 | 0.9
SLCA - F2 | 2023-01-13 | 0.3
Quiet Rm - F108 | 2023-01-13 | 0.3
SLCA Office - F107 | 2023-01-13 | 0.3
SLCA - F3 | 2023-01-13 | 0.3
F4 | 2023-01-13 | 0.3
Science - F5 | 2023-01-13 | 0.3
Science - F6 | 2023-01-13 | 0.3
Science - F7 | 2023-01-13 | 0.3
F8 | 2016-10-21 | 0.6
F9 | 2016-10-21 | 0.6
Girl's PE Office | 2016-10-21 | 0.8
Gym East | 2016-10-21 | <0.3
Gym West | 2016-10-21 | <0.3
Health Room | 2016-10-21 | <0.3
Leadership Room | 2016-10-21 | 0.8
Library | 2016-10-21 | <0.3
Library North | 2016-10-21 | <0.3
Principal Office | 2016-10-21 | <0.3
Rec Office 1 | 2016-10-21 | <0.3
Rec Office 2 | 2016-10-21 | <0.3
Rec Office 3 | 2016-10-21 | <0.3
Rec Office 4 | 2016-10-21 | <0.3
Rec Office 5 | 2016-10-21 | <0.3
Rec Office 6 | 2016-10-21 | <0.3
Reception | 2016-10-21 | <0.3
Reception Back | 2016-10-21 | <0.3
SO4 | 2016-10-21 | <0.3
SO5 | 2016-10-21 | <0.3
SO6 | 2016-10-21 | <0.3
SO7 | 2016-10-21 | <0.3
SO8 | 2016-10-21 | <0.3
SO9 | 2016-10-21 | <0.3
SO Break Rm | 2016-10-21 | <0.3
SO Conf Rm 1 | 2016-10-21 | <0.3
SO Conf Rm 2 | 2016-10-21 | <0.3
SO Family Svcs | 2016-10-21 | <0.3
Small Auditorium | 2016-10-21 | <0.3
SO 3 | 2016-10-21 | <0.3
South Office | 2016-10-21 | <0.3
Staff Lounge | 2016-10-21 | <0.3

## Ardenwald ES
Ardenwald ES
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Room | Sample Date End | Test Results (pCi/L)
101 | 2016-10-27 | 0.7
102 | 2016-10-27 | 0.7
103 | 2016-10-27 | 1.1
105 | 2016-10-27 | 0.8
106 | 2016-10-27 | 0.8
114 | 2016-10-27 | 1
121 | 2016-10-27 | 1.1
122 | 2016-10-27 | 0.7
123 | 2016-10-27 | 1.3
125 | 2016-10-27 | 0.9
126 | 2016-10-27 | 0.6
121 | 2016-10-27 | <0.3
140B | 2016-10-27 | 0.6
140H | 2016-10-27 | <0.3
140 Health | 2016-10-27 | 0.8
140M | 2016-10-27 | 1.2
140N | 2016-10-27 | 0.7
140 Work Room | 2016-10-27 | 0.6
142 | 2016-10-27 | 0.9
Cafeteria North | 2016-10-27 | 0.6
Cafeteria South | 2016-10-27 | <0.3
Custodial Area | 2016-10-27 | 0.6
Gym North | 2016-10-27 | <0.3
Gym South | 2016-10-27 | <0.3
Reception | 2016-10-27 | <0.3
Stage | 2016-10-27 | <0.3
Principal | 2016-10-27 | 0.6

## Beatrice Morrow Cannady ES
Cannady ES
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Room | Sample Date End | Test Results (pCi/L)
A1 | 2021-01-29 | <0.4
A2 | 2021-01-29 | <0.4
A3 | 2021-01-29 | <0.4
A4 | 2021-01-29 | <0.4
A5 | 2021-01-29 | <0.4
A6 | 2021-01-29 | 0.5
A7 | 2021-01-29 | <0.4
A8 | 2021-01-29 | <0.4
A9 | 2021-01-29 | <0.4
A10 | 2021-01-29 | <0.4
A11 | 2021-01-29 | 1.1
A12 | 2021-01-29 | <0.4
Library - A100 (1) South East | 2023-01-20 | 0.6
Library - A100 (2) North West | 2023-01-20 | 0.3
Workroom - A101 | 2023-01-20 | 0.3
Workroom - A109 | 2023-01-20 | 0.3
Conf. Rm. - A110 |  | Missing | Restesting in October 2023
Office - A111 | 2023-01-20 | 0.7
Conf. Rm. - A113 | 2023-01-20 | 0.3
Staff Rm . - A116 | 2023-01-20 | 0.3
Workroom - A117 | 2023-01-20 | 0.3
Health Rm. - A122 | 2021-01-29 | <0.4
Main Office - A123 | 2023-01-20 | 0.3
2nd Office - A124 | 2021-01-29 | 0.5
Principal Office - A125 | 2021-01-29 | <0.4
Conf. Rm. - A126 | 2021-01-29 | <0.4
Music - B1 | 2021-01-29 | <0.4
Cafeteria - B100 (1) North | 2023-01-20 | 0.3
Cafeteria - B100 (2) South | 2023-01-20 | 0.3
Kitchen - B104 |  | Missing | Retesting in October 2023
Gym Office - B115 | 2023-01-20 | 0.8
Gym B117 (1) East | 2023-01-20 | 0.8
Gym B117 (2) South | 2023-01-20 | 0.7
Gym B117 (3) West | 2023-01-20 | 0.7
Counselor - B120 |  | Missing | Retesting in October 2023

## Bilquist ES
Bilquist ES
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Room | Sample Date End | Test Results (pCi/L)
1 | 2016-10-20 | 1.2
2 | 2016-10-20 | 0.6
3 | 2016-10-20 | 1
4 | 2016-10-20 | 1
5 | 2016-10-20 | 0.6
6 | 2016-10-20 | 0.7
7 | 2016-10-20 | 2
8 | 2016-10-20 | 1.6
9 | 2016-10-20 | 3.6
10 | 2016-10-20 | 1.4
11 | 2016-10-20 | 1.5
12 | 2016-10-20 | 2
13 | 2016-10-20 | 1.4
14 | 2016-10-20 | 0.9
15 | 2016-10-20 | 2.5
16 | 2016-10-20 | 1.6
17 | 2016-10-20 | 3.1
18 | 2016-10-20 | 1.3
19 | 2016-10-20 | 1.4
20 | 2016-10-20 | 1
21 | 2016-10-20 | 1.5
23 | 2016-12-02 | 10.3
24 | 2016-12-02 | 18
102 | 2016-12-02 | 2
103 | 2016-12-02 | 3.4
105 | 2016-12-02 | 4.3
108 | 2016-12-02 | 4.7
109 | 2016-12-02 | 4.7
117 | 2016-10-20 | 4.8
122 | 2016-12-02 | 3.4
124 | 2016-12-02 | 2.7
125 | 2016-12-02 | 1.6
131 | 2016-12-02 | 4
150 | 2016-10-20 | 1.1
171 | 2016-12-02 | 4.2
22A | 2016-12-02 | 5.4
22B | 2016-12-02 | 6.6
24F | 2016-12-02 | 18.3
Cafeteria East | 2016-10-20 | 6.8
Cafeteria West | 2016-12-02 | 8.5
Computer Lab | 2016-10-20 | 1.9
Counseling | 2016-12-02 | 4.4
Gym East | 2016-10-20 | 0.6
Gym Office | 2016-10-20 | 1
Gym West | 2016-10-20 | <0.3
Media | 2016-12-02 | 2.4
Occ Therapy | 2016-10-20 | 5.8
Reception | 2016-12-02 | 3.2
Stage | 2016-12-02 | 9.4

## Clackamas HS
Clackamas HS - West
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Room | Sample Date End | Test Results (pCi/L)
100 | 2023-01-27 | 0.3
100A | 2023-01-27 | 0.3
101 | 2017-01-27 | <0.3
102 | 2023-01-27 | 0.3
103 | 2017-01-27 | <0.3
104 | 2017-01-27 | <0.3
105 | 2017-01-27 | <0.3
107 | 2017-01-27 | <0.3
108 | 2017-01-27 | <0.3
109 | 2017-01-27 | <0.3
110 | 2017-01-27 | <0.3
111 | 2017-01-27 | <0.3
300 | 2017-01-27 | <0.3
301 | 2017-01-27 | <0.3
302 | 2017-01-27 | <0.3
303 | 2017-01-27 | <0.3
304 | 2017-01-27 | <0.3
305 | 2017-01-27 | <0.3
306 | 2017-01-27 | <0.3
307 | 2017-01-27 | <0.3
308 | 2017-01-27 | <0.3
310 | 2017-01-27 | <0.3
311 | 2017-01-27 | <0.3
603 | 2017-01-27 | <0.3
605 | 2017-01-27 | <0.3
606 | 2017-01-27 | <0.3
607 | 2017-01-27 | <0.3
608 | 2017-01-27 | <0.3
608 Office | 2017-01-27 | <0.3
609 | 2017-01-27 | <0.3
Health & Wellness Ctr. - 740 | 2023-01-20 | 0.3
Office- 741A | 2023-01-20 | 0.3
Office- 741B | 2023-01-20 | 0.3
Office- 741C | 2023-01-20 | 0.3
Office- 741D | 2023-01-20 | 0.3
Office- 741E | 2023-01-20 | 0.3
Office- 741F | 2023-01-20 | 0.3
Office- 741G | 2023-01-20 | 0.3
Office- 741H | 2023-01-20 | 0.3
Office - 742 | 2023-01-20 | 0.3
Lab - 743 | 2023-01-20 | 0.3
Exam Rm. 3 - 744 | 2023-01-20 | 0.3
Exam Rm. 2 - 745 | 2023-01-20 | 0.3
Exam Rm. 1 - 746 | 2023-01-20 | 0.3
Dental Exam - 747 | 2023-01-20 | 0.3
Conf. Room - 748 | 2023-01-20 | 0.3
Weight Rm - 830 | 2023-01-27 | 0.3
Asst. Admin | 2017-01-27 | 0.6
Athletic Dept | 2017-01-27 | <0.3
Attendance Office | 2017-01-27 | <0.3
Bookeeper | 2017-01-27 | <0.3
Campus Security | 2017-01-27 | <0.3
Choir Room | 2017-01-27 | <0.3
Concessions | 2017-01-27 | <0.3
Conf. Room | 2017-01-27 | <0.3
Counseling Office | 2017-01-27 | <0.3
Custodial Office | 2017-01-27 | <0.3
Drama Office | 2017-01-27 | <0.3
Gym 1 | 2017-01-27 | 0.5
Gym 2 | 2017-01-27 | <0.3
Health Rm | 2017-01-27 | <0.3
Kitchen Office | 2017-01-27 | <0.3
Library Office | 2017-01-27 | <0.3
Main Office | 2017-01-27 | <0.3
Meidal Center | 2017-01-27 | <0.3
Principal Office | 2017-01-27 | <0.3
Stage | 2017-01-27 | 0.6
Student Mgmt | 2017-01-27 | <0.3
Workroom | 2017-01-27 | <0.3

## Clackamas Middle College
Clackamas Middle College
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Room | Sample Date End | Test Results (pCi/L)
Main | 2016-10-11 | <0.3

## Clackamas Web Academy
Clackamas Web Academy
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Room | Sample Date End | Test Results (pCi/L)
No Gound Level Rooms

## Duncan ES
Duncan ES
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Room | Sample Date End | Test Results (pCi/L)
101 | 2017-01-26 | <0.3
102 | 2017-01-26 | <0.3
103 | 2017-01-26 | <0.3
109 | 2017-01-26 | <0.3
110 | 2017-01-26 | <0.3
112 | 2017-01-26 | <0.3
112 Office | 2017-01-26 | <0.3
113 | 2017-01-26 | <0.3
117 | 2017-01-26 | <0.3
120 | 2017-01-26 | <0.3
121 | 2017-01-26 | <0.3
122 Confer | 2017-01-26 | <0.3
127 | 2017-01-26 | <0.3
128 | 2017-01-26 | <0.3
129 | 2017-01-26 | 0.9
Conf. 104 | 2017-01-26 | <0.3
Conf Room | 2017-01-26 | <0.3
Counseling | 2017-01-26 | <0.3
Custodian | 2017-01-26 | <0.3
Gym 1 | 2017-01-26 | <0.3
Gym 2 | 2017-01-26 | <0.3
Gym Office | 2017-01-26 | <0.3
Health Room | 2017-01-26 | <0.3
Kitchen Office | 2017-01-26 | <0.3
Main Office | 2017-01-26 | <0.3
Music Room | 2017-01-26 | <0.3
Principal Office | 2017-01-26 | <0.3
Staff Lounge | 2017-01-26 | <0.3
Volunteer Space | 2017-01-26 | <0.3
Workroom | 2017-01-26 | <0.3

## Happy Valley ES
Happy Valley ES
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Room | Sample Date End | Test Results (pCi/L)
Cafeteria North | 2016-11-18 | <0.3
Cafeteria South | 2016-11-18 | <0.3
Commons North | 2016-11-18 | 0.6
Commons South | 2016-11-18 | 0.6
E101 | 2016-11-18 | 0.6
E102 | 2016-11-18 | 0.5
E103 | 2016-11-18 | <0.3
E104 | 2016-11-18 | <0.3
E106 | 2016-11-18 | 0.6
E107 | 2016-11-18 | <0.3
E108 | 2016-11-18 | 0.6
E109 | 2016-11-18 | <0.3
E110 | 2016-11-18 | <0.3
E111 | 2016-11-18 | 0.6
E112 | 2016-11-18 | 0.6
E117 | 2016-11-18 | <0.3
E120 | 2016-11-18 | <0.3
E224 | 2016-11-18 | <0.3
E225A | 2016-11-18 | 0.6
E229A | 2016-11-18 | 0.7
E229B | 2016-11-18 | 0.8
E229C | 2016-11-18 | 0.6
E229E | 2016-11-18 | 0.8
E231 | 2016-11-18 | <0.3
E232 | 2016-11-18 | <0.3
E233 | 2016-11-18 | <0.3
E235 | 2016-11-18 | 0.5
E239 | 2016-11-18 | 0.6
E240 | 2016-11-18 | 0.5
E8 | 2016-11-18 | <0.3
Gym | 2016-11-18 | 0.8
Kitchen | 2016-11-18 | <0.3
Library East | 2016-11-18 | <0.3
Library West | 2016-11-18 | 0.7
M239B | 2016-11-18 | 0.5
M239D | 2016-11-18 | 0.7
M239E | 2016-11-18 | 0.6
M239F | 2016-11-18 | 0.6
M239M | 2016-11-18 | 0.6
Main Office | 2016-11-18 | <0.3
Main Office Copy Area | 2016-11-18 | 0.7

## Happy Valley MS
Happy Valley MS
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Room | Sample Date End | Test Results (pCi/L)
M101 | 2023-01-26 | 0.3
M102 | 2023-01-26 | 0.3
M103 | 2023-01-26 | 0.3
M104 | 2023-01-26 | 0.3
M105 | 2023-01-26 | 0.3
M107 | 2023-01-26 | 0.3
M108 | 2023-01-26 | 0.3
M109 | 2023-01-26 | 0.5
M110 | 2023-01-26 | 0.5
M112 | 2023-01-26 | 0.3
M113 | 2023-01-26 | 0.3
Special Use - M114 | 2023-01-26 | 0.3
Breezeway Locker - M120 | 2023-01-26 | 0.3
Teachers Planning - M121 | 2023-01-26 | 0.3
Conf. - M122 | 2023-01-26 | 0.3
Counseling - M123 | 2023-01-26 | 0.3
Choir - M124 | 2023-01-26 | 0.3
Choir Practice - M124C | 2023-01-26 | 0.3
Office - M124A | 2023-01-26 | <0.3
Drama - M125 | 2016-11-18 | 0.6 | Missed, retesting in October 2023
Drama Office - M125B | 2023-01-26 | 0.3
Commons / Stage - M126 | 2023-01-26 | 0.3
Commons / Cafeteria - M126 | 2023-01-26 | 0.3
Band - M127 | 2023-01-26 | 0.3
Band Practice - 127C | 2023-01-26 | 0.3
Kitchen - M130 | 2016-11-18 | <0.3 | Missed, retesting in October 2023
Kitchen Office - M130A | 2023-01-26 | 0.6
Technical - M227 | 2016-11-18 | 0.8
Art - M228 | 2023-01-26 | 0.3
Main Office - M230 | 2023-01-26 | 0.6
Principal - M230A | 2023-01-26 | 0.3
Conf. - M230B | 2023-01-26 | 0.6
Asst. Principal - M230C | 2023-01-26 | 0.3
Office - M230D | 2023-01-26 | 0.5
Asst. Principal - M230E | 2023-01-26 | 0.7
Staff Rm. - M230F | 2023-01-26 | 0.7
Office Health - M230K | 2023-01-26 | 0.5
Workroom - M230L | 2023-01-26 | 0.9
Student Svc. - M230M | 2023-01-26 | 0.3
M231 | 2023-01-26 | 0.3
Gym - M232 (1) SE | 2023-01-26 | 1.1
Gym - M232 (2) SW | 2023-01-26 | 1.1
Gym - M232 (3) NW | 2023-01-26 | 1.1
PE - M238 | 2023-01-26 | 0.3
Library - 239 (1) W | 2023-01-26 | 0.3
Library - 239 (2) E | 2023-01-26 | 0.8
Computer Rm. - 239B | 2023-01-26 | 0.3
Computer Rm. - 239D | 2023-01-26 | 0.7

## Lewelling ES
Lewelling ES
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Room | Sample Date End | Test Results (pCi/L)
Reception | 2023-01-27 | 2.5
Principal Office | 2023-01-27 | 3.5
Teacher Work Room | 2023-01-27 | 3.4
Health Room | 2023-01-27 | 2.7
Staff Break Room | 2023-01-27 | 3.3
Conf Room | 2023-01-27 | 3.1
Kitchen |  | Missing | Restesting in October 2023
Cafeteria North East | 2023-01-27 | 4.3 | Restesting in October 2023
Cafeteria South East | 2023-01-27 | 3.2
Cafeteria North West | 2023-01-27 | 4.5 | Restesting in October 2023
Cafeteria Office | 2023-01-27 | 3.4
Music Room -24 | 2023-01-27 | 1.4
101 | 2023-01-27 | 3.6
102 | 2023-01-27 | 3.9
103 | 2023-01-27 | 2.9
104 | 2023-01-27 | 2.5
105 | 2023-01-27 | 3.8
106 | 2023-01-27 | 2.3
Teacher's Planning A | 2023-01-27 | 1.6
107 | 2023-01-27 | 2.6
108 | 2023-01-27 | 3
109 | 2023-01-27 | 2
110 | 2023-01-27 | 2.8
111 | 2023-01-27 | 3.5
112 | 2023-01-27 | 3.1
Teacher's Planning B | 2023-01-27 | 1.7
113 | 2023-01-27 | 3
114 | 2023-01-27 | 2.8
115 | 2023-01-27 | 2.5
116 | 2023-01-27 | 1.8
Library | 2023-01-27 | 2
Office 18A | 2023-01-27 | 4.4 | Restesting in October 2023
Office 18B | 2023-01-27 | 2.9
Office 18C | 2023-01-27 | 4.5 | Restesting in October 2023
Office 18D | 2023-01-27 | 2.8
119 | 2023-01-27 | 3.5
120 | 2023-01-27 | 4.1 | Restesting in October 2023
121 | 2023-01-27 | 2.2
122 | 2023-01-27 | 2.9
123 | 2023-01-27 | 1.9
Teacher's Planning D | 2023-01-27 | 1.7
Gym Office | 2023-01-27 | 2.3
Gym North West 4 | 2023-01-27 | 2.7
Gym South West 2 | 2023-01-27 | 2.5
Gym North East 3 | 2023-01-27 | 2.6
Gym South East 1 | 2023-01-27 | 2.2

## Linnwood Sojourner ES
Linwood / Sojourner ES
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Room | Sample Date End | Test Results (pCi/L)
101 | 2016-10-28 | <0.3
102 | 2016-10-28 | <0.3
103 | 2016-10-28 | <0.3
105 | 2016-10-28 | 0.8
107 | 2016-10-28 | <0.3
108 | 2016-10-28 | 0.5
109 | 2016-10-28 | <0.3
110 | 2016-10-28 | <0.3
111 | 2016-10-28 | 0.5
112 | 2016-10-28 | 0.7
113 | 2016-10-28 | 0.7
114 | 2016-10-28 | 0.8
115 | 2016-10-28 | <0.3
116 | 2016-10-28 | <0.3
117 | 2016-10-28 | <0.3
118 | 2016-10-28 | 0.6
119 | 2016-10-28 | 0.6
120 | 2016-10-28 | 0.9
121 | 2016-10-28 | 1.1
122 | 2016-10-28 | 0.9
123 | 2016-10-28 | 1.1
124 | 2016-10-28 | 1.5
Cafeteria East | 2016-10-28 | 0.6
Cafeteria West | 2016-10-28 | <0.3
Computer Lab | 2016-10-28 | 0.6
Conf Room | 2016-10-28 | 0.8
Counseling | 2016-10-28 | 0.6
Counseling 1 | 2016-10-28 | 0.9
Counseling 2 | 2016-10-28 | 0.6
Custodian | 2016-10-28 | 1.1
Gym East | 2016-10-28 | 1.8
Gym West | 2016-10-28 | 2.2
Gym Office | 2016-10-28 | 2.3
Health Room | 2016-10-28 | 1.3
Kitchen Office | 2016-10-28 | <0.3
Libarary | 2016-10-28 | <0.3
Music Room | 2016-10-28 | <0.3
Musice Room Office | 2016-10-28 | <0.3
Office | 2016-10-28 | 1.9
PE Office | 2016-10-28 | 1.8
Pod 1 | 2016-10-28 | <0.3
Pod 2 | 2016-10-28 | 0.6
Pod 3 | 2016-10-28 | 0.5
Pod 4 | 2016-10-28 | 0.6
Pod 5 | 2016-10-28 | <0.3
Pod 6 | 2016-10-28 | 0.6
Principal Office | 2016-10-28 | 1.5
Production Room | 2016-10-28 | 1.3
Reception | 2016-10-28 | 1.5
Staff Room | 2016-10-28 | 0.8
Asst Principal Office | 2016-10-28 | 1.5

## Milwaukie El Puente ES
Milwaukie El Puente ES
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Room | Sample Date End | Test Results (pCi/L)
Main Office - 101 | 2023-01-27 | 0.6
Health Rm - 101A | 2023-01-27 | 0.3
Principal - 101D | 2023-01-27 | 0.5
Conference - 101E | 2023-01-27 | 0.3
Production - 105 | 2023-01-27 | 0.6
Gym North West -104 | 2023-01-27 | 5.1 | Retesting in October 2023
Gym South West -104 | 2023-01-27 | 5 | Retesting in October 2023
Gym South East -104 | 2023-01-27 | 5.3 | Retesting in October 2023
Counselor - 106 | 2023-01-27 | 0.9
Vice Principal - 107 | 2023-01-27 | 1
121 | 2023-01-27 | 2.1
123 | 2023-01-27 | 1.2
124 | 2023-01-27 | 0.8
125 | 2023-01-27 | 4.1 | Retesting in October 2023
Coaches/Testing - 126 | 2023-01-27 | 1.9
Staff Room - 127 | 2023-01-27 | 1.2
128 | 2023-01-27 | 4.4 | Retesting in October 2023
Multipurpose 129 | 2023-01-27 | 3.3
132 | 2023-01-27 | 3.1
133 | 2023-01-27 | 7 | Retesting in October 2023
134 | 2023-01-27 | 3.8
Media Room East - 137 | 2023-01-27 | 1.4
Media Room West - 137 | 2023-01-27 | 1.4
Media Rm Office - 137C | 2023-01-27 | 1.3
140 | 2023-01-27 | 4.9 | Retesting in October 2023
141 | 2023-01-27 | 4.1 | Retesting in October 2023
142 | 2023-01-27 | 2.5
001 | 2023-01-27 | 2.4
Office - 003 | 2023-01-27 | 2.3
004 | 2023-01-27 | 1.8
005 | 2023-01-27 | 2.2
014 | 2023-01-27 | 1.8
015 | 2023-01-27 | 1.7
Cafeteria North - 017 | 2023-01-27 | 0.6
Cafeteria South - 017 | 2023-01-27 | 0.8
Kitchen - 018 | 2016-10-17 | 2.6 | Missed, retesting in October 2023
Kitchen Office - 018 | 2016-10-17 | 2.4 | Missed, retesting in October 2023

## Milwaukie HS MAA
Milwaukie HS / Milwaukie Academy of the Arts
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Room | Sample Date End | Test Results (pCi/L)
101 | 2021-01-29 | <0.4
102 | 2021-01-29 | <0.4
Office - 106A | 2023-01-27 | 0.3
Break Rm. - 106B | 2023-01-27 | 0.3
IT Office - 107 | 2023-01-27 | 0.3
109 | 2021-01-29 | <0.4
SPED-SLCA - 111 | 2021-01-29 | <0.4
Stu. Leadership - 113 | 2021-01-29 | 0.5
SPED - Asst. - 116 | 2021-01-29 | <0.4
SPED Language - 116A |  | Missing | Retesting in October 2023
Comm Rm. - 117 | 2023-01-27 | 0.3
Lrg. Conf. - 119 | 2021-01-29 | 0.5
124 | 2021-01-29 | 0.4
125 | 2021-01-29 | <0.4
127 | 2021-01-29 | 0.7
128 | 2021-01-29 | <0.4
129 | 2021-01-29 | <0.4
130 | 2021-01-29 | <0.4
Stu. Mgmt Recpt. - 133 | 2023-01-27 | 0.3
Office - 134 | 2021-01-29 | <0.4
Office - 135 | 2021-01-29 | 0.8
Office - 136 | 2021-01-29 | 1
Office - 137 | 2021-01-29 | <0.4
Mtg. - 138 | 2021-01-29 | <0.4
Counseling - 144 | 2023-01-27 | 0.3
Career Ctr. - 145 | 2023-01-27 | 0.3
Health Office - 146 | 2021-01-29 | <0.4
Health Rm. - 147 | 2021-01-29 | <0.4
Counselor - 149 | 2021-01-29 | 0.4
Counselor - 150 | 2021-01-29 | 0.8
Counselor - 151 | 2021-01-29 | <0.4
Counselor - 152 | 2021-01-29 | 0.5
CP - 153 | 2021-01-29 | 0.7
CP - 154 | 2021-01-29 | <0.4
Mother - 157 | 2021-01-29 | <0.4
Office - 161 | 2021-01-29 | <0.4
Office - 162 | 2021-01-29 | <0.4
Vice Principal - 163 | 2021-01-29 | <0.4
Vice Principal - 164 | 2021-01-29 | <0.4
Principal - 165 | 2021-01-29 | <0.4
Main Office Reception - 166 | 2023-01-27 | 0.3
Admin - 166A | 2023-01-27 | 0.3
Attendance - 168 | 2021-01-29 | <0.4
Bookkeeper - 169 | 2021-01-29 | <0.4
Athletic Dir. - 174 | 2021-01-29 | 0.4
Conf. - 175 | 2021-01-29 | <0.4
Workroom - 178 | 2023-01-27 | 0.3
Dining C100 |  | Missing | Retesting in October 2023
Deli C104 |  | Missing | Retesting in October 2023
Servery C105 |  | Missing | Retesting in October 2023
Warewash C105A |  | Missing | Retesting in October 2023
Food Prep C105B |  | Missing | Retesting in October 2023
Deli Office - C105G | 2023-01-27 | 1.1
Snack Shop - C109 | 2023-01-27 | 3.3
Lobby - C111 | 2023-01-27 | 0.3
Office - C112 | 2021-01-29 | 0.4
Conf. / Break - C113 | 2021-01-29 | <0.4
Office - C114 | 2021-01-29 | 1.2
Office - C115 | 2023-01-27 | 0.3
Dental Exam - C116 | 2021-01-29 | 1
Lab - C121 | 2021-01-29 | 0.5
Office - C122 | 2021-01-29 | 0.5
Office - C123 | 2021-01-29 | 0.8
Office - C124 | 2021-01-29 | 0.7
Office - C129 | 2023-01-27 | 0.6
Office - C130 | 2023-01-27 | 0.6
Office - C131 | 2021-01-29 | 0.5
Exam - C132 | 2021-01-29 | <0.4
Exam - C133 | 2021-01-29 | 0.6
Exam - C134 | 2021-01-29 | 0.6
Wrestling Rm. - G-10 (1) W | 2023-01-27 | 0.7
Wrestling Rm. - G-10 (2) E | 2023-01-27 | 0.7
Wrestling Office - N | 2023-01-27 | 0.8
Wrestling Office - S | 2023-01-27 | 1
G-11 | 2023-01-27 | 1
G-12 | 2023-01-27 | 1.1
Trainers Rm. | 2023-01-27 | 1.2
Boys Locker Office | 2023-01-27 | 0.3
Weight Rm. - G-23 (1) W | 2023-01-27 | 0.8
Weight Rm. - G-23 (2) E | 2023-01-27 | 0.3

## Mt Scott ES
Mt. Scott ES
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Room | Sample Date End | Test Results (pCi/L)
101 | 2023-01-26 | 0.6
102 | 2023-01-26 | 0.3
103 | 2023-01-26 | 0.3
104 | 2023-01-26 | 0.3
105 | 2023-01-26 | 0.3
106 | 2023-01-26 | 0.3
107 | 2023-01-26 | 0.3
108 | 2023-01-26 | 0.3
109 | 2023-01-26 | 0.3
110 | 2023-01-26 | 0.3
111 | 2023-01-26 | 0.3
112 | 2023-01-26 | 0.3
Library Classroom - 114 | 2023-01-26 | 0.7
Extended Lrn. - 118 | 2023-01-26 | 0.9
Library - 121 (1) S | 2023-01-26 | 0.3
Library - 121 (2) N | 2023-01-26 | 0.3
204 | 2023-01-26 | 0.5
206 | 2023-01-26 | 0.6
Music Room - 211 | 2023-01-26 | 0.3
Front Office - 227 | 2023-01-26 | 0.6
Health Room - 228 | 2016-11-17 | 0.8
Pricipal Office - 231 | 2023-01-26 | 0.7
Conf. Rm. - 232 | 2023-01-26 | 0.6
Staff Lounge - 233 | 2023-01-26 | 0.6
Work Rm. - 234 | 2016-11-17 | 1.2
Band - 255 | 2023-01-26 | 0.3
Cafeteria - 256 | 2023-01-26 | 0.3
Kitchen - 260 | 2016-11-17 | 0.5
Gym - 267 (1) S | 2023-01-26 | 0.3
Gym - 267 (2) E | 2023-01-26 | 0.3
Gym - 267 (3) N | 2023-01-26 | 0.3
Gym - 267 (4) W | 2023-01-26 | 0.6

## New Urban HS
New Urban HS
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Main Building |  |  | Annex
Room | Sample Date End | Test Results (pCi/L) | Room | Sample Date End | Test Results (pCi/L)
Commons - 101 | 2023-02-02 | 0.3 | A1 | 2016-10-13 | 1
Media \ Computer Lab - 102 | 2023-02-02 | 0.8 | A10 | 2016-10-13 | 1.3
Office - 102A | 2023-02-02 | 0.3 | A2 | 2016-10-13 | 1
Small Group - 102B | 2023-02-02 | 2.5 | A3 | 2016-10-13 | 0.9
Classroom 1 - 103 | 2023-02-02 | 0.3 | A4 | 2016-10-13 | 0.8
Kitchen - 104 |  | Missing | A5 | 2016-10-13 | 1
Front Office - 110 | 2023-02-02 | 2.6 | A8 | 2016-10-13 | 0.7
Conf. Rm. - 111 | 2023-02-02 | 2.2 | A7 | 2016-10-13 | 1
Principal - 112 | 2023-02-02 | 3.1 | A9 | 2016-10-13 | 0.8
Asst. Principal - 113 | 2023-02-02 | 2.8 | Gym East | 2016-10-13 | 1.9
Staff Lounge - 114 | 2023-02-02 | 1.5 | Gym West | 2016-10-13 | 1.4
Health Rm. - 117 | 2023-02-02 | 1.3 | Kitchen Storage | 2016-10-13 | 1.4
Oak Grove Middle - 130 | 2023-02-02 | 1.4 | Litche | 2016-10-13 | 1.6
Makers Space - B03 | 2023-02-02 | 0.3 | Main Office | 2016-10-13 | 1.1
Gym - B10 (1) NE | 2023-02-02 | 0.7 | Principal Conf Room | 2016-10-13 | 0.9
Gym - B10 (2) NW | 2023-02-02 | 0.3
Gym - B10 (3) SE | 44959 | 1

## Oregon Trail ES
Oregon Trail ES
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Room | Sample Date End | Test Results (pCi/L)
1 | 2017-01-26 | <0.3
10 | 2017-01-26 | <0.3
11 | 2017-01-26 | <0.3
12 | 2017-01-26 | <0.3
13 | 2017-01-26 | <0.3
14 | 2017-01-26 | <0.3
15 | 2017-01-26 | <0.3
16 | 2017-01-26 | <0.3
17 | 2017-01-26 | <0.3
18 | 2017-01-26 | <0.3
19 | 2017-01-26 | <0.3
2 | 2017-01-26 | <0.3
20 | 2017-01-26 | <0.3
21 | 2017-01-26 | <0.3
22 | 2017-01-26 | <0.3
23 | 2017-01-26 | <0.3
24 | 2017-01-26 | <0.3
25 | 2017-01-26 | <0.3
3 | 2017-01-26 | <0.3
4 | 2017-01-26 | <0.3
5 | 2017-01-26 | <0.3
6 | 2017-01-26 | <0.3
7 | 2017-01-26 | <0.3
8 | 2017-01-26 | <0.3
9 | 2017-01-26 | <0.3
Cafeteria | 2017-01-26 | <0.3
Computer Lab | 2017-01-26 | <0.3
Conf Room | 2017-01-26 | <0.3
Custodian Office | 2017-01-26 | <0.3
Gym 1 | 2017-01-26 | <0.3
Gym 2 | 2017-01-26 | <0.3
Gym Office | 2017-01-26 | <0.3
Health Room | 2017-01-26 | <0.3
Kitchen Office | 2017-01-26 | <0.3
Main Office | 2017-01-26 | <0.3
Media Center | 2017-01-26 | <0.3
Music Room | 2017-01-26 | <0.3
Principal Office | 2017-01-26 | <0.3
Speech Room | 2017-01-26 | <0.3
Staff Room | 2017-01-26 | <0.3
Asst. Principal Office | 2017-01-26 | <0.3
Work Room | 2017-01-26 | <0.3

## Oak Grove ES
Oak Grove ES
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Room | Sample Date End | Test Results (pCi/L)
1 | 2023-02-09 | 1.4
2 | 2023-02-09 | 1.8
3 | 2023-02-09 | 0.3
4 | 2023-02-09 | 1.3
5 | 2023-02-09 | 0.7
6 | 2023-02-09 | 1.4
7 | 2023-02-09 | 1
8 | 2023-02-09 | 0.8
9 | 2023-02-09 | 0.6
10 | 2023-02-09 | 0.6
11 | 2023-02-09 | 0.3
12 | 2023-02-09 | 0.5
13 | 2023-02-09 | 0.3
14 | 2023-02-09 | 0.3
15 | 2023-02-09 | 0.3
16 | 2023-02-09 | 0.3
17 | 2023-02-09 | 0.5
18 | 2023-02-09 | 0.3
19 | 2023-02-09 | 0.3
20 | 2023-02-09 | 1
21 | 2023-02-09 | 0.8
22 | 2023-02-09 | 1
23 | 2023-02-09 | 0.7
24 | 2023-02-09 | 0.6
25 | 2023-02-09 | 0.8
26 | 2023-02-09 | 0.7
Front Office - A | 2023-02-09 | 0.3
Prinicipal - B | 2023-02-09 | 0.5
Health Rm. - C | 2023-02-09 | 0.3
Office - D | 2023-02-09 | 0.3
Office - E | 2023-02-09 | 0.3
Office - F | 2023-02-09 | 0.3
Work Rm. | 2023-02-09 | 0.3
Kitchen |  | Missing | Retesting in October 2023
Cafeteria (1) S | 2023-02-09 | 0.3
Cafeteria (2) N | 2023-02-09 | 0.6
Counseling Office | 2023-02-09 | 0.8
Staff Rm. | 2023-02-09 | 0.3
Music Rm. | 2023-02-09 | 0.3
Gym (1) W | 2023-02-09 | 0.3
Gym (2) N | 2023-02-09 | 0.3
Gym (3) E | 2023-02-09 | 0.3
Gym Office | 2023-02-09 | 0.3
Media Ctr. (1) N | 2023-02-09 | 0.5
Medica Ctr. (2) S | 2023-02-09 | 0.3
Media WorkRm. | 2023-02-09 | 0.3
Speach Conf. Rm. | 2023-02-09 | 0.3
Makers Space | 2023-02-09 | 0.3
Psych Conf. Rm. | 2023-02-09 | 0.3

## Putnam HS
Putnam HS
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Main Building |  |  | Performing Arts Building
Room | Sample Date End | Test Results (pCi/L) | Room | Sample Date End | Test Results (pCi/L)
Custodian Office | 2016-10-14 | 2 | Auditorium North | 2016-10-14 | 0.7
E12 | 2016-10-14 | <0.3 | Auditorium South | 2016-10-14 | <0.3
ELD | 2016-10-14 | <0.3 | Backstage | 2016-10-14 | <0.3
Family Services | 2016-10-14 | 0.6 | Band Room | 2016-10-14 | <0.3
From Concession | 2016-10-14 | 0.6 | Band Wardrobe | 2016-10-14 | 1.3
G8 | 2016-10-14 | <0.3 | Blackbox | 2016-10-14 | <0.3
G9 | 2016-10-14 | <0.3 | C10 | 2016-10-14 | <0.3
Girls Locker Room | 2016-10-14 | <0.3 | Choir Room | 2016-10-14 | <0.3
Girls PE Office | 2016-10-14 | <0.3 | Computer Rm | 2016-10-14 | <0.3
Gym Concessions | 2016-10-14 | 1.2 | Concessions | 2016-10-14 | <0.3
Kitchen | 2016-10-14 | 0.7 | Leadership Room | 2016-10-14 | <0.3
Kitchen Office | 2016-10-14 | 0.9 | Choir Office | 2016-10-14 | <0.3
Koffee Shop | 2016-10-14 | 0.6 | Make Up Room | 2016-10-14 | <0.3
Lecture Room | 2016-10-14 | <0.3 | Band Office | 2016-10-14 | <0.3
Library | 2016-10-14 | 0.7 | Music Library | 2016-10-14 | <0.3
Lunch Line | 2016-10-14 | 0.7 | Parctice Room 1 | 2016-10-14 | <0.3
Office 6 | 2016-10-14 | 1 | Parctice Room 2 | 2016-10-14 | <0.3
Office (Paula) | 2016-10-14 | <0.3 | Parctice Room 3 | 2016-10-14 | <0.3
Office (Willis) | 2016-10-14 | 1 | Parctice Room 4 | 2016-10-14 | <0.3
Principal Office | 2016-10-14 | <0.3 | Parctice Room 5 | 2016-10-14 | <0.3
Rec Copy Room | 2016-10-14 | 0.7 | Parctice Room 6 | 2016-10-14 | <0.3
Reception Area | 2016-10-14 | 0.5 | Parctice Room 7 | 2016-10-14 | <0.3
Security | 2016-10-14 | <0.3 | Parctice Room 8 | 2016-10-14 | <0.3
Small Gym Office | 2016-10-14 | 1.2 | Parctice Room 9 | 2016-10-14 | <0.3
Snack Shop | 2016-10-14 | <0.3 | Sewing Room | 2016-10-14 | <0.3
Office (Sped) | 2016-10-14 | 0.6 | Ticket Booth | 2016-10-14 | <0.3
SRO | 2016-10-14 | 0.7 | Office | 2016-10-14 | <0.3
Student Management | 2016-10-14 | 0.7 | Wood Shop | 2016-10-14 | <0.3
Team Room | 2016-10-14 | 1.2
Team Room 2 | 2016-10-14 | 2.4
Training Room 1 | 2016-10-14 | 0.8
Training Room 2 | 2016-10-14 | 0.6
B10 | 2016-10-14 | <0.3
B11 | 2016-10-14 | <0.3
B12 | 2016-10-14 | <0.3
B13 | 2016-10-14 | 0.7
B14 | 2016-10-14 | <0.3
B15 | 2016-10-14 | <0.3
B16 | 2016-10-14 | <0.3
B17 | 2016-10-14 | 0.6
B1 Workroom | 2016-10-14 | <0.3
B2 | 2016-10-14 | <0.3
B3 | 2016-10-14 | 0.6
B4 | 2016-10-14 | <0.3
B5 | 2016-10-14 | 1.1
B7/8 Workroom | 2016-10-14 | <0.3
B8 | 2016-10-14 | 0.6
B9 | 2016-10-14 | 0.6
Bookeeper | 2023-02-02 | 0.3
Security Office | 2023-02-02 | 0.3
Stu. Advocates | 2023-02-02 | 0.3
Health Ctr. Waiting Rm. - D-50 | 2023-02-02 | 0.3
Health Ctr. Conf. - D-54 | 2023-02-02 | 0.8
Health Ctr. Lab - D-56 | 2023-02-02 | 0.3
Health Ctr. Exam - D-58 (2) | 2023-02-02 | 0.3
Health Ctr. Dental Exam - D-59 | 2023-02-02 | 0.8
Health Ctr. Exam - D-60 (1) | 2023-02-02 | 0.7
Health Ctr. Office - D-63 (5) | 2023-02-02 | 0.3
Health Ctr. Office - D-66 (4) | 2023-02-02 | 0.7
Health Ctr. Office - D-67 (3) | 2023-02-02 | 0.3
Health Ctr. Office - D-69 (2) | 2023-02-02 | 0.3
Health Ctr. Office - D-70 (1) | 2023-02-02 | 0.3
Health Ctr. Office - D-71 (8) | 2023-02-02 | 0.3
Health Ctr. Office - D-72 (7) | 2023-02-02 | 0.5
Health Ctr. Office - D-73 (6) | 2023-02-02 | 0.3
Book Storage | 2016-10-14 | <0.3
Boy Team Office | 2016-10-14 | 0.7
Boy Locker Room Office | 2016-10-14 | 0.7
Boys Team Room | 2016-10-14 | 0.7
C1 Office | 2016-10-14 | <0.3
C2 | 2016-10-14 | <0.3
C2 Back Room | 2016-10-14 | <0.3
C3 | 2023-01-02 | 0.3
C4 | 2016-10-14 | <0.3
C5 | 2016-10-14 | <0.3
C6 | 2016-10-14 | <0.3
C8 Ceramics | 2016-10-14 | 0.6
C8 Kiln Room | 2016-10-14 | 0.5
C9 | 2016-10-14 | <0.3
Cafeteria East | 2016-10-14 | 0.5
Cafeteria West | 2016-10-14 | 0.5
Custodian Area | 2016-10-14 | <0.3
Custodian Area 2 | 2016-10-14 | 3
A1.4 | 2016-10-14 | 1.4
A10 | 2016-10-14 | 0.7
A10 Office | 2016-10-14 | 0.7
A11 | 2016-10-14 | <0.3
A12 | 2016-10-14 | <0.3
A12B | 2016-10-14 | 0.5
A14 | 2016-10-14 | <0.3
A14.1 | 2016-10-14 | <0.3
A15 | 2016-10-14 | <0.3
A16 | 2016-10-14 | <0.3
A17 | 2016-10-14 | <0.3
A18 | 2016-10-14 | 0.6
A19 | 2016-10-14 | <0.3
A21 | 2016-10-14 | 0.5
A22 | 2016-10-14 | 0.9
A23 | 2016-10-14 | 0.7
A3 | 2016-10-14 | 0.9
A4/5 Work Room | 2016-10-14 | 0.6
A5 | 2016-10-14 | 0.8
A6 | 2016-10-14 | 0.6
A7 | 2016-10-14 | 0.7
A8 | 2016-10-14 | 0.8
A9 | 2016-10-14 | <0.3
A9 Office | 2016-10-14 | 0.8
AG4 | 2016-10-14 | 1.1
AG5 | 2016-10-14 | 1.1
AG6 | 2016-10-14 | 1.2
AG8 | 2016-10-14 | 1
Asst. Principal Office 1 | 2016-10-14 | 0.6
Asst. Principal Office 2 | 2016-10-14 | 0.9
Attendance | 2016-10-14 | 0.6
B18 | 2016-10-14 | <0.3
B1 | 2016-10-14 | <0.3
B1 Chemical Room | 2016-10-14 | <0.3
B1.2 | 2016-10-14 | <0.3
B1.4 | 2016-10-14 | 0.7

## Riverside ES
Riverside ES
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Room | Sample Date End | Test Results (pCi/L)
Kitchen |  | Missing | Retesting in October 2023
Cafeteria (1) E | 2023-02-09 | 1
Cafeteria (2) W | 2023-02-09 | 0.3
7 | 2023-02-09 | 0.9
8 | 2023-02-09 | 0.3
9 | 2023-02-09 | 0.7
10 | 2023-02-09 | 0.3
11 | 2023-02-09 | 1.3
12 | 2023-02-09 | 1.1
13 | 2023-02-09 | 0.9
Work Rm - 15 | 2023-02-09 | 2.2
Computer Lab - 16 | 2023-02-09 | 1.8
Office - 18 | 2023-02-09 | 0.3
Office - 19 | 2023-02-09 | 1.9
Production - 22 | 2023-02-09 | 1.8
Gym - 23 (1) N | 2023-02-09 | 1.4
Gym - 23 (2) S | 2023-02-09 | 1.1
Counselor - 32 | 2023-02-09 | 0.6

## Rock Creek MS
Rock Creek MS
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Room | Sample Date End | Test Results (pCi/L)
A1 | 2017-01-27 | <0.3
A10 | 2017-01-27 | <0.3
A11 | 2017-01-27 | <0.3
A12 | 2017-01-27 | 1
A13 | 2017-01-27 | 1.2
A2 | 2017-01-27 | <0.3
A3 | 2017-01-27 | <0.3
A4 | 2017-01-27 | 0.7
A5 | 2017-01-27 | <0.3
A6 | 2017-01-27 | <0.3
A7 | 2017-01-27 | <0.3
A8 | 2017-01-27 | <0.3
A9 | 2017-01-27 | 0.9
Asst. Principal Off. | 2017-01-27 | 0.6
B1 | 2017-01-27 | 0.5
B1 Office | 2017-01-27 | <0.3
B10 | 2017-01-27 | 0.6
B11 | 2017-01-27 | 0.9
B12 | 2017-01-27 | <0.3
B13 | 2017-01-27 | <0.3
B2 | 2017-01-27 | <0.3
B3 | 2017-01-27 | 0.9
B4 | 2017-01-27 | <0.3
B5 | 2017-01-27 | 0.7
B6 | 2017-01-27 | <0.3
B7 | 2017-01-27 | <0.3
B8 | 2017-01-27 | <0.3
B9 | 2017-01-27 | <0.3
C1 | 2017-01-27 | <0.3
C2 | 2017-01-27 | 0.6
C3 | 2023-01-26 | 0.6
C4 | 2023-01-26 | 1.1
C5 | 2023-01-26 | 1
C6 | 2023-01-26 | 0.3
C7 | 2023-01-26 | 0.6
C8 | 2023-01-26 | 0.9
C9 | 2023-01-26 | 0.3
C10 | 2023-01-26 | 0.5
Conf Room | 2017-01-27 | <0.3
Custodial Rm | 2017-01-27 | 0.7
D2 | 2017-01-27 | <0.3
D3 | 2017-01-27 | <0.3
D4 | 2017-01-27 | <0.3
D7 | 2017-01-27 | 0.5
Dean of Students Off | 2017-01-27 | 0.7
Gym 1 (1) East | 2023-01-26 | 0.5
Gym 1 (2) West | 2023-01-26 | 0.3
Gym 1 (3) North | 2023-01-26 | 0.5
Gym 2 (4) East | 2023-01-26 | 0.5
Gym 2 (5) North East | 2023-01-26 | 0.5
Gym 2 (6) North West | 2023-01-26 | 0.7
Health Rm | 2017-01-27 | <0.3
Kitchen Office | 2017-01-27 | <0.3
L2 | 2017-01-27 | <0.3
L3 | 2017-01-27 | <0.3
Main Office | 2017-01-27 | <0.3
Media Center | 2017-01-27 | <0.3
Media Center Wk Rm | 2017-01-27 | 0.7
Staff Room | 2017-01-27 | <0.3
Weight Room Office | 2017-01-27 | 0.6
Work Room | 2017-01-27 | 0.6

## Rowe MS
Rowe MS
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Room | Sample Date End | Test Results (pCi/L)
Reception - 001 | 2023-03-09 | 0.5
Confrerence Rm - 002 | 2023-03-09 | 0.3
Health Rm - 003 | 2023-03-09 | 0.3
Office - 004 | 2023-03-09 | 0.3
Office - 005 | 2023-03-09 | 0.3
Office - 010 | 2023-03-09 | 0.3
Cafeteria - 023 North (2) | 2023-03-09 | 0.3
Cafeteria - 023 South (1) | 2023-03-09 | 0.7
Kitchen - 023A |  | Missing | Retesting in October 2023
Office Lobby - 030 | 2023-03-09 | 0.8
Office - 030 A | 2023-03-09 | 0.9
Office - 030 B | 2023-03-09 | 0.8
Office - 030 C | 2023-03-09 | 0.7
Office - 030 D | 2023-03-09 | 0.8
Library - 036 East (1) | 2023-03-09 | 0.6
Library - 036 West (2) | 2023-03-09 | 0.6
Library Office - 036 C | 2023-03-09 | 0.5
101 | 2023-03-09 | 1.6
102 | 2023-03-09 | 0.3
103 | 2023-03-09 | 1.5
104 | 2023-03-09 | 1.6
105 | 2023-03-09 | 1.8
106 | 2023-03-09 | 3.1
107 | 2023-03-09 | 0.9
108 | 2023-03-09 | 2.7
110 | 2023-03-09 | 0.8
111 | 2023-03-09 | 0.3
112 | 2023-03-09 | 2.1
114 | 2023-03-09 | 0.9
201 | 2023-03-09 | 2
203 | 2023-03-09 | 1.1
204 | 2023-03-09 | 0.5
205 | 2023-03-09 | 8 | Retesting in October 2023
206 | 2023-03-09 | 0.7
207 | 2023-03-09 | 1.5
208 | 2023-03-09 | 0.9
209 | 2023-03-09 | 3.4
211 | 2023-03-09 | 1.6
212 | 2023-03-09 | 0.6
213 | 2023-03-09 | 4.8 | Retesting in October 2023
221 | 2023-03-09 | 1.4
222 | 2023-03-09 | 1.4
223 | 2023-03-09 | 0.3
224 | 2023-03-09 | 0.9
225 | 2023-03-09 | 0.3
226 | 2023-03-09 | 0.5
227 | 2023-03-09 | 0.6
228 | 2023-03-09 | 0.3
331 | 2023-03-09 | 0.9
332 | 2023-03-09 | 0.9
333 | 2023-03-09 | 1
334 | 2023-03-09 | 1
335 | 2023-03-09 | 1
336 | 2023-03-09 | 1
337 | 2023-03-09 | 0.9
338 | 2023-03-09 | 0.8
401 | 2023-03-09 | 4.5 | Retesting in October 2023
403 | 2023-03-09 | 0.4
404 | 2023-03-09 | 0.7
405 | 2023-03-09 | 0.3
406 | 2023-03-09 | 0.3
407 | 2023-03-09 | 0.3
408 | 2023-03-09 | 0.5
409 | 2023-03-09 | 1
Gym North West (1) | 2023-03-09 | 0.9
Gym South West (2) | 2023-03-09 | 0.7
Gym South (3) | 2023-03-09 | 1.2

## Sabin-Schellenberg Center - Nor
Sabin-Schellenberg Center - North Campus
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Building AB |  |  | Building D
Room | Sample Date End | Test Results (pCi/L) | Room | Sample Date End | Test Results (pCi/L)
Deli - A102 | 2023-01-13 | 0.9 | Reception - D101 | 2023-01-13 | 0.3
Facial Lab - A105 | 2023-01-13 | 0.8 | Conf. - D102 | 2023-01-13 | 0.3
Adult Program - A106 | 2023-01-13 | 1.5 | Principal - D103 | 2023-01-13 | 0.3
Conf. Rm. - A107 | 2023-01-13 | 2.5 | Offifce - D104 | 2023-01-13 | 0.3
A108 | 2023-01-13 | 0.5 | Breakroom - D105 | 2023-01-13 | 0.3
A109 | 2023-01-13 | 0.6 | Campus Monitor - D106 | 2023-01-13 | 0.3
A110 | 2023-01-13 | 1.3 | Conf. - D107 | 2023-01-13 | 0.3
A111 | 2023-01-13 | 0.7 | Workroom - D108 | 2023-01-13 | 0.3
A112 | 2023-01-13 | 0.7 | Health Rm. - D110 | 2023-01-13 | 0.3
A114 | 2023-01-13 | 0.5 | D119 | 2023-01-13 | 0.3
Salon - A116 | 2023-01-13 | 1.1 | D120 | 2023-01-13 | 0.3
A130 | 2023-01-13 | 1.3 | Campus IT - D122 | 2023-01-13 | 0.3
A131 | 2023-01-13 | 1.5 | D124 | 2023-01-13 | 0.5
A132 | 2023-01-13 | 1.5 | Conf. - D128 | 2023-01-13 | 0.6
Building Trades - A134 | 2023-01-13 | 0.3 | D131 | 2023-01-13 | 0.3
Work Rm. - A135 | 2023-01-13 | 0.8 | D132 | 2023-01-13 | 0.3
Turnout - A136 | 2023-01-13 | 1.4 | D133 | 2023-01-13 | 0.3
Machine - A137 | 2023-01-13 | 0.8
Fabrication - A138 (Ctr.) | 2023-01-13 | 0.6 | Building G & GG
Fabrication - A138 (S) | 2023-01-13 | 0.6 | Room | Sample Date End | Test Results (pCi/L)
Office - A139 | 2023-01-13 | 0.7 | Kitchen | 2016-11-04 | 1.3
Office - A140 | 2023-01-13 | 0.8 | North Classroom | 2016-11-04 | 1.3
A141 | 2023-01-13 | 0.7 | Observation | 2016-11-04 | 1.9
Flex - A142 | 2023-01-13 | 1.5 | Office | 2016-11-04 | 1.8
Flex - A148 | 2023-01-13 | 1 | South Classroom | 2016-11-04 | 1.4
A149 | 2023-01-13 | 1.2
Office - A150 | 2023-01-13 | 0.5 | Building H
Auto Bays - A153 (E) | 2023-01-13 | 0.6 | Room | Sample Date End | Test Results (pCi/L)
Auto Bays - A153 (S) | 2023-01-13 | 0.7 | Infant Room | 2016-11-04 | 0.5
|  |  | Lunch | 2016-11-04 | 0.7
Building C |  |  | Lunch Room | 2016-11-04 | 0.6
Room | Sample Date End | Test Results (pCi/L) | Main Office | 2016-11-04 | 1.1
129 | 2016-10-14 | <0.3 | Mobil | 2016-11-04 | 0.7
131 | 2016-10-14 | <0.3 | Toddler | 42678 | <0.3
131 Office | 2016-10-14 | 1.3
132-1 | 2016-10-14 | 2 | Forestry
132-2 | 2016-10-14 | 0.7 | Room | Sample Date End | Test Results (pCi/L)
132 Office | 2016-10-14 | <0.3 | 3A Forestry | 42678 | <0.3
133 | 2016-10-14 | <0.3
133 Office | 2016-10-14 | 1.4

## Sabin Schellenberg Center - Sou
Sabin-Schellenberg Center - South Campus
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Main Building
Room | Sample Date End | Test Results (pCi/L)
101 | 2023-01-12 | 1.4
Workroom - 103 | 2023-01-12 | 0.8
104 | 2023-01-12 | 0.9
105 | 2023-01-12 | 0.9
106 | 2023-01-12 | 1.8
107 | 2023-01-12 | 0.5
108 | 2023-01-12 | 0.5
116 | 2023-01-12 | 1.1
Workroom - 117 | 2023-01-12 | 0.8
118 | 2023-01-12 | 0.8
Front Office - 203 | 2023-01-12 | 0.3
Health Rm. - 204 | 2023-01-12 | 0.6
Conf. Rm. - 205 | 2023-01-12 | 0.6
Office- 208 | 2023-01-12 | 0.3
Office - 209 | 2023-01-12 | 0.6
Workroom - 210 | 2023-01-12 | 0.6
211 | 2023-01-12 | 0.6
Office - 224 | 2023-01-12 | 0.6
225 | 2023-01-12 | 0.3
226 | 2023-01-12 | 0.3
Staff Rm. - 228 | 2023-01-12 | 0.5
Workroom - 241 | 2023-01-12 | 0.9
243 | 2023-01-12 | 1.1
244 | 2023-01-12 | 1
245 | 2023-01-12 | 0.8
246 | 2023-01-12 | 0.9
247 | 2023-01-12 | 1.4
Resource Rm. - 248 | 2023-01-12 | 0.9
249 | 2023-01-12 | 0.6
250 | 2023-01-12 | 0.8
252 | 2023-01-12 | 0.8
258 | 2023-01-12 | 1.4
270 | 2023-01-12 | 0.5
School Store - 271 | 2023-01-12 | 0.3
Computer Lab - 284 | 2023-01-12 | 0.3
Computer Lab - 285 | 2023-01-12 | 0.3
Event & Catering - 300A | 2023-01-12 | 1
Culinary Lab - 302 | 2023-01-12 | 0.8
Media Studio - 310 | 2023-01-12 | 1.5
Audio Visual - 311 | 2023-01-12 | 1.4

## Scouters Mountain ES
Scouters Mountain ES
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Room | Sample Date End | Test Results (pCi/L)
110 | 2017-01-26 | <0.3
111 | 2017-01-26 | <0.3
112 | 2017-01-26 | <0.3
113 | 2017-01-26 | <0.3
114 | 2017-01-26 | <0.3
114A | 2017-01-26 | <0.3
115 | 2017-01-26 | <0.3
116 | 2017-01-26 | <0.3
118 | 2017-01-26 | 0.6
119 | 2017-01-26 | 0.6
120 | 2017-01-26 | 0.6
121 | 2017-01-26 | 0.6
122 | 2017-01-26 | <0.3
123 | 2017-01-26 | <0.3
134 | 2017-01-26 | <0.3
135 | 2017-01-26 | <0.3
150 | 2017-01-26 | 0.7
Computer Lab | 2017-01-26 | <0.3
Conf Room | 2017-01-26 | <0.3
Custodial | 2017-01-26 | <0.3
Gym 1 | 2017-01-26 | <0.3
Gym 2 | 2017-01-26 | <0.3
Gym Office | 2017-01-26 | <0.3
Health Room | 2017-01-26 | <0.3
Kitchen Office | 2017-01-26 | <0.3
Main Office | 2017-01-26 | <0.3
Music Room | 2017-01-26 | 0.7
Principal Office | 2017-01-26 | <0.3
Staff Room | 2017-01-26 | <0.3
Work Room | 2017-01-26 | <0.3

## Spring Mountain ES
Spring Mountain ES
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Room | Sample Date End | Test Results (pCi/L)
A1 | 2017-01-26 | 0.9
A2 | 2017-01-26 | 0.7
A3 | 2017-01-26 | 0.6
B1 | 2017-01-26 | 0.9
B2 | 2017-01-26 | 0.9
C Common Area | 2017-01-26 | 0.5
C1 | 2017-01-26 | <0.3
C2 | 2017-01-26 | <0.3
C3 | 2017-01-26 | <0.3
C4 | 2017-01-26 | <0.3
C5 | 2017-01-26 | <0.3
Cafeteria North | 2017-01-26 | 0.5
Cafeteria South | 2017-01-26 | 0.6
D Common Area | 2017-01-26 | <0.3
Computer Lab | 2017-01-26 | 0.9
Conf Room C | 2017-01-26 | <0.3
Counselor Office | 2017-01-26 | 0.8
Custodian | 2017-01-26 | 0.9
D Conference Room | 2017-01-26 | <0.3
D1 | 2017-01-26 | 0.6
D2 | 2017-01-26 | <0.3
D3 | 2017-01-26 | <0.3
D4 | 2017-01-26 | <0.3
D5 | 2017-01-26 | <0.3
Gym North | 2017-01-26 | <0.3
Gym South | 2017-01-26 | <0.3
Kitchen | 2017-01-26 | 0.7
Library North | 2017-01-26 | <0.3
Library Office | 2017-01-26 | <0.3
Library South | 2017-01-26 | <0.3
Music Room | 2017-01-26 | <0.3
Office Structure | 2017-01-26 | <0.3
PE Office | 2017-01-26 | 1
Resource Room | 2017-01-26 | 0.6
Teacher Lounge | 2017-01-26 | 0.8

## Sunnyside ES
Sunnyside ES
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Room | Sample Date End | Test Results (pCi/L)
A1 | 2023-01-26 | 1.7
A2 | 2023-01-26 | 1.2
A3 | 2023-01-26 | 1.7
A4 | 2023-01-26 | 3.2
Office A4 - N | 2023-01-26 | 2.6
Office A4 - S | 2023-01-26 | 2.7
A5 | 2023-01-26 | 1.9
A6 | 2023-01-26 | 1.8
A7 | 2023-01-26 | 2.2
A8 | 2023-01-26 | 1.2
B1 | 2023-01-26 | 0.8
B2 | 2023-01-26 | 1.3
B3 | 2023-01-26 | 0.7
B4 | 2023-01-26 | 0.9
B5 | 2023-01-26 | 1.2
B6 | 2023-01-26 | 2
B7 | 2023-01-26 | 0.7
B8 | 2023-01-26 | 1.6
C1 | 2023-01-26 | 0.3
C2 | 2023-01-26 | 0.6
C3 | 2023-01-26 | 0.3
C4 | 2023-01-26 | 0.3
C5 | 2023-01-26 | 0.3
C6 | 2023-01-26 | 1.1
C7 | 2023-01-26 | 0.3
C8 | 2023-01-26 | 0.3
C9 | 2023-01-26 | 0.3
D1 | 2023-01-26 | 0.6
D2 | 2023-01-26 | 0.6
D3 | 2023-01-26 | 0.8
Gym Office - D4 | 2023-01-26 | 0.7
Gym (1) N | 2023-01-26 | 0.7
Gym (2) E | 2023-01-26 | 0.8
Gym (3) S | 2023-01-26 | 0.7
Health Room | 2023-01-26 | <0.3
Kitchen | 2023-01-26 | <0.3
Library | 2023-01-26 | 0.6
Cafeteria - N | 2023-01-26 | 0.7
Cafeteria - S | 2023-01-26 | 0.7
Kitchen |  | Missing | Retesting in October 2023
Main Office | 2023-01-26 | 0.8
Health Rm. | 2023-01-26 | 0.7
Production | 2023-01-26 | 0.6
Principal Office | 2023-01-26 | 1.8
Asst. Principal | 2023-01-26 | 1.6
Conf. Rm. | 2023-01-26 | 1.2
Comm. Partners | 2023-01-26 | 0.9
Parent Volunteer | 2023-01-26 | 0.8
Staff Lunch Room | 2023-01-26 | 1.2
Media/Library (1) W | 2023-01-26 | 0.7
Media/Library (2) E | 2023-01-26 | 0.5
Lrg. Counseling | 2023-01-26 | 0.7
Sm. Counseling | 2023-01-26 | 0.6

## View Acres ES
View Acres ES
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Room | Sample Date End | Test Results (pCi/L)
1 | 2016-10-13 | 1.4
2 | 2016-10-13 | 1.3
4 | 2016-10-13 | 1.2
5 | 2016-10-13 | 1.1
6 | 2016-10-13 | 1.1
7 | 2016-10-13 | 1.1
8 | 2016-10-13 | 1.7
9 | 2016-10-13 | 1.2
10 | 2016-10-13 | 1.7
11 | 2016-10-13 | 1.6
12 | 2016-10-13 | 1.5
13 | 2016-10-13 | 1.3
14 | 2016-10-13 | 1.5
15 | 2016-10-13 | 1.7
16 | 2016-10-13 | 1.5
17 | 2023-02-02 | 1.4
18 | 2023-02-02 | 1.7
19 | 2016-10-13 | 0.6
24 | 2023-02-17 | 1.1
23 | 2023-02-02 | 0.9
1Y | 2016-10-13 | 1.7
Art Room | 2016-10-13 | <0.3
Cust Office | 2016-10-13 | 2.8
Gym East | 2016-10-13 | 1.4
Gym West | 2016-10-13 | 1
Library Counsel | 2016-10-13 | 1.9
Library Office | 2016-10-13 | 2.2
Library | 2016-10-13 | 2.7
Music Room | 2016-10-13 | 1
Music Room Office | 2016-10-13 | 1.3
Office Conf Room | 2016-10-13 | 1.2
Office Copy Room | 2016-10-13 | 1.2
Health Room | 2016-10-13 | 1.2
Principal Office | 2016-10-13 | 0.7
Office Reception | 2016-10-13 | 1.7
SLCB | 2016-10-13 | 1.7
SLCB Blue | 2016-10-13 | 1.6
SLCB Green | 2016-10-13 | 1.4
SLCB Yellow | 2016-10-13 | 1.6

## Whitcomb ES
Whitcomb ES
Radon Test Results
EPA RADON GUILDELINES: The EPA has set an action level of 4.0 pCi/L (picoCuries per liter) for schools. If classrooms or buildings have radon levels at or above 4.0 pCi/L, EPA recommends that schools take action to reduce the level. These actions include: Step 1. If your result is 4.0 pCi/L or higher, take a follow-up test (Step 2) to be sure. Step 2. Follow up with either a long-term test or a second short-term test
Room | Sample Date End | Test Results (pCi/L)
101 | 2023-02-10 | 1
102 | 2023-02-10 | 1.5
105 | 2023-02-10 | 1.2
106 | 2023-02-10 | 1.1
111 |  | Missing | Retesting in October 2023
112 | 2023-02-10 | 1.1
115 | 2023-02-10 | 1.9
116 | 2023-02-10 | 1.1
121 | 2023-02-10 | 1.1
122 | 2023-02-10 | 1.4
125 | 2023-02-10 | 1.4
126 | 2023-02-10 | 1.3
131 | 2023-02-10 | 2.4
132 | 2023-02-10 | 2.5
136 | 2023-02-10 | 0.9
137 | 2023-02-10 | 1.4
138 | 2023-02-10 | 1.7
139 | 2023-02-10 | 1.5
141 | 2023-02-10 | 0.9
141A | 2023-02-10 | 0.9
142 | 2023-02-10 | 1
142A | 2023-02-10 | 1.1
143 | 2023-02-10 | 0.5
144 | 2023-02-10 | 0.7
148 | 2023-02-10 | 1.2
148A | 2023-02-10 | 1.1
Counselor - 149 | 2023-02-10 | 0.8
Small Group - 149A | 2023-02-10 | 1.2
Media Ctr. - 151 | 2023-02-10 | 1.3
Office - 151B | 2023-02-10 | 1.3
Gym - 152 (1) SE | 2023-02-10 | 0.6
Gym - 152 (2) SW | 2023-02-10 | 0.7
Gym - 152 (3) NW | 2023-02-10 | 0.3
Gym - 152 (4) NE | 2023-02-10 | 0.5
Gym Office - 152D | 2023-02-10 | 0.6
Comm. Rm. - 153 | 2023-02-10 | 1.5
Staff Rm. - 154 | 2023-02-10 | 1
After School - 156 | 2023-02-10 | 1.6
Main Office - 161 | 2023-02-10 | 0.8
Vice Principal - 162 | 2023-02-10 | 0.6
Principal - 163 | 2023-02-10 | 0.7
Production Rm. - 164 | 2023-02-10 | 0.9
Conf. - 165 | 2023-02-10 | 0.8
Health Rm. - 166 | 2023-02-10 | 0.8
Cafeteria - 171 | 2023-02-10 | 1.3
Kitchen Office - 172 | 2016-10-28 | <0.3
Office - 173 | 2023-02-10 | 1.1
Office - 174 | 2023-02-10 | 0.9
175 | 2023-02-10 | 0.9
Music - 176 | 2023-02-10 | 0.9