1115 N. El Paso St., Colorado Springs, CO 80903     phone (719) 520-2262

All District Staff:

As we approach the cooler weather months, this is a reminder that portable space heaters can be dangerous if used improperly.  If your working area is too cold, please notify you building manager and have a work order submitted to address the issue.  If you are going to utilize a space heater, please remember the following Fire Code rules:

- Heater must be “UL 1278” rated.  This type of heater is designed to turn off its power when it is tipped over.

- Heater must be plugged directly into a wall outlet; not into an extension cord nor a surge protector.

- The area around the heater should be clear of all combustible (flammable) materials.

- The heater should never be left unattended.  If you leave the heater, ensure you turn it off first.

- Ensure students stay clear of the heater at all times!

For questions regarding specific heaters and their usage, please contact Brian Garcia.

Brian Garcia

Environmental Life Safety Supervisor

Office: 719-477-6021

Email: Brian.Garcia@D11.org