## Slide 1: ENROLLMENT REVIEW COMMITTEE
UPDATE
March 31, 2016

## Slide 2: ELEMENTARY ENROLLMENT STUDY
Taken from the May 26, 2015 SUPERINTENDENT’S REPORT - Item #8
8. ELEMENTARY ENROLLMENT STUDY
INFORMATION:
The Boyertown Area School District has completed facilities and demographics studies. This information serves to guide the Board of School Directors and Administration as decisions are made to continue to provide educational facilities for our students. A need has been identified to study our long-term needs at our elementary level. Administration is proposing a process that ensures appropriate resources and information is in place to thoroughly study these needs, involves stakeholders with opportunities to provide input and develops options for the Board of School Directors to consider. A timeline has been developed to detail the steps Administration proposes to evaluate and address our elementary enrollment needs.
RECOMMENDATION:
That the Board of School Directors approves the proposed timeline for the study of the District’s elementary enrollment needs. The Board President will establish an ad hoc committee to work with Administration to study these needs, consider options, and make recommendations to the Facilities Committee / Board of School Directors.

## Slide 3: ENROLLMENT REVIEW COMMITTEE TIMELINE
Summer 2015 | Resources secured to ensure BASD can effectively evaluate District needs
Fall 2015 – Winter 2016 | Board Ad-Hoc Committee formed to evaluate information; Public Input Meetings with parent groups to gather input Community Forums
Spring / Summer 2016 | Ad-Hoc Committee shares options for Board review/ public input
Fall 2016 | Board action taken on option that meets needs of BASD Community
Winter/Spring 2017 | Transition activities/communication
August 2017 | 6th grade moves to middle school/ 9th grade moves to BASH
August 2017 | Implement approved changes to BASD elementary enrollment or begin work on approved actions.

## Slide 4: BASD ELEMENTARY BACKGROUND
2005 - Gray Attendance areas established
  Gray areas expanded several times
  K-6 new enrollment in gray areas placed by Administration
  2005 - Present - “Bubble” Sections
    Sections are added or deleted at a school per BASD elementary class size guidelines
2009 - Redistricting
  All schools involved with redistricting to alleviate enrollment in Montgomery County Schools

## Slide 5: BASD ELEMENTARY BACKGROUND
Grade Level Caps
  A few times in the past ten years a grade level at an elementary school was capped and subsequently enrolled students were assigned to a neighboring school
Classroom Repurposing
  During the past three years all elementary computer labs have been repurposed to classrooms or instructional spaces
  Science/LGI rooms have been repurposed to classroom space

## Slide 6: BASD ELEMENTARY BACKGROUND
Special Education Programs
  During the past ten years two Autistic Support classrooms (WES), one Emotional Support classroom (BES) and an English as a Second Language (BES) program has been added to meet District-wide student needs
  Modular Classrooms
  Two modular classrooms were added to GES in August 2015 to increase building instructional space
Grade Reconfiguration
  In August 2017 all grade six students will attend JHE or JHW, converting to middle school program for grades 6-8

## Slide 7: HANOVER RESEARCH DISCUSSION
  Impacts of School and Class Size on Student Outcome
  Key Findings
  Elementary School Enrollment Redistribution
  Key Findings

## Slide 8: TRANSFINDER/BASD ATTENDANCE AREAS
  Understanding our current enrollment boundaries
  School/Student Display
  Attendance Area/ Outside Area
  Distance to Schools
  System Capabilities

## Slide 9: BASD Demographics
  Pennsylvania Economy League, February 2015 Report
  Report available at http://www.boyertownasd.org/site/default.aspx?PageType=3&DomainID=4&ModuleInstanceID=1623&ViewID=047E6BE3-6D87-4130-8424-D8E4E9ED6C2A&RenderLoc=0&FlexDataID=1992&PageID=1
  Key Findings / Projections
  Importance of updated demographic data

## Slide 10: BASD Feasibility Study
  The BASD Board of School Directors commissioned a District-Wide Feasibility study
  Completed by EI Associates in August 2012
  Full study available on the BASH website at http://www.boyertownasd.org/Page/4373

## Slide 11
GENERAL DATA
Washington Elementary School
Built:
Site:
Structure:
HVAC System:
Plumbing Service:
Electrical Service:
Systems:
Architectural Area:
PDE Replacement Value:
( 20% Rule )
PDE Total Capacity:
700
$2,241,120
Fire Alarm Paging/Intercom Master Clock Security
Emergency Lighting and Power District Telephone
Data Network
82,030 s.f.
$11,205,600 ( 700 FTE x 92 sf = 64,400 x $174 / sf = replacement cost )
One-story building with concrete floors; metal roof deck; structural steel frame; and masonry and concrete walls. Construction type non- combustible, unprotected in accordance with International Building Code with foam and built-up roof membranes.
Hot water boilers serve classroom unit ventilators, air handlers and fan coils. Air conditioning is provided for miscellaneous areas through packaged rooftop and split system air conditioners.
Public water and sewer
1600 amp, 120/208 volt, three phase, 4 wire
1961, 1987, 1995
Eligible for 20-year State Reimbursement in 2015
1406 Route 100, Barto, PA 19504-8704
24 acres; located in a rural area with paved drives and parking areas, athletic fields and play areas.
Washington Elementary - 2012 District Wide Feasibility Study Full study can be found at http://www.boyertownasd.org/Page/4373

## Slide 12
GENERAL DATA
Boyertown Elementary School
Built:
Site:
Structure:
HVAC System:
Plumbing Service:
Electrical Service:
Systems:
Architectural Area:
PDE Replacement Value:
( 20% Rule )
PDE Total Capacity:
725
$2,321,160
Fire Alarm Paging/Intercom Master Clock Security
Emergency Lighting and Power District Telephone
Data Network
97,800 s.f.
$11,605,800 ( 725 FTE x 92 sf = 66,700 x $174 / sf = replacement cost )
One-story building with concrete floors; metal roof deck; structural steel frame; and masonry and concrete walls. Construction type non- combustible, unprotected in accordance with International Building Code. Built-up roof membrane with metal soffit and fascias.
Packaged unit ventilators with integral air conditioning and electric heating coils as well as split system air conditiners and heat pumps.
Public water and sewer services
2000 amp, 277/480 volt, three phase, 4 wire
1969
Eligible for 20-year State Reimbursement
641 East Second Street, Boyertown, PA 19512-2298
13 acres; located in a residential area with paved drives and parking areas, athletic fields and play areas.
Boyertown Elementary - 2012 District Wide Feasibility Study Full study can be found at http://www.boyertownasd.org/Page/4373

## Slide 13
GENERAL DATA
Pine Forge Elementary School
Built:
Site:
Structure:
HVAC System:
Plumbing Service:
Electrical Service:
Systems:
Architectural Area:
PDE Replacement Value:
( 350 FTE x 92 sf = 32,200 x $174 / sf = replacement cost ) ( 20% Rule )
PDE Total Capacity:
350
$5,602,800
$1,120,560
Fire Alarm
Paging/Intercom
Master Clock Security
Emergency Lighting and Power
District Telephone
Data Network
37,570 s.f.
One-story building with concrete floors; metal roof deck; structural steel frame; and masonry and concrete walls. Construction type non- combustible, unprotected in accordance with International Building Code with foam roof membranes.
Hot water boilers serving unit ventilators, air handlers, and fan coils. Air conditioning is provided in several spaces through rooftop packaged air conditioning units.
Onsite water and sewer systems.
800 amp, 120/240 volt, three phase, 3 wire
1928, 1957, 1987
Eligible for 20-year State Reimbursement
8 Glendale Road, Boyertown, PA 19512
8 acres; located in a rural area with paved drives and parking areas, athletic fields and play areas.
Pine Forge Elementary - 2012 District Wide Feasibility Study Full study can be found at http://www.boyertownasd.org/Page/4373

## Slide 14
GENERAL DATA
Colebrookdale Elementary School
Built:
Site:
Structure:
HVAC System:
Plumbing Service:
Electrical Service:
Systems:
Architectural Area:
PDE Replacement Value:
( 350 FTE x 92 sf = 32,200 x $174 / sf = replacement cost ) ( 20% Rule )
PDE Total Capacity:
350
$5,602,800
$1,120,560
Fire Alarm Paging/Intercom Master Clock Security
Emergency Lighting and Power District Telephone
Data Network
41,340 s.f.
One-story building with concrete floors; metal roof deck; structural steel frame; and masonry and concrete walls. Construction type non- combustible, unprotected in accordance with International Building Code. Built-up roof membrane.
A single boiler provides hot water to unit heaters, air handlers, and fan coils. Packaged rooftop units are utilized to provide cooling for the library, offices, and computer room. The modular classrooms utilize packaged terminal through the wall heat pumps and electric heat.
Public water and sewer.
1600 amp, 120/208 volt, three phase, 4 wire
1955, 1991
Eligible for 20-year State Reimbursement
1001 Montgomery Avenue, Boyertown, PA 19512
35 acres; located in a residential area with paved drives and parking areas, athletic fields and play areas.
Colebrookdale Elementary - 2012 District Wide Feasibility Study Full study can be found at http://www.boyertownasd.org/Page/4373

## Slide 15
GENERAL DATA
Gilbertsville Elementary School
Built:
Site:
Structure:
HVAC System:
Plumbing Service:
Electrical Service:
Systems:
Architectural Area:
PDE Replacement Value:
( 20% Rule )
PDE Total Capacity:
725
$2,321,160
Fire Alarm Paging/Intercom Master Clock Security
Emergency Lighting and Power District Telephone
Data Network
96,930 s.f.
$11,605,800 ( 725 FTE x 92 sf = 66,700 x $174 / sf = replacement cost )
One-story building with concrete floors; metal roof deck; structural steel frame; and masonry and concrete walls. Construction type non- combustible, unprotected in accordance with International Building Code with Foam and Built-up roof membranes.
Cast iron steam boilers. The boilers directly feed some equipment and also feed a steam to hot water heat exchanger that provides hot water to classroom unit ventilators, air handlers, and fan coils. Air conditioning is provided for limited spaces through packaged rooftop and split system air conditioners.
Onsite water and public sewer
2000 amp, 120/208 volt, three phase, 4 wire
1930, 1958, 1987, 1995
Eligible for 20-year State Reimbursement in 2015
36 Congo Road, Gilbertsville, PA 19525-9205
16 acres; located in a residential area with paved drives and parking areas, athletic fields and play areas.
Gilbertsville Elementary - 2012 District Wide Feasibility Study Full study can be found at http://www.boyertownasd.org/Page/4373

## Slide 16
GENERAL DATA
New Hanover-Upper Frederick Elementary School
Built:
Site:
Structure:
HVAC System:
Plumbing Service:
Electrical Service:
Systems:
Architectural Area:
PDE Replacement Value:
( 20% Rule )
PDE Total Capacity:
800
$2,561,280
Fire Alarm Paging/Intercom Master Clock Security
Emergency Lighting and Power District Telephone
Data Network
90,700 s.f.
$12,806,400 ( 800 FTE x 92 sf = 73,600 x $174 / sf = replacement cost )
One-story building with concrete floors; metal roof deck; structural steel frame; and masonry and concrete walls. Construction type non- combustible, unprotected in accordance with International Building Code with foam, balasted and built-up roof membranes.
New hot water boilers serve classroom unit ventilators, air handlers, and fan coils. Air conditioning is provided for miscellaneous areas through packaged rooftop units and split system air conditioners.
Onsite well and sewer systems
2500 amp, 120/208 volt, three phase, 4 wire
1953, 1958, 1964, 1991
Eligible for 20-year State Reimbursement
2547 Big Road, Frederick, PA 19435-9701
18 acres; located in a rural area with paved drives and parking areas, athletic fields and play areas.
New Hanover/Upper Frederick Elementary - 2012 District Wide Feasibility Study Full study can be found at http://www.boyertownasd.org/Page/4373

## Slide 17
GENERAL DATA
Earl Elementary School
Built:
Site:
Structure:
HVAC System:
Plumbing Service:
Electrical Service:
Systems:
Architectural Area:
PDE Replacement Value:
( 350 FTE x 92 sf = 32,200 x $174 / sf = replacement cost ) ( 20% Rule )
PDE Total Capacity:
350
$5,602,800
$1,120,560
Fire Alarm Paging/Intercom Master Clock Security
Emergency Lighting and Power District Telephone
Data Network
38,530 s.f.
One-story building with concrete floors; metal roof deck; structural steel frame; and masonry and concrete walls. Construction type non- combustible, unprotected in accordance with International Building Code with foam and balasted roof membranes.
Hot water boilers feeding classroom unit ventilators, air handlers, and fan coils. Air conditioning is provided for library, offices, and computer room through packaged rooftop AC units.
Well system and onsite sewage treatment facility
1000 amp, 120/208 volt, three phase, 4 wire
1954, 1968, 1991
Eligible for 20-year State Reimbursement
22 Schoolhouse Road, Boyertown, PA 19512-7926
16 acres; located in a rural area with paved drives and parking areas, athletic fields and play areas.
Earl Elementary - 2012 District Wide Feasibility Study Full study can be found at http://www.boyertownasd.org/Page/4373

## Slide 18: BASD Enrollment/ Capacity/ Room Usage
  BASD 2015 Elementary Classroom Usage
    2015 Elementary Enrollment
    2017 Estimated Elementary Enrollment
    2015 Classroom Usage
    2017 Classroom Gain

## Slide 19: BASD Enrollment/ Capacity/ Room Usage
  Elementary Class Size
 | K-3 | 4-6
2005 | 21.9 | 24.6
2010 | 22.5 | 24.9
2015 | 20.8 | 24

## Slide 20: Information
  Agendas , minutes and reports are available on BASD Website at
  http://www.boyertownasd.org/Page/4373

## Slide 21: NEXT STEPS
April/May 2016 – Administration/ Committee Chair visit PTA/HSA meetings at each school to share information
May 24, 2016– Enrollment Review Committee meeting,
Education Center 7:30 p.m.
Summer 2016 – Additional meeting and data collection
Fall 2016 – Board action on recommendations/options