## Sheet1
ACCESS CONTROL MATRIX - STANDARDS EXAMPLE
Sheet Number | Door Number | Zone/Level | Room | Interior/Exterior | Card Reader | Video Intercom | Power Assisted Door | Lockout | Door Hardware Set | Programming
T-120A | 0F3A | Zone A - L00 | IDF 0F3A | Interior | YES | NO | NO | NO | 02-01 | Locked at all times.
T-120C | 0D1-2 | Zone C - L00 | VEST 0D1 | Exterior | YES | NO | NO | YES | 01-04 | Locked at all times.
T-120C | 0D4-2 | Zone C - L00 | VEST 0D4 | Exterior | YES | NO | YES | YES | 01-26 | Unlock times are to synchronize with bell schedule.
T-120C | 041-1 | Zone C - L00 | FLEX SPACE 041 | Exterior | YES | NO | NO | YES | 01-19 | Locked at all times.
T-120C | 041-2 | Zone C - L00 | FLEX SPACE 041 | Exterior | YES | NO | NO | YES | 01-19 | Locked at all times.
T-120C | ELEVATOR | Zone C - L00 | EL01 | Interior | YES | NO | NA | NA | NA | Locked at all times.
T-120C | 041D | Zone C - L00 | 041D | Interior | YES | NO | NO | NO | 02-01 | Locked at all times.
T-120D | 0C1A | Zone D - L00 | IDF 0C1A | Interior | YES | NO | NO | NO | 02-01 | Locked at all times.
T-120E | G002A | Zone E - L00 | MDF | Interior | YES | NO | NO | NO | 02-01 | Locked at all times.
T-120E | ELEVATOR | Zone E - L00 | EL02 | Interior | YES | NO | NA | NA | NA | Card reader activates elevator controls.
T-120E | G0B | Zone E - L00 | CORRIDOR G0B | Exterior | YES | NO | NO | YES | 01-26 | Unlock times are to synchronize with bell schedule.
T-120E | G0C-1 | Zone E - L00 | CORRIDOR G0C | Exterior | YES | NO | NO | YES | 01-51 | Locked at all times.
T-120G | A0A1-1 | Zone G - L00 | CORRIDOR A0A1 | Exterior | YES | NO | NO | YES | 01-37 | Locked at all times.
T-120G | A001 | Zone G - L00 | PARENT LOBBY A001 | Interior | YES | NO | NO | YES | 02-14 | Locked at all times.
T-120G | A0A1-2 | Zone G - L00 | CORRIDOR A0A2 | Interior | YES | NO | NO | YES | 01-41 | Locked at all times.
T-120G | A001K | Zone G - L00 | HALLWAY A001G | Exterior | YES | NO | NO | YES | 01-50 | Locked at all times.
T-120G | A007D | Zone G - L00 | IDF A007D | Interior | YES | NO | NO | NO | 02-01 | Locked at all times.
T-120G | ELEVATOR | Zone G - L00 | EL03 | Interior | YES | NO | NA | NA | NA | Card reader activates elevator controls.
T-121A | 1.ST-01 | Zone A - L01 | STAIR ST-01 | Exterior | YES | NO | NO | YES | 01-26 | Locked at all times.
T-121A | 1.ST-02 | Zone A - L01 | STAIR ST-02 | Exterior | YES | NO | NO | YES | 01-04 | Locked at all times.
T-121A | 1.ST-04 | Zone A - L01 | STAIR ST-04 | Exterior | YES | NO | NO | YES | 01-04 | Locked at all times.
T-121A | 177-2 | Zone A - L01 | BUSINESS MARKETING 177 | Interior | YES | NO | NO | N0 | 01-45 | Programmed to be open during school hours.
T-121B | 1A1-1 | Zone B - L01 | ENTRY VEST 1A1 | Interior | YES | NO | YES | YES | 01-11 | Lock after student arrival. Stays locks during school hours to steer visitors into office.
T-121B | 1A1-2 | Zone B - L01 | ENTRY VEST 1A1 | Interior | NO | NO | NO | YES | 01-12 | Lock after student arrival. Stays locks during school hours to steer visitors into office.
T-121B | 1A1-3 | Zone B - L01 | ENTRY VEST 1A1 | Interior | NO | NO | NO | YES | 01-13 | Lock after student arrival. Stays locks during school hours to steer visitors into office.
T-121B | 1A1-4 | Zone B - L01 | ENTRY VEST 1A1 | Exterior | YES | NO | YES | YES | 01-14 | Programmed to be open during school hours.
T-121B | 1A1-5 | Zone B - L01 | ENTRY VEST 1A1 | Exterior | NO | NO | NO | YES | 01-15 | Programmed to be open during school hours.
T-121B | 1A1-6 | Zone B - L01 | ENTRY VEST 1A1 | Exterior | NO | NO | NO | YES | 01-15 | Programmed to be open during school hours.
T-121B | 101-1 | Zone B - L01 | RECEPT/WAIT 101 | Interior | NO | NO | NO | YES | 08-01 | Door will normally be open. Will be locked on lock out only.
T-121B | 104-1 | Zone B - L01 | CTE LAB 104 | Interior | YES | NO | NO | NO | 01-47 | Unlocked during school hours.
T-121B | 104-2 | Zone B - L01 | CTE LAB 104 | Interior | YES | NO | NO | NO | 01-25 | Unlocked during school hours.
T-121C | 1D1-2 | Zone C - L01 | VESTIBULE 1D1 | Exterior | YES | NO | YES | YES | 01-06 | Unlock times are to synchronize with bell schedule.
T-121C | ELEVATOR | Zone C - L01 | EL01 | Interior | YES | NO | NA | NA | NA | Card reader activates elevator controls.
T-121C | 141A1 | Zone C - L01 | IDF 141A1 | Interior | YES | NO | NO | NO | 02-01 | Locked at all times.
T-121D | 106 | Zone D - L01 | IT REPAIR 106 | Interior | YES | NO | NO | NO | TBD | Locked at all times.
T-121D | 132C | Zone D - L01 | TEXT STORAGE 132C | Interior | YES | NO | NO | NO | 02-09 | Locked at all times.
T-121D | 1.ST08 | Zone D - L01 | STAIR ST08 | Exterior | YES | NO | NO | YES | 01-04 | Locked at all times.
T-121D | 1.ST10-3 | Zone D - L01 | STAIR ST10 | Exterior | YES | NO | NO | YES | 01-04 | Locked at all times.
T-121E | G1A-4 | Zone E - L01 | VESTIBULE G1A2 | Exterior | YES | NO | YES | YES | 01-59 | Unlock times are to synchronize with bell schedule.
T-121E | G1A1-4 | Zone E - L01 | VESTIBULE G1A1 | Exterior | YES | YES | YES | YES | 01-55 | Unlock times are to synchronize with bell schedule.
T-121E | ELEVATOR | Zone E - L01 | EL02 | Interior | YES | NO | NA | NA | NA | Card reader activates elevator controls.
T-121G | A101-2 | Zone G - L01 | PHOTOGRAPHY A101 | Interior | YES | NO | NO | NO | 01-22 | Programmed to be open during school hours.
T-121G | ELEVATOR | Zone G - L01 | EL03 | Interior | YES | NO | NA | NA | NA | Card reader activates elevator controls.
T-121G | A1A1-5 | Zone G - L01 | VESTIBULE A1A1 | Exterior | YES | YES | YES | YES | 01-40 | Unlock times are to synchronize with bell schedule.
T-122A | 2F1A | Zone A - L02 | IDF 2F1A | Interior | YES | NO | NO | NO | 02-04 | Locked at all times.
T-122C | ELEVATOR | Zone C - L02 | EL01 | Interior | YES | NO | NA | NA | NA | Card reader activates elevator controls.
T-122C | 241F-1 | Zone C - L02 | AUDIO ENG 242 | Interior | YES | NO | NO | NO | 02-01 | Programmed to be open during school hours.
T-122C | 242A-1 | Zone C - L02 | RECORDING BOOTH 242A | Interior | YES | NO | NO | NO | 02-13 | Programmed to be open during school hours.
T-122D | 2D1A | Zone D - L02 | IDF 2D1A | Interior | YES | NO | NO | NO | 02-04 | Locked at all times.
T-122G | A209-2 | Zone G - L02 | DIGITAL MEDIA A209 | Interior | YES | NO | NO | NO | 01-64 | Programmed to be open during school hours.
T-122G | A122G | Zone G - L02 | GRAPHIC DESIGN A205 | Interior | YES | NO | NO | NO | TBD | Programmed to be open during school hours.
T-122G | ELEVATOR | Zone G - L02 | EL03 | Interior | YES | NO | NA | NA | NA | Card reader activates elevator controls.