## Bulk_Spreadsheet_Temp_AECL
Detector Number | Start Date | End Date | Check-In Date Time | Check-In Person | Names and Initials_Name | Analysis Date | Analysis Person | Names and Initials_1_Name | Bq/cu M | Uncertainty | BqDays/Cu M | pCi/L | pCiDays/L | MA - Customer Number | MA - Company or Organization | MA - First Name | MA - Last Name | MA - Street Address 1 | MA - Street Address 2 | MA - City | MA - State | MA - Zip | MA - ZipPlusFour | MA - County | MA - Country | SITE | TL - Street Address 2 | TL - City | TL - State | TL - Zip | TL - County | TL - Country | TL - Room Type | Structure or Foundation Type | Test level or Floor | Foil Number | Slope | LLD | MDE | Past Expiration Date | Short Test | Missing Start Date | Missing End Date | Broken Seal | Damaged Filter | Loose Foil | Missing Foil | Revised Report
340216 | 2016-11-28 | 2017-05-23 | 2017-05-31 14:01 | RMD | Rares Dutu | 2017-06-02 | AOM | Aaron Morris | 78 | ± 4% | 13549.4853 | 2.1 | 366.2023 |  | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | ARLETA |  | Portland | OR | 97206 | Multnomah | USA | Boiler Room |  |  | 819582 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340200 | 2016-10-05 | 2017-05-26 | 2017-05-31 16:57 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 67 | ± 4% | 15600.5426 | 1.8 | 421.6363 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | ASTOR |  | Portland | OR | 97203 | Multnomah | USA | 47 RESOURCE CTR |  |  | 819589 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340201 | 2016-10-05 | 2017-05-26 | 2017-05-31 16:57 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 100 | ± 4% | 23482.6967 | 2.7 | 634.6675 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | ASTOR |  | Portland | OR | 97203 | Multnomah | USA | 11 |  |  | 819546 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340202 | 2016-10-05 | 2017-05-26 | 2017-05-31 16:57 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 59 | ± 4% | 14155.1158 | 1.6 | 382.5707 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | ASTOR |  | Portland | OR | 97203 | Multnomah | USA | 47 RESOURCE CTR-D |  |  | 819578 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340203 | 2016-10-05 | 2017-05-26 | 2017-05-31 16:57 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 26 | ± 7% | 5772.0527 | 0.7 | 156.0014 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | ASTOR |  | Portland | OR | 97203 | Multnomah | USA | 9 |  |  | 819548 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340204 | 2016-10-05 | 2017-05-26 | 2017-05-31 16:57 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 170 | ± 3% | 39225.8081 | 4.6 | 1060.157 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | ASTOR |  | Portland | OR | 97203 | Multnomah | USA | 19 |  |  | 819547 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340205 | 2016-10-05 | 2017-05-26 | 2017-05-31 16:57 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 78 | ± 4% | 18253.7321 | 2.1 | 493.3441 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | ASTOR |  | Portland | OR | 97203 | Multnomah | USA | 21 |  |  | 819531 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340182 | 2016-10-05 | 2017-04-21 | 2017-04-27 14:18 | BP | Rebecca Port | 2017-05-01 | JLK | Jeremy Kieser | 56 | ± 5% | 11148.2401 | 1.5 | 301.3038 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | BEAUMONT | 4043 NE Fremont St | Portland | OR | 97212 | Multnomah | USA | 134 |  |  | 819524 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340183 | 2016-10-05 | 2017-04-21 | 2017-04-27 14:18 | BP | Rebecca Port | 2017-05-01 | JLK | Jeremy Kieser | 15 | ± 9% | 3123.9728 | 0.4 | 84.4317 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | BEAUMONT | 4043 NE Fremont St | Portland | OR | 97212 | Multnomah | USA | 30-D |  |  | 819559 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340184 | 2016-10-05 | 2017-04-21 | 2017-04-27 14:18 | BP | Rebecca Port | 2017-05-01 | JLK | Jeremy Kieser | 15 | ± 9% | 2839.4834 | 0.4 | 76.7428 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | BEAUMONT | 4043 NE Fremont St | Portland | OR | 97212 | Multnomah | USA | 30 |  |  | 819594 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340186 | 2016-10-05 | 2017-04-21 | 2017-04-27 14:18 | BP | Rebecca Port | 2017-05-01 | JLK | Jeremy Kieser | 30 | ± 7% | 5604.8249 | 0.8 | 151.4818 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | BEAUMONT | 4043 NE Fremont St | Portland | OR | 97212 | Multnomah | USA | 29A KITCHEN |  |  | 819507 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340187 | 2016-10-05 | 2017-04-21 | 2017-04-27 14:18 | BP | Rebecca Port | 2017-05-01 | JLK | Jeremy Kieser | 96 | ± 4% | 19111.105 | 2.6 | 516.5164 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | BEAUMONT | 4043 NE Fremont St | Portland | OR | 97212 | Multnomah | USA | 23A |  |  | 819557 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340188 | 2016-10-05 | 2017-04-21 | 2017-04-27 14:18 | BP | Rebecca Port | 2017-05-01 | JLK | Jeremy Kieser | 100 | ± 4% | 19847.1263 | 2.7 | 536.4088 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | BEAUMONT | 4043 NE Fremont St | Portland | OR | 97212 | Multnomah | USA | 27B CAFE |  |  | 819514 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340189 | 2016-10-05 | 2017-04-21 | 2017-04-27 14:18 | BP | Rebecca Port | 2017-05-01 | JLK | Jeremy Kieser | 59 | ± 5% | 11480.3576 | 1.6 | 310.2799 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | BEAUMONT | 4043 NE Fremont St | Portland | OR | 97212 | Multnomah | USA | 110 MAIN OFFICE |  |  | 819554 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340190 | 2016-10-05 | 2017-04-21 | 2017-04-27 14:18 | BP | Rebecca Port | 2017-05-01 | JLK | Jeremy Kieser | 111 | ± 4% | 22005.0507 | 3 | 594.7311 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | BEAUMONT | 4043 NE Fremont St | Portland | OR | 97212 | Multnomah | USA | 16C |  |  | 819560 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340191 | 2016-10-05 | 2017-04-21 | 2017-04-27 14:18 | BP | Rebecca Port | 2017-05-01 | JLK | Jeremy Kieser | 122 | ± 3% | 24166.604 | 3.3 | 653.1515 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | BEAUMONT | 4043 NE Fremont St | Portland | OR | 97212 | Multnomah | USA | 16A |  |  | 819553 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340192 | 2016-10-05 | 2017-04-21 | 2017-04-27 14:18 | BP | Rebecca Port | 2017-05-01 | JLK | Jeremy Kieser | 107 | ± 4% | 21563.3431 | 2.9 | 582.7931 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | BEAUMONT | 4043 NE Fremont St | Portland | OR | 97212 | Multnomah | USA | 11A |  |  | 819583 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340193 | 2016-10-05 | 2017-04-21 | 2017-04-27 14:18 | BP | Rebecca Port | 2017-05-01 | JLK | Jeremy Kieser | 222 | ± 3% | 44021.0185 | 6 | 1189.7573 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | BEAUMONT | 4043 NE Fremont St | Portland | OR | 97212 | Multnomah | USA | 26A GYM |  |  | 819567 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340194 | 2016-10-05 | 2017-04-21 | 2017-04-27 14:18 | BP | Rebecca Port | 2017-05-01 | JLK | Jeremy Kieser | 4 | ± 15% | 798.7992 | 0.1 | 21.5892 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | BEAUMONT | 4043 NE Fremont St | Portland | OR | 97212 | Multnomah | USA | BLANK |  |  | 819534 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340211 | 2016-10-06 | 2017-05-22 | 2017-05-31 14:01 | RMD | Rares Dutu | 2017-06-02 | AOM | Aaron Morris | 126 | ± 3% | 29046.1833 | 3.4 | 785.032 |  | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | BUCKMAN |  | Portland | OR | 97214 | Multnomah | USA | CUSTODIAL OFFICE |  |  | 819593 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340215 | 2016-11-23 | LOST KIT | [9 empty] | LOST KIT |  |  | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | CESAR CHAVEZ |  | Portland | OR | 97203 | Multnomah | USA | 164 |  |  | 819528 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340213 | 2016-11-23 | 2017-05-26 | 2017-05-31 16:57 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 89 | ± 4% | 16358.2271 | 2.4 | 442.1142 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | CESAR CHAVEZ |  | Portland | OR | 97203 | Multnomah | USA | 167 |  |  | 819510 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340214 | 2016-11-23 | 2017-05-26 | 2017-05-31 16:57 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 240 | ± 3% | 44583.1612 | 6.5 | 1204.9503 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | CESAR CHAVEZ |  | Portland | OR | 97203 | Multnomah | USA | 19 - Industrial Arts |  |  | 827842 | 0.177 | 30.81 | 201.7747 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
345643 | 2017-02-15 | 2017-06-02 | 2017-06-13 13:54 | BP | Rebecca Port | 2017-06-16 | AOM | Aaron Morris | 122 | ± 5% | 12955.3896 | 3.3 | 350.1457 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | EDWARDS |  | Portland | OR | 97214 | Multnomah | USA | 6A |  |  | 827814 | 0.177 | 30.81 | 201.7747 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
345644 | 2017-02-15 | 2017-06-02 | 2017-06-13 13:54 | BP | Rebecca Port | 2017-06-16 | AOM | Aaron Morris | 144 | ± 4% | 15276.0115 | 3.9 | 412.8652 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | EDWARDS |  | Portland | OR | 97214 | Multnomah | USA | 6D |  |  | 819508 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340250 | 2016-12-20 | 2017-05-22 | 2017-05-31 14:01 | RMD | Rares Dutu | 2017-06-02 | AOM | Aaron Morris | 118 | ± 4% | 18190.5065 | 3.2 | 491.6353 |  | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | GLENCOE |  | Portland | OR | 97215 | Multnomah | USA | 110B |  |  | 827703 | 0.177 | 30.81 | 201.7747 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
345640 | 2017-02-15 | 2017-06-02 | 2017-06-13 13:54 | BP | Rebecca Port | 2017-06-16 | AOM | Aaron Morris | 159 | ± 4% | 17141.9358 | 4.3 | 463.2956 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | HUMBOLDT |  | Portland | OR | 97217 | Multnomah | USA | 14 |  |  | 827866 | 0.177 | 30.81 | 201.7747 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
345647 | 2017-02-15 | 2017-06-02 | 2017-06-13 13:54 | BP | Rebecca Port | 2017-06-16 | AOM | Aaron Morris | 285 | ± 3% | 30370.5192 | 7.7 | 820.8248 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | HUMBOLDT |  | Portland | OR | 97217 | Multnomah | USA | 17 |  |  | 827809 | 0.177 | 30.81 | 201.7747 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
345648 | 2017-02-15 | 2017-06-02 | 2017-06-13 13:54 | BP | Rebecca Port | 2017-06-16 | AOM | Aaron Morris | 159 | ± 4% | 17141.9358 | 4.3 | 463.2956 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | HUMBOLDT |  | Portland | OR | 97217 | Multnomah | USA | 37 |  |  | 819511 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340233 | 2016-12-20 | 2017-05-16 | 2017-05-24 10:00 | JLK | Jeremy Kieser | 2017-05-25 | JLK | Jeremy Kieser | 56 | ± 6% | 8344.3956 | 1.5 | 225.5242 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | JEFFERSON | 5210 N Kerby Ave | Portland | OR | 97217 | Multnomah | USA | KITCHEN OFFICE
340240 | 2016-12-20 | LOST KIT | [9 empty] | LOST KIT |  |  | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | JEFFERSON | 5210 N Kerby Ave | Portland | OR | 97217 | Multnomah | USA | A47 |  |  | 819421 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340147 | 2016-10-03 | 2017-05-23 | 2017-05-31 14:01 | RMD | Rares Dutu | 2017-06-02 | AOM | Aaron Morris | 170 | ± 3% | 39562.4029 | 4.6 | 1069.2541 |  | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | KELLY |  | Portland | OR | 97266 | Multnomah | USA | CAFETERIA |  |  | 819484 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340148 | 2016-10-03 | 2017-05-23 | 2017-05-31 14:01 | RMD | Rares Dutu | 2017-06-02 | AOM | Aaron Morris | 181 | ± 3% | 41976.4015 | 4.9 | 1134.4973 |  | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | KELLY |  | Portland | OR | 97266 | Multnomah | USA | CUSTODIAL OFFICE |  |  | 819408 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340149 | 2016-10-03 | 2017-05-23 | 2017-05-31 14:01 | RMD | Rares Dutu | 2017-06-02 | AOM | Aaron Morris | 81 | ± 4% | 18951.7926 | 2.2 | 512.2106 |  | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | KELLY |  | Portland | OR | 97266 | Multnomah | USA | BOILER RM |  |  | 819525 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340206 | 2016-10-05 | 2017-06-02 | 2017-06-13 13:54 | BP | Rebecca Port | 2017-06-16 | AOM | Aaron Morris | 37 | ± 5% | 8940.5815 | 1 | 241.6373 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | KING |  | Portland | OR | 97211 | Multnomah | USA | 105 |  |  | 819587 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340207 | 2016-10-05 | 2017-06-02 | 2017-06-13 13:54 | BP | Rebecca Port | 2017-06-16 | AOM | Aaron Morris | 118 | ± 3% | 28853.6706 | 3.2 | 779.8289 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | KING |  | Portland | OR | 97211 | Multnomah | USA | 159 |  |  | 819595 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340208 | 2016-10-05 | 2017-06-02 | 2017-06-13 13:54 | BP | Rebecca Port | 2017-06-16 | AOM | Aaron Morris | 126 | ± 3% | 30128.8592 | 3.4 | 814.2935 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | KING |  | Portland | OR | 97211 | Multnomah | USA | 143 (STORAGE) |  |  | 819533 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340209 | 2016-10-05 | 2017-06-02 | 2017-06-13 13:54 | BP | Rebecca Port | 2017-06-16 | AOM | Aaron Morris | 126 | ± 3% | 29925.584 | 3.4 | 808.7996 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | KING |  | Portland | OR | 97211 | Multnomah | USA | 143 (STORAGE)-D |  |  | 819562 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340210 | 2016-10-05 | 2017-06-02 | 2017-06-13 13:54 | BP | Rebecca Port | 2017-06-16 | AOM | Aaron Morris | 52 | ± 5% | 12043.8007 | 1.4 | 325.5081 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | KING |  | Portland | OR | 97211 | Multnomah | USA | 140C |  |  | 819456 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340127 | 2016-10-03 | 2017-06-02 | 2017-06-13 13:54 | BP | Rebecca Port | 2017-06-16 | AOM | Aaron Morris | 181 | ± 3% | 44271.6377 | 4.9 | 1196.5307 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | LANE |  | Portland | OR | 97206 | Multnomah | USA | 126 |  |  | 819517 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340248 | 2017-02-01 | 2017-06-02 | 2017-06-13 13:54 | BP | Rebecca Port | 2017-06-16 | AOM | Aaron Morris | 74 | ± 5% | 8868.5592 | 2 | 239.6908 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | LANE |  | Portland | OR | 97206 | Multnomah | USA | 117A
340156 | 2016-10-04 | LOST KIT | [9 empty] | LOST KIT |  |  | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | LENT | 5105 SE 97th Ave | Portland | OR | 97266 | Multnomah | USA | 146 |  |  | 819471 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340157 | 2016-10-04 | 2017-06-05 | 2017-06-13 13:51 | BP | Rebecca Port | 2017-06-16 | AOM | Aaron Morris | 67 | ± 4% | 16257.3922 | 1.8 | 439.389 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | LENT | 5105 SE 97th Ave | Portland | OR | 97266 | Multnomah | USA | 157 |  |  | 819403 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340158 | 2016-10-04 | 2017-06-05 | 2017-06-13 13:51 | BP | Rebecca Port | 2017-06-16 | AOM | Aaron Morris | 96 | ± 3% | 23749.0599 | 2.6 | 641.8665 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | LENT | 5105 SE 97th Ave | Portland | OR | 97266 | Multnomah | USA | 151 |  |  | 819418 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340159 | 2016-10-04 | 2017-06-05 | 2017-06-13 13:51 | BP | Rebecca Port | 2017-06-16 | AOM | Aaron Morris | 30 | ± 6% | 7396.5851 | 0.8 | 199.9077 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | LENT | 5105 SE 97th Ave | Portland | OR | 97266 | Multnomah | USA | 152 |  |  | 819433 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340160 | 2016-10-04 | 2017-06-05 | 2017-06-13 13:51 | BP | Rebecca Port | 2017-06-16 | AOM | Aaron Morris | 33 | ± 6% | 8573.8204 | 0.9 | 231.7249 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | LENT | 5105 SE 97th Ave | Portland | OR | 97266 | Multnomah | USA | 145 |  |  | 819457 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340161 | 2016-10-04 | 2017-06-05 | 2017-06-13 13:51 | BP | Rebecca Port | 2017-06-16 | AOM | Aaron Morris | 26 | ± 6% | 6668.8587 | 0.7 | 180.2394 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | LENT | 5105 SE 97th Ave | Portland | OR | 97266 | Multnomah | USA | 101 |  |  | 819411 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340162 | 2016-10-04 | 2017-06-05 | 2017-06-13 13:51 | BP | Rebecca Port | 2017-06-16 | AOM | Aaron Morris | 37 | ± 5% | 8832.5679 | 1 | 238.7181 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | LENT | 5105 SE 97th Ave | Portland | OR | 97266 | Multnomah | USA | 121
340163 | 2016-10-04 | LOST KIT | [9 empty] | LOST KIT |  |  | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | LENT | 5105 SE 97th Ave | Portland | OR | 97266 | Multnomah | USA | GYM |  |  | 819401 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340164 | 2016-10-04 | 2017-06-05 | 2017-06-13 13:51 | BP | Rebecca Port | 2017-06-16 | AOM | Aaron Morris | 18 | ± 7% | 4552.4123 | 0.5 | 123.0382 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | LENT | 5105 SE 97th Ave | Portland | OR | 97266 | Multnomah | USA | 137 - CUSTODIAN |  |  | 819410 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340165 | 2016-10-04 | 2017-06-05 | 2017-06-13 13:51 | BP | Rebecca Port | 2017-06-16 | AOM | Aaron Morris | 18 | ± 7% | 4531.7566 | 0.5 | 122.4799 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | LENT | 5105 SE 97th Ave | Portland | OR | 97266 | Multnomah | USA | 137 - CUSTODIAN-D |  |  | 819412 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340166 | 2016-10-04 | 2017-06-05 | 2017-06-13 13:51 | BP | Rebecca Port | 2017-06-16 | AOM | Aaron Morris | 30 | ± 6% | 7495.9215 | 0.8 | 202.5925 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | LENT | 5105 SE 97th Ave | Portland | OR | 97266 | Multnomah | USA | BOILER ROOM |  |  | 819404 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340167 | 2016-10-04 | 2017-05-24 | 2017-05-31 16:57 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 4 | ± 14% | 865.0114 | 0.1 | 23.3787 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | LENT |  | Portland | OR | 97266 | Multnomah | USA | BLANK |  |  | 819569 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340237 | 2016-12-21 | 2017-05-23 | 2017-05-31 14:01 | RMD | Rares Dutu | 2017-06-02 | AOM | Aaron Morris | 96 | ± 4% | 14535.4948 | 2.6 | 392.8512 |  | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | LEWIS |  | Portland | OR | 97206 | Multnomah | USA | 19 |  |  | 819574 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340217 | 2017-01-04 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 115 | ± 4% | 16311.6755 | 3.1 | 440.8561 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | MARSHALL |  | Portland | OR | 97266 | Multnomah | USA | A-30B |  |  | 819504 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340218 | 2017-01-04 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 115 | ± 4% | 16025.0774 | 3.1 | 433.1102 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | MARSHALL |  | Portland | OR | 97266 | Multnomah | USA | A-30 Health Ctr |  |  | 819549 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340219 | 2017-01-04 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 118 | ± 4% | 16404.7999 | 3.2 | 443.373 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | MARSHALL |  | Portland | OR | 97266 | Multnomah | USA | A-30C |  |  | 819527 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340220 | 2017-01-04 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 115 | ± 4% | 16249.6398 | 3.1 | 439.1795 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | MARSHALL |  | Portland | OR | 97266 | Multnomah | USA | A-30 Kitchen |  |  | 819522 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340222 | 2017-01-04 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 92 | ± 5% | 13172.8136 | 2.5 | 356.022 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | MARSHALL |  | Portland | OR | 97266 | Multnomah | USA | G-27 Weight Room-Duplicate |  |  | 819581 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340223 | 2017-01-04 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 118 | ± 4% | 16739.1972 | 3.2 | 452.4107 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | MARSHALL |  | Portland | OR | 97266 | Multnomah | USA | A-30A |  |  | 819543 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340224 | 2017-01-04 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 96 | ± 4% | 13541.938 | 2.6 | 365.9983 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | MARSHALL |  | Portland | OR | 97266 | Multnomah | USA | G-27 Weight Room |  |  | 819558 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340245 | 2017-01-04 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 67 | ± 5% | 9193.0768 | 1.8 | 248.4615 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | MARSHALL |  | Portland | OR | 97266 | Multnomah | USA | G-29 Wrestling |  |  | 819536 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340247 | 2017-01-04 | 2017-05-24 | 2017-05-31 16:57 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 7 | ± 13% | 1183.4806 | 0.2 | 31.986 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | MARSHALL |  | Portland | OR | 97266 | Multnomah | USA | BLANK |  |  | 819476 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340150 | 2016-10-03 | 2017-06-02 | 2017-06-13 13:54 | BP | Rebecca Port | 2017-06-16 | AOM | Aaron Morris | 122 | ± 3% | 29291.6963 | 3.3 | 791.6675 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | MARYSVILLE |  | Portland | OR | 97206 | Multnomah | USA | 110 |  |  | 819466 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340152 | 2016-10-03 | 2017-06-02 | 2017-06-13 13:54 | BP | Rebecca Port | 2017-06-16 | AOM | Aaron Morris | 178 | ± 3% | 42954.4746 | 4.8 | 1160.9317 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | MARYSVILLE |  | Portland | OR | 97206 | Multnomah | USA | 137 |  |  | 819402 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340153 | 2016-10-03 | 2017-06-02 | 2017-06-13 13:54 | BP | Rebecca Port | 2017-06-16 | AOM | Aaron Morris | 178 | ± 3% | 42657.208 | 4.8 | 1152.8975 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | MARYSVILLE |  | Portland | OR | 97206 | Multnomah | USA | 138 |  |  | 819422 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340154 | 2016-10-03 | 2017-06-02 | 2017-06-13 13:54 | BP | Rebecca Port | 2017-06-16 | AOM | Aaron Morris | 181 | ± 3% | 44231.5021 | 4.9 | 1195.446 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | MARYSVILLE |  | Portland | OR | 97206 | Multnomah | USA | 138-D |  |  | 819416 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340155 | 2016-10-03 | 2017-06-02 | 2017-06-13 13:54 | BP | Rebecca Port | 2017-06-16 | AOM | Aaron Morris | 200 | ± 3% | 48700.2372 | 5.4 | 1316.2226 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | MARYSVILLE |  | Portland | OR | 97206 | Multnomah | USA | 139 |  |  | 819577 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340196 | 2016-10-05 | 2017-04-21 | 2017-04-27 14:18 | BP | Rebecca Port | 2017-05-01 | JLK | Jeremy Kieser | 111 | ± 4% | 21873.9796 | 3 | 591.1886 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | MEEK | 4039 NE Alberta Ct | Portland | OR | 97211 | Multnomah | USA | 105 |  |  | 819586 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340197 | 2016-10-05 | 2017-04-21 | 2017-04-27 14:18 | BP | Rebecca Port | 2017-05-01 | JLK | Jeremy Kieser | 144 | ± 3% | 28731.341 | 3.9 | 776.5227 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | MEEK | 4039 NE Alberta Ct | Portland | OR | 97211 | Multnomah | USA | 107 |  |  | 819550 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340199 | 2016-10-05 | 2017-04-21 | 2017-04-27 14:18 | BP | Rebecca Port | 2017-05-01 | JLK | Jeremy Kieser | 148 | ± 3% | 29063.7014 | 4 | 785.5054 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | MEEK | 4039 NE Alberta Ct | Portland | OR | 97211 | Multnomah | USA | 103 |  |  | 819503 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340212 | 2016-12-20 | 2017-05-16 | 2017-05-24 10:00 | JLK | Jeremy Kieser | 2017-05-25 | JLK | Jeremy Kieser | 107 | ± 4% | 15994.1422 | 2.9 | 432.2741 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | OCKLEY GREEN | 6031 N Montana Ave | Portland | OR | 97217 | Multnomah | USA | 305 |  |  | 819573 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340226 | 2016-12-20 | 2017-05-16 | 2017-05-24 10:00 | JLK | Jeremy Kieser | 2017-05-25 | JLK | Jeremy Kieser | 144 | ± 4% | 20977.2941 | 3.9 | 566.9539 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | OCKLEY GREEN | 6031 N Montana Ave | Portland | OR | 97217 | Multnomah | USA | 307 |  |  | 819596 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340228 | 2016-12-20 | 2017-05-16 | 2017-05-24 10:00 | JLK | Jeremy Kieser | 2017-05-25 | JLK | Jeremy Kieser | 170 | ± 3% | 24972.9418 | 4.6 | 674.9444 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | OCKLEY GREEN | 6031 N Montana Ave | Portland | OR | 97217 | Multnomah | USA | PRINCIPAL OFFICE |  |  | 819570 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340232 | 2016-12-20 | 2017-05-16 | 2017-05-24 10:00 | JLK | Jeremy Kieser | 2017-05-25 | JLK | Jeremy Kieser | 81 | ± 5% | 12058.6713 | 2.2 | 325.91 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | OCKLEY GREEN | 6031 N Montana Ave | Portland | OR | 97217 | Multnomah | USA | AUDITORIUM - DUPLICATE |  |  | 819505 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340234 | 2016-12-20 | 2017-05-16 | 2017-05-24 10:00 | JLK | Jeremy Kieser | 2017-05-25 | JLK | Jeremy Kieser | 81 | ± 5% | 11761.6801 | 2.2 | 317.8832 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | OCKLEY GREEN | 6031 N Montana Ave | Portland | OR | 97217 | Multnomah | USA | AUDITORIUM |  |  | 819501 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340244 | 2016-12-20 | 2017-05-16 | 2017-05-24 10:00 | JLK | Jeremy Kieser | 2017-05-25 | JLK | Jeremy Kieser | 122 | ± 4% | 17945.8746 | 3.3 | 485.0236 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | OCKLEY GREEN | 6031 N Montana Ave | Portland | OR | 97217 | Multnomah | USA | INDUSTRIAL ARTS |  |  | 819564 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340180 | 2016-10-04 | 2017-05-22 | 2017-05-31 14:01 | RMD | Rares Dutu | 2017-06-02 | AOM | Aaron Morris | 15 | ± 9% | 3130.7568 | 0.4 | 84.615 |  | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | RICE |  | Portland | OR | 97213 | Multnomah | USA | STOREROOM 3 |  |  | 819542 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340181 | 2016-10-04 | 2017-04-21 | 2017-04-27 14:18 | BP | Rebecca Port | 2017-05-01 | JLK | Jeremy Kieser | 148 | ± 3% | 29713.8759 | 4 | 803.0777 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | ROSEWAY HEIGHTS | 7334 NE Siskiyou St | Portland | OR | 97213 | Multnomah | USA | BOILER ROOM |  |  | 819551 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340235 | 2016-12-21 | 2017-06-05 | 2017-06-13 13:51 | BP | Rebecca Port | 2017-06-16 | AOM | Aaron Morris | 70 | ± 5% | 11532.1203 | 1.9 | 311.6789 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | SKYLINE | 11536 NW Skyline Blvd | Portland | OR | 97231 | Multnomah | USA | 105B |  |  | 819518 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE
340195 | 2016-10-05 | 2017-05-22 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 518 | ± 2% | 118973.3748 | 14 | 3215.4966 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | VERNON |  | Portland | OR | 97211 | Multnomah | USA | KITCHEN |  |  | 819506 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340198 | 2016-10-05 | 2017-05-22 | 2017-05-31 14:01 | RMD | Rares Dutu | 2017-06-02 | AOM | Aaron Morris | 100 | ± 4% | 23299.962 | 2.7 | 629.7287 |  | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | VERNON |  | Portland | OR | 97211 | Multnomah | USA | SUN SCHOOL / FAC |  |  | 819502 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340243 | 2016-12-21 | 2017-05-16 | 2017-05-24 10:00 | JLK | Jeremy Kieser | 2017-05-25 | JLK | Jeremy Kieser | 26 | ± 8% | 3962.044 | 0.7 | 107.0823 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WEST SYLVAN | 8111 SW West Slope Dr | Portland | OR | 97225 | Multnomah | USA | 146 |  |  | 819493 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340128 | 2016-10-03 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 33 | ± 6% | 8115.5081 | 0.9 | 219.3381 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WHITMAN |  | Portland | OR | 97206 | Multnomah | USA | OFFICE |  |  | 819434 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340129 | 2016-10-03 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 37 | ± 6% | 8215.5803 | 1 | 222.0427 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WHITMAN |  | Portland | OR | 97206 | Multnomah | USA | PRINCIPAL OFFICE |  |  | 819440 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340130 | 2016-10-03 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 56 | ± 5% | 12535.7068 | 1.5 | 338.8029 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WHITMAN |  | Portland | OR | 97206 | Multnomah | USA | 30 - FACULTY |  |  | 819079 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340131 | 2016-10-03 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 7 | ± 11% | 1629.8192 | 0.2 | 44.0492 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WHITMAN |  | Portland | OR | 97206 | Multnomah | USA | FACULTY LUNCH |  |  | 819491 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340132 | 2016-10-03 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 7 | ± 12% | 1456.3621 | 0.2 | 39.3611 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WHITMAN |  | Portland | OR | 97206 | Multnomah | USA | 1 |  |  | 819480 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340133 | 2016-10-03 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 7 | ± 11% | 1823.6673 | 0.2 | 49.2883 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WHITMAN |  | Portland | OR | 97206 | Multnomah | USA | 3 |  |  | 819448 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340134 | 2016-10-03 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 7 | ± 11% | 1776.8399 | 0.2 | 48.0227 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WHITMAN |  | Portland | OR | 97206 | Multnomah | USA | 4 |  |  | 819431 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340135 | 2016-10-03 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 7 | ± 11% | 1776.8399 | 0.2 | 48.0227 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WHITMAN |  | Portland | OR | 97206 | Multnomah | USA | 5 |  |  | 819488 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340136 | 2016-10-03 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 44 | ± 5% | 9925.366 | 1.2 | 268.2531 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WHITMAN |  | Portland | OR | 97206 | Multnomah | USA | 26 |  |  | 819455 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340137 | 2016-10-03 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 44 | ± 5% | 10260.6977 | 1.2 | 277.3162 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WHITMAN |  | Portland | OR | 97206 | Multnomah | USA | 24 |  |  | 819463 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340138 | 2016-10-03 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 56 | ± 5% | 12842.5103 | 1.5 | 347.0949 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WHITMAN |  | Portland | OR | 97206 | Multnomah | USA | 22 |  |  | 819443 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340139 | 2016-10-03 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 56 | ± 5% | 13360.9725 | 1.5 | 361.1074 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WHITMAN |  | Portland | OR | 97206 | Multnomah | USA | 22-D |  |  | 819045 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340140 | 2016-10-03 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 74 | ± 4% | 16887.3045 | 2 | 456.4136 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WHITMAN |  | Portland | OR | 97206 | Multnomah | USA | 21 |  |  | 819450 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340141 | 2016-10-03 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 22 | ± 7% | 5528.2757 | 0.6 | 149.4129 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WHITMAN |  | Portland | OR | 97206 | Multnomah | USA | 20 |  |  | 819415 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340142 | 2016-10-03 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 67 | ± 4% | 15816.4475 | 1.8 | 427.4716 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WHITMAN |  | Portland | OR | 97206 | Multnomah | USA | 19 |  |  | 819465 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340143 | 2016-10-03 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 22 | ± 7% | 5319.8139 | 0.6 | 143.7788 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WHITMAN |  | Portland | OR | 97206 | Multnomah | USA | 17 |  |  | 819413 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340144 | 2016-10-03 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 107 | ± 3% | 24922.3654 | 2.9 | 673.5774 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WHITMAN |  | Portland | OR | 97206 | Multnomah | USA | 16 |  |  | 819474 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340145 | 2016-10-03 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 26 | ± 7% | 5639.6401 | 0.7 | 152.4227 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WHITMAN |  | Portland | OR | 97206 | Multnomah | USA | 13 |  |  | 819417 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340146 | 2016-10-03 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 70 | ± 4% | 16575.7498 | 1.9 | 447.9932 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WHITMAN |  | Portland | OR | 97206 | Multnomah | USA | 12 |  |  | 819563 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340185 | 2016-10-03 | 2017-05-24 | 2017-05-31 16:57 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | < 4 | ± 15% | 805.4183 | < 0.1 | 21.7681 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WHITMAN |  | Portland | OR | 97206 | Multnomah | USA | BLANK |  |  | 819425 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340168 | 2016-10-04 | 2017-04-21 | 2017-04-27 14:18 | BP | Rebecca Port | 2017-05-01 | JLK | Jeremy Kieser | 204 | ± 3% | 40607.3782 | 5.5 | 1097.4967 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WILCOX | 833 NE 74th Ave | Portland | OR | 97213 | Multnomah | USA | BOILER ROOM |  |  | 819442 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340169 | 2016-10-04 | 2017-04-21 | 2017-04-27 14:18 | BP | Rebecca Port | 2017-05-01 | JLK | Jeremy Kieser | 148 | ± 3% | 29256.5889 | 4 | 790.7186 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WILCOX | 833 NE 74th Ave | Portland | OR | 97213 | Multnomah | USA | CONFERENCE - 1 |  |  | 819469 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340170 | 2016-10-04 | 2017-04-21 | 2017-04-27 14:18 | BP | Rebecca Port | 2017-05-01 | JLK | Jeremy Kieser | 100 | ± 4% | 19919.4106 | 2.7 | 538.3624 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WILCOX | 833 NE 74th Ave | Portland | OR | 97213 | Multnomah | USA | STORAGE /COFFEE |  |  | 819420 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340171 | 2016-10-04 | 2017-04-21 | 2017-04-27 14:18 | BP | Rebecca Port | 2017-05-01 | JLK | Jeremy Kieser | 170 | ± 3% | 33954.7625 | 4.6 | 917.6963 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WILCOX | 833 NE 74th Ave | Portland | OR | 97213 | Multnomah | USA | 16 |  |  | 819477 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340172 | 2016-10-04 | 2017-04-21 | 2017-04-27 14:18 | BP | Rebecca Port | 2017-05-01 | JLK | Jeremy Kieser | 130 | ± 3% | 26023.6156 | 3.5 | 703.341 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WILCOX | 833 NE 74th Ave | Portland | OR | 97213 | Multnomah | USA | 4 |  |  | 819409 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340173 | 2016-10-04 | 2017-04-21 | 2017-04-27 14:18 | BP | Rebecca Port | 2017-05-01 | JLK | Jeremy Kieser | 133 | ± 3% | 26151.4195 | 3.6 | 706.7951 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WILCOX | 833 NE 74th Ave | Portland | OR | 97213 | Multnomah | USA | 11 |  |  | 819475 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340174 | 2016-10-04 | 2017-04-21 | 2017-04-27 14:18 | BP | Rebecca Port | 2017-05-01 | JLK | Jeremy Kieser | 111 | ± 4% | 21980.4624 | 3 | 594.0666 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WILCOX | 833 NE 74th Ave | Portland | OR | 97213 | Multnomah | USA | 8 |  |  | 819426 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340175 | 2016-10-04 | 2017-04-21 | 2017-04-27 14:18 | BP | Rebecca Port | 2017-05-01 | JLK | Jeremy Kieser | 122 | ± 3% | 24384.3811 | 3.3 | 659.0373 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WILCOX | 833 NE 74th Ave | Portland | OR | 97213 | Multnomah | USA | 9 |  |  | 819459 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340177 | 2016-10-04 | 2017-04-21 | 2017-04-27 14:18 | BP | Rebecca Port | 2017-05-01 | JLK | Jeremy Kieser | 111 | ± 4% | 22399.2525 | 3 | 605.3852 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WILCOX | 833 NE 74th Ave | Portland | OR | 97213 | Multnomah | USA | 3 |  |  | 819496 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340178 | 2016-10-04 | 2017-04-21 | 2017-04-27 14:18 | BP | Rebecca Port | 2017-05-01 | JLK | Jeremy Kieser | 104 | ± 4% | 20669.3156 | 2.8 | 558.6302 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WILCOX | 833 NE 74th Ave | Portland | OR | 97213 | Multnomah | USA | 3-D |  |  | 819481 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340179 | 2016-10-04 | 2017-04-21 | 2017-04-27 14:18 | BP | Rebecca Port | 2017-05-01 | JLK | Jeremy Kieser | 137 | ± 3% | 27455.1973 | 3.7 | 742.0324 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WILCOX | 833 NE 74th Ave | Portland | OR | 97213 | Multnomah | USA | 20 MULTI-PURPOSE |  |  | 819592 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340221 | 2016-12-21 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 63 | ± 5% | 9431.7402 | 1.7 | 254.9119 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WOODMERE |  | Portland | OR | 97206 | Multnomah | USA | 16 |  |  | 819532 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340236 | 2016-12-21 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 67 | ± 5% | 10421.4775 | 1.8 | 281.6616 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WOODMERE |  | Portland | OR | 97206 | Multnomah | USA | 24 |  |  | 819521 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340238 | 2016-12-21 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 85 | ± 5% | 13345.9068 | 2.3 | 360.7002 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WOODMERE |  | Portland | OR | 97206 | Multnomah | USA | 15 |  |  | 819519 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340239 | 2016-12-21 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 67 | ± 5% | 10282.6068 | 1.8 | 277.9083 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WOODMERE |  | Portland | OR | 97206 | Multnomah | USA | 23 |  |  | 819515 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340242 | 2016-12-21 | 2017-05-24 | 2017-05-31 16:57 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 7 | ± 14% | 911.3877 | 0.2 | 24.6321 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WOODMERE |  | Portland | OR | 97206 | Multnomah | USA | BLANK |  |  | 819512 | 0.177 | 38.81 | 254.1667 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
340246 | 2016-12-21 | 2017-05-24 | 2017-05-31 14:42 | BP | Rebecca Port | 2017-06-02 | AOM | Aaron Morris | 59 | ± 5% | 8897.3618 | 1.6 | 240.4692 | 0923 | PBS Engineering and Environmental Inc | Chris | Boyce | 4412 SW Corbett Ave |  | Portland | OR | 97239 | 97239-4207 | Multnomah | USA | WOODMERE |  | Portland | OR | 97206 | Multnomah | USA | 16-Dup