## Primary Bid
TE1157 - Attachment A - Generator Cost Worksheet
Vendor Name:
Date:
Part Number | Description | QTY | Lead Time (weeks) | Unit Cost | Extended Cost
A051Y402 | Cummins RS30 Generator -Natural Gas -120/208V 3 Phase -Modbus RTU interface (RS485) | 9 |  | 0 | 0
A054F852 | Cummins RS80 Generator -Natural Gas -277/480V 3 Phase -Modbus RTU interface (RS485) | 1 |  | 0 | 0
A075F123 | Cummins OTEC125 Automatic Transfer Switch -120/208V 3 Phase -125 Amp -Modbus RTU interface (RS485) -NEMA Type 1 | 3 |  | 0 | 0
A075F124 | Cummins OTEC125 Automatic Transfer Switch -120/208V 3 Phase -125 Amp -Modbus RTU interface (RS485) -NEMA Type 3R | 1 |  | 0 | 0
A075F125 | Cummins OTEC125 Automatic Transfer Switch -277/480V 3 Phase -125 Amp -Modbus RTU interface (RS485) -NEMA Type 1 | 1 |  | 0 | 0
| Generator Startup/Commissioning -Perform necessary generator startup/commissioning for warranty registration. -Must be inclusive of travel time, mileage, testing, etc. to complete startup and commissioning -Installation of generator will be completed by others. | 10 |  | 0 | 0
Total |  |  |  |  | 0