Fall Protection Program

Created June 2016 / Reviewed September 2025

District Facilities Department

Environmental Services Group

| Environmental Services Group |  |  | Applies to: ☐ ALL ☐ FP ☒ ESG ☐ NAC ☐ SEM ☐ FM ☐ Other | Number Program number |  |  | Rev. 2.0 |  | Page 1 of 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Title: Program Name |  |  |  |  |  |  |  |  |  |
| Type: ☐ Procedure ☐ SOP ☐ Contract ☐ Form ☐ Specification ☐ Design ☐ Accounting ☐ Planning ☒ Program ☐ Other |  |  |  |  | Department Owner: Environmental Services Group |  |  |  |  |
| REV |  | # DESCRIPTION OF CHANGE |  |  |  | DOC APPRV. |  | EFF. DATE |  |
| 1.0 |  | Written Program |  |  |  | CDN |  | 6/2016 |  |
| 2.0 |  | Review |  |  |  | CRM |  | 6/2018 |  |
| 3.0 |  | Review |  |  |  | MCS |  | 4/28/2020 |  |
| 4.0 |  | Review |  |  |  | ANM |  | 7/22/22 |  |
| 5.0 |  | Review |  |  |  | MCS |  | 5/15/2023 |  |
| 6.0 |  | Review |  |  |  | MCS |  | 3/4/2024 |  |
| 7.0 |  | Review |  |  |  | MCS |  | 9/15/25 |  |
| DISTRICT PROGRAM FOR DEVELOPMENT AND IMPLIMENTATION OF PROCESSES TO BE USED IN SAINT PAUL PUBLIC SCHOOLS OPERATIONS |  |  |  |  |  |  |  |  |  |

# PURPOSE

Walking-Working Surfaces and Personal Fall Protection Systems

29 CFR 1910 Subpart D (1910.21-1910.30)

29 CFR 1926 Subpart M

The following program name is provided as a guide to assist employers and employees of Saint Paul Public Schools in complying with the requirements of OSHA’s Walking-Working Surfaces and Personal Fall Protection Systems standard 29 CFR 1910 Subparts D & I, as well as, to provide other helpful information.  It is not intended to supersede the requirements of the standard.

The District Environmental Services Group (ESG) will review the standard annually for particular requirements, which are applicable to the District and adjust this program accordingly.

This written plan is designed to be specific to the needs of users of Saint Paul Public Schools.

This written plan is intended to comply with the OSHA standard.

If there are conflicts or discrepancies between this plan and the standard, the standard shall take precedence.

The Saint Paul Public School Fall Prevention Program provides guidelines to be followed whenever an employee works at heights above Six feet. These guidelines were established to provide a safe working environment, and to govern the use of fall protection measures and equipment.

The written procedures outline uniform requirements designed to ensure that fall prevention training, operation, and practices are communicated to, and understood by, the affected employees (an affected employee is one that must work in or around areas where fall hazards are present).  Therefore, only trained employees may work in areas where fall hazards are present.

Develop and maintain the written Fall Prevention Program.  ESG will re-evaluate this program annually and will base the need for changes upon suggestions by employees and their supervisors, accidents and near miss incidents that have been recorded, routine building safety inspections and changes in standards and technology.

      - Evaluate, on an annual basis, the effectiveness of the program as it applies to the work that their affected employees perform and to provide ESG with their conclusions, compliance challenges and recommendations.

# DEFINITIONS

Anchorage				a secure point of attachment for lifelines, lanyards, or deceleration devices.

Body belt		 		 strap with means both for securing it about the waist and for attaching it to a lanyard, lifeline, or deceleration device.

Body harness	 		straps that may be secured about the person in a manner that distributes the fall-arrest forces over at least the thighs, pelvis, waist, chest, and shoulders with a means for attaching the harness to other components of a personal fall arrest system.

Connector				A device that is used to couple (connect) parts of a personal fall arrest system or positioning device system together.

Guardrail system	 		a barrier erected to prevent employees from falling o lower levels.

Hole		 		a void or gap two (2) inches (5.1 centimeters) or more in the least dimension in a floor, roof, or other walking/working surface.

Lanyard				a flexible line of rope, wire rope, or strap that generally has a connector at each end for connecting the body belt or body harness to a deceleration device, lifeline, or anchorage.

Leading edge				the edge of a floor, roof, or formwork for a floor or other walking/working surface (such as a deck) which changes location as additional floor, roof, decking, or formwork sections are placed, formed, or constructed.

Lifeline				 a component consisting of a flexible line for connection to an anchorage at one end to hang vertically (vertical lifeline), or for connection to anchorages at both ends to stretch horizontally (horizontal lifeline), that serves as a means for connecting other components of a personal fall arrest system to an anchorage.

Opening		 		a gap or void 30 inches (76 centimeters) or more high and 18 inches (46 centimeters) or more wide, in a wall or partition through which employees can fall to a lower level.

Personal fall arrest system 		a system including but not limited to an anchorage, connectors, and a body harness used to arrest an employee in a fall from a working level.

Positioning device system		 a body belt or body harness system rigged to allow an employee to be supported on an elevated vertical surface, such as a wall, and work with both hands free while leaning backwards.

Safety monitoring system		 a safety system in which a competent person is responsible for recognizing and warning employees of fall hazards.

Self-retracting lifeline/lanyard	a deceleration device containing a drum-wound line which can be slowly extracted from, or retracted onto, the drum under minimal tension during normal employee movement and which, after onset of a fall, automatically locks the drum and arrests the fall.

Snaphook				 a connector consisting of a hook-shaped member with a normally closed keeper, or a similar arrangement, which may be opened to permit the hook to receive an object and, when released automatically, closes to retain the object.

Toeboard				 a low protective barrier that prevents material and equipment from falling to lower levels and which protects personnel from falling.

Unprotected sides and edges	 any side or edge (except at entrances to points of access) of a walking/working surface (e.g., floor, roof, ramp, or runway) where there is no wall or guardrail system at least 39 inches (1 meter) high.

Walking/working surface		 any surface, whether horizontal or vertical, on which an employee walks or works, including but not limited to floors, roofs, ramps, bridges, runways, formwork, and concrete reinforcing steel.  Does not include ladders, vehicles, or trailers on which employees must be located to perform their work duties.

# OBJECTIVE

- The objective of the Saint Paul School District Fall Protection Program is to provide guidelines to be followed whenever an employee works at heights above six feet or on slippery surfaces. These guidelines were established to provide a safe working environment and to govern the use of fall protection measures and equipment.

- A copy of this program must be maintained by all affected departments. A copy of OSHA’s Fall Protection Standard, 29 CFR1910.21-30, can be obtained from Environmental Services Group. A copy of the standard will also be posted in areas with affected employees.

# ASSIGNMENT OF RESPONSIBILITY

## Management

- Environmental Services Group (ESG)

      - Ensure Staff are properly trained on ladder safety, elevated platform safety, scaffolding safety and personal fall arrest systems.

      - Ensure that proper safety equipment is supplied to affected employees where needed, such as fall arrest systems, scaffolding, proper ladders, guard railings, toe kicks, etc.

      - Serve the role of technical support and consultation to departments of affected employees to interpret requirements and establish safe practices.

      - Recognize, fix or minimize potential fall hazards based on this program.

      - Ensure employees are aware of pre-work checklists requirements and maintain the records of the pre-work completed checklists for at least one year.

      - Ensure that all work places are safe to perform the work employees are expected to conduct.  To prevent slipping, tripping and falling, all locations where fall hazards are present must be kept clean, dry (where possible) and orderly.  Where wet processes are used, drainage will be maintained and false floors, platforms, mats, or other dry standing places will provided where practicable.

Supervisors

- Be informed on the content of this program and how it relates to their work area.

- Identify specific fall hazards encountered by their employees, notify ESG

- Ensure employees comply with all provisions of the Fall Protection Program.

- Ensure that their affected employees perform pre-work checklists and inspections.

## Staff

      - Follow the program requirements outlined in this policy and standard procedures required by their department for their work duties.

      - Notify their supervisor when questions arise surrounding safe procedures, the need for fall prevention equipment, personal protective equipment and difficulties complying with requirements.

      - Report all accidents and near misses that they witness or incur.  This will help ESG to improve safe practices.

      - Perform checklist inspections outlined in this written program prior to conducting work.

# PROCEDURES

Work Areas with Fall Hazards

A number of potential situations or conditions can present a fall hazard.  This policy may not specifically address all possibilities.  Therefore, when employees or supervisors recognize a condition that may present a fall hazard not specifically addressed by this written program they shall involve ESG prior to addressing the safety concerns surrounding the condition.

I. Ladders, both permanent and temporary (see Appendix A for inspection checklist)

Ladders shall exhibit the following conditions:

- Meet OSHA specifications for design and safety.

  - Ladder safety systems will be required on ladders for falls greater than 24 feet (updated Standard 2017)

- The appropriate type of ladder is being used for the job.

- Metal ladders are not used near exposed electrical sources.

- Wooden ladders are not to be used at SPPS

- All parts, ropes, fittings and connections are secure and in good condition.

- Non-slip surfaces are in place on ladder rungs, free of oil etc.

- Gripping safety feet are in place, secure and in sound condition.

Ladder has been set up safely when:

- Floor/ground surface is firm, flat and not slippery

- Ladder is level.

- Top of ladder (unless using step ladder) is against a solid, fixed surface.

- For extension ladders, the 4-to-1 principal is accomplished

  - The base of the ladder is placed at a distance from the wall that is equal to 1/4th of the height that the ladder is extended. I.e. a ladder that is extended 20 ft high should have its base approximately 5 ft from the wall.

- When employees are on extension ladders at heights of 20 feet or higher, either a second person is present to steady the ladders base or the top of the ladder is effectively tied off to a sound anchor point.

II. Stairs (permanent and temporary)

All stairs shall exhibit the following conditions:

- Meet OSHA specifications for design and safety.

- All required covers or guardrails are in place, including top rails, midrails and toe kicks or spindles.

- All hand rails or guardrails are in place.

- All treads and risers are in good repair.

- Non-slip surfaces are in place.

- Adequate headroom is maintained above.

- Stairs are clear of clutter and slippery materials.

III. Elevated platforms that are fixed

All elevated platform locations shall exhibit the following conditions:

- Top guardrail in place, is between 39 and 45 inches from floor, is in sound condition and anchored appropriately.

- Vertical rails (spindles), a solid surface or a mid-rail is in place, is in sound condition and is appropriately anchored.

- If the railing is not solid down to the floor, a toe kick is present, in sound condition and anchored appropriately.

- The flooring of the platform has no openings, is properly attached to sound surface and is in sound condition.

- Walking surfaces are clear from obstruction and are not slippery.

IV. Floor and wall openings

All floor and wall openings that lead to a fall hazard shall exhibit the following conditions:

- All floor and wall openings are safely covered or blocked from access.

- If not safely covered or blocked from access, someone is assigned for constant attendance to it.

- Covers shall be sound, solid and not easily opened.

- Barricades are designed to prevent someone from falling into the opening shall be visually noticeable, strong enough to hold the weight of multiple people and shall not, in themselves, have additional openings that create additional fall hazards.  If the barricade is not solid from its top rail to the floor, they shall meet the requirements of a guardrail on an elevated platform (top rail, mid rail, toe board).

- Floor surfaces surrounding the opening shall be clear of clutter or slippery material.

V. Working without a ladder or aerial platform lift at heights greater than 6 feet

Any time an employee works at elevations higher than 6 feet above the floor they shall use an appropriate ladder, an aerial platform lift, and scaffolding or assemble an appropriate elevated platform whenever feasible.  If these are not feasible, the employee shall be trained in the proper use of fall arrest systems and don their arrest systems appropriately throughout the duration of time that they work above 6 feet (see section V).

Some of the above conditions require the use of safety check lists prior to working with/on them.  See Appendix A through D for approved checklists.  If any of the conditions on the checklist are not met for the area or piece of equipment posing the potential fall hazard, then employees may not perform that work until the condition is safely met.  If the condition cannot be remedied, a supervisor or Risk Management and Safety shall be notified of the problem.  If the situation calls for the use of fall protection devices, such as harnesses, or positioning and restraining devices (such as belts) then the employee must don such protective equipment before beginning the work and use it as intended throughout the duration of the work.  If the employee has not been trained in the safe use of fall arrest systems then he/she may not use the equipment until they have been trained. (See section IV).

## Fall Protection Systems

I. Covers

All hole and wall coverings are secured to prevent accidental displacement

II. Guardrail Systems

Guardrails are passive engineered fall protection around unprotected edges, ramps, runways, skylights, hatches or holes on elevated working areas (roofs). The standard has been updated in 2017 to define “designated areas” or “infrequent, temporary work areas” from 6-15 feet of a roof edge must be guarded.

- Gates or removable guardrail sections are placed across openings of hoisting areas or holes when they are not in use to prevent access.

A standard railing shall consist of top rail, intermediate rail, and posts, and shall have a vertical height of 42 inches nominal from upper surface of top rail to floor, platform, runway, or ramp level. The top rail shall be smooth-surfaced throughout the length of the railing.

III. Personal Fall Arrest Systems

Personal Fall Arrest system – A system used to stop a fall once it has begun.  This system shall include an anchorage, full body harness, lanyard, locking snaphooks, lifeline and anchorage connector, and it may include a descent control device.

- Personal fall arrest systems:

### Limit the maximum arresting force to 1800 pounds;

### Are rigged so an employee cannot free fall more than six (6) feet or contact any lower level;

### Bring an employee to a complete stop and limit the maximum deceleration distance traveled to three and a half (3 ½ ) feet;

### are strong enough to withstand twice the potential impact energy of an employee free falling six (6) feet (or the free fall distance permitted by the system, whichever is less); 5000 pounds of force

### Are inspected prior to each use for damage and deterioration; and

### Are removed from service if any damaged components are detected.

IV. Positioning Device System

Positioning Device System – A system that prevents falls by supporting the employee in a working position.  This system supports the employee, therefore, eliminating the chance for a fall to begin.  These systems may include a body belt, harness, connector, locking snap hook and proper anchorage.

- Equipment Anchoring, Tie Off and Use

- Anchoring your fall arrest system is critical.  The selection of the anchoring point shall be made carefully and when the employee is uncertain about the anchoring point, consult with a supervisor.

- Anchoring points must be permanent, fixed objects rated to hold forces of 5000 pounds.

- The employee shall know and account for the additional deceleration distance of the fall arrest system they are using.

- The employee shall complete the anchoring tie off and equipment tie off procedures that are specified by the fall arrest system manufacturer PRIOR to getting into a position where he/she could fall.

Body Belts and Harnesses

Only full-body harnesses that are approved by ESG may be used.  All equipment manufacturer’s procedures shall be met.  Harnesses can be attached in the center of the back at shoulder level. The employee must use the following procedure to put their full-body harness on:

- Inspect your full-body harness before putting it on (see part D)

- Hold the harness by the back D-ring and shake the straps into place.

- Release buckled straps; slip them over the shoulders with D-ring in back.

- Pull the leg strap between your legs and connect it to the opposite end.

- Waist strap should be tight but not binding.

- Connect chest strap and position it in the middle of your chest.

- Check that the harness is snug but allows full movement

## Equipment Care and Inspection

Keeping equipment in good working order is essential.  Follow manufacturer’s instructions and training protocols for equipment maintenance, cleaning and storage.  Employees shall follow the “Personal Fall Arrest System Check List” in Appendix B of this written program prior to each use of their personal fall arrest system.  Equipment that has been subject to a fall must be inspected before it is re-used.  Note that some personal fall arrest systems need to be discarded after a single fall occurs. Any defective equipment must be identified and replaced at once.

## Rescue after a Fall

In the event that a person falls and their fall arrest system engages, call 911.  Immediate rescue is of utmost importance and employees are required to have fall rescue training prior to using a fall arrest system.

## Employee Training

- ESG will sponsor all fall prevention related training programs for the district employees who require the need.  The Trades foreman shall notify ESG of the need for training, which will include new hires and existing employees whose job has changed to require such training.   All training records will be maintained by ESG.

    - Training shall consist of the following components:

  - Scaffold Safety: For all employees who erect or use scaffolding.

  - Fall Arrest System Safety: For all employees who use fall arrest systems.

  - Ladder Safety training will take place periodically for staff who frequently use ladders.

- nature of the fall hazards employees may be exposed to;

- correct procedures for erecting, maintaining, disassembling, and inspecting fall protection systems;

- use and operation of controlled access zones, guardrails, personal fall arrest systems, warning lines, and safety monitoring systems;

    - Training records will be maintained by ESG through PD Express.

Note that aerial platform lift training, though not a part of this fall prevention written program, is also provided and mandated for all employees who operate or ride on aerial platform lifts (see Aerial Lift OSHA program).

# RECORDKEEPING REQUIREMENTS

## Management

Recordkeeping requirements outlined in 29 CFR1910.21-30 shall be maintained by ESG and available upon request or on the District Facilities Department web site.

## Contact Information

Any questions, concerns, comments, or other information regarding the District Fall Protection Program can be directed to:

- The Environmental Services Group

- Phone: 651.744.1800

- Email: ESG@spps.org

# RESOURCES & APPENDIX

Appendix A

Workplace Inspection For Ladders

The condition of the ladder should be inspected prior to each job that the ladder is used for. The workplace should be inspected at each new location where a ladder is to be used.  These are guidelines, therefore documentation is not a requirement.

Ladder Condition:

- This is the proper ladder for the job

- No cracks in rungs or sides of ladder

- No loose rungs

- Connection hardware is in good condition

- No broken locks or pulleys

- No damage to ladder feet/base

- No frayed or warn ropes

- Frame is not bent, warped or uneven

Ladder Set up:

Extension Ladders

- Firm Ground

- Firm/proper top resting point

- Top ladder extends 4 rungs above resting point if accessing roof

- Level ladder legs

- No electrical hazards

- No horizontal forces

- Rung locking devices secure

- Area cordoned off (if necessary)

- If 20 ft high, secure top of ladder or have a 2nd person to stabilize

- No additional hazards

Step Ladders

- Firm Ground

- Reaches proper height

- No electrical hazards

- No horizontal forces

- Area cordoned off (if necessary)

- No additional hazards

## Appendix B

## Fall Arrest System Checklist

The following checklist should be completed prior to conducting work using a fall arrest system.  This is a guideline checklist that is required, however documentation is not mandatory.  In addition to these items, be sure to inspect any other items that the fall arrest system’s manufacturer recommends.

- Check all equipment for:

Wear Damage Mold Distortion Cuts

Scrapes

- Check hardware for:

Cracks

Sharp edges

Burrs

Worn or bent parts

- Do snap hooks close and lock tightly?

- Do buckles work properly?

- Check ropes for worn or broken fibers, pulled stitches and discoloration

- Make sure lifeline anchors and mountings are not loose or damaged

- Check additional manufacturer’s recommendations