Lead Threshold: 15 ppb                 ND means No Detection at level specified.

| Sample Date | Sample ID | School | Source Location | Lead (in ppb) |
| --- | --- | --- | --- | --- |
| 4/04/2025 | 20250421-039 | Sublimity Elem | Fountain 226 | ND @ 1 |
| 4/04/2025 | 20250421-044 | Sublimity Elem | Bottle Fill 226 | ND @ 1 |
| 4/17/2025 | 20250422-030 | Sublimity Elem | Cafeteria Sink | ND @ 1 |