Lead Threshold: 15 ppb                 ND means No Detection at level specified.

| Sample Date | Sample ID | School | Source Location | Lead (in ppb) |
| --- | --- | --- | --- | --- |
| 4/04/2025 | 20250421-038 | Sublimity M.S. | Fountain Staff Hall | ND @ 1 |
| 4/04/2025 | 20250421-043 | Sublimity M.S. | Bottle Fill Staff Hall | ND @ 1 |