Lead Threshold: 15 ppb                 ND means No Detection at level specified.

| Sample Date | Sample ID | School | Source Location | Lead (in ppb) |
| --- | --- | --- | --- | --- |
| 4/17/2025 | 20250422-031 | Stayton M.S. | Library Fountain | ND @ 1 |
| 4/17/2025 | 20250422-032 | Stayton M.S. | 200 B Fountain | ND @ 1 |
| 4/17/2025 | 20250422-033 | Stayton M.S. | Gym Fountain | ND @ 1 |
| 4/17/2025 | 20250422-034 | Stayton M.S. | 515 Gym Fountain | ND @ 1 |
| 4/17/2025 | 20250422-035 | Stayton M.S. | Cafeteria Sink | ND @ 1 |