Lead Threshold: 15 ppb                 ND means No Detection at level specified.

| Sample Date | Sample ID | School | Source Location | Lead (in ppb) |
| --- | --- | --- | --- | --- |
| 4/04/2025 | 20250421-040 | Mari-Linn | ML Upper Hall | ND @ 1 |
| 4/04/2025 | 20250421-041 | Mari-Linn | ML Lower Hall | ND @ 1 |
| 4/04/2025 | 20250421-045 | Mari-Linn | ML Kitchen | ND @ 1 |