| REQUEST FOR QUOTATION |  |
| --- | --- |
| Date: 12/03/25 |  |
| Office of CTE |  |
| Holly K. Tolston CTE Director | Telephone 252-514-6322 |

CRAVEN COUNTY SCHOOLS

PURCHASING DEPARTMENT

3600 Trent Road

New Bern, NC  28562

Phone: (252) 514-6300

| QUOTE NO LATER THAN: | January 1, 2026 | Request: |
| --- | --- | --- |

CONTRACTOR Fill in Name & Address in this Section

Note: Prices and any other entry made hereon by the bidder

shall be considered firm and not subject to change without

withdrawal. Vendor must be an authorized dealer for any and

all products quoted.

Bidder also certifies under penalty of perjury that this bid has

not been arrived at collusively and that he has not violated

any Federal or North Carolina antitrust laws.

*Special Note – Bidders on this request for quotation must be current members of the National Greenhouse Manufacturers Association.

TERMS

| Quantity | Description | Amount |
| --- | --- | --- |
| 1 | 30ftx72ft Greenhouse – Greenhouse engineered to meet current NC wind zone requirements (must have engineer stamped plans before contruction). Preferable design is an A-frame structure but other designs meeting or exceeding the minimum specifications will be accepted. Delivery of all components must be included in shipping costs at the bottom of worksheet. Greenhouse must include the following minimum features: - Greenhouse Covering - 8mm Twinwall Polycarbonate Cover - 44ftx72ft White FLS 50% Shade Cloth - Cooling and Ventilation – Ventilation system must be designed to facilitate a rate of 1 air exchange per minute with the below minimum sized equipment. - Qty 1 – 2 speed Exhaust Fan - Qty 1 – 1 speed Exhaust Fan - 4ftx20ft Rack and Pinion Versa Vent - 4ftx20ft Evaporative Cooling Pad System - Heating System - 200K BTU Unit LP/NAT Gas Unit Heater with a Preference of ADP model SEP200 - Heater Hanging Assembly - Vent Pipe Kit as required for unit heater - Qty 4 – 20in Horizontal Air Flow Fans - Controls - Wadsworth Mini-Step Controller or comparable to control heating, cooling and HAF fan systems. - Doors - Greenhouse must include Qty of 2 single entry/exit doors. - Company to acquire all building permits - Company to arrange and secure all necessary 811 support - Company to provide a copy of liability insurance to district if selected for job |  |
| 1 | Completed installation of greenhouse on pre-determined site by April 30, 2026. - Foundation, water and electrical installation to be determined jointly by manufacturer and buyer. |  |
| Bids shall be returned on or before the above date and time to Craven County Schools, please EMAIL to holly.tolston@craven.k12.nc.us |  |  |
|  | Total Materials; $. Labor; $. (Please add tax to your bid in the amount of 6.75%) Tax; $. Shipping; $. TOTAL; $. |  |

WE QUOTE YOU AS ABOVE

| Name of Company |  |
| --- | --- |
| Company Contact Name |  |
| By (Signature & Title) |  |
| General Contractor # (if applicable) |  |
| Federal/Social Security I.D. No. |  |
| NC Sales & Use Tax Registration No. |  |
| Phone: |  |
| Fax |  |