Project: Shepaug Valley School Exhaust Fans and HVAC Renovations

ADDENDUM #3:

The following questions were asked regarding the project.  Our response is below.

- During the project walkthrough, it was indicated that the Building Management System (BMS) contractor selection may be flexible. Based on current understanding, it appears that Connecticut Temperature Controls (CTC) may be the BMS provider. Given CTC’s familiarity with the existing site, including the supervisor and graphics, their involvement would help maintain system consistency and streamline integration efforts. Please confirm whether Connecticut Temperature Controls (CTC) should be utilized for the controls portion of this project.

Answer – CTC is the contractor presently used by the district.

- The scope of services, it calls for “engineering”. Are you requiring engineered stamped drawings to be provided from a licensed PE.

Answer – Only if they are required when obtaining the permits.

- For the (2) exhaust fans to be replaced inside the bathrooms, are we responsible for opening up the ceilings and then patching/painting to match as necessary?

Answer – The fans need to be replaced with another of existing size to eliminate the need for altering the ceilings in any way.