SECTION 11 16 16

SAFES

PART 1	GENERAL

- RELATED DOCUMENTS

  - Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division-1 specification section, apply to work of this section

- SECTION INCLUDES

  - Drop safe

- SUBMITTALS FOR REVIEW

  - Section 01 33 00 – Submittals Procedures

  - Product Data:  Provide UL listing/rating, insurance ratings, dimensions, and anchorage/installation instructions.

  - Provide the manufacturer's warranty information.

PART 2	PRODUCTS

- COMPONENTS

  - Safe with hopper emptying into the safe and these minimum requirements:

    - 1-hour UL Fire Rating

    - UL RSC Burglary Rating

    - Inside dimensions 22" H x 18" W x 16" D

    - Hopper with steel frame capable of handling a 3½" x 9" x 11½ “package

    - Outer door UL listed group II Changeable dial combination lock

  - The District will review request for approved equal.

PART 3	EXECUTION

- EXAMINATION

  - Verify existing site conditions.

- INSTALLATION

  - Install safe in accordance with manufacturer's instructions in the location shown on plans.

  - Provide all material, accessories, and labor to complete the installation

END OF SECTION