A.L. Stanback RFQ Questions and Responses
Responses in bold
1. Would it be acceptable to highlight ~20 projects in the table and separately state the total number of similar projects? Please let us know if this approach is acceptable or if we must include all requested information for each similar project.
Please highlight projects where the square footage and K-12 constraints are present in North Carolina.
2. We also did not see a page limit. Could you please confirm whether or not there is a page limit, and if so, what the limit is?
The information provided needs to be succinct and provide all the necessary information outlined in the RFQ. No page limit is presented.
3. Page 2, 2 e iv, it requests "Jurisdictions your organization is legally qualified to offer and practice professional structural engineering services". Could you clarify whether this is intended to say structural or mechanical engineering services?
This should be mechanical engineering, not structural engineering.
4. Is there a budget for this project or is developing a project budget part of the project scope?
Developing a project budget is part of the project scope
5. The scope reads that system to be replaced “in-kind.”  Does that include the 2-pipe system as well.  Just curious as a 2-pipe system does not allow for current dehumidification requirements.
There is a 4-pipe system at this building, and it does not include piping.
6. Does the scope just include the piping system and controls?  Are there any air-handling unit(s) being replaced the scope?  If so, does it also include the associated ductwork and air distribution.
The scope is for the replacement of the air handlers with like kind replacement. Not anticipating replacing any ductwork unless adjustments are needed. Controls will need to be updated during this replacement project.
7. Could you please confirm whether the Statement of Qualifications should be submitted through the NC.gov website and emailed to you, or if email submission alone is all that's required?
Emailed to me with the subject line in the RFQ by the date required.
8. The RFQ refers to the existing as a 2-pipe system.   I wanted to verify if that was indeed a 2-pipe or a 4-pipe system. I realize that  does not impact the submission requirements for the RFQ, but just wanted to verify.

It is a 4-pipe system.






