NOTE TO EDITOR: THIS IS A MASTER SPECIFICATION AND NEEDS TO BE EDITED TO BECOME PROJECT SPECIFIC. PLEASE REMOVE ALL HIGHLIGHTS AND TEXT BOXES AND MAKE ALL TEXT BLACK ONCE EDITING IS COMPLETE.

SECTION 11 52 13

PROJECTION SCREENS

- – GENERAL

  - SUMMARY

- Contractor shall provide all labor, materials, appliances, tools, and equipment necessary for a complete projection screens installation per manufacture guidelines, code regulations, as indicated in the drawings, and as specified herein.

- Contractors shall provide all labor, materials, appliances, tools and equipment necessary for installation of projection screens.

- Related Sections

NOTE TO EDITOR:  REVISE RELATED SPECIFICATION AS APPROPRIATE FOR SPECIFIC PROJECT REQUIREMENTS.

- Division 01

- Section 05 10 00:  Structural Metal Framing

- Section 06 10 00:  Rough Carpentry

- Section 09 29 00:  Gypsum Board

- Section 09 50 00: Acoustical Panel Ceilings

- Division 26 Electrical

- 27 41 16: Audio Visual Systems

  - SUBMITTALS

- Requirements

Submit under provisions of Section 01 33 00, Submittal Procedures.Submit product data sheets. Shop Drawings: Show layouts and types of front-projection screens, Include the following:

- Location of screen centerline relative to end of screen case.

- Anchorage details, including connection to supporting structure for suspended units.

Location of wiring connections for electrically operated units.

- Wiring diagrams for electrically operated units.

- Qualifications

    - The Contractor shall be the factory authorized distributor for the branch of equipment offered and shall have been engaged in the business of supplying and installing the specified type of system for at least five years.

    - The Contractor shall maintain a fully equipped service organization capable of furnishing adequate repair service to the equipment. The Contractor shall be financially able to provide a performance bond covering the work and the guarantee described. The Contractor shall provide the bond if requested.

    - Work and material for cables, cable terminations and related components shall be performed by certified installers.  The installer shall be certified by the respective product manufacturers.

  - QUALITY ASSURANCE

- Place HOLDER WORDING FOR FORMATING

  - WARRANTY

- Manufacturer’s warranty

- Contractor’s Installation warranty

- – PRODUCTS

  - MANUFACTURER

- Legrand AV Da-Lite Screen Company https://www.legrandav.com/products/da-lite

- Or Approved Equal

  - PROJECTION SCREENS

| Classroom Conference Room, Library, and Portable Classroom | Legrand, or Approved Equal | AV Da-Lite – Model C with CSR, Model No. 34730 Matte White or District Approved Equal | 60” H x 96” W (113” diagonal) (16:10) | Wall Mounted | Manual |
| --- | --- | --- | --- | --- | --- |
| Cafeteria Small MPR | Legrand, or Approved Equal | Da-Lite Model C with CSR, Model No. 34730 Matte White or District Approved Equal | 60”H x 96” W (113” diagonal) (16:10) | As Indicated on Drawings | Manual |
| Elementary and Middle School (Small) Auditorium | Legrand, or Approved Equal | Da-Lite 14770L, or District Approved Equal | 208” diagonal, 110” x 176” (16:10) | Ceiling Mounted | Motorized |
| High School (Large) Auditorium | Legrand, or Approved Equal | Da-Lite Professional | 340” diagonal, | Ceiling Mounted | Motorized |
|  |  | Tensioned Electrol Part #27258C, or District Approved Equal | 180” x 288” (16:10) |  |  |

- Screen Format: Auditoriums: HDTV; All Other Locations: Wide

- Viewing Surface: Matte white

- Enclosure: White

- Mounting Kit:

  - Floating mount kit is acceptable in portable classroom buildings.

  - Provide a 10” to 14” “L” bracket for projection screens installed above bookshelves in libraries.

  - Provide a 6” “L” bracket for projection screens installed in classrooms.

- – EXECUTION

  - INSTALLATION

- Installation per manufacturer’s recommendations

- Verify Screen will pull down and clear all obstructions prior to installation.

- Screen Location:

  - Classroom: Location shall be on the wall designated as a primary teaching wall. Leave space to account for students sitting in chairs and teacher demonstration tables, if any.

  - Library: Locate screen as indicated on contract drawings. Verify that the screen will clear bookshelves when lowered. Leave space to account for books which may protrude from the shelves.

  - Auditorium: Screens shall be centered on the stage and mounted on the proscenium area. Refer to drawings for exact location. Coordinate installation with stage lighting.

NOTE TO EDITOR: - Coordinate motorized screen power requirement with electrical engineer - Size motorized screens accordingly to fit in the rooms. The minimum screen height shall be 1/8 at the maximum intended viewing distance, per InfoComm recommendations. - Projection screens may be ceiling or wall mounted. - Confirm installation method at each location. - Coordinate projection screen with existing lighting, including stage lighting at Auditorium. - Where there are no suitable walls for wall mounted projectors, such as libraries, install ceiling mounted. - Mount screens as high as possible in the classroom for optimal viewing.

END OF SECTION 11 52 13