Re: Consumer Notice of Tap Water Lead Testing Result

Dear Consumer:

Manchester Middle School is a public water system (PWS) responsible for providing drinking water that meets state and federal standards. Drinking water samples were collected at the following locations. Results are summarized in the table below:

| Sample Tap Location | Sample Collection Date | Lead Level Result (µg/L) | Greater or Less than the Lead Threshold Level (15 µg/L) |
| --- | --- | --- | --- |
| LC 213 Women’s Restroom (by lounge) | 9/19/2026 | 2.1 | Less than |
| LC 214 Nurse’s Clinic Bathroom Sink | 9/19/2026 | 11 | Less than |
| LC 215 Staff Sink in Mail Room | 9/19/2026 | 9.5 | Less than |
| LC 216 Men’s Bathroom Sink (by wall) | 9/19/2026 | 4.3 | Less than |
| LC 217 Women’s Bathroom Sink (by wall) | 9/19/2026 | 2.5 | Less than |
| LC 218 Home Ec. Laundry Sink | 9/19/2026 | < 2.0 | Less than |
| LC 219 Art Room Sink #1 | 9/19/2026 | 4.3 | Less than |
| LC 220 Art Room Sink #2 | 9/19/2026 | < 2.0 | Less than |
| LC 221 Boys Locker Room Coach Sink | 9/19/2026 | 2.5 | Less than |
| LC 222 Girl’s Locker Room Coach Sink | 9/19/2026 | 11 | Less than |

What does this mean?

The Safe Drinking Water Act set the lead action level for lead in drinking water at 15 µg/L. The lead action level measures the effectiveness of corrosion control treatment. It is not a standard for establishing a safe level of lead in a home or building; however, if more than 10% of the locations tested exceed this value, the water system must take action to correct the problem.

When ingested, lead may pose serious health risks, so U.S. EPA established a Maximum Contaminant Level Goal (MCLG) of 0 µg/L for lead. An MCLG is the level of a contaminant in drinking water below which there is no known or expected risk to health, allowing for a margin of safety.

If lead is detected, it may be due to conditions unique to your home or building, such as lead solder or brass faucets, fittings and valves that may contain lead. Our system works to keep the corrosivity of our water as low as possible (corrosive water can allow lead to enter your drinking water from plumbing materials that contain lead). We recommend reviewing the information below to reduce your exposure to lead in drinking water.

What are the health effects of lead?

There is no safe level of lead in drinking water. Exposure to lead in drinking water can cause serious health effects in all age groups, especially pregnant people, infants (both formula-fed and breastfed), and young children. Some health effects to infants and children include decreases in IQ and attention span. Lead exposure can also result in new or worsened learning and behavior problems. The children of persons who are exposed to lead before or during pregnancy may be at increased risk of these harmful health effects. Adults have increased risks of heart disease, high blood pressure, kidney or nervous system problems. Contact your healthcare provider for more information about your risks.

Where can I get health screenings for lead?

Health Screenings are available through the Akron Children’s Hospital Lead Clinic.  They can be contacted at (330) 543-5323 and https://www.akronchildrens.org/departments/Lead-Clinic.html. Blood lead testing is available through Summit County Public Health. They can be contacted at (330) 926-5600 and https://www.scph.org/healthy-homes/lead-poisoning-prevention. You should also contact your primary care physician with any concerns.

What you can do

What are the sources of lead?

While lead exposure can occur from various sources, U.S. EPA estimates approximately 20% of human exposure may come from lead in drinking water.

For More Information

Contact John Daily at 330-882-6926, visit U.S. EPA’s website at epa.gov/lead, call the National Lead Information Center at 800-424-LEAD, or contact your healthcare provider.