Formal Bid Request – Concrete Walkway Repair/Replacement
Groton Public Schools Facilities Department 1300 Flanders Road Mystic, CT 06355
Date: October 17, 2026
Re: Request for Formal Bid – Concrete Walkway Repair at Fitch High School
To All Qualified Contractors,
Groton Public Schools is soliciting formal, emailed bids for the repair and replacement of damaged concrete walkway sections located on the campus of Fitch High School. The district intends to award this project to a contractor with demonstrated experience in K–12 construction, ADA‑compliant walkway installation, and public‑sector safety requirements.
Project Overview
The existing concrete walkway has experienced cracking, heaving, and surface deterioration that now requires full removal and replacement. The selected contractor will be responsible for providing all labor, materials, equipment, and disposal necessary to complete the project in accordance with district specifications.
Mandatory Walkthrough
A mandatory site walkthrough will be held on:
• Date: October 28, 2026 • Time: 10:00 AM • Location: Fitch High School – Main Entrance
Contractors must attend the walkthrough to be eligible for bid submission. Attendance will be recorded by Facilities staff. Any contractor arriving more than 10 minutes late will be marked as non‑attending.
Scope of Work
· Concrete walkway removal — Demolition and disposal of damaged walkway sections.
· Site preparation — Grading, compaction, and installation of appropriate sub‑base.
· Concrete installation — Placement of 4"–6" reinforced concrete, including expansion joints and finishing.
· ADA compliance — Ensure slope, width, and surface requirements meet ADA standards.
· Curing and protection — Apply curing compound and secure the area during curing.
· Final inspection — Joint walkthrough with district personnel.
Contractors may schedule additional site visits with the Facilities Department if needed.
Bid Requirements
All bids must include:
· Itemized cost proposal (labor, materials, equipment, disposal, and contingencies)
· Project timeline, including estimated start and completion dates
· Proof of insurance and licensing
· List of recent, relevant K–12 or municipal concrete projects
· Warranty terms for materials and workmanship
· Statement of compliance with all federal, state, and local regulations
Incomplete bids may be deemed non‑responsive.
Submission Instructions
· Bid Type: Formal, email only
· Submission Deadline: November 2, 2026, no later than 10:00 AM
· Delivery Email: purchasing@groton.k12.ct.us
· Bid Opening: Bids will be publicly reviewed at the above location following the deadline.
Addendum Notice: An official addendum containing all submitted questions and district responses will be posted to both the State of Connecticut DAS Procurement Portal and the Town of Groton website no later than one (1) week prior to the bid opening. Contractors are responsible for reviewing all posted addenda before submitting their bid.
Evaluation Criteria
Bids will be evaluated based on:
· Compliance with specifications
· Total cost
· Contractor qualifications and experience
· Proposed timeline
· Warranty terms
· Demonstrated ability to work safely on active school campuses
The district reserves the right to reject any or all bids, waive informalities, and award the contract in the best interest of the district.
Contact Information
Questions regarding this bid must be submitted in writing to:
Samual Kilpatrick Facilities Department skilpatrick@groton.k12.ct.us

