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October 30, 2026

Bids Due: Novermber 13, 2026 at 2:00 pm

Request for Proposal: Swainsboro High School Concession Stand Pumping Station

Project Overview: Emanuel County Schools currently seeking proposals for upgrading the pumping station at Swainsboro High School. The proposal should include but is not limited to removal and replacement of existing pumps, valves and piping the central control panel with circuit breakers; motor starters and automatic pumping level controls; all internal wiring and additional components needed and hatch cover with access lid.

Stadard Equipment: Including but not limited to, two 5 HP, 230v 1-phase grinder pumps, internal piping and rails; central control panel with circuit breakers; motor starters and automatic pumping level controls; and all internal wiring, high water alarm, individual running time meters, new hatch cover with access door.

Evaluation: Proposals will be evaluated based on the following: 
· [bookmark: _GoBack]Pump manufacturer
· Experience and overall knowledge the vendor has with installing and servicing pump stations 
· The total cost of the upgrade 
· Equipment and service warranty
· The availability of the parts and equipment and timeline of upgrade 
· References

Timeline: The RFQ will be posted for two weeks. During that time it is recommended that vendors take a look at the current pump station.. Site visits should be scheduled with project contact listed below.

Project Manager:
Matt Braswell
matt.braswell@emanuel.k12.ga.us
478-237-6674
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The mission of ECS is to prepare and inspire all students for college and
career success through personalized learning and relevant experiences.




