| REQUEST FOR PROPOSAL SHAWNEE MISSION UNIFIED SCHOOL DISTRICT NO. 512 Return in sealed envelope to: Shawnee Mission Unified Schools Purchasing Department ATTN: EVERETT MORGAN 8200 W. 71st Street Shawnee Mission, Kansas 66204 (913) 993-6434 FAXED OR EMAILED RFP REPONSES WILL NOT BE ACCEPTED | Date: May 22, 2018 Proposal No. 18-039 FOR: DUST COLLECTION SYSTEM Proposals will be accepted until: DATE: JUNE 12, 2018 DAY: TUESDAY TIME: 11:00 a.m. CST Proposals will NOT be publicly opened at the above due time and date. Content of proposals will be available for review after contract award. |
| --- | --- |

Any questions regarding proposal procedures should be directed to: Everett Morgan via Email: everettmorgan@smsd.org.  For proposal specification questions, contact Tyler Clubb via Email:   tylerclubb@smsd.org.

Please complete and return the attached Execution of Offer page with your response.  An authorized company representative should sign the “Offer” page.  Completion of this form is intended to verify that the offeror has submitted the proposal, is familiar with its contents and has submitted the material in accordance with all requirements.

Mandatory attendance is required at the new building site at 6445 Carter Avenue, Merriam, KS  66203 at 10:30 a.m., Wednesday, May 30, 2018, for walk-through information.  Your presence is required to submit an RFP.

One (1) original and one (1) copy, for a total of two (2) complete paper copies of the proposal, as well as (1) electronic copy on a flash drive must be submitted on or before June 12, 2018.

INCLUDE THE PROPOSAL NUMBER ON THE PROPOSAL AND SUBMITTAL ENVELOPES.

PROPOSAL RESPONSES MUST BE RECEIVED IN SEALED ENVELOPES.

PROPOSAL RESPONSES MAY NOT BE FAXED OR EMAILED.

- NOTICE OF “NO RESPONSE FORM”

BID NO. 18-039

VENDORS WHO RESPOND TO THIS INVITATION WITH A COMPLETED NOTICE OF “NO RESPONSE” FORM WILL REMAIN ON OUR MAILING LIST, IF REQUESTED.

VENDORS MAKING NO RESPONSE AT ALL WILL BE REMOVED FROM OUR MAILING LIST.

Dear Vendor:

Please check () the appropriate box below, complete the remainder of this form and return it NO LATER THAN the scheduled Bid/Proposal/or Quote Date and Time.

Our company cannot provide the products, supplies and/or services listed in this bid, proposal or quote.  Please MOVE our name and address to the following category(ies) so that we may bid at a later date: _____________________________________________________________________________

______________________________________________________________________________

We have chosen NOT to submit a response at this time, but would like to remain on your bid list for this product category.  We did not submit a response because:

- Reason(s): _____________________________________________________________________

______________________________________________________________________________

- Please REMOVE our name from all SMSD bid lists until further notice.

Reason(s): _____________________________________________________________________

______________________________________________________________________________

## COMPANY NAME:____________________________________________________

- REPRESENTATIVE (please print):________________________________________

- ADDRESS:  _______________________________  PHONE (_____)____________

- AUTHORIZED SIGNATURE: ____________________________________________

- TITLE:  ______________________________________  DATE:  ______________________

- PLEASE RETURN THIS FORM ONLY TO:

Shawnee Mission Unified School District #512

Purchasing Department

# Notice of “NO RESPONSE”

# 8200 W. 71st Street

Shawnee Mission,  KS  66204

OR

Fax to:  913/993-6225

GENERAL:

Proposals are subject to the attached Terms and Conditions as written below.

SCOPE:

The Shawnee Mission School District seeks proposals for the purchase and installation of a Dust Collection System.

SPECIAL CONDITIONS:

This proposal shall cover all parts and labor to secure a working Dust Collection System in our district’s shop.

Responses must include total cost for the project, warranty information and three (3) references.   Please provide ARO.

MINIMUM SPECIFICATIONS:

Contractor to furnish and install new dust collection unit as per the following specifications.

- Pulse jet filter unit sized for 4000 CFM @ 8.5” S.P. max air to cloth ratio 8:0:1.

- Filter unit to provide a minimum of 6’ 0” clearance under rotary valve.

- Filter unit to have the following:

  - 12-gauge construction

  - Goyen Valves (or approved equal)

  - Compressed air header with drain

  - Magnehelic gauge, 0-10” S.P.W.G.

  - Flanged inlet and outlet

  - 60 degree hopper

  - Hopper access door

  - Owner to specify paint color for new dust collector

  - 16 oz. singed polyester filter bags

  - Support legs

  - Catwalk and access ladder

- System fan to be sized for 4000 CFM @ 8.5” S.P., fan to be located on clean airside.

- Rotary valve to be a #10 as manufactured by W.C.W. (or approved equal) with ½ H.P. totally enclosed fan cooled (TEFC) motor.

- Contractor to furnish new electrical control cabinet and all wiring for control cabinet and dust collector and two remote start locations.  Existing control panel and remote start locations may be reused if contractor can modify existing control panel to work with new dust collector.  Existing power to control box is 60 amp, 3 phase, 208 volt.  If more amps are needed, the Shawnee Mission School District will supply power to control panel.

- SMSD will furnish and install clean dry compressed air to filter.

- SMSD will furnish concrete equipment pad.

- Contractor will make sure ducting is up to date to codes and passes city regulations.

- Contractor to provide layout drawings on auto-cad for owner and city approval.

- Unit will be supplied with sprinkler system.  SMSD will be responsible for attaching current sprinkler system to it.

- Blast panel to be positioned, if possible, where unit can sit in desired location next to building.

- Unit to meet all City of Merriam mandates to pass inspection for permanent use.

- RFP to include all freight charges.

TERMS AND CONDITIONS:

READ THIS ENTIRE DOCUMENT CAREFULLY.  FOLLOW ALL INSTRUCTIONS.  YOU ARE RESPONSIBLE FOR FULFILLING ALL REQUIREMENTS AND SPECIFICATIONS.  BE SURE YOU UNDERSTAND THEM.

TERMS AND CONDITIONS APPLY TO ALL REQUESTS FOR PROPOSALS, HOWEVER, THESE MAY BE SUPERSEDED, WHOLE OR IN PART, BY THE SPECIAL REQUIREMENTS, INSTRUCTIONS, OR OTHER INFORMATION CONTAINED HEREIN.  BE SURE YOUR PROPOSAL PACKAGE IS COMPLETE.

## Proposal Completion:

Fill out and return to Purchasing, ONE (1) complete proposal form.  An authorized company representative should sign the “Execution of Offer”.  Completion of these forms is intended to verify that the offeror has submitted the proposal, is familiar with its contents and has submitted the material in accordance with all requirements.

Offer:

Offers remain firm for 90 days or until bidder’s offer is accepted by SMSD, whichever is first.  Any deviation must be conspicuously notated within this document.  Acceptance shall be in the form of a SMSD purchase order or other formal written contract.  Prices beyond acceptance of bidder’s offer shall be conditional on any additional terms, conditions and/or specifications as set forth herein.

## Addenda:

If specifications or terms are revised, the SMSD will issue an addendum addressing the nature of the change.  Offerors must sign it and include it in the returned proposal package.

## Hold Harmless Agreement:

The Seller shall provide the standard patent infringement indemnity clause which shall hold and save the Board of Education and its officers, agents, servants, and employees, harmless from liability of any patented, or unpatented invention, process, article, or appliance manufactured, or use, in the performance of the contract, including its use by the Shawnee Mission School District.

## Silence of Specifications:

The apparent silence of specifications as to any detail, or the apparent omission from it of a detailed description concerning any point, shall be regarded as meaning that only the best commercial practice is to prevail and that only material and workmanship of the finest quality are to be used.  All interpretations of specifications shall be made on the basis of this statement.  The latest product in production to commercial trade and shall be of the highest quality as to materials used and workmanship.  Manufacturer furnishing these items shall be experienced in design and construction of such items and shall be an established supplier of the item proposed.

## Supplemental Materials

Offerors are responsible for including all pertinent product data in the returned proposal package.  Literature, brochures, data sheets, specification information, completed forms requested as part of the proposal package and any other facts which may affect the evaluation and subsequent contract award should be included.  Materials such as legal documents and contractual agreements, which the offeror wishes to include as a condition of the proposal, must also be in the returned proposal package.  Failure to include all necessary and proper supplemental materials may be cause to reject the entire proposal.

## Evaluation:

Evaluation shall be used as a determinant as to which proposed items or services are the most efficient and/or most economical for the District.  It shall be based on all factors that have a bearing on price and performance of the items in the user environment.  All proposals are subject to negotiations by the Purchasing Supervisor and other appropriate departments, with recommendation to SMSD School Board.  Compliance with all requirements, delivery and needs of the using department are considerations in evaluating proposals.  Pricing is NOT the only criteria for making a recommendation.  A preliminary evaluation by SMSD will be held and appropriate proposals may be subjected to the negotiating process.  Upon completion of the negotiations, SMSD will make an award.  All proposals that have been submitted shall be available and open for public inspection after the contract is awarded except for trade secrets or confidential information contained in the proposals and identified as such.

## Inspections:

SMSD reserves the right to inspect any item(s) or service location for compliance with specifications and requirements and needs of the using department.  If an offeror cannot furnish a sample of a proposed item, where applicable, for review, or fails to satisfactorily show an ability to perform, SMSD can reject the offer as inadequate.

## Award:

SMSD reserves the right to award this contract on the basis of LOWEST AND BEST OFFER in accordance with the laws of the State of Kansas, to waive any formality or irregularity and to reject any or all proposals.

## Assignment:

The successful offeror may not assign, sell or otherwise transfer this contract without written permission of SMSD

## Purchase Order and Delivery:

The successful offeror shall not deliver products or provide services without a SMSD Purchase Order, signed by an authorized agent of SMSD.  Every tender or delivery of goods and/or services must fully comply with all provisions of these requirements and the specifications including time, delivery and quality.  Nonconformance shall constitute a breach that must be rectified prior to expiration of the time for performance.  Failure to rectify within the performance period will be considered cause for cancellation of the contract by SMSD without prejudice to other remedies provided by law.  Where delivery times are critical, SMSD reserves the right to award accordingly.

## Termination:

SMSD reserves the right to terminate the contract for default if Seller breaches any of the terms therein, including warranties of offeror or if the offeror becomes insolvent or commits acts of bankruptcy.  Such right of termination is in addition to and not in lieu of any other remedies, which SMSD may have in law or equity.  Default may be construed as, but not limited to, failure to deliver the proper goods and/or services within the proper amount of time, and/or to properly perform any and all services required to SMSD’s satisfaction and/or to meet all other obligations and requirements.  Contracts may be terminated without cause upon thirty (30) days written notice to either party unless otherwise specified.  Contracts entered into on the basis of submitted bids are revocable if contrary to law.

## Scanned or Re-Typed Response:

If in its response, offeror either electronically scans, re-types, or in some way reproduces the district’s published proposal package, then in the event of any conflict between the terms and provisions of the district’s published proposal package, or any portion thereof, and the terms and provisions of the response made by offeror, the district’s proposal package as published shall control.  Furthermore, if an alteration of any kind to the district’s published proposal package is only discovered after the contract is executed and is or not being performed, the contract is subject to immediate cancellation.

EXECUTION OF OFFER:

Offeror’s signature attests to your offer of providing the goods and/or services in this proposal according to the terms, conditions, and specifications contained herein. Contract is not valid until a Shawnee Mission School District Purchase Order is issued.

___________________________________________

COMPANY

___________________________________________

ADDRESS

___________________________________________

CITY                                     STATE             ZIP

___________________________________________

PHONE                                 FAX

___________________________________________

AUTHORIZED SIGNATURE

___________________________________________

PLEASE PRINT YOUR NAME