| Return sealed envelope to: Shawnee Mission Unified Schools Purchasing Department 8200 W. 71st Street Shawnee Mission, Kansas 66204 ATTN: EVERETT MORGAN E-MAILED OR FAXED BIDS WILL NOT BE ACCEPTED. | DATE: April 12, 2019 BID NO. 19-020 BID TITLE: ANNUAL MAINTENANCE-KITCHEN GREASE INTERCEPTOR PUMPING AT 21 LOCATIONS Bids will be accepted until and then publicly opened on: Date: MAY 1, 2019 Day: WEDNESDAY Time: 10:00 a.m. CST Terms, conditions and specifications under which bids are requested are included. Please review thoroughly. |
| --- | --- |

You are invited to bid on ANNUAL MAINTENANCE-KITCHEN GREASE INTERCEPTOR

PUMPING AT 21 LOCATIONS for the Shawnee Mission Unified Schools per the enclosed terms, conditions and specifications, F.O.B. Destination, Freight Prepaid and Add.  FREIGHT COSTS MUST BE INCLUDED IN THE BID PRICE(S).

We are enclosing only one copy of the bid specifications.   Please return one (1) original, one (1) copy, for a total of two (2) hardcopies and one (1) electronic copy on a flash drive.

Unit bid price shall govern whenever a discrepancy occurs in the extended bid price on the Bid Summary page.  Bid will be awarded:  __X__All-or-None, _____ Item-by-Item, _____ Groups of Items, or ____ Groups & by-Item.  Payment will be made ON COMPLETION of Purchase Order.  DO NOT INCLUDE SALES TAX.

Any questions regarding the specifications and the bid procedures should be directed to Everett Morgan @ email; everettmorgan@smsd.org.   PHONE:  (913) 993-6474.

Any questions regarding the bid documents should be directed to Operations and Maintenance, Attn:  Tim Kelly @ timothykelly@smsd.org; PHONE:  (913) 993-8536, no later than three days prior to bid opening.

THIS BID IS NOT TRANSFERABLE

NOTE:  Bid Number and Name of Bidder must appear on the front of sealed envelope.  Emailed or Faxed bids will not be accepted.  Bids must be received in the Purchasing Office prior to bid opening.  If sending by U.S. Postal Service, please allow a minimum of 24 hours for your bid to be processed and delivered to the Purchasing Office by the Administrative Mail Center.  It is the responsibility of the bidder to ensure delivery of bids to the Purchasing Department.  Bidders shall hold all bid prices firm for acceptance for 90 calendar days after date of bid opening.

Bid results will be posted on the smsd.org website within approximately 5 working days after the bid opening.  Go to About; Departments; Purchasing/Bidding; Bids and Bid Summaries.  Additionally, you may review the bid results in the Purchasing Office during the hours of 8:00 AM to 4:30 PM.

- NOTICE OF “NO RESPONSE FORM”

BID NO. 19-020

VENDORS WHO RESPOND TO THIS INVITATION WITH A COMPLETED NOTICE OF “NO RESPONSE” FORM WILL REMAIN ON OUR MAILING LIST, IF REQUESTED.

VENDORS MAKING NO RESPONSE AT ALL WILL BE REMOVED FROM OUR MAILING LIST.

Dear Vendor:

Please check () the appropriate box below, complete the remainder of this form and return it NO LATER THAN the scheduled Bid/Proposal/or Quote Date and Time.

Our company cannot provide the products, supplies and/or services listed in this bid, proposal or

quote.  Please MOVE our name and address to the following category(ies) so that we may bid at a later 	date __________________________________________________________________________

______________________________________________________________________________

We have chosen NOT to submit a response at this time, but would like to remain on your bid list

for this product category.  We did not submit a response because:

- Reason(s): _____________________________________________________________________

______________________________________________________________________________

- Please REMOVE our name from all SMSD bid lists until further notice.

- Reason(s): _____________________________________________________________________

______________________________________________________________________________

## COMPANY NAME:____________________________________________________

- REPRESENTATIVE (please print):________________________________________

- ADDRESS:  ________________________________ PHONE (_____)____________

AUTHORIZED SIGNATURE: ____________________________________________

- TITLE:  ______________________________________  DATE:  ________________

- PLEASE RETURN THIS FORM ONLY TO:

# Shawnee Mission Unified School District #512

Purchasing Department

# Notice of “NO RESPONSE”

# 8200 w. 71st Street

Shawnee Mission, KS  66204

OR

Fax to:  913/993-6225

- BID NO.  19-020

BID FORM

BID OF:

A CORPORATON ORGANIZED AND EXISTING UNDER THE LAWS

OF THE

A PARTNERSHIP CONSISTING OF

PARTNERS:

OR:	A SOLE PROPRIETOR; HERINAFTER CALLED THE BIDDER.

TO:	SHAWNEE MISSION PUBLIC SCHOOLS

ATTN:  EVERETT MORGAN

8200 W. 71st Street

SHAWNEE MISSION KS  66204

The undersigned acknowledges that he has received and familiarized himself with the following:

Request for Bid for:  Annual Maintenance—Kitchen Grease Interceptor Pumping at 21 Locations

Shawnee Mission Public School District #512

Bid Number:  19-020

ADDENDA NO(s):	 Received

The undersigned further acknowledges that he has familiarized himself with local conditions affecting the cost of the work at each place where the work is to be done.

In submitting this bid, the undersigned agrees:

| 1. | To furnish all material, labor, tools, expendable equipment, and all utility and transportation services necessary to perform and complete, in a workmanlike manner, all of the work required in accord with the bid documents. |
| --- | --- |
| 2. | To hold his bid open for sixty (60) days after receipt of bids and to accept the provisions of the instructions to bidders regarding disposition of bid security. |
| 3. | To commence the work upon receipt of Notice to Proceed, and to substantially complete the work not later than the completion date noted for each of the twice per year pumpings noted in the Scope of Work. |
| 4. | To accept the assessment of liquidated damages of $50.00 per site/per calendar day for each day following the completion dates noted in the Scope of Work. |

Lump Sum Bid for two pumpings per year at the 21 sites noted:

Year One Lump Sum Bid for 1st Pumping in July 2019 and the 2nd Pumping in December 2019:

Dollars	($	).

Unit Cost Bid for grease interceptors that may be added or deleted during the proposed 5 Year Period:

Unit Cost for 1,000-gallon grease interceptor, based on a per pumping basis:

Dollars	($	).

Unit Cost for 1,500-gallon grease interceptor, based on a per pumping basis:

Dollars	($	).

Unit Cost for 2,000-gallon grease interceptor, based on a per pumping basis:

Dollars	($	).

(Indicate bids in both numbers and words.  In the case of a discrepancy between the two, the amount shown in words shall govern.)

In submitting this bid, it is understood that the right to reject any and all bids and to waive irregularities in the bidding has been reserved by the owner.

Date this	 day of	, 2019.

Name of Bidder

Address of Bidder

Authorize Officer

Area Code/Telephone Number

Terms and Conditions

| A. | Bid Requirements and Considerations: 1. The Board of Education reserves the right to reject any or all bids, to accept any item or items in the bid, and to waive any informality in bids. 2. Each bid must be completed on SMSD bid forms. 3. Alternate bids will be considered only if the alternate properly meets specifications outlined in the bid. 4. Each bid shall be accompanied by bid security in the amount of five percent (5%) of the base bid, made payable unconditionally to the school district. This security will be submitted as evidence of good faith as a guarantee that, if awarded the contract, the bidder will execute required bonds and insurance within ten (10) days after receipt of Notice to Proceed. 5. Each bidder shall carefully examine the bidding documents and thoroughly inform himself with all requirements prior to submitting a bid. Should a bidder find discrepancies or ambiguities in, or omission from bidding documents, or should he be in doubt as to their meaning, he will at one and at least three days prior to bid date, notify the school district. Any subsequent addenda sent to bidders will become part of the contract documents. 6. Prior to submitting a bid, each bidder shall examine and thoroughly familiarize himself with all existing conditions; including applicable laws, codes, ordinances, rules, and regulations that will affect his work. Bidders shall visit the site, examine the existing conditions, and shall ascertain by reasonable means, all conditions that will in any manner affect the work. Contractors and/or bidders are required to check in with building authorities at the school immediately upon entering the school premises. 7. Prices quoted are to be free of all Federal, state, and local taxes, unless otherwise imposed by a governmental body and applicable to the work or material. The school district will obtain from the State of Kansas a sales tax exemption certificate number. The sales tax exemption certificate will permit the contractor to purchase materials for incorporation into this project without paying sales tax, provided that the contractor furnishes the certificate number to the supplier. 8. When submitting a substitute article as equal, the full name and illustrated description must be given. The Board of Education reserves the right, however, to decide upon its suitability for the intended use. Upon request, samples of substitute articles must be submitted. 9. Envelopes containing bids must be sealed and marked on the lower-left hand corner with the firm name and address of the bidder, bid number, bid opening date, and bid opening time. a. No special effort shall be made to sort incoming mail for potential bids. b. Bids not at the appointed place at time of bid opening will be rejected. c. Faxed Bid/Proposals will not be accepted as sealed bids. 10. If bid is accepted, USD #512 must be supplied with seller’s employer identification number of social security number, per IRS regulations. 11. Each contractor is responsible for his/her own worker’s compensation and liability insurance coverage. Shawnee Mission Unified School District #512 assumes this COVERAGE IS INCLUDED IN THE PRICE OF EACH BID TOTAL. 12. Any catalog, brand name or manufacturer’s reference used herein is intended to be descriptive and not restrictive. Offers on any reputable manufacturer’s regularly produced product which is similar and substantially equivalent will be considered. SMSD reserves the right to make final decisions as to the acceptability of comparable items. 13. Vendors who do not bid, but wish to remain on our bid list, should notify the Shawnee Mission USD #512 Purchasing Department in writing using the enclosed “Notice of No Response” form. Failure to do so may result in removal from this list. 14. If required by the bid form, the contractor shall submit with his bid a list of subcontractors and other persons or organizations that will perform work on this project. |
| --- | --- |
| B. | Form and Requirements of the Contract: |
|  | 1. The form of contract will be a Purchase Order issued by Shawnee Mission School District. In submitting his bid for consideration, each bidder agrees to commence work as soon as practical upon receipt of the school district purchase order and subsequent execution of applicable bonds and certificates of insurance. 2. The district shall not be responsible for any goods delivered or services performed without its purchase order signed by an authorized representative of the Purchasing Department. 3. The contractor shall not commence work under this contract until he has obtained the owner’s approval of a certificate of insurance providing evidence that the has obtained all the insurance required under this section, at least equal to the limits set forth hereinafter, with an insurance company acceptable to the owner. All policies shall provide for ten (10) days written notice to the owner prior to effective date of any changes affecting the policy. Two copies of the certificate of insurance in a form acceptable to the owner shall be delivered to the owner. The contractor shall not allow any subcontractor to commence work until the subcontractor has obtained insurance coverage similar to that required of the contractor. 4. For projects with a value of $20,000 or more; subsequent to award, the contractor shall furnish Performance Bond, Labor and Materials Payment Bond, and Kansas Statutory Bond covering the faithful performance of the contract and the payment of all obligations arising thereunder. All such bonds shall be submitted to the school district prior to the commencement of any contract work. 5. Contracts entered into on the basis of submitted bids are revocable if contrary to law. 6. The laws of the State of Kansas shall govern any contracts resulting from this bid. Actions must be filed in the Johnson County Courthouse in Johnson County, Kansas. 7. The seller shall provide the standard patent infringement indemnity clause which shall hold and save the Board of Education and its officers, agents, servants, and employees, harmless from liability of any patented, or unpatented invention, process, article, or appliance manufactured, or used, in the performance of the contract, including its use by the Board of Education. |
| C. | General Work Requirements. |
|  | 1. The contractor will be required to start the work per the schedule included herein. Liquidated damages as stated on the bid form will be assessed for each consecutive calendar day which the work is not substantially complete, beginning with the first day beyond the substantial completion time stated. Substantial completion is the owner’s ability to utilize the facility for its intended purpose. Shawnee Mission Public Schools will be the sole judge of substantial completion. 2. The owner reserves the right and may delay work if scheduling between school administration and contractor cannot be resolved. 3. It will be the contractor’s responsibility to have the approaching licenses and permits required by the state and/or municipality in which the work will be performed. It is also the contractor’s responsibility to make certain all work ad material meets local and state codes. Bidders shall include permit fees in their bid. 4. The contractor shall observe and comply with all ordinances, laws, and regulations, and shall protect and indemnify the owner against any claim or liability arising from or based on any violation of the same. The contractor shall comply with all regulations of agencies having jurisdiction with respect to sanitation and safety during construction. 5. All items shall be new and unused, unless otherwise specified by the district, and in first class condition. 6. Contractor shall be responsible for protection of the adjacent spaces during all phases of the project, demolition material storage and new construction. 7. All items furnished must be of their respective kinds, and will be free from defects in material and workmanship. Items will be subject to our inspection and approval at any time. Items furnished must be manufactured in compliance with all existing legal or governmental directives. 8. All work shall be of the highest quality. The contractor and subcontractor shall check their work regularly for quality and conformance as the work is in progress. Unsatisfactory work shall be corrected immediately. 9. The contractor shall promptly correct work rejected by the owner or failing to conform to the requirements of the contract documents, whether observed before or after substantially completion and whether or not fabricated, installed or completed. The contractor shall bear all costs of correcting such rejected work, including additional testing and inspections and compensation for owner services and expenses made necessary thereby. 10. As work is completed by the contractor/subcontractor, it shall be his responsibility to remove all excess material, equipment and debris from the premises. 11. Upon substantial completion, a scheduled punchlist inspection shall be conducted by the school district to identify any item(s) requiring additional work. All items noted on the punchlist shall be accomplished by the contractor prior to final payment. |

| D. | Miscellaneous Requirements |
| --- | --- |
|  | The law requires that Section 1 through 5 of KSA 44-1030 (as follows) are to be included in all contracts to which our agency is a party: Except those with contractors, vendors or suppliers whose cumulative dollar total in any fiscal year is $5,000.00 or less, or who have fewer than four (4) employees: 1. The contractor shall observe the provisions of the Kansas act against discrimination and shall not discriminate against any person in the performance of work under the present contract because of race, religion, color, sex, physical handicap unrelated to such person’s ability to engage in the particular work, national origin or ancestry; 2. In all solicitations or advertisements for employees, the contractor shall include the phrase, “equal opportunity employer” or similar phrase to be approved by the commission; 3. If the contractor fails to comply with the manner in which the contractor reports to the commission in accordance with the provisions of KSA 1976 Supp .44-1030, as amended, the contractor shall be deemed to have breached the present contract and it may be canceled, terminated or suspended, in whole or in part, by the contracting agency; 4. If the contractor is found guilty of violation of the Kansas act against discrimination under a decision or order of the commission which has become final, the contractor shall be deemed to have breached the present contract and it may be canceled, terminated or suspended, in whole or in part, by the contract and it may be canceled, terminated or suspended, in whole or in part, by the contracting agency; and 5. The contractor shall include the provisions or paragraphs one (1) through (4) inclusively of this subsection (a) in every subcontract or purchase order so that such provisions will be binding upon such subcontractor or vendor. |
| E. | Payments to the Contractor: |
|  | In order for payment to occur on the “Payment Release Date”, the vendor’s INVOICE and the “BLUE” receiving copy of the Shawnee Mission purchase order must be received into the Business Office by the school cut-off date (preferably earlier) so that sufficient time is allowed for the payment to actually be processed through the Accounts Payable system. INVOICES MUST BE SUBMITTED TO THE APPROPRIATE PROJECT MANAGER THREE DAYS PRIOR TO THE SCHOOL CUT-OFF DATE. |

CONTRACTOR AND VENDOR CODE OF CONDUCT

Shawnee Mission School District requests that all contractor and vendor employees conduct themselves in an acceptable manner while performing work on school district property.  The following items are prohibited on school district properties:

- Physical or verbal contact with students or non-designated staff.

- All school district properties are tobacco free.  All tobacco, including smokeless tobacco, is prohibited.  There are no designated areas for tobacco use.  Contractors are required to post no tobacco signs.  Smoking will not be permitted inside private vehicles which are on school district property.  Workers may be required to sign a consent form acknowledging no tobacco use on the property.  Violators may be required to leave the work site.

- Drugs and/or alcohol consumed or present on district properties.

- Firearms and hunting items.

- Foul or abrasive language.

Additionally, all workers shall wear appropriate clothing on all parts of the body.  All workers shall utilize areas for vehicle access and parking, material storage, etc.  All workers shall wear nametags identifying their name and the name of the company they are representing.

INSURANCE REQUIREMENTS

| A. | Worker’s Compensation Insurance: Worker’s Compensation and Employer’s Liability Insurance as required by law to cover fully all employees. |
| --- | --- |
| B. | Bodily Injury and Property Damage Insurance: A comprehensive general bodily injury and property damage policy, including automobiles, covering the work to be performed. The policy shall be written to provide damage arising from one accident, with not less than $1,000,000 aggregate damages to, or destruction of property during the policy period; except, in case of automobile damage coverage, the minimum provided shall be not less than $1,000,000 bodily injury and $1,000,000 property damage per accident for any vehicle used on the project, whether owned, hired or nonowned. |
| C. | Special Insurance: Contractor for General Construction work shall take out and maintain insurance providing a minimum coverage of $1,000,000 for the following hazards: |
|  | Where the work to be performed involves excavation or other underground work or construction, the property damage insurance provided shall cover all injury to or destruction of property below the surface of the ground, such as wires, conduits, pipes, mains, sewers, etc., caused by the contractor’s operations, or injury to or destruction of property above or below ground resulting therefrom. Property damage insurance shall also cover the collapse of, or structural injury to, any building or structures on or adjacent to the owner’s premises, or the injury to or destruction of equipment and/or property resulting therefrom, caused by the removal of other buildings, structures, or supports, or by excavation below the ground, where the construction of a new structure or the demolition of any existing structure involves any of the foregoing designated hazards and in all cases where the contract provides for alterations in, additions to, or the underpinning of, and existing structure or structures. |
| D. | Subcontractor’s Insurance: If a part of this contract is sublet, the contractor shall either cover any or all subcontractors in his insurance policies; or require each subcontractor to secure insurance which will protect him against all applicable hazards not covered by the contractor’s insurance. |
|  | Certificate and Maintenance of Insurance: The contractor shall submit three (3) copies of Certificate of Insurance to the owner. The required insurance shall be maintained in force until the project is completed. |

| SHAWNEE MISSION PUBLIC SCHOOLS |  |  |  |
| --- | --- | --- | --- |
| ACCOUNTS PAYABLE SCHEDULE |  |  |  |
| School |  | Payments |  |
| Cut Off |  | Released |  |
| 4/12/2019 |  | 4/23/2019 |  |
| 5/19/2019 |  | 5/30/2019 |  |
| 6/14/2019 |  | 6/25/2019 |  |

Scope of Work

Grease Interceptors

The Shawnee Mission School District seeks interested contractors to provide a bid for an annually renewable contract to one (1) vendor for the semi-annual pumping of the Kitchen Grease Interceptors at 21 building locations.  The winning contractor will provide all labor, materials, supervision, transportation, insurance licenses, permits, tools, equipment, and services required to complete all necessary work.

The bid shall cover specified work for a period of one year, July 1, 2019 to June 30, 2020.  Shawnee Mission School District retains the right to renew this bid on an annual basis for up to an additional four (4) years.  Subsequent annual renewals shall be based on the availability of money approved by the Board of Education for the noted expenditures, and will be subject to an annual review by the district to ensure that appropriate and acceptable performance of the services are being provided.  The services may be summarily cancelled for poor performance and services.  The school district retains the right to cancel services at any time by providing thirty (30) day written notice of the intent to cancel to the vendor.

An annual increase in the cost of the services will be allowed provided the increase does not exceed the CPI during the month of October in the previous year.  The vendor shall formally notify the school district in writing that they intend to initiate the increase in the cost of services not later than March 1st for the succeeding renewal year (for July 1st services initiation).

These interceptors must be pumped on a semi-annual basis, per Johnson County Environmental.  The winning contractor shall be an approved JCED pumper.  JCED will be inspecting the grease interceptors on a periodic basis, to insure compliance.  The winning bidder will be required to set up the day and time with JCED to pump so that they may provide inspection.  It is the responsibility of each bidder to perform an individual site visit at each facility to determine the size of the grease interceptor and verify location.  Failure to perform a site visit will in no way relieve the successful bidder from furnishing materials, or providing services that may be required to carry out the work in accordance with the intent and meaning of the proposal.  Applicable reports will be provided to each school, JCED, and the Shawnee Mission School District Operations and Maintenance Facility.

The first pumping will be completed during Summer Break of each applicable contract year.  The second pumping will be during Winter Break of each applicable contract year.

The following pumping schedule will be adhered to:

|  | 1st Annual Pumping | 2nd Annual Pumping |
| --- | --- | --- |
| Year One | June 23 – July 30, 2019 | December 20 – December 31, 2019 |
| Year Two | June 5 – July 5, 2020 | December 20 – December 31, 2020 |
| Year Three | June 5 – July 5, 2021 | December 20 – December 31, 2021 |
| Year Four | June 5 – July 5, 2022 | December 20 – December 31, 2022 |
| Year Five | June 5 – July 5, 2023 | December 20 – December 31, 2023 |

The School District presently has 21 locations with grease interceptors.  The interceptors are either 1,000 or 1,500 gallon tanks.  Additional grease interceptors may be added during the course of the Five-Year contract period.

Grease Interceptors

| Building | Address | Township | Location |
| --- | --- | --- | --- |

| 1. | Apache Elementary | 8910 Goddard | Overland Park | West side of building by the gas meter. |
| --- | --- | --- | --- | --- |
| 2. | Bluejacket/Flint Elementary | 11615 W. 49th Terr. | Shawnee | West side of kitchen in grass. |
| 3. | Broadmoor | 6701 W. 83rd. | Overland Park | East side of building outside of classroom. |
| 4. | Broken Arrow Elementary | 5901 Alden | Shawnee | South side of building in asphalt playground. |
| 5. | Comanche Elementary | 8200 Grant | Overland Park | North side by loading dock. |
| 6. | Corinth Elementary | 8301 Mission Road | Prairie Village | Southwest side of building. |
| 7. | Merriam Park Elementary | 6100 Mastin | Merriam | West side by receiving room doors. |
| 8. | Nieman Elementary | 10917 W. 67th | Shawnee | South side of building. |
| 9. | Overland Park Elementary | 8200 Santa Fe | Overland Park | Southwest side of building by receiving. |
| 10. | Prairie Elementary | 6642 Mission Road | Prairie Village | East side of building in grass by receiving. |
| 11. | Ray Marsh Elementary | 5642 Rosehill Road | Shawnee | South side of building by receiving room doors. |
| 12. | Rising Star Elementary | 8600 Candlelight Lane | Lenexa | Front of building, right-hand side of main doors. |
| 13. | Rushton Elementary | 6001 West 52nd | Mission | East side of building outside of kitchen door. |
| 14. | Sunflower Elementary | 8955 Loriet Blvd. | Lenexa | North side of building in receiving drive. |
| 15. | Horizon High School | 5900 Lamar | Mission | South side of building behind kitchen in the grass. |
| 16. | SM East HS | 7500 Mission Road | Prairie Village | West side of building by receiving room. |
| 17. | SM North HS | 7 401 Johnson Drive | Mission | Northeast end of building. |
| 18. | SM North Stadium | 7401 Johnson Drive | Mission | East side of stadium by concessions. |
| 19. | SM North Stadium | 7401 Johnson Drive | Mission | West side of stadium by concessions. |
| 20. | SM South High School | 5800 W. 107th | Overland Park | North side of building by cooling towers. |
| 21. | SM West HS | 8800 W. 85th Street | Overland Park | West side of building by receiving. |