|  |
| --- |
|  |
| ***Addendum #1***  **to**  **Request for Qualifications** |
| For Energy Performance Contracting Services |
| For |
| **Allentown School District** |
|  |
| **Proposals Due** |
| **March 01, 2021 by 1:00 p.m.** *(unchanged)* |

***Responses to Submitted Questions***

|  |  |  |
| --- | --- | --- |
| # | RFI | Response |
|  | I did not see any mention of renewable energy. Is a solar PV system being considered as an option? Would it be entertained? If so, is land or rooftops available? | PV may be proposed. Rooftop systems would need to respect existing facilities. Structural reinforcing, if required to support rooftop PV, would be on the proposer. At-grade facilities are unlikely to have suitable available land or security. |
|  | I see that the District Superintendent Thomas Parker resigned [Feb. 1]. I wanted to know if that will affect the timing of the current RFQ. | No impact. |
|  | In December ASD approved the CoStars program for several HVAC  Projects… I was wondering if you had any familiarity or insight of these initiatives? Would you able help us facilitate a meeting with the Business Manager and/or Superintendent? | The District is open to COSTARS elements as part of an ESCO proposal. All costs to be included in a final contract. The District may schedule meetings with ESCO finalists. |

Questions submitted to [bkorp@barryisett.com](mailto:bkorp@barryisett.com) *after* 12 noon on February 22, 2021 will not be addressed.