## Sheet1
BCS 90 Minute Emergency Light Inspection
School
Date |  |  | Tester Name
North Carolina General Statute
604.6.3 Annual test. An annual test shall be conducted on every required battery-powered
emergency lighting unit equipment for not less than 1 1/2 hours. Equipment shall be fully
operational for the duration of the test.
All emergency lights pass the 90 minute operational test
| Yes |  | No
List lights that did not pass test:
Repaired or Replaced
|  | Location | Light # | Yes | No
Principal Signature
Date
List lights that did not pass test:
Repaired or Replaced
|  | Location | Light # | Yes | No
Comments: