Beaufort County Schools is seeking bids for a fence project at PSJ Middle School located at 4105 Market Street Ext., Washington, NC 27889.

* Furnish and install approximately 575 linear ft of 6’H Galvanized Chain-link fencing.
* 2 ½” x 9’ terminal post SCH 40.
* 2’ x 8’ galvanized line post SCH 40.
* 1 ⅝” x 21’ galvanized top-rail.
* 2’ x 9ga x 72” galvanized commercial fence fabric.
* (2) 20’W Double swing gate: (2) 5’W swing gates- 15/8 welded frames.
* 7ga. Bottom steel tension wire.
* All posts set in concrete footing; 10ft o/c.
* Contractor responsible for locating utilities (811).
* Provide warranty information for materials and labor.
* Contractor must be insured and carry workers comp.

Contact Jamie Stokes BCS Director of maintenance for site visit and project information at,

252/946/3735

Email: jstokes@beaufort.k12.nc.us