- GENERAL

  - SECTION INCLUDES

    - Definitions.

    - Specification format and content.

    - Industry standards.

    - Codes and standards.

    - Governing regulations/authorities.

  - DEFINITIONS

    - General:  Basic contract definitions are included in the General Conditions.

    - Regulations:  Includes laws, ordinances, statutes, and lawful order issued by authorities having jurisdiction, as well as rules, conventions, and agreements within the construction industry that control performance of the work.

  - SPECIFICATION FORMAT AND CONTENT

    - Specifications are organized into Divisions and Sections based on the Construction Specifications Institute’s 50 – Division format and Master format numbering system.

    - The sections are placed in the Project Manual in numeric sequence; however, this sequence is not complete, and the Table of Contents of the specifications must be consulted to determine the total listing of sections.

    - The section title is not intended to limit the meaning or content of the section, nor to be fully descriptive of the requirements specified therein.

    - The organization of the specifications shall not control the division of the work among subcontractors or establish the extent of work to be performed by any trade.

    - Specifications use certain conventions regarding style of language and the intended meaning of certain terms, words, and phrases when used in particular situations or circumstances.  These conventions are:

      - Language used in specifications and other Contract Documents is abbreviated.  Words and meaning shall be interpreted as appropriate.  Words that are implied, but not stated, shall be interpolated as the sense required. Singular words shall be interpreted as plural words interpreted as singular where applicable to maintain the context of the Contract Documents indicated.

      - Imperative and streamlined language is generally used in the specifications. Requirements expressed in the imperative mood are to be performed by the Contractor.  Subject language is used for clarity to describe responsibilities that must be fulfilled indirectly by the Contractor, or by others when so noted.

      - The words “shall be” are implied whenever a colon (:) is used within a sentence or phrase.

  - INDUSTRY STANDARDS

    - Except where Contract Documents include more stringent requirements, applicable construction industry standards shall apply as if bound into the Contract Documents to the extend referenced.  Such standards are made part of Contract Documents by reference.

    - Conform to reference standards by date of issue current on date for receiving bids except when a specific date is indicated.

    - Where compliance with 2 or more standards is specified and where standards may establish different or conflicting requirements for quantities or quality levels, the more stringent, higher quality and greater quantity of work shall apply.

    - The quantity or quality level shown or specified shall be the minimum provided or performed.  Indicated number values are minimum or maximum, as appropriate, for the context of the requirements.

    - Each entity engaged in construction of the work is required to be familiar with industry standards applicable to its construction activity.

    - Copies of applicable standards are not bound with the Contract Documents.  Where copies of standards are needed to perform a required activity, Contractor shall obtain copies directly from publication source.

    - Trade association names and titles of general standards are frequently abbreviated.  Where such abbreviations are used in the specification or other Contract Documents, they shall mean the recognized trade association, standards-generating organization, authority having jurisdiction, or other entity applicable to the content of the text provision.  Refer to the “Encyclopedia of Associations”, published by Gale Research CO., available in most libraries.

    - Refer to individual specification sections and related drawings for names and abbreviations of trade associations and standards applicable to specific portions of the work.  In particular, refer to Division 15 for names and abbreviations applicable to mechanical work, and refer to Division 16 for names and abbreviations applicable to electrical work.

    - The contractual relationship of the parties the Contract shall not be altered from the Contract Documents by mention or interference otherwise in any reference document.

  - CODES AND STANDARDS

    - Latest edition of pertaining ordinances, laws, rules, codes, regulations, standards, and other of public agencies having jurisdiction of the work are intended whenever referenced is made in either the singular or plural to Code or Building Code except as otherwise specified, including by not limited to latest edition of those in the following listing:

    - With respect to the Division of the State of Architect and State Fire Marshal, most-recent adopted Edition.

    - California Building Standards Code (CBSC), Title 19 CBSC (Public Safety, State Fire Marshal Regulations) Latest Edition and Amendments.

    - Building Standards Administrative Code, Part 1, Title 24 CBSC, Latest Edition.

    - California Building Code (CBC), Part 2, Title 24, CBSC (International Building Code with California Amendments) Latest Editions.

    - California Electrical Code (CEC), Part 3, Title 24, CBSC (National Electrical Code and California Amendments) Latest Editions.

    - California Mechanical Code (CMC), Part 4, Title 24 CBSC (Uniform Mechanical Code and California Amendments) Latest Editions.

    - California Plumbing Code (CPC), Part 5, Title 24 CBSC (Uniform Plumbing Code and California Amendments) Latest Editions.

    - California Energy Code, Part 6, Title 24 CBSC, Latest Edition.

    - California Fire Code, Part 9, Title 24 C.C.R. (International Fire Code and California Amendments) Latest Editions.

    - California Green Building Standards (CALGREEN), Part 11, Title 24 CBSC, Latest Edition.

    - California Referenced Standards, Part 12, Title 24, C.C.R., Latest Edition.

    - State and Local Public Health Codes, Latest Editions and Amendments.

  - GOVERNING REGULATIONS/AUTHORITIES

    - Authorities having jurisdiction have been contacted where necessary to obtain information for preparation of Contact Documents.  Contact authorities having jurisdiction directly for information having a bearing on the work.

    - Comply with all federal, state, and local laws, ordinances, rules and regulations indicated and which bear on the conduct of the work.

- PRODUCTS

NOT USED.

- EXECUTION

NOT USED.

END OF SECTION