PART 1 - GENERAL

1.01	SUMMARY

A.	Provisions of Division 01 apply to this section

B.	Section Includes:

1.	Formwork for cast-in-place concrete as indicated.

2.	Installation of items to be embedded in concrete, such as anchor bolts, inserts, embeds, and sleeves.

3.	Stripping forms.

C.	Related Sections:

1.	Section 03 20 00:  Concrete Reinforcing.

2.	Section 03 30 00:  Cast-in-Place Concrete.

1.02	REFERENCES

A.	American Concrete Institute (ACI) Publication:

1.	ACI 318 – Building Code Requirements for Structural Concrete, Chapter 6, Formwork, Embedded Pipes, and Construction Joints.

2.	ACI 347 – Guide to Formwork for Concrete.

3.	ACI 301 – Specifications for Structural Concrete

B.	American Plywood Association (APA):

1.	Form No. V345 - Concrete Forming Design/Construction Guide.

C.	National Institute of Standards and Technology (NIST):

1.	NIST Voluntary Product Standard PS 1.

1.03	SUBMITTALS

A.	Submit detailed structural calculations and drawings approved and signed by a California registered Civil Engineer where the height of the falsework or vertical shoring, as measured from the top of the sills to the soffit of the superstructure exceeds 14 feet, or where individual horizontal span lengths exceed 16 feet, or where provision for vehicular traffic through falsework or shoring occurs.  For all other falsework and shoring submit layout signed by California registered Civil Engineer, manufacturer’s authorized representative or a licensed contractor experienced in the usage and erection of falsework and vertical shoring.  A copy of the plans and calculation shall be available at the jobsite at all times.

B.	Shop Drawings: Submit Shop Drawings indicating locations of forms, construction and expansion joints, embedded items, and accessories.

C.	Product Data: Submit manufacturer's Product Data for form materials and accessories.

1.04	REGULATORY REQUIREMENTS

- California Building Code (CBC), Chapter 19A.

B.	California Code of Regulations, Title 8, Division 1, Chapter 4, Subchapter 4, Construction Safety Orders, Article 6, Excavations, Sections 1713 and 1717.

1.05	DELIVERY, STORAGE AND HANDLING

A.	Storage shall prevent damage and permit access to materials for inspection and identification,

PART 2 - PRODUCTS

2.01	GENERAL

A.	Form materials may be reused during progress of the Work provided they are completely cleaned and reconditioned, recoated for each use, capable of producing formwork of required quality, and are structurally sound.

B.	Form Lumber: WCLIB Construction Grade or Better, WWPA No. 1 or Better.

C.	Plywood:  NIST Voluntary Product Standard PS 1, Group 1, Exterior Grade B-B Plyform or better, minimum 5-ply and 3/4 inch thick for exposed locations and at least 5/8 inch thick for unexposed locations, grade marked, not mill oiled.  Furnished plywood with medium or high density overlay is permitted.

D.	Coated Form Plywood: For exposed painted concrete, plastic overlaid plywood of grade specified above, factory coated with a form coating and release agent Nox-crete", or equal.

E.	Tube Forms:  Sonoco "Seamless Sonotubes,” or equal, of the type leaving no marks in concrete, one-piece lengths for required heights.

F.	Joist Forms: Code recognized steel or molded plastic types as required.

G.	Special Forms: For exposed integrally-colored concrete, plywood as above with high density overlay, plywood with integral structural hardboard facing or fibrous glass reinforced plastic facing, providing specified finish.

H.	For Exposed Concrete Finish:

1.	Plywood:  New, waterproof, synthetic resin bonded, exterior type Douglas fir or Southern pine plywood manufactured especially for concrete formwork and conforming to NIST Voluntary Product Standard PS 1, Grade B-B grade, Class I.

2.	Glass-Fiber-Fabric Reinforced Plastic Forms:  Matched, tight fitting, stiffened to support weight of concrete without deflection detrimental to structural tolerances and appearance of finished concrete surfaces.

3.	Steel:  Minimum 16 gage sheet, well matched, tight fitting, stiffened to support weight of concrete, without deflection detrimental to tolerances and appearances of finished concrete surfaces.

4.	Plywood:  "Finland Form or "Combi Form" distributed by North American Plywood Corporation. The material shall be furnished with hard smooth birch face veneers with phenolic resin thermally fused onto panel sides. Edges shall be factory sealed.

- Form Ties: Prefabricated rod, flat band, wire, internally threaded disconnecting type, not leaving metal within 1-1/2 inch of concrete surface.

J.	Form Coating: Non-staining clear coating free from oil, silicone, wax, not grain-raising, "Formshield" by A.C. Horn, Inc., "Release" by Edoco/Dayton Superior, or "Cast-Off" by Sonneborn/BASF Building Systems. Where form liners are furnished, provide form coatings recommended by form liner manufacturer.

K.	Form Liner: Rigid or resilient type by L.M. Scofield, Symons, or Greenstreak.

L.	Void Forms:  Manufactured by SureVoid Products, Inc., or equal.  Forms shall be "WallVoid" for temporary support of concrete walls and grade beams spanning between supports, and "SlabVoid" for creating gaps between concrete slabs or steps and underlying soils.  Void forms shall be fabricated of corrugated paper with moisture resistant exterior, and shall be capable of withstanding working load of 1,500 psf.  Provide accessories as required.

PART 3 - EXECUTION

3.01	GENERAL

- Forms shall be constructed so as to shape final concrete structure conforming to shape, lines and dimensions of members required by Drawings and Specifications, and shall be sufficiently tight to prevent leakage of mortar. They shall be properly braced or tied together to maintain position and shape.  Forms and their supports shall be designed so that previously placed structures will not be damaged.

- Obtain Architect’s approval for use of earth forms for footings.

- Minimize form joints. Symmetrically align joints and make watertight to prevent leakage of mortar.

- Arrange and Assemble formwork to permit stripping, so that concrete is not damaged during its removal.

- Arrange forms to allow stripping without removal of principal shores, where required to remain in place.

3.02	TOLERANCES

A.	Permitted abrupt or gradual irregularities in formed surfaces as measured within a 5 feet length with a straightedge shall per ACI 347, Table 5.3.1:

| Class of Surface |  |  |  |
| --- | --- | --- | --- |
| A | B | C | D |
| 1/8 inch | 1/4 inch | 1/2 inch | 1 inch |

Note To Specifier: Edit tolerances indicated below for project specifics.

- Class A: Use for concrete surfaces prominently exposed to public view.

2.	Class B: Use for coarse-textured concrete-formed surfaces intended to receive plaster, stucco or wainscoting.

3.	Class C: Use as a general standard for permanently exposed surfaces where other finishes are not specified.

4.	Class D: Use for surfaces where roughness is not objectionable and will be permanently concealed.

3.03	ERECTION

- Plywood shall be installed with horizontal joints level, vertical joints plumb and with joints tight. Back joints by studs or solid blocking, and fill where necessary for smoothness.  Reused plywood shall be thoroughly cleaned, damaged edges or surfaces repaired and both sides and edges oiled with colorless form oil.  Nail plywood along edges, and to intermediate supports, with common wire nails spaced as necessary to maintain alignment and prevent warping.

- Erect formwork, shoring and bracing to achieve design requirements, in accordance with requirements of ACI 301.

- Provide bracing to ensure stability of formwork. Strengthen formwork liable to be overstressed by construction loads.

- Obtain approval before framing openings in structural members which are not indicated on Drawings.

- Do not displace or damage vapor barrier placed by Sections 03 30 00: Cast-in-Place Concrete.

- Construct formwork to maintain tolerances in accordance with ACI 301.

- Openings for Cleaning:  Provide temporary openings at points in formwork to facilitate cleaning and inspection.  At base of walls and wide piers, bottom form board on one face for entire length shall be omitted until form has been cleaned and inspected.

- Chamfers: Provide 3/4 inch by 3/4 inch chamfer strips for all exposed concrete corners and edges unless otherwise indicated.

- Reglets and Rebates: As specified in Section 03 30 00:  Cast-in-Place Concrete.

3.04	REMOVAL OF FORMS

A.	Forms shall not be removed until concrete has sufficiently hydrated to maintain its integrity and not be damaged by form removal operations. Unless noted otherwise and/or permitted by the Architect, columns and wall forms shall not be removed in less than 5 days, floor slabs in less than 7 days, beams and girders in less than 15 days, pan forms for joists may be removed after 3 days, but joist centering shall not be removed until after 15 days, and ramp, landing, steps and floor slabs shall not be removed in less than 7 days. Shoring shall not be removed until member has acquired sufficient strength to support its weight, load upon it, and added load of construction.

- Compressive strength of in-place concrete shall be determined by testing field-cured specimens representative of concrete location or members, as specified in Section 03 30 00:  Cast-in-Place Concrete.

- Do not damage concrete surfaces during form removal.

- Store reusable forms for exposed architectural concrete to prevent damage to contact surfaces.

- Remove formwork in same sequence as concrete placement to achieve similar concrete surface coloration.

  - PROTECTION

A.	Protect the Work of this section until Substantial Completion.

3.05	CLEAN UP

A.	Remove rubbish, debris and waste materials and legally dispose of off the Project site.

3.06	EARTH FORMS

- Construct wood edge strips at top sides of excavations as indicated on drawings.

- Provide forms for footings and foundation walls wherever concrete cannot be placed against solid earth.

- Remove loose dirt and debris from form area prior to concrete placement.

- Concrete for foundations may be placed directly into neat excavations provided the foundation trench walls are stable as determined by the Architect (Architect, Soils engineer, and Structural engineer subject to the approval of The Division of the State Architect.

- When earth formed foundations are used, the minimum formwork shown on the drawings is mandatory to insure clean excavations prior to and during concrete placement. Stakes to support forms shall be placed outside of footings excavations.

END OF SECTION