**PART 1 - GENERAL**

**1.01 SUMMARY**

A. Provisions of Division 01 apply to this section.

B. Section Includes:

1. Stainless steel shelving.

**1.02 SYSTEM PERFORMANCE**

A. Stainless Steel Shelving: Shelving racks, single- or double-faced units, not less than 85 inches high, sizes and configurations as indicated on Drawings.

B. Materials:

1. Metal components shall be stainless steel type 304.

2. Bolts, nuts, clips, and screws shall be stainless steel.

**1.03 SUBMITTALS**

A. Shop Drawings: Submit Shop Drawings for special construction and non-standard shelving configurations.

B. Product Data: Manufacturer’s data for special construction and non-standard shelving required.

C. Material Samples: Samples of manufacturer’s complete color chart, consisting of metal chips with finish applied.

**PART 2 - PRODUCTS**

**2.01 COMPONENTS**

A. Shelves:

1. Shelves and brackets shall be 14 gauge for spans of 4 feet or less. For spans over 4 feet, shelves, and brackets shall be 12 gauge.

2. Shelves shall be fastened to mullions, wherever possible.

**PART 3 - EXECUTION**

**3.01 ERECTION**

A. Stainless steel shelving shall be installed plumb and level.

B. Anchoring: Stainless steel shelving shall be fastened to window mullion or as required.

1. Stainless steel shelving shall be fastened to window mullions through rear bracket flange at each end.

2. Fasten to window mullions with stainless steel screws.

**3.02 ADJUSTING AND TOUCH-UP**

A. Install and securely tighten fasteners.

B. Before Substantial Completion, touch-up scratched or damaged finish with paint, matching color and texture of finish.

* 1. **CLEANUP**

A. Remove rubbish, debris, and waste materials and legally dispose of off the Project site.

* 1. **PROTECTION**

1. Protect the Work of this section until Substantial Completion.

**END OF SECTION**