PART 1 - GENERAL

  - SUMMARY

- Provisions of Division 01 apply to this section.

- Section Includes:

  - Excavating, filling, backfilling, and compacting for Project site pavement, planting areas, buildings, and other structures.

  - Trenches for utility lines such as water, gas, irrigation, storm drain and sewer lines, concrete-encased conduits, manholes, vaults, valve boxes, catch basins, underground tanks, thrust blocks, yard boxes, pull boxes, and other utility appurtenances.

C.	Related Sections:

- Section 02 41 00:  Demolition.

- Section 31 22 00:  Grading.

- Section 32 11 00:  Aggregate Base Course.

- Section 31 11 00:  Site Water Distribution System.

- Section 33 30 00:  Site Sanitary Sewer Systems.

- Section 31 40 00:  Storm Drainage Systems.

- Section 32 01 29:  Pavement Repair.

- Section 32 13 14:  Portland Cement Concrete Paving.

- Section 32 84 00:  Irrigation Systems.

- Section 32 31 13:  Chain Link Fences and Gates.

- Section 32 90 00:  Planting.

- Division 23:  Mechanical.

- Division 26:  Electrical.

1.02	SYSTEM DESCRIPTION

  - Import and Export of Earth Materials:

- Fees:  Pay as required by authorities having jurisdiction over the area.

- Bonds:  Post as required by authorities having jurisdiction over the area.

- Haul Routes and Restrictions: Comply with requirements of authorities having jurisdiction over the area.

1.03	SUBMITTALS

  - Imported Soils: A geotechnical engineer, retained by the Owner as an Owner Consultant, shall obtain initial product Sample for testing in accordance with the terms of sub-section 3.05 of this section.

  - Shoring calculations as required in sub-section 3.03 of this section.

  - QUALITY ASSURANCE

    - Comply with the Standard Specifications for Public Works Construction, current edition, except as modified herein.

    - Sampling, testing, and certification of imported and/or exported soils shall be performed in accordance with Section 01 45 33.

  - PROJECT CONDITIONS

- Information on Drawings or in soil investigation report does not constitute a guarantee of accuracy or uniformity of soil conditions over the Project site.

- A copy of the foundation investigation and soils report is available for examination at the Architect's office during regular office hours of Architect.

PART 2 - PRODUCTS

  - FILL AND BACKFILL MATERIALS

- Fill and backfill material shall be a granular material previously removed from excavation or imported fill material, free of clods and stones larger than 3 inches, (2½ inches for utility trenches) foreign materials, vegetable growths, sod, expansive soils, rubbish and debris. Material shall conform to these specified requirements and related sections.

- Fill material exhibiting a wide variation in consistency and/or moisture content shall be blended and/or aerated to stabilize and upgrade the material.

- Bedding material from trench bottom to one foot above the pipe:

  - Sand, gravel, crushed aggregate or native free-draining granular material providing a sand equivalent of at least 30 or a coefficient of permeability greater than 1.4 inches per hour.

  - Sand complying with the Specifications for cement concrete aggregates.

- Other Fill Materials: Brick rubble and broken concrete originating from the Project site may be legally disposed of off the Project site, or incorporated in fill, if reviewed by a geotechnical engineer, retained by the Owner as an Owner Consultant. Unless otherwise indicated, no such material shall be imported from outside the Project site.

- Permeable Backfill:

  - Provide permeable backfill material behind retaining structures consisting of gravel, crushed gravel, crushed rock, natural sands, manufactured sand, or combinations of these materials conforming to the following gradations:

Sieve Size:	Percentage Passing:

3/4 inch (19mm)	100

3/8 inch (10mm)	80-100

No. 100	0-8

No. 200	0-3

  - Those portions of fill material passing a No. 4 sieve shall provide a sand equivalent of at least 60.

  - Provided backing for weep-holes shall consist of 2 cu. ft. of aggregate in burlap sacks, securely tied. Aggregate shall conform to requirements for No. 3 concrete aggregate as specified in subsection 200-1.4 of the Standard Specifications for Public Works Construction.

  - Permeable Backfill Alternate Materials: Instead of the materials specified for retaining structures backfill, a drainage matting system such as Miradrain by Mirafi, Inc., or equal, may be provided if reviewed by the Architect.

- Cement-sand slurry shall be provided with 1 sack of cement per cubic yard of the mixture.

2.02	BASE MATERIALS

- Concrete Slabs on Grade: Provide "Crushed Aggregate Base" as specified in Standard Specifications for Public Works Construction, Section 200 - Rock Materials, with 3/4 inch maximum size aggregates. Provide 3 inch thick base, unless noted otherwise.

- Bituminous Surfacing: Provide as indicated on Drawings and specified in Section 02319 - Base Course.

PART 3 - EXECUTION

  - GENERAL

- Before excavation, contact Underground Service Alert of Southern California (USASC) for information on buried utilities and pipelines.

- Where the Work includes a building extension or addition on an occupied Project site, perform Work in such a manner, and at such times, as not to disrupt performance of existing utility services to existing Project site facilities. Where an interruption is necessary, obtain review from the OAR before proceeding.

- Remove concrete or bituminous pavement to straight lines by saw cutting.

  - PROTECTION

- Protect and guard excavations against danger to life, limb, and property as required by, but not limited to, OSHA regulations.

- Protect existing improvements including landscaping against damage. Repair or replace damaged items.

- Protect existing utility services and distribution systems from damage or displacement.

- Remove conduits or pipes not in service, exposed during Work, unless a minimum cover of 2 feet is provided.  Remove concrete, clay or other non-metallic pipe over 8 inches in diameter, unless otherwise indicated.

- Shore, crib, or lag excavations and earthen banks as necessary to prevent cave in, erosion or gullying of sides.

- Provide excavations free from standing water by pumping, draining, or providing protection against water intrusion. If soil becomes soft, soggy, or saturated, excavate to firm undisturbed earth and fill as required. Slope adjacent grades away from excavations to minimize entry of water.

  - SHORING

- Provide shoring as necessary to properly and safely support earth sides of excavations, and existing curbs, sidewalks, gutter, drives and stairs, against movement and collapse.

- Design and Calculations: Provide in accordance with requirement of governing California Building Code and Safety Orders of State of California, Division of Industrial Safety; Title 8, Subchapter 4, Article 6, Sections 1530 and 1541.

- Remove shoring upon completion of the Work of this section or when no longer needed unless required otherwise by authorities having jurisdiction.

  - EXCAVATION

- Unclassified Excavations:  Comply with the Standard Specifications for Public Works Construction, Section 300: "Earthwork", except as modified herein.

- Form sides of footings, pads, grade beams, and slab foundations, unless otherwise indicated. Provide excavations of sufficient size to permit installation and removal of forms and other required Work.

- Machine-drill excavation for round footings to size and depth indicated.  Provide a collar or casing, or other adequate protection, to exclude dirt and debris. Protect excavations with plank covers until concrete is placed.

- Provide excavation bottoms level and free from loose material. Excavate to indicated or required elevations of undisturbed earth.

- Barricade trenches, ditches, pits, sumps, and similar Work outside the barricaded working area with chain link fence as specified in Section 01 50 00: Construction Facilities and Temporary Controls, and in accord with Cal-OSHA standards and requirements.

- Trenches over 5 feet in depth shall comply with the Construction Safety Orders of the California Division of Industrial Safety.

- Where indicated and/or required to excavate in lawn areas, protect adjoining lawn areas outside of the Work area. Replace or install removed sod upon completion of backfill by installing sod level with adjacent lawns. If installation of removed sod fails, furnish sod and install to match existing lawns.

- For Structures:

  - Calculate excavation quantities based on elevations or depths indicated on Drawings.

  - Provide 2000 psi concrete for backfill of over-excavated areas to indicated or required elevations.

  - Special preparation of B.E.P. areas: Excavate areas designated on Drawings as bottom of excavated planes (B.E.P.), by excavating and filling to indicated grades and elevations.

- For Utilities:

  - Excavate trenches to required depth for utility lines, such as pipes, conduits, and tanks, with minimum allowance of 6 inches at the bottom and 6 inches at the sides for bedding or concrete encasement as indicated on Drawings. Grade bottom of trenches to a uniform smooth surface. Remove loose soil from the excavation before placing sand bedding or concrete encasement.

  - Do not install piping lengthwise under concrete walks without review by the Architect.

  - Do not excavate trenches parallel to footings closer than 18 inches from the face of the footing or below a plane having a downward slope of 2 horizontal to one vertical, from a line 9 inches above bottom of footings.

    - Unless otherwise indicated on Drawings, depth of excavations outside buildings shall provide for a minimum coverage above top of piping, tank or conduit measured from the lowest adjoining finished grade, as follows:

Steel Pipe			24 inches below finish grade

Copper Water Tube		18 inches below finish grade

Cast-Iron, Pressure Pipe	36 inches below finished grade

Plastic Pipe (other than waste) 30 inches below finished grade

Tanks or other structure	36 inches below finished grade

Soil, sewer & storm drain	minimum 18 inches below finished grade, and as required for proper pitch and traffic load. Install polypropylene sewer pipe with at least 24 inches of coverage.

Irrigation Pipe:		Non-pressure pipe - 12 inches, pressure pipe - 24 inches.

    - Trench width shall provide space for fitting and joining. Excavate for piping bells and fittings, bell and spigot pipe and other fittings.

  - Where portions of existing structures, walks, paving, or other improvements are removed or cut for piping or conduit installation, replace the material with equal quality, finished to match adjoining existing improvements. Repair pavement as specified in 
Section 32 01 29, Pavement Repair.

  - Provide a minimum clear dimension of 2 inches from sides of wall excavation to outer surfaces of buried pipes or conduits placed in the same trench or outside surfaces of containers and/or tanks.

3.05	IMPORT/EXPORT OF MATERIALS

A.	Unclassified Fill and Compaction: Comply with the Standard Specifications for Public Works Construction, Section 300 - Earthwork, except as modified herein. Install and compact fill in layers not to exceed 6 inches in thickness.

B. 	Provide fill materials as specified in Part 2- Products. If excavated materials from the Project site are not of required quality or sufficient quantity, import additional materials as necessary.

- In addition to the requirements of this section, import and/or exported materials shall comply with the requirements of Section 01 45 33.

- Imported fill materials shall be sampled by a geotechnical engineer, retained by the Owner as an Owner Consultant, for compliance with the requirements of Part 2 of this section.

- A geotechnical engineer, retained by the Owner as an Owner Consultant, shall submit the samples to an independent DSA approved testing laboratory for testing.

- Initial sampling and testing shall be performed before importing material to the Project site. Identify the location of the source site in addition to the address, name of the person and/or entity responsible for the source site. A geotechnical engineer, retained by the Owner as an Owner Consultant, shall obtain both the initial and additional samples from the identified site and submit all samples for required testing.

- The geotechnical engineer, retained by the Owner as an Owner Consultant, shall perform additional sampling during import operations. If the total quantity of import is determined to be greater than 1000 cubic yards of material, one sample shall be obtained and submitted for testing for each 250 cubic yards of imported material. If the total quantity of import is determined to be less than 1000 yards, one sample shall be obtained and submitted for testing for each 100 cubic yards of imported material.

- The independent approved testing laboratory shall perform the required tests and report results of all tests noting if the tested material passed or failed such tests and shall furnish copies to the PI, Architect, OAR, DSA, Contractor, and others as required. Report shall state tests were conducted under the responsible charge of a licensed State of California professional engineer and the material was tested in accordance with applicable provisions of the Contract Documents, Title 24, CCR and the DSA. Upon completion of the Work of this section, the independent testing laboratory and geotechnical engineer shall submit a verified report to the DSA as required by Title 24, CCR.

- Bills of lading or equivalent documentation will be submitted to the PI on a daily basis.

- Upon completion of import operations, provide the OAR a certification statement attesting that all imported material has been obtained from the identified source site.

3.06	INSTALLATION OF MATERIALS

- Pavement:  Fill or backfill materials shall be installed in horizontal layers of 6 inches, unless otherwise required.  Each layer shall be evenly placed and moistened or aerated as necessary. Unless otherwise reviewed by the geotechnical engineer, retained by the Owner as an Owner Consultant, each layer of fill material shall cover the length and width of the area to be filled before the next layer of material is installed. Top surface of each layer shall be installed to an approximate level with a crown or crossfall of at least 1 in 50, but not more than 1 in 20. Provide adequate drainage at all times during installation of the Work of this section.

- Structures:

  - After concrete has been placed, forms removed, and concrete Work inspected, backfill excavations with earth to indicated or required grades. Backfill simultaneously on each side of walls or grade beams. Remove rubbish, debris and other waste materials from excavations before placing backfill.

  - Before placing any backfill, adequately cure concrete and provide bracing, if required to stabilize structure. Protect waterproofing or damp-proofing against damage during backfilling operations, with required protection board. Remove bracing as backfill operation progresses.

  - Do not furnish or install expansive soils for retaining wall backfill.

  - Rigidly control the amount of water to be installed to provide optimum moisture content for type of fill material furnished. Do not over-saturate or compact by flooding or jetting.

  - Install wall backfill before installing railings and fences on walls.

  - Install weep hole drainage at the backside of walls so the backing completely covers the weep holes, is horizontally centered and extends at least 12 inches above the bottom of the weep opening. Provide an 8 inch square section of 1/4 inch galvanized or aluminum screen, with a minimum wire diameter of 0.03 inch, and install at the backside of each weep hole before installing the backfill material.

  - Where a reviewed drainage matting system is provided instead of permeable backfill for retaining structures, install in accordance with the manufacturer recommendations.

- Utilities:

  - Do not install backfill until the Work of this section has been inspected and tested. Do not furnish or install materials excavated from the Project site containing materials not permitted for backfill.

  - Backfill electrical or other excavated utility trenches located outside of barricaded installation areas within 24 hours after inspection by the PI.

  - Install backfill in layers not exceeding 4 inches in thickness, except cement-sand slurry.

  - If materials excavated from the Project site are not permitted for trench backfill in paved areas, backfill trenches with a cement-sand slurry mix. Install backfill to an elevation of the existing undisturbed grades plus one inch.

  - COMPACTING

- Each layer of fill material shall be compacted by tamping, sheep foot rollers, or pneumatic-tired rollers to provide specified relative compaction. At inaccessible locations, provide specified compaction by manually held, operated and directed compaction equipment.

- Install and compact sand bedding to provide a uniform bearing under the full length of piping and conduits.

PROJECT ARCHITECT  NOTE: EDIT THE FOLLOWING COMPACTION PERCENTAGE, TO REFLECT  RECOMMENDATIONS CONTAINED IN THE SOILS REPORT.

- Unless otherwise indicated, compact each layer of fill material to a relative compaction of at least 90 percent.

- When fill materials, or a combination of fill materials, are encountered or provided which develop densely packed surfaces as a result of installation or compacting operations, scarify each layer of compacted fill before installing the next succeeding layer.

  - INSPECTION AND TESTING

- The geotechnical engineer, retained by the Owner as an Owner Consultant, will inspect and test excavations, sample material quality for testing as set required in Part 2, and observe installation/compaction of fill materials.

- The geotechnical engineer, retained by the Owner as an Owner Consultant, will sample imported fill materials from their designated source and submit all samples to the independent approved testing laboratory before delivery to the Project site.

- Installation of backfill shall be observed by the geotechnical engineer, retained by the Owner as an Owner Consultant.

- The geotechnical engineer, retained by the Owner as an Owner Consultant, will inspect and test excavation Work before the installation of fill and/or other materials.

- Compaction:  Test compaction in accordance with ASTM D 1557, Method C.

- DSA will inspect foundation excavations when completed and ready for forms, after forms are in place, and before first placement of concrete.

  - PROTECTION

A.	Protect the Work of this section until Substantial Completion.

3.10	CLEANING

A.	Remove rubbish, debris, and waste materials and legally dispose of off the Project site.

END OF SECTION